| # Review of Northeast Sammamish Sewer and Water District # Amendment to Sewer System Plan, April 2011 |  |  |
| --- | --- | --- |
|  | A. General and sewer plan-specific requirements of King County Code (K.C.C.) 13.24.010 and 28.84. | Comments/findings |
| (1) | - Review and approval by the King County Council is applicable to special purpose districts under Revised Code of Washington (RCW) 57.16.010(7); - Sewer districts that provide wastewater to the regional system under K.C.C. 28.84; and - Addressing a public health and safety issue with sewer service to the rural area under K.C.C. 13.24.134. | - The review and approval of the Northeast Sammamish Sewer and Water District (District) Amendment to Sewer System Plan (Amendment), April 2011, is required as the District is a special purpose district authorized by, and operated under, Title 57 RCW. - The District’s service area lies on the Sammamish Plateau and generally serves the City of Sammamish. - The Amendment is narrowly focused on issues related to K.C.C. 13.24.134 and changing the service area to extend sewer service to a school property, parcel 1625069020, in the rural area. - All of the District’s wastewater flows to the King County regional treatment system. |
| (2) | - The plan shall be consistent with the King County Comprehensive Plan and development regulations and policies. | - The Amendment is consistent with the King County Comprehensive Plan and development regulations and policies. |
| (3) | - The Plan shall be adopted by that entity and approved by the King County Council as a prerequisite for the following: - Operating in unincorporated King County; - Approval of annexation proposals; - Granting of new right-of-way franchises and right-of-way franchise renewals; and - Approval of right-of-way construction permits, except for emergency permits issued under K.C.C. 14.44.055. | - The Amendment was approved by the District in April of 2011 by resolution 3654. - The District operates in unincorporated King County. - The collection system, owned and maintained by the District, delivers sewage to the King County regional system from residential and commercial customers. |
| (4) | - Plans should be submitted every six years or sooner if required by the Washington State Department of Ecology (DOE), or whenever sewer conditions have changed significantly within the sewer service area. | - The District’s current comprehensive sewer plan is dated 2006 and was approved by Council in 2008 (ordinance 2008-0004). - The plan was subsequently approved by DOE. |
| (5) | - Infrastructure for existing and future service areas based on adopted land use map. | - Yes. |
| (6) | - Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | - Yes. |
| (7) | - Consistent with WAC 173-240-050. | - Not addressed within the Amendment. The District will seek approval of the Amendment from DOE. |
| (8) | - Discuss the following: - Existing and planned flows, average and peak; - Existing and planned flows for any basin discharging into the County system; - Amounts of inflow and infiltration (I/I), in comparison with County standard of 1,100 gallons per-acre-per-day and steps being taken to reduce; - Areas of concern regarding corrosion and odor control, and steps being taken; and - Opportunities for reclaimed water. | - The District chose to focus this Amendment narrowly and only addressed the proposed change in the sewer service area to provide service to the proposed school. |
|  | B. Public Sewer Service: 13.24.035 |  |
| (9) | - All developments within Urban Growth Area (UGA) served by sewer unless on-site are allowed as temporary per K.C.C. 13.24.136 and 13.08.070. | - Yes, the District anticipates providing sewer service within its entire service area for new development and the few remaining onsite systems within the town center. |
| (10) | - Required elements of a sewerage general plan, as called for in RCW 36.94.010(3), are included in the King County Comprehensive Plan and Technical Appendix. | - The Amendment does not provide engineering design for the proposed service. The Amendment does have a revised map for the sewer service area. |
|  | C. Consistency requirements: 13.24.060 |  |
| (11) | - State and local health requirements. | - The Utilities Technical Review Committee (UTRC) review process included a representative of Public Health Seattle and King County. |
| (12) | - Elimination or prevention of duplicate facilities and a reduction of number of entities providing sewer service in King County. | - Yes, the District is the only provider of sewer service in the area. |
| (13) | - Promotion of most healthful and reliable services to the public. | - Yes. |
| (14) | - Provision of service at a reasonable cost, and maximization of use of public facilities. | - Not reviewed. |
| (15) | - Basin-wide or multibasin water plans, sewerage plans, or both when approved by DOE or Washington State Department of Health. | - No basin-wide or multibasin water or sewerage plans are applicable. |
| (16) | - Applicable state water quality, water conservation (e.g., RCW 90.48.495), and waste management standards. | - Not applicable. |
| (17) | - Growth Management Act (GMA), chapter 36.70A RCW. | - Yes, the Amendment is consistent with the King County Comprehensive Plan and development regulations used to implement the GMA. |
| (18) | - Groundwater Management Plans. | - Not applicable. |
| (19) | - Federally-approved habitat conservation plans and recovery plans under Endangered Species Act. | - Not applicable. |
| (20) | - Requirements for salmon recovery under RCW 77.85, and other plans, including regional water supply or water resource management plans. | - The Amendment makes no reference to the participation of the District with salmon recovery efforts within the watershed. |
| (21) | - Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | - Not applicable. |
| (22) | - State Environmental Policy Act documentation. | - Determination of nonsignificance issued by the District for the Amendment on March 11, 2011, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (23) | - CA-5 and CA-6: adopt policies to protect quantity and quality of groundwater. | - Not applicable. |
| (24) | - CO-7: water reuse and reclamation shall be encouraged, especially for high water users. | - Not applicable. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (25) | - F-104: plan for provision of services to rural areas. | - The amendment was sought to provide service to a proposed new school in the rural area. - The proposed service was found consistent with K.C.C. 13.24.134. - Sewer service in the rural area is not favored except in limited circumstance. |
| (26) | - E-105: protect critical habitat. | - Not applicable. |
| (27) | - E-434: management and protection of water resources by King County through incentives, regulations, and programs. | - Not applicable. |
| (28) | - E-466: protect ground water and develop strategies to compensate or mitigate for losses. | - Not applicable. |
| (29) | - E-477: protect and enhance surface waters, including Puget Sound. | - Not applicable. |
| (30) | - F-105: work with cities and service providers to provide services. | - Not applicable. |
| (31) | - F-202: ensure adequate supply of public facilities to support communities. | - The District does supply adequate service. |
| (32) | - F-203: work with cities, special purpose utilities, and other service providers to define regional and local services and determine appropriate providers. | - Yes, King County has worked with the District to define the service area. The sewer service area will change if the Amendment is approved. |

| (33) | - F-207: funding for growth should support facilities needed within UGAs, prioritized and coordinated through capital improvement programs (CIP), to comply with concurrency requirements. | - Funding sources were not identified; the school district will pay for the sewer system hook-up. |
| --- | --- | --- |
| (34) | - F-208: support rural levels of development and not facilitate urbanization. | - Yes, the District understands that sewer services are not to be extended into the rural area except in certain circumstances. - The sewer service line, if approved, for the school property will be tightlined. |
| (35) | - F-210: coordinate development of utility facilities. | - Not applicable. |
| (36) | - F-212: King County’s CIP demonstrates that projected needs for facilities and services can be met within the UGA in compliance with concurrency requirements; where not possible, identify strategies including phasing and financing. | - Not applicable. |
| (37) | - F-213: water and sewer utilities that provide services to unincorporated King County shall prepare capital facility plans consistent with requirements of GMA and King County Comprehensive Plan. | - The Amendment is consistent with the requirements of the GMA and King County Comprehensive Plan. |
| (38) | - F-215 and F-217: where an area wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | - Not applicable as no deficiency was identified. |
| (39) | - F-245: all development within UGA to be served by public sewers, with some exceptions. | - Not applicable. |
| (40) | - F-246: King County and sewer utilities should jointly plan for phasing out of on-site systems within UGA. | - Yes, the District anticipates its entire service area being served by sewers. |
| (41) | - F-252: King County should monitor failing on-site systems and analyze options which may include connecting to sewerage systems where consistent with the King County Comprehensive Plan. | - Not applicable. |