| Review of the Washington Water Service Company Satellite System Management Plan |
| --- |
| Service Area The Washington Water Service Company (Company) owns and operates numerous municipal water systems that primarily serve unincorporated lands in King County. The Company desires to continue to provide satellite management services county-wide. In order to do so, it has submitted for review and approval the Washington Water Service Company Satellite Management Plan (Plan). The Company holds no franchises. Any franchise issues will be dealt with by the specific system owner. From time to time, the Company may apply for right-of-way construction permits for the owner of a public water system. SEPA The Company completed a Washington State Environmental Policy Act (SEPA) checklist for the Plan. The King County Department of Natural Resources and Parks, as lead agency, issued a determination of non-significance for approval of the Plan on June 21, 2013, and there were no appeals. |
| A review of the specific statutes, rules, codes, and policies to the water system plan is as follows: |
|  | A. General water plan, King County Code (KCC) 13.24.010 and 13.28 | Comments/findings |
| (1) | Review is applicable to utilities that obtain or distribute water in unincorporated King County under KCC 13.24. Is there a need to meet the consistency requirements of RCW 43.20.260? | Yes, the Company either distributes water or seeks to manage systems that distribute water in unincorporated King County, and the plan is subject to King County Council approval. No, the Washington State Department of Health (DOH) does not need to determine consistency of the Plan under RCW 43.20.260. However, under RCW 70.116.050, the DOH must approve the plan. |
| (2) | Consistency with King County Comprehensive Plan (KCCP) and development regulations, and policies includingKCC 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | Yes, the Plan is consistent. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | Not applicable. |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility’s approved plan, and ability to meet duty to serve requirement. | The Company’sservice area would be county-wide. The Company maintains duty to serve policies that would apply to any system it manages. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates an ability to provide service consistent with applicable statutes, codes, and regulations. |

| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved CWSP. | Not applicable. |
| --- | --- | --- |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | State and local health requirements. | Yes. |
| (8) | Creation and maintenance of logical service areas. | Not applicable. |
| (9) | Elimination or prevention of duplicate facilities. | Yes. The Company intends to provide service county-wide and to join Northwest Water Systems as the second approved satellite management agency for operation in the County. |
| (10) | Promotion of most healthful and reliable services to the public. | Yes. Water systems managed by the Company are in compliance with public health standards. The services the Company provides promote healthful and reliable services to the public. |
| (11) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Yes, the Company’srates for water service are comparable to the rates charged by similar utilities. |
| (12) | Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (Ecology) or DOH. | Not applicable. |
| (13) | Applicable state water quality, water conservation, and waste management standards. | Not applicable. |
| (14) | Water Resources Act (RCW 90.54). | The Plan makes no connection with the requirements of RCW 90.54.180 or RCW 90.03.386. The Company will maintain its existing conservation (efficiency) programs of any systems it operates to comply with DOH’s Water Use Efficiency Rule. |
| (15) | Growth Management Act (GMA) (RCW 36.70A). | Not applicable. |
| (16) | Groundwater management plans. | The company may contract with a system owner to provide Well Head Protection Programs or other services related to ground water management. |
| (17) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | Not discussed in Plan. |
| (18) | Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | Not discussed in Plan. |
|  | C: Countywide Planning Policies |  |
| (19) | G-4: Adopt comprehensive plans that are consistent with the Countywide Planning Policies as required by the Growth Management Act. | Yes. |
| (20) | EN-19: Promote energy efficiency, conservation methods and sustainable energy sources to support climate change reduction goals. | Not discussed in Plan. |
| (21) | DP-13: All jurisdictions shall plan to accommodate housing and employment targets. This includes coordinating water, sewer, transportation and other infrastructure plans and investments among agencies, including special purpose districts. | The Company is planning to manage systems that are sized to accommodate housing targets for their respective service areas and those systems are generally in unincorporated King County. |
| (22) | PF-2: Coordinate among jurisdictions and service providers to provide reliable and cost effective services to the public. | Not applicable. |
| (23) | PF-4: Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | The Company’s plan, if approved, supports the provision of water for long‐term growth. Climate change is not discussed. |
| (24) | PF-7: Plan and locate water systems in the Rural Area that are appropriate for rural uses anddensities and do not increase the development potential of the Rural Area. | Not applicable. |
| (25) | PF-8: Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | Yes. |
| (26) | PF-9: Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | The Company is aware of state of Washington water conservation and efficiency efforts and the requirements that may apply to a system it owns and or manages. |
| (27) | PF-10: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | Not applicable. |

|  | D: King County Comprehensive Plan |  |
| --- | --- | --- |
| (28) | F-107: With special purpose districts or local service providers, plan for provision of services to rural areas. | Yes, the Company would provide service in the rural areas and work with small water systems. |
| (29) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | Yes, the Company and the County will do this for any systems it manages. However, the Company seeks to manage small Group A or Group B systems that generally do not have capital improvement plans. |
| (30) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the ESA and the Clean Water Act (CWA). | Yes. |
| (31) | F-209: In the Rural Area, services provided by agencies should support a rural level of development and not facilitate urbanization. | Not applicable. |
| (32) | F-210: capital facility plans and capital improvement programs for services to unincorporated King County are consistent with the K.C.C. P. | Not applicable. |
| (33) | F-211: King County helps coordinate development of utility facilities with other projects that utilize public rights-of-way and easements, where possible. | Yes, this is done. |
| (34) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. |
| (35) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies. | Not applicable. |
| (36) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs. | Yes, the Company supports and coordinates with other purveyors and is supportive of emergency interties with neighboring systems. |
| (37) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the county for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service area. | The Company seeks to manage the systems that obtain or distribute water in unincorporated King County. In some cases the Company may purchase water systems it manages. |
| (38) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, ESA response requirements and CWA requirements. | Yes. |
| (39) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County’s Water Reclamation Evaluation Checklist. | Not applicable. |
| (40) | F-251: In its reviews, the UTRC shall consider the criteria provided in KCC 13.24.010, 13.24.060, and 13.24.070, and determine the plan’s consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under the ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The county’s Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by King County, as specified in UTRC guidance or checklists. | The UTRC has reviewed the planningdata and Company operations and has found the Plan is consistent with: a.the King County Comprehensive Plan, land use plans, and development regulations; b.to the extent applicable the basin plans, groundwaterplans,and watershed-based conservation and recovery plans for the service area; c. the Regional Wastewater Services Plan; and d. other applicable provisions. |
| (41) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in KCC Chapter 13.28. | Not applicable. |
| (42) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | Not applicable. |
| (43) | F-254: Groundwater-based public water supplies should be protected by preventing land uses that may adversely affect groundwater quality or quantity to the extent that the supply might be jeopardized. The county shall protect the quality and quantity of groundwater used as water supplies through implementation of Policies E-493 through E-497 where applicable. | Not applicable. |