| Review of the Skyway Water & Sewer District 2013 Comprehensive Plan Water & Sewer Systems |
| --- |
| Service Area The Skyway Water & Sewer District owns and operates a combined water and wastewater system that serves approximately 3,350 water connections and 4,050 sewer connections in the West Hill area of unincorporated King County, southwest of Lake Washington. The District is generally bounded by the cities of Renton to the east and south, Seattle to the north and northwest, and Tukwila to the west and southwest. Water and sewer service boundaries of the District are shared with the cities of Renton, Tukwila, Seattle, and King County Water District No. 125. The District maintains a number of service agreements with neighboring utility districts, cities and King County for the provision of water and sewer services. The larger sewer service area is approximately 2.7 square miles and the water service area is 1.8 square miles. The area is primarily under the jurisdiction of King County, except for areas in the eastern portion of the District within the City of Renton. The area is primarily single-family residential with multi-family and commercial uses along major thoroughfares and industrial zoning in the southwestern area of the District. The service area is not expected to significantly change in the future. The District’s water system currently serves a population of approximately 9,089 and the sewer service serves a population of 16,210. The District projects that in 2033 the water system will serve 12,390 and the sewer system 20,200. The District is in the process of updating its franchise with the County. The District’s water transmission and distribution system includes six reservoirs, two pump stations, seven pressure-reducing stations and approximately 211,000 linear feet of pipe ranging in diameter from 2-inch to 16-inch. For the sewer system, the District maintains more than 147,000 linear feet of 8-inch diameter or greater sewer mains with twelve lift stations strategically placed throughout the District to serve its residential, commercial and industrial customers. The District’s sewage is treated primarily at the King County South Treatment Plant. The Plan contains a combined water and sewer capital improvement plan with an estimated cost of $33.75 million over the next six years. Long-term projects are estimated to cost an additional $35.39 million in 2013 dollars. The District has identified funding sources for the proposed improvement projects which include rates, general facilities charges and bond proceeds. Reclaimed Water The District does not receive or use reclaimed water but is willing to work with King County to identify opportunities. The District completed the King County Reclaimed Water Checklist. SEPA The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of non-significance for the issuance of the Plan on September 12, 2013. There were no appeals. |
|  | A. General, water and sewer plan specific King County Code (KCC) 13.24.010 | Comments/findings |
| (1) | The code is applicable to water and or sewer utilities that obtain water in unincorporated areas, provide service in unincorporated areas of King County and/or are component agencies of the regional wastewater system. | A large portion of the District’s service area lies within unincorporated King County and so review under KCC 13.24 and chapter 58.17 RCW is appropriate. The District is a component agency of the regional wastewater system and review pursuant to KCC 28.84.050 is also applicable. |
| (2) | Wastewater system plans should be submitted every six years or sooner if required by the Washington State Department of Ecology whenever sewer conditions have changed significantly within the sewer service area or by the Department of Health for water plans. | The District’s last plan was approved by King County in 2005. District will seek plan approval from the Department of Ecology for the wastewater portion of the plan and from the Department of Health for the water supply plan. |
| (3) | The wastewater portion of the Plan must meet criteria in chapter 90.48 Revised Code of Washington (RCW); the public water system portion of the plan must meet criteria in chapter 70.119A RCW. The KCC also provides that only plans that are: (1) compliant with the development program and policies outlined in the King County Comprehensive Plan for sewage facilities; and (2) compliant with the basin-wide water and/or sewerage plan are recommended for approval. | Yes. See the following for how the Plan meets the statutory criteria and is consistent with the King County Comprehensive Plan policies applicable to combined water and wastewater plans. The Plan is also consistent with other planning processes. |
| (4) | The infrastructure for existing and future service areas based on adopted land use map. | Yes, for that portion of the service area in unincorporated, urban King County, the land use and zoning was appropriately used in determining the sewer and water demand projections. |
| (5) | The Plan contains sufficient information to demonstrate the ability to provide services consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates the District has ample water supply and wastewater capacity to provide services consistent with the requirements of all applicable statutes, codes, rules, and regulations. |
| (6) | The Plan is consistent with Washington Administrative Code (WAC) 173-240-050 for sewer service and WAC 246-290-100 for the water service. | Yes, the Plan is consistent with the applicable rules. |
| (7) | The wastewater portion of the Plan discusses the following: Existing and planned flows average and peak; Existing and planned flows for any basin discharging into County system; Amounts of inflow and infiltration (I/I), in comparison with County standard of 1,100 gallons per-acre-per-day (gpad), and steps being taken to reduce; Areas of concern regarding corrosion and odor control and steps being taken; Opportunities for reclaimed water; and Additional information required by the Utilities Technical Review Committee (UTRC). | All are discussed in the Plan: 1, 2, & 3. The planned wastewater flow of 65 gallons per capita and 35 gallons per employee is reasonable. The District worked with the King County Wastewater Treatment Division on the regional inflow and infiltration (I/I) control program. Empirical data from the District was considered in developing the I/I rates. 4. There were no issues identified with either corrosion or odor control. 5. The District supports King County’s planning efforts regarding reclaimed water opportunities and completed the County’s Reclaimed Water Checklist. 6. In its review of the Plan, the UTRC asked for additional information, which has been provided by the District either in the final Plan or in direct communication with the UTRC. |
|  | B. Public Sewer Service: 13.24.035 |  |
| (8) | All developments within Urban Growth Area shall be served by sewer unless on-site systems are allowed as temporary per KCC 13.24.136 and 13.08.070. | The District is entirely within the Urban Growth Area. There are unserved areas within the District’s sewer service area and the District has a program to extend service to those areas. |
| (9) | Public sewer is provided in rural towns if approved by King County. | Not applicable. |
| (10) | No public sewer service outside Urban Growth Area unless authorized under KCC 13.24.134. | Not applicable. |
| (11) | Required elements of sewerage general plan, as called for in RCW 36.94.010(3), are included in King County Comprehensive Plan and Technical Appendix. | Yes, the Plan has the general location and description of treatment and disposal facilities, trunk and interceptor sewers, pumping stations, monitoring and control facilities, local service areas, and preliminary engineering in adequate detail to assure technical feasibility and, to the extent known, the methods of distributing the cost and expense of the system and the economic feasibility of plan implementation. |
|  | C. Consistency requirements: 13.24.060 |  |
| (12) | King County Code related to the installation of fire hydrants and water mains. | Yes, the Plan references KCC 17.08 and proposes to provide adequate fire flow. |
| (13) | State and local health requirements. | The Plan has not yet been reviewed and/or approved by the Department of Ecology or Department of Health. The UTRC review process included a representative of Public Health-Seattle and King County. |
| (14) | Elimination or prevention of duplicate facilities. | The District has written agreements with other sewer and water providers regarding areas to be served in order to avoid overlapping jurisdiction and to ensure efficiency in the use of existing facilities. |
| (15) | Promotion of most healthful and reliable services to the public. | Yes. |
| (16) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Currently the District charges a rate that is in the affordable range. In general, the District collects revenues in excess of expenditures. |
| (17) | Reduction of number of entities providing sewer service in King County. | The District has written agreements with other sewer and water providers regarding areas to be served in order to avoid overlapping jurisdiction and to ensure efficiency in the use of existing facilities. |
| (18) | Consistency with the King County Comprehensive Plan and applicable County plans and policies including the Flood Hazard Management Plan and Emergency Response Plan. | Yes, the Plan is consistent with the applicable comprehensive plans. |
| (19) | Consistency with the Coordinated Water System Plans adopted in KCC 13.28 | Yes, the Plan is consistent with the Skyway Coordinated Water System Plan as updated in 1999. |
| (20) | Basin wide or multibasin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology or the Washington State Department of Health. | The District is part of the regional wastewater system managed by King County. |
| (21) | Applicable state water quality, water conservation (e.g., chapter 90.54 RCW and RCW 90.48.495), and waste management standards. | Yes. As the District implements water conservation programs, there may be a minimal impact on the operation of the sewer system. |
| (22) | Growth Management Act; chapter 36.70A RCW. | Yes, the Plan is consistent with the Growth Management Act. See specific policies below. |
| (23) | Groundwater Management Plans. | The Plan references groundwater protection as one of the goals of the plan. A Wellhead Protection Program was developed in 2012 for the three new wells drilled at the existing well field. |
| (24) | Federally-approved habitat conservation plans and recovery plans under Endangered Species Act, and other plans, including regional water supply or water resource management plans. | The District is aware of, and supports, the planning done for salmon recovery purposes. There is no applicable regional water supply plan. |
| (25) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | Yes, the District supports King County’s reclaimed water planning efforts and completed the Reclaimed Water Checklist. |
| (26) | Sewer facilities allowed to cross rural areas only under certain conditions and only for schools or public health emergencies, under certain conditions. KCC 13.24.132. | Not applicable. |
| (27) | State Environmental Policy Act documentation. | Determination of Nonsignificance issued by the District on September 12, 2013, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (28) | PF‐4 Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | The District has a reasonable plan for long-term water supply to meet projected growth. The plan does not discuss climate change impacts on water supply. |
| (29) | PF‐5 Support efforts to ensure that all consumers have access to a safe, reliably maintained, and sustainable drinking water source that meets present and future needs. | The District obtains water from three sources including the Cascade Water Alliance, City of Renton and ground water wells. The water supplies meet existing water quality standards and future needs. |
| (30) | PF‐6 Coordinate water supply among local jurisdictions, tribal governments, and water purveyors to provide reliable and cost‐effective sources of water for all users, including residents, businesses, fire districts, and aquatic species. | Not applicable at the District level. |
| (31) | PF‐7 Plan and locate water systems in the Rural Area that are appropriate for rural uses and densities and do not increase the development potential of the Rural Area. | Not applicable as the District serves an urban area. |
| (32) | PF‐8 Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | The District has agreements with neighboring utilities to share facilities (water reservoirs) and to meet demand in emergency situations. |
| (33) | PF‐9 Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | The District’s average demand has decreased from 148 gallons/day/equivalent residential unit (ERU) in 2007 to 128 gallons/day/ERU in 2012. The District’s average distribution system loss is 4.2 percent since 2007 and within the state standard of less than 10 percent. |
| (34) | PF‐10: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | The District will continue to work with King County to identify opportunities and explore additional use of reclaimed water. |
| (35) | PF‐11: Require all development in the Urban Growth Area to be served by a public sewer system with minor exceptions. | Yes, the District is committed to serving the Urban Growth Area. |
| (36) | PF‐12: Prohibit sewer service in the Rural Area and on Resource Lands except: a) where needed to address specific health and safety problems threatening existing structures; or b) as allowed by Countywide Planning Policy DP‐47; or c) as provided in Appendix 5 (March 31, 2012 School Siting Task Force Report). | Not applicable. |

|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| --- | --- | --- |
| (37) | F-107: Plan for provision of services to rural areas. | The District does not provide water to the rural area. |
| (38) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The capital improvement program (CIP) is adequate and appropriately focused with funding sources identified. |
| (39) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act and the Clean Water Act. | Yes, to the extent known, facilities and service are provided consistent with the federal laws. |
| (40) | F-209: Support rural levels of development and not facilitate urbanization. | Not applicable as the entire service area is urban. |
| (41) | F-210: Capital facility plans and improvement programs for services to unincorporated King County are consistent with the KCCP. | Yes, the CIP is consistent with the KCCP. |
| (42) | F-211: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (43) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (44) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies reuse programs. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (45) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs. | Yes, the District supports regional water supply coordination. |
| (46) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the County for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service areas. | The District is organized under Title 57 RCW and distributes water in unincorporated King County so the plan is subject to review and approval by the King County Council. The District is committed to meeting its duty to serve in its retail service area by direct service and has described in the plan its general terms of service. |
| (47) | F-243: Public drinking water system reservoirs and watersheds should be managed primarily to protect drinking water supplies, but allow multiple uses when not jeopardizing water quality; downstream uses including recreation, fish, and agricultural resources. | Not applicable. |
| (48) | F-244: Groundwater supplies should be protected by preventing land uses that may adversely affect quantity or quality. | The District prepared and updated a Wellhead Protection Program in 2012. The Wellhead Protection Program will be incorporated into the County’s critical areas ordinance with the next update to the KCCP. |
| (49) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, Endangered Species Act (ESA) response requirements and Clean Water Act requirements. | The District has several interties with utilities that are consistent with locally adopted comprehensive plans for the distribution of water to meet project growth demands. |
| (50) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County’s Water Reclamation Evaluation. | The District has more than 1,000 service connections and completed King County’s Water Reclamation Evaluation Checklist. |
| (51) | F-251: In its review of water system plans, the UTRC shall consider the criteria provided in KCC 13.24.010, 13.24.060, and 13.24.070, and determine the plan’s consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The County’s Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by King County, as specified in UTRC Guidance or checklists. | The UTRC did consider these issues and recommends approval of the Plan. |
| (52) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | The District is not planning to change its service area. |
| (53) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | Not applicable. |
| (54) | F-255: In the Urban Growth Area, all new development shall be served by public sewers with minor exceptions. | Yes, the District is prepared to serve the urban area. |
| (55) | F- 256: In the Urban Growth Area, King County and sewer utilities should jointly prioritize the replacement of on-site systems that serve existing development with public sewers, based on the risk of potential failure. King County and sewer utilities should analyze public funding options for such conversion and should prepare conversion plans that will enable quick and cost-effective local response to health and pollution problems that may occur when many on-site systems fail in an area. | Yes, the District has policies in place to ensure and encourage the use of the sanitary sewer system within the urban area. Extension of the sewer system will be primarily by developer extension agreements. The District acknowledges that many existing on-site systems exist within its service area. |
| (56) | F-259: Sewer facilities such as pump stations, force mains and trunk lines that do not provide connections to the rural area may be located in the rural area only when they are identified in a King County-approved comprehensive sewage system plan and upon a finding by King County that it is technically necessary in providing service to the Urban Growth Area. | Not applicable. |
| (57) | F-260: On-site facilities in rural and natural resource areas shall be designed, constructed, and operated as permanent facilities. | Not applicable. |
| (58) | F- 261: King County should monitor failing on-site systems and analyze options which may include connecting to sewerage systems where consistent with the King County Comprehensive Plan. | There is not a significant number of failing on-site systems within the District’s service area. |
| (59) | F-262: Collective on-site systems may only be used in rural and natural resource areas under specified conditions. | Not applicable. |