## STAFF REPORT

| Agenda Item: | 4 | Name: | Mike Reed |
| --- | --- | --- | --- |
| Proposed No.: | 2016-0137 | Date: | March 15, 2016 |

SUBJECT

An ordinance approving the Water District No. 119 Water System Plan.

SUMMARY

Proposed Ordinance 2016-0137 would approve the Water District No. 119 Water System Plan, meeting the requirement for a water and sewer district to operate in unincorporated King County.

BACKGROUND

Water District No. 119 owns and operates a water system that serves an area located in north King County east of the City of Duvall and north of the City of Carnation, on the King-Snohomish County border.

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of all  water and sewer comprehensive plans and related matters, and to determine whether the plan:

- is consistent with the King County Comprehensive Plan,

- is consistent with local comprehensive plans,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of KCC Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

Additionally, King County has adopted a Comprehensive Plan that includes policies F-101 through F-254, the applicable portions of which address water policies for facilities and services, calling for consistency with other adopted plans, pursuit of reclaimed water, water conservation, and protection of water resources.

UTRC ANALYSIS OF Water District No. 119 Water System Plan

The UTRC finalized its review of the Plan on January 20, 2016.  The UTRC found the Plan meets the requirements of KCC chapter 13.24 and has recommended its approval.  Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area:  The District’s service area, which encompasses 8,006 acres, consists of an irregular block of land to the east of the City of Duvall and north of the City of Carnation; the northern boundary of the service area is the King-Snohomish County line.  The District serves approximately 3.337 people, through about 1200 connections to its system.   The District serves three commercial accounts, one institutional account (the Stillwater Elementary School); the remaining connections are all single family residential.

Facilities:  The District’s water system includes five water storage tanks, five pump stations, and approximately 49 miles of pipe.  All of the District’s water is obtained from Seattle Public Utilities.

Growth: The District’s population is projected to increase from the current 3337 persons to between 3420 and 3490 persons in 2035, assuming full development of the District’s planning area.  Projected connections are expected to increase from the current 1209 connections, to between 1314 and 1342 connections by 2035.

System Improvements:  The Plan identifies a list of needed capital improvements ranging from a booster station upgrade to new storage tanks. a modest capital improvement program to meet future demand, with funding sources identified.  Total identified costs are $2,166,000; costs for three storage tank/pump station combinations were listed as unknown.

SEPA:  The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and as lead agency under SEPA, issued a determination of non-significance for the Plan on December 15, 2015. There were no appeals.

ATTACHMENTS

- Proposed Ordinance 2016-0137 (and its attachments)

- Transmittal Letter dated February 22, 2016

- Fiscal Note