Review of the City of Auburn 2016 
Comprehensive Sewer Plan (General Sewer Plan)

Service Area

The City of Auburn (City) owns and operates a municipal sewer system that primarily serves the City as well as unincorporated lands in King County contiguous with the City. The City is located in south central King County. The City’s system consists of 15 sewer pump stations, approximately 5,200 manholes, and approximately 200 miles of sewers and force mains. The City’s system is intended to collect and convey only sanitary flow, but the flow also includes rainfall-derived infiltration and inflow. The wastewater flow is conveyed to the King County Regional Wastewater System for treatment and disposal at the South Treatment Plant in Renton.

The communities that surround the City administer their own wastewater conveyance and collection systems. In the northeast corner of the City, within the Lea Hill sewer basin, are small areas served by the Soos Creek Water & Sewer District and the City of Kent. Auburn provides sanitary sewer service to property located on the eastern portion of Pacific’s municipal boundary, which lies in the vicinity of Auburn’s wastewater infrastructure. The Muckleshoot Indian Tribe’s reservation is located within and to the southeast of Auburn city limits. The City provides wastewater service to the Muckleshoot Indian Tribe’s property located outside city limits, outside the potential annexation area (PAA), and outside the Urban Growth Area. The Lakehaven Utility District provides service within a portion of the City’s West Hill Service Area. The City of Algona borders the City of Auburn to the southwest and provides sewer service to a small area in southwest Auburn, within the City limits and adjacent to Algona.

The City holds franchise number 14458 for wastewater collection; the franchise is current and expires in 2027. The legal descriptions of the areas covered by that agreement were updated through an amendment approved by the King County Council in January 2013.

The Plan contains a capital improvement plan with a six year cost of $ 11,590,000. The City also has a list of projects at a cost of $21,181,000 for construction between 2022 and 2035. The City identified funding sources for the proposed improvement projects which include rates, general facilities charges and bond proceeds.

Reclaimed Water

The City completed the King County reclaimed water checklist and there are no opportunities to use reclaimed water at this time.

# SEPA

The City completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of nonsignificance for the issuance of the Plan on May 6, 2015, with no appeals.

|  | A. General and sewer plan-specific: King County Code (KCC) 13.24.010 | Comments/findings |
| --- | --- | --- |
| (1) | Applicable to sewer utilities that provide sewer collection or treatment in unincorporated areas of King County and/or are component agencies of the regional wastewater system. | A portion of the City’s service area lies within unincorporated King County. The City is also a component agency of the regional conveyance and treatment system; review and approval of the plan is pursuant to KCC 13.24 and KCC 28.84.050. |
| (2) | Submitted every six years or sooner if required by the Washington State Department of Ecology (Ecology) whenever sewer conditions have changed significantly within the sewer service area. | The City’s last sewer plan was approved by Ordinance 16937 in 2010. |
| (3) | Meets criteria in Revised Code of Washington (RCW) chapter 90.48 as well as KCC as follows: (1) compliance with the development program and policies outlined in the King County Comprehensive Plan for sewage facilities; and (2) compliance with the basin-wide water and/or sewerage plan. | Yes. See the following for specifics on the various King County Comprehensive Plan policies applicable to wastewater plans and consistency with other planning processes. |
| (4) | Infrastructure for existing and future service areas based on adopted land use map. | Yes, for that portion of the service area in unincorporated King County, land use and zoning was appropriately used in determining the sewer demand projection. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes. The City used a new system hydraulic model to evaluate its collection capacity and concluded that there is adequate capacity to accommodate peak flows and anticipated growth to the year 2030. |
| (6) | Consistent with Washington Administrative Code (WAC) 173-240-050. | Yes, the Plan is consistent with WAC 173-240-050. The City is in the process of seeking plan approval from the Ecology. |
| (7) | Discuss the following: Existing and planned flows average and peak; Existing and planned flows for any basin discharging into county system; Amounts of inflow and infiltration (I/I), in comparison with county standard of 1,100 gallons per-acre-per-day (gpad), and steps being taken to reduce; Areas of concern regarding corrosion and odor control and steps being taken; Opportunities for reclaimed water; and Additional information required by the Utilities Technical Review Committee (UTRC). | All are discussed in the Plan: 1 and 2. The City’s population and I/I were projected for 6 and 20 years into the future to estimate sanitary wastewater flows. 3. The City has many basins that exceed the 1,100 gallons per acre per day King County I/I standard. The City will address I/I through the evaluation of its construction standards, annual repair and replacement (R&R) projects, and the development of projects to address large sources of I/I identified by maintenance staff. Furthermore, the City will include a project as part of the CIP that will monitor flows within the collection system over the next 5 years. The data collected will be used for future system capacity modeling and I/I assessment. 4. There were no issues identified with either corrosion or odor control. 5. The City supports King County’s planning efforts and has provided King County with potential use data regarding reclaimed water opportunities. 6. In its review of the Plan, the UTRC asked for additional information, which has been provided by the City either in the final Plan or in direct communication with the UTRC. |
|  | B. Public Sewer Service: 13.24.035 |  |
| (8) | All developments within Urban Growth Area (UGA) served by sewer unless on-site are allowed as temporary per KCC 13.24.136 and 13.08.070. | Yes. Although the City’s service area is largely developed, there are currently many areas within city limits that are served by onsite systems (septic tanks) or are undeveloped. The City estimated construction cost to extend service to all parts of the city to be around $140 million. In general, such future extensions would be constructed by future development or by the properties benefiting from such extensions. |
| (9) | Public sewer provided in rural towns if approved by King County. | There are no rural towns in the City’s sewer service area. |
| (10) | No public sewer service outside UGA unless authorized under KCC 13.24.134. | All of the City’s sewer service area is within the UGA except for that portion on the Muckleshoot Indian Reservation. Sewer service is consistent with KCC 13.24.035. |
| (11) | Required elements of sewerage general plan, as called for in RCW 36.94.010(3), are included in King County Comprehensive Plan and Technical Appendix. | Yes, the Plan has the general location and description of treatment and disposal facilities, trunk and interceptor sewers, pumping stations, monitoring and control facilities, local service areas, and preliminary engineering in adequate detail to assure technical feasibility and, to the extent known, the methods of distributing the cost and expense of the system and the economic feasibility of plan implementation. |
|  | C. Consistency requirements: 13.24.060 |  |
| (12) | State and local health requirements. | The Plan has not yet been reviewed and/or approved by Ecology. The UTRC review process included a representative of Public Health-Seattle and King County. |
| (13) | Elimination or prevention of duplicate facilities. | The City has written agreements with other sewer providers regarding areas to be served in order to avoid overlapping jurisdiction and to ensure efficiency in the use of existing facilities. |
| (14) | Promotion of most healthful and reliable services to the public. | Yes. |
| (15) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Currently the City’s charges are affordable at roughly 1.5 percent of median household income. In general, the City collects revenues in excess of expenditures. |
| (16) | Reduction of number of entities providing sewer service in King County. | The City has written agreements with other sewer providers regarding areas to be served in order to avoid overlapping jurisdiction and to ensure efficiency in the use of existing facilities. |
| (17) | Basin wide or multibasin water plans, sewerage plans, or both when approved by Ecology or Washington State Department of Health (DOH). | The City is aware of, and supports, the planning done for the Green River basin for salmon recovery purposes. The City is part of the regional wastewater system managed by King County. |
| (18) | Applicable state water quality, water conservation (e.g., RCW 90.48.495), and waste management standards. | Yes. As the City implements more water conservation programs, there may be a minimal impact on the operation of the sewer system. |
| (19) | Growth Management Act (GMA) (RCW 36.70A). | Yes, the Plan is consistent with the King County Comprehensive Plan. The Plan is an element of the City’s Comprehensive Plan. |
| (20) | Groundwater Management Plans. | The Plan does not reference the groundwater aquifer protection plan and/or how the sewer system impacts it. |
| (21) | Federally-approved habitat conservation plans and recovery plans under Endangered Species Act (ESA), and other plans, including regional water supply or water resource management plans. | The Plan makes no reference to the salmon recovery efforts within the watershed. However, the City has participated in the salmon recovery effort for Water Resource Inventory Area 9. There is no applicable regional water supply plan. The Plan is consistent with water resource management plans for the basin. |
| (22) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | Yes, the City supports King County’s planning effort and completed the King County Reclaimed Water Checklist. |
| (23) | Sewer facilities allowed crossing rural areas only under certain conditions and only for schools or public health emergencies, under certain conditions. KCC 13.24.132. | Complies with the KCC. No rural areas within the City’s service area. |
| (24) | State Environmental Policy Act documentation. | Determination of nonsignificance issued by the City on May 6, 2015, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (25) | CA-5, CA-6, and E-466: adopt policies to protect the quantity and quality of groundwater, and develop strategies to compensate or mitigate for losses. | The City has adopted groundwater protection measures under the GMA and has mapped its, and other, water supply wells within the sewer service area. Providing sewer service to properties without service consistent with the Plan may increase groundwater protection. |
| (26) | CO-7: water reuse and reclamation shall be encouraged, especially for high water users. | See number 22. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (27) | F-104: plan for provision of services to rural areas. | There are no rural areas within the City’s service area except for portions of the Muckleshoot Indian Reservation that are not under King County land use jurisdiction. |
| (28) | E-105: protect critical habitat. | Not applicable. |
| (29) | E-434: management and protection of water resources by King County through incentives, regulations, and programs. | Not applicable. |
| (30) | E-477: protect and enhance surface waters, including Puget Sound. | Not applicable. |
| (31) | F-105: work with cities and service providers to provide services. | Yes, the City has agreements with neighboring service providers to ensure coordinated service. |
| (32) | F-202: ensure adequate supply of public facilities to support communities. | Yes. The City included review and incorporation of information from the most recent King County Comprehensive Plan. |
| (33) | F-203: work with cities, special purpose utilities, and other service providers to define regional and local services and determine appropriate providers. | Yes. The City has written agreements with local governments and special purpose utilities regarding service provision and coordination with other systems. |
| (34) | F-207: funding for growth should support facilities needed within UGAs, prioritized and coordinated through capital improvement programs (CIP), to comply with concurrency requirements. | Funding sources are identified to support identified needs, including facilities to serve anticipated population growth under local comprehensive plans. Extension of the sewer system will be primarily by developer extension agreements. |
| (35) | F-208: support rural levels of development and not facilitate urbanization. | There are no rural areas within the City’s service area. |
| (36) | F-210: coordinate development of utility facilities. | Yes, see 34. |
| (37) | F-212: King County’s CIP demonstrates that projected needs for facilities and services can be met within the UGA in compliance with concurrency requirements; where not possible, identify strategies including phasing and financing. | Yes. The City’s CIP identifies facilities and a funding strategy to ensure that it will meet anticipated demands. |
| (38) | F-213: water and sewer utilities that provide services to unincorporated King County shall prepare capital facility plans consistent with requirements of GMA and King County Comprehensive Plan. | Yes. |
| (39) | F-215: King County to initiate sub-area planning process where any service provider declares, in its CIP, an inability to accommodate projected service needs within their service area. | Not applicable. |
|  | F-217: where an area wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | Not applicable. |
| (41) | F-245: all development within UGA to be served by public sewers, with some limited exceptions. | Yes, the City has policies in place to ensure and encourage the use of the sanitary sewer system within the urban area. Extension of the sewer system will be primarily by developer extension agreements. |
| (42) | F-246: King County and sewer utilities should jointly plan for phasing out of on-site systems within UGA. | The City acknowledges that many on-site systems exist within its service area and has policies in place to phase out their use over time. |
| (43) | F-249: public sewers may only be extended into rural and natural resource areas under limited conditions, only if they are tightlined, and only after specific findings are made; utilities shall have written agreements to ensure this; permitted public sewers shall not be allowed to convert rural or natural resource lands to urban uses and densities or to expand permitted nonresidential uses. | There are no rural areas within the sewer service area. |
| (44) | F-250: facilities, such as pump stations, force mains, and trunk lines, which do not serve rural areas, may only be located in rural areas if they are identified in county-approved plans, and with a finding that such facilities are necessary to serve UGA. | Yes, the City’s facilities are consistent with the policy. |
| (45) | F-251: on-site facilities in rural and natural resource areas shall be designed, constructed, and operated as permanent facilities. | Not applicable. There are no rural or natural resource areas within the City. |
| (46) | F-252: King County should monitor failing on-site systems and analyze options which may include connecting to sewerage systems where consistent with the King County Comprehensive Plan. | There is no significant number of failing on-site systems within the City’s service area of unincorporated King County. |
| (47) | F-253: collective on-site systems may only be used in rural and natural resource areas under specified conditions. | Not applicable. No rural or natural resource areas within the City. |