| Review of the Highline Water District Water System Plan Final August 2016 |
| --- |
| Service Area The Highline Water District (District) owns and operates a water system located in the south west part of King County. The District, formerly King County Water District 75, incorporated in 1946. A number of mergers, annexations and withdrawals have occurred over its history as it evolved into its current configuration. Between 1962 and 1965, the District annexed the South Seattle Water Company in the McMicken Heights area and the Star Lake Water Cooperative. The District continued to grow in the 1970s and 1980s, merging with Water District No. 4 in 1979, the Northern portion of Water District No. 56 in 1987 and the Normandy Park Water Company in 1989. It became known as Highline Water District in 1991. As of 2015, the District served approximately 18,200 accounts, a population of approximately 70,000 people and 28,000 employees. The Retail Water Service Area (RWSA) encompasses approximately 18 square miles and extends generally from Interstate Highway 5 on the east to the Puget Sound on the west, and from State Route 518 on the north to South 284th Street on the south. The District RWSA includes portions of the Cities of Burien, Des Moines, Kent, Federal Way, Normandy Park, SeaTac and Tukwila, as well as unincorporated King County. The District owns and operates a multi-source water system than includes supply, treatment, storage, and distribution of potable water to residential, commercial, governmental/educational and irrigation customers with water sources including four groundwater wells and water from the Seattle Public Utilities (SPU) regional system. Approximately 65 percent of the water consumed by District customers was purchased from SPU. Single-family residential land use is the predominant water use in the area, with considerable commercial and multi-family development over the past decade. The total number of accounts grew only slightly during the period from 2005 through 2013. The District’s total annual water use decreased slightly from 2,457 million gallons (MG) in 2005 to 2,160 MG in 2013. The average day demand was 6.28 million gallons per day (mgd) and average peak day demand was 11.22 mgd for the planning period. The peaking factor is 1.73, which is reasonable. The average daily use for a residential connection was 171 gallons per day (gpd). The average daily single family residential water consumption dropped steadily since 2006 when it was 187 gpd, to 158 gpd in 2013. The District’s Capital Improvement Plan recommends improvements totaling approximately $118 million over the next 20 years, which is $5.9 million annually. Of the total cost, $41 million is budgeted for the short-term phase, $23 million is budgeted for the mid-term phase, and $54 million is budgeted for the long-term phase. The District’s sources of revenue include rate revenues, existing reserves, connection charges, debt financing, grants, and developer contributions. The 20-year capital funding plan identifies 94.75 percent cash funding for capital projects. The remaining capital costs are projected to be covered by Sound Transit contributions. Reclaimed Water The District did complete King County’s Water Reclamation Evaluation Checklist. Opportunities for use of reclaimed water are limited. SEPA The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency under SEPA, issued a determination of nonsignificance for the approval of the Plan on March 9, 2016. There were no appeals. |
|  | A. General, water and sewer plan specific King County Code (KCC) 13.24.010 | Comments/findings |
| (1) | The code is applicable to water utilities that obtain water in unincorporated areas and provide service in unincorporated areas of King County. | The District distributes water in unincorporated areas of King County, making review under KCC 13.24 and chapter 57.16 RCW appropriate. |
| (2) | Water system plans should be submitted every six years or sooner if required by the Washington State Department of Health (DOH). | The District’s last water plan was approved in 2009. The District submitted the Plan to the DOH in 2016 and will seek approval of the Plan. |
| (3) | The infrastructure for existing and future service areas based on adopted land use map. | Yes, King County land use and zoning maps were appropriately used in determining the water demand projections. |
| (4) | The Plan contains sufficient information to demonstrate the ability to provide services consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates that the District has ample water supply to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. |
| (5) | The Plan is consistent with Washington Administrative Code (WAC) 246-290-100 for the water service. | Yes, the Plan is consistent with the applicable rules. |
|  | B. Consistency requirements: 13.24.060 |  |
| (6) | King County Code related to the installation of fire hydrants and water mains. | Yes, the Plan proposes to provide adequate fire flow for the urban areas. |
| (7) | State and local health requirements. | The Plan has not yet been approved by DOH. The UTRC review process included a representative of Public Health-Seattle and King County. |
| (8) | Elimination or prevention of duplicate facilities. | The District has written agreements with other water providers regarding areas to be served in order to avoid overlapping jurisdiction and to ensure efficiency in the use of existing facilities. |
| (9) | Promotion of most healthful and reliable services to the public. | Yes. |
| (10) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Currently, the District charges a rate that is in the affordable range. |
|  | C. King County Comprehensive Plan (KCCP) – consistency with provisions and specific policies |  |
| (11) | Consistency with the KCCP and applicable County plans and policies including the Flood Hazard Management Plan and Emergency Response Plan. | Yes, the Plan is consistent with the applicable comprehensive plans. |
| (12) | Consistency with the Coordinated Water System Plans adopted in KCC 13.28. | Yes, the Plan is consistent with the South King County Coordinated Water System Plan. Wherever feasible, the District may encourage satellite management as a part of its services within its service area. |
| (13) | Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology or the Washington State Department of Health. | Not applicable. |
| (14) | Applicable state water quality, water conservation (e.g., chapter 90.54 RCW and RCW 90.48.495), and waste management standards. | Yes. The District implements the minimum water conservation program. |
| (15) | Growth Management Act; chapter 36.70A RCW. | Yes, the Plan is consistent with the Growth Management Act. See specific policies below. |
| (16) | Groundwater Management Plans. | The District has updated its Wellhead Protection Program. The Wellhead Protection Areas have been or will be incorporated into the City and County critical aquifer recharge areas under the Growth Management Act. |
| (17) | Federally-approved habitat conservation plans and recovery plans under Endangered Species Act, and other plans, including regional water supply or water resource management plans. | The District is aware of, and supports, the planning done for the Green River Salmon Conservation and Restoration Plan. There is no active applicable regional water supply plan. |
| (18) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | Yes, the District evaluated reclaimed water use opportunities. |
| (19) | State Environmental Policy Act documentation. | The District completed a SEPA checklist and issued a determination of nonsignificance for approval of the plan on March 9, 2016, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (20) | DP‐13: All jurisdictions shall plan to accommodate housing and employment targets. This includes: “Coordinating water, sewer, transportation and other infrastructure plans and investments among agencies, including special purpose districts;…”. | Yes, the District does this. |
| (21) | PF‐4: Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | The District obtains water supply from the Cedar River through Seattle Public Utilities and has a reasonable plan for long-term water supply to meet projected growth. The Plan does not discuss climate change impacts on water supply. Seattle Public Utilities has evaluated climate change impacts to the regional supply system and has a plan to address change in watershed water yield. |
| (22) | PF‐5: Support efforts to ensure that all consumers have access to a safe, reliably maintained, and sustainable drinking water source that meets present and future needs. | Yes, the District does this. |
| (23) | PF‐6: Coordinate water supply among local jurisdictions, tribal governments, and water purveyors to provide reliable and cost‐effective sources of water for all users, including residents, businesses, fire districts, and aquatic species. | The District has agreements in place with Cities of Burien, Des Moines, Kent, Federal Way, Normandy Park, SeaTac and Tukwila regarding utility coordination. |
| (24) | PF‐7: Plan and locate water systems in the Rural Area that are appropriate for rural uses and densities and do not increase the development potential of the Rural Area. | Not applicable. |
| (25) | PF‐8: Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | The District has agreements with neighboring utilities for emergency situations. |
| (26) | PF‐9: Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | The District’s three-year average distribution system loss is 9 percent which is below the action level of 10 percent. |
| (27) | PF‐10: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | See 18. The District completed King County’s Water Reclamation Evaluation Checklist. There are no opportunities to use reclaimed water at this time. |
|  | KING COUNTY COMPREHENSIVE PLAN (KCCP) POLICIES |  |
| (28) | F-107: Plan for provision of services to rural areas. | Not applicable. |
| (29) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The capital improvement program (CIP) is adequate and appropriately focused with funding sources identified. |
| (30) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act (ESA) and the Clean Water Act. | Yes, to the extent known, facilities and service are provided consistent with the federal laws. |
| (31) | F-209: Support rural levels of development and not facilitate urbanization. | Not applicable as the District serves only the urban area. |
| (32) | F-210: Capital facility plans and improvement programs for services to unincorporated King County are consistent with the KCCP. | Yes, the CIP is consistent with the KCCP. |
| (33) | F-211: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (34) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (35) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies reuse programs. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (36) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs. | Yes, the District supports regional water supply coordination. |
| (37) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the County for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service areas. | The District is a special purpose district under Title 57 RCW. The District also obtains and distributes water in unincorporated King County, so the plan is subject to review and approval by the King County Council. |
| (38) | F-248 King County shall partner with utilities to publicize water conservation and encourage best management practices that conserve potable water supply through measures that include use of alternative supplies such as reclaimed water. | Yes, the County will do this. |
| (39) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, and response requirements of ESA and Clean Water Act. | The Plan is consistent with the South King County Coordinated Water System Plan. |
| (40) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County’s Water Reclamation Evaluation. | The District did an evaluation of reclaimed water use. Reclaimed water use is not feasible at this time. |
| (41) | F-251: In its review of water system plans, the UTRC shall consider the criteria provided in KCC 13.24.010, 13.24.060, and 13.24.070, and determine the plan’s consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The County’s Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by King County, as specified in UTRC Guidance or checklists. | The UTRC did consider these issues and recommends approval of the Plan. |
| (42) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | The District is not planning to change its service area. |
| (43) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | Not applicable. |
| (44) | F-254: Groundwater-based public water supplies should be protected by preventing land uses that may adversely affect groundwater quality or quantity to the extent that the supply might be jeopardized. The County shall protect the quality and quantity of groundwater used as water supplies through implementation of Policies E-493 through E-497 where applicable. | The County does this. |