Review of the Lakehaven Water & Sewer District 2015 Comprehensive Wastewater System Plan March 2017 Final

Service Area The Lakehaven Water & Sewer District (District) provides sewer collection and treatment for unincorporated areas of King County. The District is situated between Puget Sound and the Green River Valley, in southwestern King County. The boundary of the District has expanded over time and now generally extends from 56th and 59th Avenues South on the east to the King - Pierce County boundary and the Puget Sound on the west, and from South 272nd Street on the north to Pierce County on the south. The sanitary sewer service area encompasses approximately 34 square miles and includes a residential population of more than 130,000 people, making it one of the largest special purpose districts in the State of Washington. The District’s corporate boundary is slightly larger than the existing sewer service area. The District currently serves within the corporate limits of ten jurisdictions including the cities of Federal Way, Des Moines, Kent, Auburn, Pacific, Edgewood, Milton, and Tacoma and unincorporated King and Pierce Counties. The entire corporate boundary of the District is within the urban growth area. Sewer System The District owns and operates two wastewater treatment facilities for the treatment and disposal of the majority of the wastewater flows generated within the District. The District relies on its connections with Pierce County, King County, and the Midway Sewer District for the treatment and disposal of wastewater flows from areas around the perimeter of the District. A small portion of Midway Sewer District's wastewater flow is collected and treated by the District. The District maintains 325 miles of sanitary sewer system mains, 8,984 manholes, 28 pump stations, and five siphon locations along with the two treatment plants. The District currently has 100 employees that serve approximately 26,000 wastewater system connections, 86 percent of which are residential customers. The District’s Capital Improvement Plan for conveyance and treatment improvements projects expenditures of $47,430,000 over the next six-year time period. Reclaimed Water The District supports the assessment of reclaimed water users and has outlined a long-term conceptual plan for providing reclaimed water to customers where it is found to be cost-effective. In 2015, the District assessed the potential reclaimed water users and evaluated a conceptual plan for delivery of reclaimed water. At present, reclaimed water is produced at both wastewater treatment plants in quantities sufficient for use within each plant. Opportunities for use of reclaimed water include surface irrigation, groundwater recharge by surface relocation, stream flow augmentation through wetlands, direct aquifer recharge and applications in industrial or institutional settings. SEPA The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency under SEPA, issued a determination of nonsignificance for the approval of the Plan on November 22, 2016. There were no appeals.

|  | A. General and sewer plan-specific King County Code (KCC) 13.24.010 | Comments/findings |
| --- | --- | --- |
| (1) | Applicable to sewer utilities that provide sewer collection or treatment in unincorporated areas of King County, are component agencies of the regional wastewater system, or are Districts organized under chapter 57.16 Revised Code of Washington (RCW). | The District provides sewer collection or treatment in unincorporated areas of King County, making review under KCC 13.24 appropriate. The District is a component agency of the regional wastewater system and review pursuant to KCC 28.84.050 is also applicable. The District is organized under title 57 RCW and chapter 57.16 RCW requires approval of their plan by the King County Council. |
| (2) | Submitted every six years or sooner if required by the Washington State Department of Ecology (DOE) whenever sewer conditions have changed significantly within the sewer service area. | The District’s last wastewater plan was approved by King County in 2010; Ordinance 16841. The District is seeking plan approval from the Department of Ecology. |
| (3) | Meets criteria in Revised Code of Washington (RCW) chapter 90.48 as well as KCC as follows: (1) compliance with the development program and policies outlined in the King County Comprehensive Plan for sewage facilities; and (2) compliance with the basin-wide water and/or sewerage plan. | Yes. See the following for specifics on the various King County Comprehensive Plan policies applicable to wastewater plans and consistency with other planning processes. |
| (4) | The infrastructure for existing and future service areas based on adopted land use map. | Yes, King County land use and zoning was appropriately used in determining the wastewater demand projections for that portion of the service area that overlays unincorporated areas. |
| (5) | The Plan contains sufficient information to demonstrate the ability to provide services consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, for that portion of the service area in unincorporated King County land use and zoning was appropriately used in determining the sewer demand projection. |
| (6) | The Plan is consistent with chapter 173-240 Washington Administrative Code (WAC) for the wastewater service. | Yes, the Plan is consistent with the applicable rule. |
| (7) | The Plan discusses the following: Existing and planned flows average and peak; Existing and planned flows for any basin discharging into County system; Amounts of inflow and infiltration (I/I), in comparison with County standard of 1,100 gallons per-acre-per-day (gpad), and steps being taken to reduce; Areas of concern regarding corrosion and odor control and steps being taken; Opportunities for reclaimed water; and Additional information required by the Utilities Technical Review Committee (UTRC). | All are discussed in the Plan: 1, 2, & 3. The planned wastewater flow of 128 gallons per household per day and 430 gallons per acre per day for infiltration and inflow. 4. There were no issues identified with either corrosion or odor control. 5. The District supports King County’s planning efforts regarding reclaimed water opportunities and completed an evaluation of the use of reclaimed water from their treatment plants. |
| (8) | The Plan is lists all establishments producing industrial wastewater, the quantity of wastewater and periods of production, and the character of the industrial wastewater insofar as it may affect the sewer system or treatment plant? See WAC 173-240-050 | The District does not have any permitted entities that produce industrial wastewater. |
|  | B. Public Sewer Service: 13.24.035 |  |
| (9) | All developments within Urban Growth Area shall be served by sewer unless on-site systems are allowed as temporary per KCC 13.24.136 and 13.08.070. | The District is entirely within the Urban Growth Area and it plans to eventually serve the entire area. |
| (10) | Public sewer is provided in rural towns if approved by King County. | Not applicable. |
| (11) | No public sewer service outside Urban Growth Area unless authorized under KCC 13.24.134. | Not applicable. |
| (12) | Required elements of sewerage general plan, as called for in RCW 36.94.010(3), are included in King County Comprehensive Plan and Technical Appendix. | Yes, the Plan has the general location and description of treatment and disposal facilities, trunk and interceptor sewers, pumping stations, monitoring and control facilities, local service areas, and preliminary engineering in adequate detail to assure technical feasibility and, to the extent known, the methods of distributing the cost and expense of the system and the economic feasibility of plan implementation. |
|  | C. Consistency requirements: 13.24.060 |  |
| (13) | State and local health requirements. | The Plan has not yet been reviewed and/or approved by the Department of Ecology. The UTRC review process included a representative of Public Health-Seattle and King County. |
| (14) | Elimination or prevention of duplicate facilities. | The District has written agreements with other sewer providers regarding areas to be served in order to avoid overlapping jurisdiction and to ensure efficiency in the use of existing facilities. |
| (15) | Promotion of most healthful and reliable services to the public. | Yes. |
| (16) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Yes, the District charges a rate that is in the affordable range. In general, the District collects revenues in excess of expenditures. |
| (17) | Reduction of number of entities providing sewer service in King County. | The District has written agreements with other sewer providers regarding areas to be served in order to avoid overlapping jurisdiction and to ensure efficiency in the use of existing facilities. |
| (18) | Consistency with the King County Comprehensive Plan and applicable County plans and policies including the Flood Hazard Management Plan and Emergency Response Plan. | Yes, the Plan is consistent with the applicable comprehensive plans. |
| (19) | Basin wide or multibasin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology or the Washington State Department of Health. | The District is both part of the regional wastewater system managed by King County and owns and operates two treatment plants. There is no applicable basin wide water plan. |
| (20) | Applicable state water quality, water conservation (e.g., chapter 90.54 RCW and RCW 90.48.495), and waste management standards. | Yes. As the District implements water conservation programs, there may be a minimal impact on the operation of the sewer system. |
| (21) | Growth Management Act; chapter 36.70A RCW. | Yes, the Plan is consistent with the Growth Management Act. See specific policies below. |
| (22) | Federally-approved habitat conservation plans and recovery plans under Endangered Species Act, and other plans, including regional water supply or water resource management plans. | The District is aware of, and supports, the planning done for salmon recovery purposes. |
| (23) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | The District supports ongoing assessment of potential reclaimed water users and has outlined a long-term conceptual plan for providing reclaimed water to customers where it is found to be cost-effective. In 2015, the District assessed the potential reclaimed water users and evaluated a conceptual plan for delivery of reclaimed water. At present, reclaimed water is produced at both wastewater treatment plants in quantities sufficient for use within each plant. Cost-effective commercial customers have yet to be identified. Opportunities for use of reclaimed water include surface irrigation, groundwater recharge by surface relocation, stream flow augmentation through wetlands, direct aquifer recharge and applications in industrial or institutional settings. |
| (24) | Sewer facilities allowed to cross rural areas only under certain conditions and only for schools or public health emergencies, under certain conditions. KCC 13.24.132. | Not applicable |
| (25) | State Environmental Policy Act documentation. | Determination of nonsignificance issued by the District on November 22, 2016, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (26) | G‐4: Adopt comprehensive plans that are consistent with the Countywide Planning Policies as required by the Growth Management Act. | The District’s plan is consistent with the Countywide Planning Policies as required by the Growth Management Act. |
| (27) | EN-1: Incorporate environmental protection and restoration efforts into local comprehensive plans to ensure that the quality of the natural environment and its contributions to human health and vitality are sustained now and for future generations. | The District does this. |
| (28) | EN-19 Promote energy efficiency, conservation methods and sustainable energy sources to support climate change reduction goals. | The District does this. |
| (29) | DP-13 All jurisdictions shall plan to accommodate housing and employment targets. This includes: Adopting comprehensive plans and zoning regulations that provide capacity for residential, commercial, and industrial uses that is sufficient to meet 20-year growth needs and is consistent with the desired growth pattern described in VISION 2040; Coordinating water, sewer, transportation and other infrastructure plans and investments among agencies, including special purpose districts; and Transferring and accommodating unincorporated area housing and employment targets as annexations occur. | The District is planning to accommodate housing and employment targets for the jurisdictions within which it serves. |
| (30) | DP-21 Coordinate the preparation of comprehensive plans among adjacent and other affected jurisdictions as a means to avoid or mitigate the potential cross-border impacts of urban development. | The District does this. |
| (31) | PF‐1 Provide a full range of urban services in the Urban Growth Area to support the Regional Growth Strategy and adopted growth targets and limit the availability of services in the Rural Area consistent with VISION 2040. | The provision of sewer service by the District furthers the goals of the GMA. |
| (32) | PF‐2 Coordinate among jurisdictions and service providers to provide reliable and cost effective services to the public. | The District does this. |
| (33) | PF‐11: Require all development in the Urban Growth Area to be served by a public sewer system with minor exceptions. | Yes, the District is committed to serving the Urban Growth Area. |
| (34) | PF‐12: Prohibit sewer service in the Rural Area and on Resource Lands except: a) where needed to address specific health and safety problems threatening existing structures; or b) as allowed by Countywide Planning Policy DP‐47; or c) as provided in the School Siting Task Force Report. | Not applicable. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (35) | F-101: King County, the cities, special purpose districts or local service providers shall plan as partners. King County’s planning will focus on unclaimed urban unincorporated areas and cities’ Potential Annexation Areas. | The District and County do plan as partners. |
| (36) | F-107: Plan for provision of services to rural areas. | Not applicable as the entire District is in the urban area. |
| (37) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The capital improvement program (CIP) is adequate and appropriately focused with funding sources identified. |
| (38) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act and the Clean Water Act. | Yes, to the extent known, facilities and service are provided consistent with federal laws. |
| (39) | F-204: King County should work with the cities, special purpose districts and other service providers to define regional and local services and to determine the appropriate providers of those services. | The District and County do plan as partners. |
| (40) | F-209: Support rural levels of development and not facilitate urbanization. | Not applicable. |
| (41) | F-210: Capital facility plans and improvement programs for services to unincorporated King County are consistent with the KCCP. | Yes, the CIP is consistent with the KCCP. |
| (42) | F-211: Reduce overall public costs, noise, climate change impacts and disruption to the local area during construction, installation of new or maintenance of existing utility facilities by timing and coordinating projects that use the public rights-of-way and easements, where possible. | Yes, to the extent applicable, King County will do this. |
| (43) | F-212: King County’s capital facility plans should identify financing strategies to support its adopted 20-year growth target and land use plan. | The District’s plan identifies financing strategies to support the CIP and operate the system. |
| (44) | F-214: School districts that choose to have the county collect impact fees for them, and water and sewer utilities that provide their services to unincorporated King County, shall prepare capital facility plans consistent with requirements of the Growth Management Act, the Countywide Planning Policies and King County Code. | Not applicable. |
| (45) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (46) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies reuse programs. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (47) | F-255: In the Urban Growth Area, all new development shall be served by public sewers with minor exceptions. | Yes, the District is prepared to serve the urban area. |
| (48) | F- 256: In the Urban Growth Area, King County and sewer utilities should jointly prioritize the replacement of on-site systems that serve existing development with public sewers, based on the risk of potential failure. King County and sewer utilities should analyze public funding options for such conversion and should prepare conversion plans that will enable quick and cost-effective local response to health and pollution problems that may occur when many on-site systems fail in an area. | Yes, the District has policies in place to ensure and encourage the use of the sanitary sewer system within the urban area. Extension of the sewer system will be primarily by developer extension agreements. The District acknowledges that thousands of on-site systems exist within its service area. |
| (49) | F-259: Sewer facilities such as pump stations, force mains and trunk lines that do not provide connections to the rural area may be located in the rural area only when they are identified in a King County-approved comprehensive sewage system plan and upon a finding by King County that it is technically necessary in providing service to the Urban Growth Area. | Not applicable. |
| (50) | F-260: On-site facilities in rural and natural resource areas shall be designed, constructed, and operated as permanent facilities. | Not applicable. |
| (51) | F- 261: King County should monitor failing on-site systems and analyze options which may include connecting to sewerage systems where consistent with the King County Comprehensive Plan. | There is not a significant number of failing on-site systems within the District’s service area. |
| (52) | F-262: Collective on-site systems may only be used in rural and natural resource areas under specified conditions. | Not applicable. |