Review of the Northwest Water Systems Satellite Management Agency Plan, March 2011

Satellite Management Agency A satellite management agency (SMA) is defined as a person or entity that is certified by the secretary of the Washington State Department of Health to own or operate more than one public water system on a regional or countywide basis, without the necessity for a physical connection between such systems. Northwest Water Systems (NWS) is an investor owned utility operating for profit in the business of managing and operating public water systems in the State. NWS has been in business for years primarily in the southwest part of the state and on the Olympic Peninsula. The company desires to provide its services in King County and therefore submitted its Satellite Management Agency Plan for approval by the King County Council. The State has a specific rule that provides direction on the comprehensive planning done for an SMA in chapter 246-295 Washington Administrative Code. The requirements for such plans are different than the requirements for city or special district plans. Service Area The area authorized for service will be the entire county. NWS will not hold any franchise. If a franchise is needed for the operation of a managed public water system, NWS is available to assist the water purveyor in obtaining a franchise. Water Use Efficiency The individual water systems managed by the company will meet the water use efficiency requirements in the Washington Administrative Code. Reclaimed Water and Regional Planning NWS believes its market will be small Group A public water systems that will not meet the threshold for conducting an evaluation of the opportunities to use reclaimed water. If any system under management of the company is required to assess the opportunities to use reclaimed water, NWS has said the evaluation will be done. State Environmental Policy Act (SEPA) Approval of the plan is exempt from the requirements of SEPA.

| A review of the specific statutes, rules, codes, and policies to the water system plan is as follows: |
| --- |
|  | A. General and water and sewer plan: King County Code (KCC) 13.24.010; 13.28 | Comments/findings |
| (1) | Review is applicable to water utilities that desire to obtain or distribute water in unincorporated King County. Are the consistency requirements of RCW 43.20.260 applicable? | Yes, NWS’s plan is subject to King County Council approval under KCC 13.24. The Washington State Department of Health (DOH) also needs to assure consistency for the Plan under RCW 43.20.260 and will use the King County Council approval of the plan as evidence of the needed consistency. |
| (2) | Consistency with King County Comprehensive Plan (KCCP) and Development regulations, and policies including KCC 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | Yes, the NWS Plan is consistent. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | Not applicable as no specific utility is under management by NWS at this time. For any plan that NWS assists a utility in creating, the infrastructure will be based on adopted land use maps. |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility’s approved plan, and ability to meet duty to serve requirement. | Not applicable. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the plan demonstrates an ability to provide service consistent with applicable statutes, codes and regulations. |
| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved Coordinated Water System Plan (CWSP). | Not applicable to a satellite management agency plan. |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | State and local health requirements. | Yes. |
| (8) | Creation and maintenance of logical service areas. | Yes, the proposal to provide service county-wide is logical. |
| (9) | Elimination or prevention of duplicate facilities. | Yes. For the systems it will manage NWS intends to provide service by means of direct connection. At this time Washington Water Service is the only approved county-wide SMA and approving NWS for the function will provide competition in that business sector. |
| (10) | Promotion of most healthful and reliable services to the public. | Yes. Water to be purveyed by NWS will comply with DOH requirements. |
| (11) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Yes, NWS’s rates for water service are comparable to the rates charged by similar utilities. |
| (12) | KCCP and other pertinent county adopted plans and policies. | Yes, there is consistency between the plan and KCCP. |
| (13) | Basin-wide or multibasin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (Ecology) or DOH. | Not applicable to an SMA plan. |
| (14) | Applicable state water quality, water conservation, and waste management standards. | Yes, applicable standards will be met for systems under NWS’s management. |
| (15) | Water Resources Act (RCW 90.54). | Not applicable to an SMA plan. |
| (16) | Growth Management Act (GMA) (RCW 36.70A). | Yes the NWS plan is consistent with existing laws albeit the GMA is not directly applicable given the company is proposing management existing systems. |
| (17) | Groundwater management plans. | Not applicable to an SMA plan although NWS has said that it will ensure that any systems it manages that use groundwater will be consistent with the Groundwater management plans. |
| (18) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | No mention of this in the Plan. |
| (19) | Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | Not applicable to an SMA plan. |
| (20) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW and CO-7. | Not applicable to an SMA plan. |
|  | C. King County Comprehensive Plan—consistency with provisions and specific policies (Water System Plan) |  |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (21) | FW-5: management of resources for multiple beneficial uses, including flood and erosion hazard reduction. | Not applicable to an SMA plan. |
| (22) | FW-12(c): ensure sufficient water supply for growth and fish habitat needs through long-term planning. | Not applicable to an SMA plan. |
| (23) | CA-5, CA-6, and E-434 and policies to protect quantity and quality of groundwater. | Not applicable to an SMA plan although NWS has said that it will ensure that any systems it manages that use groundwater will be consistent with policies to protect quantity and quality of groundwater. |
| (24) | CO-5: water supply shall be regionally coordinated. | Not applicable to an SMA plan. |
| (25) | CO-6: aggressive conservation efforts shall be implemented. | Not applicable to an SMA plan, however NWS stated that for any system it manages a conservation program will be in place that meets minimum state requirements. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (26) | F-102: King County will provide or manage countywide services, which include wastewater, water resource management, surface water management, flood warning and floodplain management, protection and preservation of natural resource lands. | Yes, the approval of another SMA in the County is a way to provide opportunities for small systems to be managed professionally. |
| (27) | F-104: plan for provision of services to rural areas. | Yes, the NWS plans to provide its services county-wide. |
| (28) | F-105: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | Not applicable to an SMA plan. |
| (29) | F-201: all facilities and services should be provided in compliance with provisions and requirements of the ESA. | Not applicable to an SMA plan. |
| (30) | F-202: ensure adequate supply of public facilities to support communities. | Yes, the approval of another SMA in the County is a way to provide opportunities for small systems to be managed professionally. |
| (31) | F-203: King County will work with cities, special purpose districts, and other service providers to define regional and local services and determine appropriate providers. | Yes. |
| (32) | F-208: support rural levels of development and not facilitate urbanization. | Not applicable to an SMA plan. |
| (33) | F-209 and F-212: capital facility plans and improvement programs for services to unincorporated King County are consistent with the KCCP. | Not applicable to an SMA plan as no capital facilities are proposed. However, NWS has indicated that capital facility planning will be consistent with the KCCP for any system it manages. |
| (34) | F-210: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (35) | F-215: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. |
| (36) | F-217: where an area-wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | No area-wide water deficiency is identified. |
| (37) | F-225: King County supports coordination of regional water supply planning, sales of excess water among municipalities, water quality programs, and water conservation and reuse programs. | Not applicable to an SMA plan. |
| (38) | F-226: Group A water systems must meet duty to serve requirement within service area as defined under CWSP or by individual water system plans. | Yes, NWS is committed to meeting its duty to serve in the retail service area for any systems it manages. |
| (39) | F-227-231: provides a hierarchy of water supply providers in unincorporated King County, depending on whether within UGA or rural areas, with preference for providing water from existing suppliers. | Not applicable to an SMA plan. |
| (40) | F-237: King County supports the use of interties consistent with planning, and implementation of approved ESA and Clean Water Act response requirements. | Not applicable to an SMA plan. |
| (41) | F-239: King County partners with utilities to encourage best management practices and conservation through such means as developing reclaimed water, aggressive water conservation and reuse measures; support planned land uses with reliable service at minimum cost; encourage reclaimed water use, focused on large water users such as golf courses and cemeteries. | King County is willing to work with the NWS on these issues. |
| (42) | F-240: Utilities Technical Review Committee (UTRC) to consider (a) consistency with land use plans and development regulations; (b) approved or adopted plans for groundwater, ESA, salmon recovery, water resources, watershed planning, regional water supply plan; and (c) the Regional Wastewater Services Plan. | The UTRC did consider the given issues and recommends approval of the Plan. |
| (43) | F-241: in reviewing proposals for modified and expanded service area boundaries, the UTRC must include an evaluation of the utility’s compliance with its comprehensive water system plan, including water conservation elements, and whether it can meet its duty to provide service; no approval of service area where unable to provide service for reasons in RCW 43.20.260. | Not applicable to an SMA plan. |
| (44) | F-243: public drinking water system reservoirs and watersheds should be managed primarily to protect drinking water supplies, but allow multiple uses when not jeopardizing water quality; downstream uses including recreation, fish, and agricultural resources. | Not applicable to an SMA plan. |
| (45) | F-244: groundwater supplies should be protected by preventing land uses that may adversely affect quantity or quality. | Yes, this is done by the County’s critical areas ordinance and implementation of the critical aquifer recharge area code. |