Metropolitan King County Council

Physical Environment Committee

- STAFF REPORT

| AGENDA ITEM: | 7 | DATE: | April 14, 2009 |
| --- | --- | --- | --- |
| PROPOSED NO.: | 2009-0205 | PREPARED BY: | Marilyn Cope |

SUBJECT	Proposed Ordinance 2009-0205 would approve the King County Water District No. 111  ("District") Water Comprehensive Plan ("Water Plan").  The District’s service area includes parts of three cities, Auburn, Covington, and Kent, and unincorporated King County.

SUMMARY

Council approval of water utility comprehensive plans is required by county code as a prerequisite for: operating in unincorporated King County, granting right of way construction permits, granting new or renewed franchises, and service boundary annexations.

BACKGROUND

King County Utility Comprehensive Plan Criteria

King County Code chapter 13.24 requires the Utilities Technical Review Committee ("UTRC") to review and make recommendations to the Executive and County Council on the adequacy of all water system comprehensive plans and related matters, and to determine whether the plan:

- is consistent with local comprehensive plans;

- is consistent with the King County Comprehensive Plan;

- reflects current supply and demand;

- forecasts future supply and demand;

- provides a capital plan for obtaining, using, storing and conveying water and sewage;

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of King county Code chapter 13.24, the County's approval of a plan also provides the determination for state regulatory agencies that a plan is consistent with the King County Comprehensive Plan and related policies and implementing development regulations.  See RCW 43.20.260.

UTRC ANALYSIS OF THE KING COUNTY WATER DISTRICT NO. 111 WATER COMPREHENSIVE PLAN

The UTRC reviewed the District's Water Plan and found to meet the requirements of King County Code 13.24 and recommended its approval in June, 2008.  Highlights of the Water Plan as reviewed by the UTRC are outlined below:

Service Area

The District’s service area includes parts of three cities, Auburn, Covington, and Kent, and unincorporated King County.  Approval of the Water Plan may change the service area for water rights held by the District pursuant to RCW 90.03.386(2).  The change to the water rights by the Water Plan has little impact on King County, but does legitimize the use of water for a larger area than the previous District's Water Plan.

The Plan makes no mention of any other systems within the District’s retail water service area that are not connected to the District’s main distribution system.  The District does have a Satellite System Policy for providing services to water systems that are beyond the reach of any water main extension.

Water Use Efficiency

Numerous state statutes, KCC 13.28, and the King County Comprehensive Plan, require efficient water use.  Water use efficiency applies to both supply and demand management.  For supply management, the District’s unaccounted for water has generally been low, fluctuation between one and nine percent of the water consumed.  The District intends to use the state standard of ten percent for planning purposes.

About half of the water used by the District comes from groundwater sources, namely from four active wells, with three additional wells maintained in emergency standby status.  The wells are located at various points around the District.  The remaining part of the District’s current supply comes from water purchased from Auburn and delivered through an intertie.  The District eventually intends to obtain additional supplies by purchasing water from Tacoma’s Second Supply Project.

Daily average water consumption in 2006 was approximately 1.44 million gallons per day.  Average water use as measured by the Equivalent Residential Unit ("ERU") declined from 255 gallons per day in 1997 to 220 gallons per day in 2006.  The District projects a reduction to 180 gallons per day per ERU by 2017 using the current conservation measures.

The District’s conservation program satisfies the minimum program requirements established in 1994 as required by law.  The District states that its 2008-2013 Water Use Efficiency Program will remain the same but will be reorganized to conform to the categories identified in the Water Use Efficiency Rule adopted by the state's Department of Health.  The District intends to maintain its current budget for funding its Water Use Efficiency program.

Reclaimed Water and Regional Planning

Although the District is not the sewer purveyor for the area, it supports the use of reclaimed water if that use is economically, socially, and environmentally feasible.  The District is willing to consider participation in reclaimed water projects and programs developed by others.  The District has developed a list of possible opportunities for the use of reclaimed water.  However, the use of reclaimed water in the District does not appear feasible in the near term.

The District is committed to participating in regional planning and water supply development and has supported regional planning efforts such as the South King County Coordinated Water System Plan.  The District is a member of the South King County Regional Water Association, an organization that undertakes planning for its members.

Ground Water Management

The District has a wellhead protection program for its seven wells.  The District states its desire to serve its customers’ interests by protecting its ground water resources from depletion and contamination.

- SEPA

- The District completed a State Environmental Policy Act checklist for the Water Plan and, as lead agency, issued a determination of non-significance for the issuance of the Water Plan on December 13, 2007.

ATTACHMENTS

- Proposed Ordinance 2009-0205

An interconnection between public water systems.