| Review of the City of Duvall Comprehensive Water System Plan, May 2012 |
| --- |
| Service Area The City of Duvall (the City) owns and operates a municipal water system that primarily serves the City as well as unincorporated lands in King County contiguous with the City. The City is located in north central King County on the banks of the Snoqualmie River. The City limits comprise an area of approximately 1,590 acres (2.5 square miles), the retail water service area is 3.5 square miles and the future service area is approximately 5.6 square miles. The City's urban growth area consists of 2,050 acres or 3.2 square miles. Most of the City is developed with some infilling potential. Because vacant land is limited in the City the City is expected to annex and expand its boundaries to accommodate expected growth within the identified potential annexation area. The future service area is undeveloped at this time. The City’s proprietary water system includes five pressure zones, two reservoirs (2.7 million gallons of storage), 15 pressure reducing stations, one booster station and almost 39 miles of pipe. The City owns one well, Taylor's Landing, which is not connected to the distribution system but is used for non-potable supply. The City has no interties with adjacent water utilities. The City's franchise No. 13927 for water service is current and expires September 5, 2025. Water Use Efficiency The City provides water service for approximately 6,646 people with 2,254 customer accounts and the number of equivalent residential units (ERUs) is 2,693. All of the City’s water is purchased from Seattle Public Utilities (SPU) and single family residences use 93 percent of all water sold. Annual demand in 2009 was 189.6 million gallons. The City did not have data to calculate a peak day demand and used a typical value of 2.2. The City has reduced average annual per capita water use from 90 gallons per capita per day (gpcpd) in 2004 to 78 gpcpd in 2009. The average demand per ERU is 196 gallons per day. The three-year average annual distribution system loss is approximately 5.6 percent for the three year rolling average ending in 2009. The Plan contains a six-year capital improvement plan with an estimated cost of approximately $2.42 million. The City identified funding sources for the proposed improvement projects which include rates, existing capital reserves, general facility charge revenue, and revenue bonds. The City anticipates that rate increases of between three and five percent per year for the next six years will be needed to support future operations, maintenance, and capital improvements. Reclaimed Water The City operates its own wastewater treatment plant (WTP) and has an ongoing review of the potential uses of the City’s WTP effluent for irrigation and other non-potable applications throughout the City. Treated water produced at the City’s WTP may provide an opportunity for the City to use reclaimed water to supplement existing water supply from SPU for irrigation and other non-potable applications. SEPA The City completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of non-significance for the issuance of the Plan on August 30, 2011. There were no appeals. |
| A review of the specific statutes, rules, codes, and policies to the water system plan is as follows: |
|  | A. General water plan, King County Code (KCC) 13.24.010 and 13.28 | Comments/findings |
| (1) | Review is applicable to utilities that obtain or distribute water in unincorporated King County under KCC 13.24. Is there a need to meet the consistency requirements of RCW 43.20.260? | Yes, the City distributes water in unincorporated King County and the plan is subject to King County Council approval. Yes, the Washington State Department of Health (DOH) also needs to determine consistency of the Plan under RCW 43.20.260. |
| (2) | Consistency with King County Comprehensive Plan (KCCP) and development regulations, and policies including KCC 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | Yes, the Plan is consistent. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | Yes. The City used adopted land use maps for that portion of the service area within inincorporated King County. |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility’s approved plan, and ability to meet duty to serve requirement. | The future service area is not expected to change and is the same as that adopted in the East King County Coordinated Water System Plan (CWSP). The City maintains duty to serve policies for its retail service area. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates an ability to provide service consistent with applicable statutes, codes and regulations. The City obtains its water from the regional system and recently signed a long-term contract with SPU. The City's water supplies are sufficient to meet projected peak day demand in 2030. |
| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved CWSP. | The City is within the East King County CWSP and states that it has established policies, design standards, and goals that meet or exceed the requirements and goals of the CWSP. The City participated in the regional one percent Program, which was in effect from 2000-2010. SPU and regional partners have created a new conservation program which the City employs as part of its long-range conservation plan. |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | State and local health requirements. | Yes. |
| (8) | Creation and maintenance of logical service areas. | Yes, the service area is logical. |
| (9) | Elimination or prevention of duplicate facilities. | Yes. The City intends to provide service within its service area by means of direct connection. The City has no interties with neighboring utilities. |
| (10) | Promotion of most healthful and reliable services to the public. | Yes. Water purveyed by the City complies with public health standards. The water is chlorinated and fluoridated. |
| (11) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Yes, the City's rates for water service are comparable to the rates charged by similar utilities. The City has adopted a water structure to equitably charge customers based on the cost of providing the water. |
| (12) | KCCP and other pertinent county adopted plans and policies. | Yes, there is consistency between the City's land and the KCCP. |
| (13) | Basin-wide or multibasin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (Ecology) or DOH. | No multibasin water plans are applicable. The City treats its own wastewater. The Plan is consistent with the East King County CWSP. |
| (14) | Applicable state water quality, water conservation, and waste management standards. | Yes, applicable standards are met. Water purchased from SPU is fluoridated and chlorinated. The City's per capita average consumption is 78 gallons per day. The three-year rolling average distribution system leakage is estimated at 5.6 percent, which is below the ten percent requirement established under the Municipal Water Law. |
| (15) | Water Resources Act (RCW 90.54). | The Plan makes no connection with the requirements of RCW 90.54.180 or RCW 90.03.386. The City will maintain its existing conservation (efficiency) program to comply with DOH’s Water Use Efficiency Rule. |
| (16) | Growth Management Act (GMA) (RCW 36.70A). | The City's water service area includes unincorporated areas with the City's potential annexation area. The City appropriately used King County land use zoning for that area. |
| (17) | Groundwater management plans. | The City has a well head protection program for the Taylor Landing well. |
| (18) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | Not discussed in Plan. |
| (19) | Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | Not discussed in Plan. |
| (20) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW and CO-7. | The City operates its own wastewater treatment plant and recognizes the value of reclaimed water as a means to conserve and extend the useful life of the potable water supply. The City does not reclaim any water now. The Plan states that a more detailed reclaimed water feasibility analysis will be performed as part of CIP CW2, to determine the reclamation activities that could be implemented by the City in the six-year and 20-year planning periods. |
|  | C. King County Comprehensive Plan—consistency with provisions and specific policies (Water System Plan) |  |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (21) | FW-5: management of resources for multiple beneficial uses, including flood and erosion hazard reduction. | Not applicable. |
| (22) | FW-12(c): ensure sufficient water supply for growth and fish habitat needs through long-term planning. | Sufficient water supply for projected growth is available. The City uses surface water from the regional system. |
| (23) | CA-5, CA-6, and E-434 and policies to protect quantity and quality of groundwater. | Not applicable. |
| (24) | CO-5: water supply shall be regionally coordinated. | The City obtains supply from the regional system and it is regionally coordinated. The City is located within the East King County Critical Water Supply Service Area, and its Plan is subject to consistency with the East King County CWSP. |
| (25) | CO-6: aggressive conservation efforts shall be implemented. | The City has a conservation program in place. The City states the conservation program meets minimum state requirements. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (26) | F-102: King County will provide or manage countywide services, which include wastewater, water resource management, surface water management, flood warning and floodplain management, protection and preservation of natural resource lands. | Yes, for that portion of the service area that is in unincorporated King County. |
| (27) | F-104: plan for provision of services to rural areas. | The City service area includes portions of the rural unincorporated area. The City is committed to serving the area consistent with the KCC. |
| (28) | F-105: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The capital improvement program (CIP) is adequate and appropriately focused with funding sources identified. |
| (29) | F-201: all facilities and services should be provided in compliance with provisions and requirements of the ESA. | Not discussed in Plan. |
| (30) | F-202: ensure adequate supply of public facilities to support communities. | Yes, the City has sufficient water supplies. |
| (31) | F-203: King County will work with cities, special purpose districts, and other service providers to define regional and local services and determine appropriate providers. | Yes. |
| (32) | F-208: support rural levels of development and not facilitate urbanization. | The City is committed to serving the area consistent with land use. |
| (33) | F-209 and F-212: capital facility plans and improvement programs for services to unincorporated King County are consistent with the KCCP. | Yes, the CIP is consistent with the KCCP. |
| (34) | F-210: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (35) | F-215: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The City did not identify any inability to meet service needs within its service area. |
| (36) | F-217: where an area-wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | No area-wide water deficiency is identified. |
| (37) | F-225: King County supports coordination of regional water supply planning, sales of excess water among municipalities, water quality programs, and water conservation and reuse programs. | The City obtains water from the SPU regional system. |
| (38) | F-226: Group A water systems must meet duty to serve requirement within service area as defined under CWSP or by individual water system plans. | Yes, the City is committed to meeting its duty to serve in the retail service area. |
| (39) | F-227-231: provides a hierarchy of water supply providers in unincorporated King County, depending on whether within urban growth area or rural areas, with preference for providing water from existing suppliers. | The City recognizes its duty to serve within its service area and is committed to providing water to all its customers within its service area by direct connection. The City is not an approved Satellite Management Agency but indicated that it would become one if necessary to provide indirect service. |
| (40) | F-237: King County supports the use of interties consistent with planning, and implementation of approved ESA and Clean Water Act response requirements. | Not applicable. |
| (41) | F-239: King County partners with utilities to encourage best management practices and conservation through such means as developing reclaimed water, aggressive water conservation and reuse measures; support planned land uses with reliable service at minimum cost; encourage reclaimed water use, focused on large water users such as golf courses and cemeteries. | Not applicable. |
| (42) | F-240: Utilities Technical Review Committee (UTRC) to consider (a) consistency with land use plans and development regulations; (b) approved or adopted plans for groundwater, ESA, salmon recovery, water resources, watershed planning, regional water supply plan; and (c) the Regional Wastewater Services Plan. | The UTRC did consider these issues and recommends approval of the Plan. |
| (43) | F-241: in reviewing proposals for modified and expanded service area boundaries, the UTRC must include an evaluation of the utility’s compliance with its comprehensive water system plan, including water conservation elements, and whether it can meet its duty to provide service; no approval of service area where unable to provide service for reasons in RCW 43.20.260. | The City is not planning to change its service area. |
| (44) | F-243: public drinking water system reservoirs and watersheds should be managed primarily to protect drinking water supplies, but allow multiple uses when not jeopardizing water quality; downstream uses including recreation, fish, and agricultural resources. | Not applicable. |
| (45) | F-244: groundwater supplies should be protected by preventing land uses that may adversely affect quantity or quality. | Not applicable. |