## MMRF
Attachment F: Major Maintenance Capital Improvement Program, dated November 17, 2006
Total
Fund | Project | Description | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2007 - 2012
3421 |  | Major Maintenance Reserve Fund
| 302214 | General Debt Service | 695788 | 691600 | 0 | 0 | 0 | 0 | 1387388
| 341299 | General General Bldg Emergent Projects | 500000 | 500000 | 500000 | 500000 | 500000 | 500000 | 3000000
| 341602 | Youth - Alder Fire Alarm Systems |  | 0 | 0 | 447000 | 0 | 0 | 447000
| 342400 | Admin Bldg Domestic Water Piping Replacement Phase | 290234 | 0 | 0 | 0 | 0 | 0 | 290234
| 342403 | Admin Bldg Boxes (VAV, Mixing) |  | 343539 | 1702600 | 2350000 | 2350000 | 2350000 | 9096139
| 342412 | Admin Bldg Wall Finishes |  | 0 | 54000 | 20000 | 0 | 0 | 74000
| 342413 | Admin Bldg Floor Finishes |  | 322000 | 100000 | 100000 | 0 | 0 | 522000
| 342414 | Admin Bldg Roof Coverings |  | 1640800 | 0 | 0 | 0 | 0 | 1640800
| 342415 | Admin Bldg Heat Generating Systems |  | 0 | 0 | 91000 | 0 | 0 | 91000
| 342417 | BD Evidence & Lab-Whse Exterior Wall Finishes |  | 86000 | 0 | 0 | 0 | 0 | 86000
| 342421 | BD Evidence & Lab-Whse Distribution Systems |  | 85000 | 649000 | 0 | 0 | 0 | 734000
| 342430 | Black River Floor Finishes | 102300 | 0 | 0 | 0 | 0 | 191000 | 293300
| 342431 | Black River Wall Finishes |  | 158700 | 0 | 0 | 0 | 0 | 158700
| 342437 | PH Renton Plumbing Fixtures |  | 0 | 0 | 30000 | 0 | 0 | 30000
| 342440 | Courthouse Window Repair Phase 1 Construction | 1993805 | 1905400 | 2059400 | 0 | 0 | 0 | 5958605
| 342443 | Courthouse 4th/James Sidewalks | 632000 | 0 | 0 | 0 | 0 | 0 | 632000
| 342445 | Courthouse Domestic Water Distribution (Repipe) |  | 0 | 100000 | 200000 | 442000 | 0 | 742000
| 342446 | Courthouse Plumbing Fixtures |  | 0 | 0 | 0 | 30000 | 200000 | 230000
| 342449 | Courthouse Lighting and Branch Wiring |  | 421300 | 500000 | 500000 | 500000 | 0 | 1921300
| 342451 | Courthouse Fittings |  | 0 | 0 | 0 | 0 | 309000 | 309000
| 342454 | Courthouse Exterior Walls |  | 0 | 45000 | 405000 | 0 | 0 | 450000
| 342457 | Courthouse Terminal and Package Units |  | 50000 | 0 | 0 | 0 | 0 | 50000
| 342458 | Courthouse Controls and Instrumentation |  | 562000 | 0 | 0 | 0 | 0 | 562000
| 342459 | Courthouse Testing and Balancing | 358500 | 0 | 0 | 0 | 0 | 0 | 358500
| 342460 | Courthouse Floor Finishes |  | 0 | 0 | 0 | 500000 | 500000 | 1000000
| 342463 | Courthouse Storm Sewer |  | 0 | 18000 | 0 | 0 | 0 | 18000
| 342465 | RJC-Detention Wall Finishes |  | 0 | 0 | 0 | 160000 | 75000 | 235000
| 342470 | DC Aukeen Site Lighting |  | 0 | 0 | 9000 | 0 | 0 | 9000
| 342473 | DC Aukeen Exterior Wall Finishes |  | 0 | 0 | 0 | 23000 | 0 | 23000
| 342475 | Yesler Building Distribution Systems |  | 300000 | 0 | 0 | 0 | 0 | 300000
| 342476 | DC Issaquah Testing and Balancing |  | 5600 | 0 | 0 | 0 | 0 | 5600
| 342477 | DC NE Redmond Testing and Balancing | 53900 | 0 | 0 | 0 | 0 | 0 | 53900
| 342479 | DC NE Redmond Wall Finishes |  | 0 | 0 | 0 | 21000 | 0 | 21000
| 342483 | DC Shoreline Fire Alarm Systems | 142700 | 0 | 0 | 0 | 0 | 0 | 142700
| 342485 | Courthouse Communications and Security |  | 0 | 0 | 0 | 100000 | 700000 | 800000
| 342486 | DC Shoreline Wall Finishes |  | 0 | 0 | 0 | 35000 | 0 | 35000
| 342491 | Youth - Alder Domestic Water Distribution |  | 0 | 0 | 0 | 100000 | 346764 | 446764
| 342492 | Election Warehouse Electrical Service and Dist |  | 0 | 16523 | 0 | 0 | 0 | 16523
| 342493 | Election Warehouse Exterior Windows |  | 0 | 0 | 0 | 0 | 32000 | 32000
| 342494 | Election Warehouse Exterior Doors |  | 29000 | 0 | 0 | 0 | 0 | 29000
| 342495 | Election Warehouse Fittings |  | 10000 | 0 | 0 | 0 | 0 | 10000
| 342497 | Election Warehouse Floor Finishes |  | 24000 | 0 | 0 | 0 | 0 | 24000
| 342498 | Election Warehouse Ceiling Finishes |  | 6000 | 0 | 0 | 0 | 0 | 6000
| 342609 | Courthouse Cooling Generating Systems |  | 0 | 0 | 0 | 15000 | 0 | 15000
| 342613 | KCCF Controls and Instrumentation (incl floor leve |  | 160000 | 200000 | 0 | 0 | 0 | 360000
| 342614 | KCCF Testing and Balancing |  | 229000 | 0 | 0 | 0 | 0 | 229000
| 342615 | KCCF Boxes (VAV, Mixing) |  | 100000 | 600000 | 400000 | 0 | 0 | 1100000
| 342616 | KCCF Wall Finishes |  | 0 | 0 | 0 | 260000 | 0 | 260000
| 342617 | KCCF Lighting and Branch Wiring |  | 170000 | 40000 | 0 | 0 | 0 | 210000
| 342618 | KCCF Domestic Water Distribution Pipe Replacement |  | 200000 | 655000 | 655000 | 0 | 0 | 1510000
| 342619 | KCCF Floor Finishes | 111700 | 0 | 0 | 0 | 0 | 0 | 111700
| 342621 | KCCF Terminal and Package Units - AHU |  | 200000 | 1500000 | 300000 | 0 | 0 | 2000000
| 342622 | KCCF Fire Alarm Systems |  | 0 | 100000 | 500000 | 0 | 0 | 600000
| 342623 | KCCF Other Fire Protection Systems | 86000 | 0 | 0 | 0 | 0 | 0 | 86000
| 342625 | KCCF Other Electrical Systems - generator |  | 0 | 430000 | 0 | 0 | 0 | 430000
| 342626 | KCCF Plumbing Fixtures |  | 90000 | 1120000 | 1120000 | 0 | 0 | 2330000
| 342627 | Courthouse Exterior Wall Finishes |  | 0 | 0 | 0 | 39000 | 400000 | 439000
| 342628 | KCCF Fittings | 346300 | 0 | 0 | 0 | 0 | 0 | 346300
| 342629 | KCCF Distribution Systems |  | 0 | 35000 | 135000 | 0 | 0 | 170000
| 342633 | Kent Animal Shelter Parking Lots |  | 0 | 0 | 14000 | 0 | 0 | 14000
| 342634 | DC NE Redmond Site Lighting |  | 0 | 0 | 0 | 17003 | 0 | 17003
| 342636 | Marr Lot Roadways |  | 0 | 0 | 0 | 0 | 52500 | 52500
| 342637 | Marr Lot Parking Lots |  | 0 | 0 | 0 | 0 | 52500 | 52500
| 342638 | PH Auburn Exterior Windows |  | 0 | 0 | 0 | 0 | 10000 | 10000
| 342640 | PH Auburn Communications and Security |  | 0 | 0 | 0 | 0 | 51000 | 51000
| 342645 | PH Eastgate Wall Finishes |  | 35000 | 0 | 0 | 0 | 0 | 35000
| 342647 | PH Eastgate Boxes (VAV, Mixing) |  | 368800 | 0 | 0 | 0 | 0 | 368800
| 342649 | PH Eastgate Parking Lots |  | 0 | 0 | 0 | 0 | 95000 | 95000
| 342650 | PH Eastgate Controls and Instrumentation |  | 107203 | 0 | 0 | 0 | 0 | 107203
| 342651 | PH Eastgate Floor Finishes |  | 54000 | 0 | 0 | 0 | 0 | 54000
| 342652 | PH Eastgate Roadways |  | 0 | 0 | 0 | 0 | 48000 | 48000
| 342656 | PH Federal Way Hot Water Heaters |  | 28000 | 0 | 0 | 0 | 0 | 28000
| 342657 | PH Federal Way Boxes (VAV, Mixing) |  | 132000 | 0 | 0 | 0 | 0 | 132000
| 342658 | DC NE Redmond Electrical Service and Dist |  | 0 | 0 | 0 | 6665 | 0 | 6665
| 342659 | DC NE Redmond Fittings |  | 0 | 0 | 0 | 3700 | 0 | 3700
| 342666 | PH NDMSC Electrical Service and Dist |  | 0 | 0 | 30000 | 0 | 0 | 30000
| 342669 | PH Northshore Boxes (VAV, Mixing) |  | 0 | 366370 | 0 | 0 | 0 | 366370
| 342672 | PH Northshore Wall Finishes |  | 0 | 40000 | 0 | 0 | 0 | 40000
| 342673 | PH Northshore Floor Finishes |  | 0 | 0 | 0 | 0 | 355000 | 355000
| 342674 | PH Northshore Roadways | 28400 | 0 | 0 | 0 | 0 | 0 | 28400
| 342675 | PH Northshore Exterior Wall Finishes |  | 0 | 0 | 0 | 0 | 19000 | 19000
| 342680 | PH Renton Testing and Balancing |  | 57200 | 0 | 0 | 0 | 0 | 57200
| 342682 | PH White Center Interior Doors |  | 0 | 0 | 0 | 0 | 42000 | 42000
| 342683 | PH White Center Fittings |  | 0 | 0 | 0 | 0 | 9500 | 9500
| 342686 | PH White Center Fire Alarm Systems |  | 0 | 23000 | 0 | 0 | 0 | 23000
| 342687 | PH White Center Communications and Security |  | 0 | 0 | 0 | 0 | 60000 | 60000
| 342689 | PH White Center Lighting and Branch Wiring | 39288 | 0 | 0 | 0 | 0 | 0 | 39288
| 342690 | PH White Center Other Electrical Systems | 48000 | 0 | 0 | 0 | 0 | 0 | 48000
| 342691 | PH White Center Floor Finishes | 170500 | 0 | 0 | 0 | 0 | 0 | 170500
| 342693 | PH White Center Electrical Service and Dist |  | 0 | 0 | 15000 | 0 | 0 | 15000
| 342695 | DC SW Burien Exterior Wall Finishes |  | 4500 | 0 | 0 | 0 | 0 | 4500
| 342696 | Precinct No. 2 Site Lighting |  | 0 | 0 | 8000 | 0 | 0 | 8000
| 342698 | Precinct No. 2 Other Electrical Systems - GEA |  | 0 | 0 | 6500 | 0 | 0 | 6500
| 342699 | Precinct No. 2 Electrical Service and Dist |  | 15000 | 0 | 0 | 0 | 0 | 15000
| 342751 | DC Aukeen Roof Openings |  | 0 | 0 | 0 | 1600 | 0 | 1600
| 342752 | DC Aukeen Wall Finishes |  | 0 | 0 | 0 | 0 | 27000 | 27000
| 342753 | DC Issaquah Exterior Wall Finishes |  | 35000 | 0 | 0 | 0 | 0 | 35000
| 342755 | PH NDMSC Exterior Wall Finishes |  | 0 | 0 | 0 | 0 | 14000 | 14000
| 342758 | DC Shoreline Exterior Wall Finishes |  | 0 | 0 | 0 | 15000 | 0 | 15000
| 342759 | DC Shoreline Terminal and Package Units | 142900 | 647400 | 0 | 0 | 0 | 0 | 790300
| 342760 | DC SW Burien Electrical Service and Dist |  | 10000 | 0 | 0 | 0 | 0 | 10000
| 342767 | BD Evidence & Lab-Office Lighting and Branch Wirin |  | 0 | 0 | 22238 | 0 | 0 | 22238
| 342768 | PH Renton Domestic Water Distribution |  | 0 | 0 | 20000 | 0 | 0 | 20000
| 342770 | Courthouse Distribution System: |  | 10000 | 0 | 0 | 0 | 0 | 10000
| 342771 | Admin Bldg Interior Doors |  | 0 | 137500 | 0 | 0 | 0 | 137500
| 342776 | Courthouse Replace sump in basement | 13200 | 0 | 0 | 0 | 0 | 0 | 13200
| 343100 | Kent Animal Shelter-Office Testing and Balancing |  | 0 | 0 | 1909 | 0 | 0 | 1909
| 343103 | Kent Animal Shelter-Office Communications and Secu |  | 0 | 0 | 0 | 4500 | 0 | 4500
| 343203 | Precinct No. 3 Floor Finishes | 149270 | 0 | 0 | 0 | 0 | 0 | 149270
| 343205 | Precinct No. 3 Roadways |  | 0 | 0 | 0 | 0 | 11000 | 11000
| 343206 | Precinct No. 3 Site Lighting |  | 0 | 0 | 0 | 0 | 13000 | 13000
| 343210 | RJC-Courts Exterior Wall Finishes |  | 0 | 0 | 0 | 0 | 290000 | 290000
| 343212 | RJC-Courts Floor Finishes |  | 0 | 0 | 0 | 45000 | 360000 | 405000
| 343220 | RJC-Detention Terminal and Package Units |  | 0 | 0 | 400000 | 1800000 | 0 | 2200000
| 343221 | RJC-Detention Controls and Instrumentation |  | 0 | 0 | 326000 | 0 | 0 | 326000
| 343222 | RJC-Detention Communications and Security |  | 0 | 0 | 0 | 500000 | 1700000 | 2200000
| 343223 | Yesler Building Roof Coverings |  | 808300 | 0 | 0 | 0 | 0 | 808300
| 343227 | Yesler Building Boxes (VAV, Mixing) | 348300 | 0 | 0 | 0 | 0 | 0 | 348300
| 343229 | Yesler Building Electrical Service and Dist | 767600 | 0 | 0 | 0 | 0 | 0 | 767600
| 343230 | Yesler Building Floor Finishes | 294000 | 100000 | 100000 | 100000 | 100000 | 0 | 694000
| 343231 | Yesler Building Wall Finishes | 93000 | 0 | 0 | 0 | 0 | 0 | 93000
| 343233 | Youth - Alder HVAC Upgrade |  | 0 | 0 | 1800000 | 800000 | 420000 | 3020000
| 343243 | Youth - Spruce Terminal and Package Units | 1206200 | 0 | 0 | 0 | 0 | 0 | 1206200
| 343246 | Youth - Spruce Communications and Security | 2053782 | 0 | 0 | 0 | 0 | 0 | 2053782
| 343249 | KCCF Other Equipment (Window Washing Equip) | 180500 | 0 | 0 | 0 | 0 | 0 | 180500
| 343255 | Election Warehouse Distribution Systems |  | 11500 | 0 | 0 | 0 | 0 | 11500
| 343256 | KCCF Other Equipment |  | 0 | 0 | 0 | 20000 | 0 | 20000
| 343258 | Kent Animal Shelter-Office Controls and Instrument |  | 0 | 0 | 3100 | 0 | 0 | 3100
| 343261 | Admin Bldg Pedestrian Paving |  | 0 | 570400 | 0 | 0 | 0 | 570400
| 343264 | PH Auburn Exterior Wall Finishes |  | 148500 | 0 | 0 | 0 | 0 | 148500
| 343266 | PH Auburn Site Lighting |  | 0 | 0 | 0 | 2200 | 0 | 2200
| 343267 | PH Eastgate Fire Alarm Systems |  | 0 | 0 | 46000 | 0 | 0 | 46000
| 343269 | PH Federal Way Controls and Instrumentation |  | 169600 | 0 | 0 | 0 | 0 | 169600
| 343270 | PH Federal Way Communications and Security |  | 0 | 0 | 0 | 150000 | 0 | 150000
| 343271 | PH NDMSC Distribution Systems | 139800 | 0 | 0 | 0 | 0 | 0 | 139800
| 343273 | PH NDMSC Wall Finishes |  | 0 | 0 | 0 | 0 | 35000 | 35000
| 343274 | PH Northshore Fire Alarm Systems |  | 0 | 0 | 31500 | 0 | 0 | 31500
| 343276 | PH Renton Exterior Wall Finishes |  | 0 | 0 | 0 | 15000 | 0 | 15000
| 343277 | PH Renton Wall Finishes |  | 59500 | 0 | 0 | 0 | 0 | 59500
| 343278 | PH White Center Distribution Systems |  | 0 | 0 | 0 | 12000 | 0 | 12000
| 343279 | PH White Center Exterior Doors |  | 0 | 0 | 0 | 5200 | 0 | 5200
| 343281 | Precinct No. 2 Domestic Water Distribution |  | 0 | 0 | 0 | 6300 | 0 | 6300
| 343282 | Precinct No. 2 Site drainage pl |  | 20000 | 0 | 0 | 0 | 0 | 20000
| 343283 | Precinct No. 2 special structures: |  | 0 | 0 | 0 | 10000 | 0 | 10000
| 343285 | Precinct No. 3 Electrical Service and Dist |  | 0 | 0 | 12000 | 0 | 0 | 12000
| 343286 | Precinct No. 3 Fittings |  | 6000 | 0 | 0 | 0 | 0 | 6000
| 343287 | Precinct No. 3 Interior Doors |  | 0 | 0 | 0 | 11000 | 0 | 11000
| 343288 | Precinct No. 3 Lighting and Branch Wiring | 20350 | 0 | 0 | 0 | 0 | 0 | 20350
| 343290 | Precinct No. 3 Landscaping |  | 0 | 0 | 0 | 10000 | 0 | 10000
| 343291 | Precinct No. 3 Wall Finishes |  | 0 | 0 | 0 | 0 | 30000 | 30000
| 343292 | Precinct No. 4 Distribution Systems |  | 0 | 4500 | 0 | 0 | 0 | 4500
| 343293 | Precinct No. 4 Domestic water/main |  | 70000 | 0 | 0 | 0 | 0 | 70000
| 343295 | Precinct No. 4 Electrical Service and Dist |  | 0 | 0 | 0 | 0 | 11500 | 11500
| 343296 | Precinct No. 4 Interior Doors |  | 0 | 0 | 0 | 0 | 11200 | 11200
| 343297 | Precinct No. 4 Lighting and Branch Wiring |  | 0 | 0 | 32000 | 0 | 0 | 32000
| 343298 | Precinct No. 4 Parking Lots |  | 26000 | 0 | 0 | 0 | 0 | 26000
| 344500 | Precinct No. 4 Testing and Balancing |  | 0 | 4700 | 0 | 0 | 0 | 4700
| 344501 | Precinct No. 4 Exterior Wall Finishes |  | 0 | 0 | 0 | 18500 | 0 | 18500
| 344504 | Records Warehouse Communications and Security |  | 0 | 0 | 8000 | 0 | 0 | 8000
| 344505 | Records Warehouse Fire Alarm Systems |  | 0 | 0 | 9000 | 0 | 0 | 9000
| 344506 | RJC-Courts Boxes (VAV, Mixing) |  | 0 | 0 | 80000 | 687500 | 0 | 767500
| 344507 | RJC-Courts Communications and Security |  | 0 | 0 | 25000 | 0 | 0 | 25000
| 344508 | RJC-Courts Controls and Instrumentation |  | 0 | 0 | 0 | 0 | 100000 | 100000
| 344509 | RJC-Courts Fire Alarm Systems |  | 0 | 0 | 0 | 127746 | 0 | 127746
| 344510 | RJC-Courts Hot Water Heaters |  | 0 | 0 | 15000 | 0 | 0 | 15000
| 344511 | RJC-Courts Roadways |  | 0 | 0 | 15000 | 0 | 0 | 15000
| 344512 | RJC-Courts Communications and Security |  | 0 | 0 | 100000 | 1016904 | 0 | 1116904
| 344513 | RJC-Courts Wall Finishes | 0 | 100000 | 100000 | 100000 | 100000 | 100000 | 500000
| 344514 | RJC-Detention Distribution Systems |  | 0 | 0 | 0 | 80000 | 0 | 80000
| 344515 | RJC-Detention heating Gas meter |  | 0 | 0 | 229000 | 0 | 0 | 229000
| 344516 | RJC-Detention Boxes (VAV, Mixing) |  | 0 | 0 | 500000 | 548466 | 0 | 1048466
| 344517 | RJC-Detention Floor Finishes |  | 0 | 0 | 0 | 50000 | 0 | 50000
| 344520 | RJC-Detention Fire Alarm Systems |  | 0 | 0 | 0 | 415000 | 0 | 415000
| 344523 | Yesler Building Communications and Security |  | 0 | 0 | 137000 | 0 | 0 | 137000
| 344524 | Yesler Building Controls and Instrumentation |  | 0 | 0 | 75000 | 0 | 0 | 75000
| 344525 | Yesler Building Hot Water Heaters |  | 0 | 0 | 39000 | 0 | 0 | 39000
| 344527 | Youth - Alder Hot Water Heaters |  | 75591 | 0 | 0 | 0 | 0 | 75591
| 344528 | Youth - Spruce Electrical Service and Dist |  | 0 | 0 | 63000 | 0 | 0 | 63000
| 344530 | BD Evidence & Lab-Whse Communications and Security |  | 0 | 0 | 0 | 0 | 11000 | 11000
| 344531 | Black River Exterior Wall Finishes |  | 0 | 0 | 0 | 0 | 79000 | 79000
| 344532 | DC Aukeen Floor Finishes |  | 0 | 0 | 0 | 0 | 15200 | 15200
| 344533 | DC NE Redmond Hot Water Heaters |  | 0 | 0 | 0 | 0 | 7500 | 7500
| 344534 | DC NE Redmond Floor Finishes |  | 0 | 0 | 0 | 0 | 51000 | 51000
| 344535 | DC SW Burien Landscaping | 74500 | 0 | 0 | 0 | 0 | 0 | 74500
| 344536 | DC SW Burien Communcations and Security |  | 0 | 0 | 0 | 0 | 12000 | 12000
| 344537 | DC SW Burien Sanitary Waste |  | 0 | 0 | 0 | 0 | 14251 | 14251
| 344538 | DC SW Burien Testing and Balancing |  | 0 | 0 | 0 | 0 | 4500 | 4500
| 344539 | DC SW Burien Rain Water Drainage |  | 0 | 0 | 0 | 0 | 8800 | 8800
| 344540 | Election Warehouse Sanitary Waste |  | 0 | 0 | 0 | 0 | 8000 | 8000
| 344541 | Election Warehouse Testing and Balancing |  | 0 | 0 | 0 | 0 | 1500 | 1500
| 344542 | KCCF Laundry supply fan |  | 0 | 0 | 0 | 71000 | 0 | 71000
| 344543 | KCCF Parking Lots |  | 0 | 0 | 0 | 0 | 84000 | 84000
| 344544 | KCCF Exterior Wall Finishes |  | 0 | 0 | 0 | 0 | 100000 | 100000
| 344545 | KCCF Site Lighting | 94000 | 0 | 0 | 0 | 0 | 0 | 94000
| 344546 | Kent Animal Shelter Rain Water Drainage |  | 0 | 0 | 0 | 0 | 3100 | 3100
| 344547 | Kent Animal Shelter Sanitary Waste |  | 0 | 0 | 0 | 0 | 69000 | 69000
| 344548 | Kent Animal Shelter-Office Hot Water Heaters |  | 0 | 0 | 0 | 0 | 5000 | 5000
| 344549 | PH Auburn Hot Water Heaters |  | 0 | 0 | 0 | 0 | 10000 | 10000
| 344550 | PH Auburn Storm Sewer |  | 0 | 0 | 0 | 0 | 5000 | 5000
| 344551 | PH Eastgate Lighting and Branch Wiring |  | 0 | 0 | 0 | 45926 | 0 | 45926
| 344552 | PH Eastgate Other Electrical Systems |  | 0 | 0 | 0 | 27600 | 0 | 27600
| 344553 | PH Eastgate Roof Openings |  | 0 | 0 | 0 | 0 | 2600 | 2600
| 344554 | PH Federal Way Roadways |  | 0 | 0 | 0 | 0 | 40000 | 40000
| 344555 | PH NDMSC Domestic Water Distribution |  | 0 | 0 | 0 | 0 | 5000 | 5000
| 344556 | PH Northshore Hot Water Heaters |  | 0 | 0 | 0 | 21000 | 0 | 21000
| 344557 | PH Northshore Lighting and Branch Wiring |  | 0 | 0 | 0 | 32000 | 0 | 32000
| 344558 | PH Northshore Roof Openings |  | 0 | 0 | 0 | 0 | 2000 | 2000
| 344559 | PH Renton Controls and Instrumentation |  | 107200 | 0 | 0 | 0 | 0 | 107200
| 344560 | PH Renton replace windows |  | 0 | 0 | 0 | 0 | 10000 | 10000
| 344561 | PH Renton Terminal and Package Units |  | 0 | 0 | 0 | 133942 | 0 | 133942
| 344562 | PH Renton Floor Finishes |  | 0 | 0 | 0 | 0 | 66139 | 66139
| 344563 | Precinct No. 2 Fittings (signage cited) |  | 0 | 0 | 0 | 0 | 6200 | 6200
| 344564 | Precinct No. 2 Floor Finishes |  | 0 | 0 | 0 | 0 | 21500 | 21500
| 344565 | Precinct No. 2 Wall Finishes |  | 0 | 0 | 0 | 0 | 13000 | 13000
| 344566 | Precinct No. 2 Ceiling Finishes |  | 0 | 0 | 0 | 0 | 20000 | 20000
| 344567 | Precinct No. 2 Plumbing Fixtures |  | 0 | 0 | 0 | 0 | 16500 | 16500
| 344568 | Precinct No. 3 Fuel Distribution |  | 0 | 0 | 0 | 0 | 85000 | 85000
| 344569 | Precinct No. 4 Exterior Doors |  | 0 | 0 | 0 | 0 | 5000 | 5000
| 344570 | RCECC Floor Finishes |  | 0 | 0 | 0 | 0 | 20000 | 20000
| 344571 | RCECC Testing and Balancing |  | 0 | 0 | 0 | 0 | 12500 | 12500
| 344572 | RCECC Int Wall Finishes |  | 0 | 0 | 0 | 0 | 21000 | 21000
| 344573 | Records Warehouse Plumbing Fixtures |  | 0 | 0 | 0 | 0 | 4500 | 4500
| 344574 | Records Warehouse Exterior Wall Finishes |  | 0 | 0 | 0 | 0 | 30000 | 30000
| 344575 | Records Warehouse Sanitary Waste |  | 0 | 0 | 0 | 0 | 35000 | 35000
| 344576 | Records Warehouse Testing and Balancing |  | 0 | 0 | 0 | 0 | 5000 | 5000
| 344577 | Records Warehouse Wall Finishes |  | 0 | 0 | 0 | 0 | 20000 | 20000
| 344578 | RJC-Detention Other Electrical Systems |  | 0 | 0 | 0 | 0 | 653800 | 653800
| 344579 | RJC-Detention Electrical Service and Distribution | 72000 | 0 | 0 | 0 | 0 | 0 | 72000
| 344580 | RJC-Detention Other Conveying Systems | 22000 | 0 | 0 | 0 | 0 | 0 | 22000
| 344581 | Rvnsdl Range Shooting baffels maintenance |  | 0 | 0 | 0 | 10000 | 0 | 10000
| 344582 | Yesler Building Light'g and Branch Wireing |  | 0 | 0 | 0 | 0 | 334000 | 334000
| 344583 | Yesler Building Domestic water Distribution |  | 0 | 0 | 0 | 0 | 500000 | 500000
| 344584 | Yesler Building Fittings |  | 0 | 0 | 0 | 0 | 80000 | 80000
| 344585 | Yesler Building Cooling Generating Systems |  | 0 | 0 | 0 | 0 | 95000 | 95000
| 344586 | Yesler Building Interior Doors |  | 0 | 0 | 0 | 0 | 71500 | 71500
| 344587 | Yesler Building Domestic Water Distribution |  | 0 | 0 | 0 | 0 | 26000 | 26000
| 344588 | Yesler Building Rain Water Drainage |  | 0 | 0 | 0 | 0 | 24000 | 24000
| 344589 | Yesler Building Testing and Balancing |  | 0 | 0 | 0 | 0 | 53000 | 53000
| 344590 | Youth - Alder Plumbing Fixtures |  | 0 | 0 | 0 | 0 | 72000 | 72000
| 344591 | Youth - Spruce Roof Coverings |  | 0 | 0 | 0 | 0 | 80000 | 80000
| 344592 | Youth - Spruce Lighting and Branch Wiring |  | 0 | 0 | 0 | 270000 | 0 | 270000
| 344593 | Youth - Spruce Distribution Systems |  | 0 | 0 | 0 | 0 | 28709 | 28709
| 344594 | Youth - Spruce Heat Generating Systems |  | 0 | 0 | 0 | 0 | 42300 | 42300
|  | Total Fund 3421 | 11270817 | 11496233 | 11770993 | 12025247 | 12265752 | 12511063 | 71340105