Metropolitan King County Council

Physical Environment Committee

# STAFF REPORT

| AGENDA ITEM: | 7 | DATE: | June 9, 2009 |
| --- | --- | --- | --- |
| PROPOSED NO.: | 2009-0288 | PREPARED BY: | Marilyn Cope |

SUBJECT	Proposed Ordinance 2009-0288 would approve the City of Pacific (the “City”) 2008 Water System Plan (the “Plan”).

SUMMARY

Council approval of water utility comprehensive plans is required by County Code as a prerequisite for: operating in unincorporated King County, granting right of way construction permits, granting new or renewed franchises, and service boundary annexations.

BACKGROUND

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee ("UTRC") to review and make recommendations to the Executive and County Council on the adequacy of all water system comprehensive plans and related matters, and to determine whether the plan:

- is consistent with local comprehensive plans;

- is consistent with the King County Comprehensive Plan;

- reflects current supply and demand;

- forecasts future supply and demand;

- provides a capital plan for obtaining, using, storing and conveying water and sewage;

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of King County Code Chapter 13.24, the County's approval of a plan also provides the determination for state regulatory agencies that a plan is consistent with the King County Comprehensive Plan and related policies and implementing development regulations.  See RCW 43.20.260.

UTRC ANALYSIS OF THE CITY OF PACIFIC WATER SYSTEM  PLAN

The UTRC reviewed the City’s Water Plan and found to meet the requirements of King County Code Chapter 13.24 and recommended its approval in February, 2009.  Highlights of the Water Plan as reviewed by the UTRC are outlined below:

Service Area

# The City’s service area includes most of the area encompassed by the City proper.  One area in the western part of the City is served by the Lakehaven Utility District.  The Plan makes no specific mention of any other systems within the City’s retail water service area that are not connected to the City’s main distribution system.  The City does not allow any private water sources to be connected to the City’s distribution system.  The City, likewise, does not permit Satellite Management Systems to operate within its service area.

Water Use Efficiency

# Numerous state statutes, KCC 13.28, and the King County Comprehensive Plan, require efficient water use.  Water use efficiency applies to both supply and demand management.  The City’s distribution system loss averaged nine percent over the last two years, and the City recognizes the state standard of ten percent and has set continuing to meet that standard as part of its conservation program.

# All of the water used by the City comes from three groundwater wells that constitute a well-field located in the adjacent City of Algona.  The City can augment its supplies through interties with the cities of Algona, Auburn, and Sumner, although those interties are currently only for emergency purposes.

# Daily average water consumption for the system in 2006 was approximately 0.60 million gallons per day.  The City’s average water use per Equivalent Residential Unit (“ERU”)  was 255 gallons per day (“gpd”) based on 2005-2006 water production data.  The City proposes to reduce its production by five percent by the year 2012 and another 5 percent by the year 2027 using the 255 gpd per ERU as the base.

# The City’s current conservation program satisfies the program requirements established in 1994 as required by law.  The City is collecting data on water usage, so it is positioned to move into the next phase of water conservation and efficiency.  The Plan outlines a number of recommendations that the City should begin to implement to enable it to comply with the Water Use Efficiency Rule adopted by Washington State Department of Health.

# Reclaimed Water and Regional Planning

# The City collects its own wastewater and is a part of the King County regional wastewater treatment system.  The City considered the use of reclaimed water in its Plan.  Unfortunately, there are not any potential customers within the City at this time.  The City completed the Water Reclamation Checklist as part of its Plan.

# The City has participated in a number of regional water management efforts, including the development of the South King County Coordinated Water System Plan.  The City has not been participating in the development of the Puyallup-White River Watershed (WRIA 10) Management Plan, but does not plan to conduct any activities that are contrary to that plan.

Capital Improvement Program

# The Plan contains a six-year (short-term) capital improvement program (“CIP”) with the cost estimated to be $8,597,700.  The City proposes to fund the CIP projects with the usual funding resources such as rates, general facilities charges, various grant and low-interest loan programs, and general obligation and revenue bonds.  Total income for water for the City in 2006 was $1,140,636.

Groundwater Management

# The City has a Wellhead Protection Plan for its well-field that was included in the City’s 1988 Water System Plan.  The City’s Wellhead Protection Plan has been updated to reflect changes to the City’s water system that have occurred since then, primarily the addition of a new well to the City’s well-field.  The well-field is located adjacent to privately owned and commercially developed properties, so the City is acutely aware of the potential for ground water contamination.  For those portions of the Wellhead Protection Plan that overlap unincorporated King County, that land area will be incorporated into the critical areas ordinance and critical aquifer recharge areas.

# SEPA

# The City completed a State Environmental Policy Act checklist for the Water Plan and, as lead agency, issued a determination of non-significance for the issuance of the Water Plan on March 3, 2008.

ATTACHMENTS

- Proposed Ordinance 2009-0288

# Footnotes

interconnections