April 21, 2009

The Honorable Dow Constantine

Chair, King County Council

Room 1200

C O U R T H O U S E

Dear Councilmember Constantine:

Enclosed for King County Council consideration is an ordinance approving the Shoreline Water District’s (District) 2007 Water System Plan (Plan).  In February 2009, the Utilities Technical Review Committee (UTRC) reviewed the Plan and recommends its approval.

The Revised Code of Washington (RCW) 57.16.010 and King County Code (KCC) require that before becoming effective, the Plan be approved by King County.  Approval of the Plan will further provide state regulatory agencies the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.  This letter, and attached matrix, describes the results of the county’s review of the Plan and affirms that the Plan meets King County requirements.

- Plan Summary

The District was formed in 1931 under the name of King County Water District No. 42 and subsequently changed to Shoreline Water District in 1992.  The District provides water service to incorporated areas of the cities of Shoreline and Lake Forest Park.

Service Area

The District’s service area is located in the northern part of King County and consists primarily of single-family residences typical of an urban neighborhood.  In 2007, the District provided service to a population of 24,200, equating to 10,700 total equivalent residential units (ERU), within its retail water service area.  The District’s service area corresponds with that identified in the East King County Coordinated Water System Plan (CWSP).  The District provides wholesale water to Fircrest, which is a state-operated facility, and its own public water system.  The District also has an intertie for emergency supplies from the City of Mountlake Terrace.

Water Use Efficiency

Water used by the District is purchased from Seattle Public Utilities.  The projected annual average day demand (water consumed) for 2007 was approximately 1.80 million gallons per day (mgd), with maximum day demand at 3.95 mgd.  The District’s average water use per ERU was 168 gallons per day.  The District’s proposed efficiency goals are to participate with other utilities in the Saving Water Partnership, reduce per capita water demand by one percent per year through 2010, and have less than ten percent water loss across the entire system.  The District is in substantial compliance with the Department of Health’s Water Use Efficiency Rule.

Capital Improvement Program

The Plan contains a ten-year capital improvement program (CIP) with the cost estimated to be approximately $16.3 million.  The District proposes to fund the CIP projects with the usual funding resources such as water sales, facilities charges, developer financing, various grant and low-interest loan programs, and general obligation and revenue bonds.  Total income for the District in 2006 was $4,593,194.

Reclaimed Water and Regional Planning
The District neither collects nor treats wastewater.  The District evaluated reclaimed water as required by statue, but did not identify any opportunities for its use.  The District has participated in a number of regional efforts, including the development of the East King County CWSP, and is also a member of the Washington State Association of Sewer and Water Districts.

- SEPA

- The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of non-significance for the issuance of the Plan on 
January 15, 2008.

The enclosed matrix provides additional information regarding the District's compliance with KCC requirements and consistency with the King County Comprehensive Plan.

I appreciate the District's cooperation in submitting the Plan and working with the UTRC review process.  If you have any questions about the Plan or the proposed ordinance, please feel free to contact Stephen Hirschey, Chair of the Utilities Technical Review Committee, at 206-205-0817.

I urge the Council to adopt the enclosed ordinance approving the District's Plan.

Sincerely,

- Ron Sims

King County Executive

Enclosures

cc:	King County Councilmembers

ATTN:  Tom Bristow, Interim Chief of Staff

Saroja Reddy, Policy Staff Director

Anne Noris, Clerk of the Council

Frank Abe, Communications Director

Bob Cowan, Director, Office of Management and Budget

Stuart Turner, P.E., General Manager, Shoreline Water District

Richard Rodriguez, Regional Planner, Washington State Department of Health

Theresa Jennings, Director, Department of Natural Resources and Parks 
Steve Hirschey, Chair, Utilities Technical Review Committee