| Review of Northeast Sammamish Sewer and Water District 2006 Sewer Plan Update |
| --- |
|  | A. General and water plan-specific: King County Code 13.24.010 | Comments/findings |
| (1) | Applicable to special purpose districts (RCW Title 57) and water utilities distributing or obtaining water, or providing collection or treatment, in unincorporated King County. | The District is a special purpose district under Title 57 RCW. |
| (2) | Submitted every six years, or sooner if required by the Washington State Department of Health (DOH) or the Washington State Department of Ecology (Ecology), or whenever sewer conditions have changed significantly within sewer service area. | The District’s last plan was approved by King County in October 2001. |
| (3) | Consistency with King County Comprehensive Plan and Development regulations, and policies. | Yes. The District serves four schools outside the Urban Growth Area (UGA), and has within its service area a portion of unincorporated King County outside the UGA where service is restricted. See below for details. |
| (4) | Infrastructure for existing and future service areas based on adopted land use map. | Yes. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes. See below for details as to existing facilities and plans for improvements. The District expects to reach full buildout between 2020 and 2030, and its Capital Improvement Program (CIP) includes projects to increase capacity to support the planned buildout service level. |
| (6) | Consistent with WAC 173-240-050 | Yes. |
| (7) | Discuss the following: Existing and planned flows, average and peak. Existing and planned flows for any basin discharging into KC system. Amounts of I&I, in comparison with KC standard of 1100 gal/acre/day, and steps being taken to reduce. Areas of concern re corrosion and odor control, and steps being taken. Opportunities for reclaimed water. Additional information required by the Utilities Technical Review Committee (UTRC). | All are discussed in the Plan. I&I is at 685 gal/acre/day, well below KC standards, with steps planned to further reduce that level. Specific steps have been taken to address areas with odor concerns. Since the District does not have treatment facilities, it cannot provide reclaimed water. However, it has identified Sahalee Golf Course as a potential user, and would be willing to have further discussions about such use. |
|  | B. Public Sewer Service: 13.24.035 |  |
| (8) | All developments within UGA served by sewer, unless on-site allowed as temporary per KCC 13.24.136 and 13.08.070. | Yes. |
| (9) | Public sewer provided in rural towns if approved by King County. | No rural towns provided sewer service. |
| (10) | No public sewer service outside UGA unless authorized under KCC 13.24.134. | Sewer service to four schools outside the UGA, as provided for in KCC 13.24.134. |
| (11) | Sewer service extensions to be approved by Council, if consistent with KCC 13.24.035 and KC polices and regulations, in the form of sewer plan or amendment. | None planned. |
| (12) | Required elements of sewerage general plan, as called for in RCW 36.94.010(3), are included in KC Comp Plan and Technical Appendix. | Not applicable. |
|  | C. Consistency requirements: 13.24.060 |  |
| (13) | KCC requirements re installation of fire hydrants and water mains. | Not applicable. |
| (14) | State and local health requirements. | Plan has been reviewed by Ecology, and comments incorporated into revised Plan. |
| (15) | Elimination or prevention of duplicate facilities. | Not applicable. |
| (16) | Promotion of most healthful and reliable services to the public. | Yes. |
| (17) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Sewer rates appear reasonable and adequate. |
| (18) | Reduction of number of entities providing sewer service in King County. | The District has agreements with local general purpose governments regarding sewer service, and anticipates that its entire service area will ultimately be sewered. No other entities providing sewer within its service area. |
| (19) | KC Comprehensive Plan, and other pertinent county adopted plans and policies. | Yes. |
| (20) | Basinwide or multibasin water plans, sewerage plans, or both when approved by Ecology or DOH. | As a member agency of the King County regional system, the District conforms to the requirements for such agencies. |
| (21) | Applicable state water quality, water conservation, and waste management standards. | Yes. |
| (22) | Water Resources Act (RCW 90.54). | Not applicable. |
| (23) | Growth Management Act (RCW 36.70A). | Consistent with the King County Comprehensive Plan, and with the plans of local general purpose governments. |
| (24) | Groundwater Management Plans. | Not applicable. |
| (25) | Federally-approved habitat conservation plans and recovery plans under Endangered Species Act (ESA). | Not applicable. |
| (26) | Requirements for salmon recovery under RCW 77.85, and other plans, including regional water supply or water resource management plans. | Not applicable. |
| (27) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | Yes. See above. |
| (28) | D. Facilities crossing rural areas: K.C.C. 13.24.132: Sewer facilities allowed to cross rural areas only under certain conditions. | Complies with King County Code. |
| (29) | E.Facilities in rural and natural resource areas: K.C.C. 13.24.134: Only for schools or public health emergencies, under certain conditions. | Complies with King County Code. |
| (30) | F. SEPA documentation | Determination of Nonsignificance adopted by District’s Board on September 6, 2007. |
|  | G. King County Comprehensive Plan—consistency with provisions and specific policies (Sewer System Plan) |  |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (31) | CA-5 and CA-6: Adopt policies to protect quantity and quality of ground water. | I&I program maintains inflows well below KC standards. |
| (32) | CO-5: water supply shall be regionally coordinated. | Not applicable. |
| (33) | CO-6: aggressive conservation efforts shall be implemented. | Not applicable. |
| (34) | CO-7: water reuse and reclamation shall be encouraged, especially for high water users | See above. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (35) | E-119: management and protection of water resources by King County through incentives, regulations and programs. | Not applicable. |
| (36) | E-123: protect and enhance surface waters, including Puget Sound. | Not applicable. |
| (37) | E-155: protect groundwater, and develop strategies to compensate or mitigate for losses. | See above discussion re I&I. |
| (38) | E-204: protect critical habitat. | Not applicable. |
| (39) | F-104: plan for provision of services to rural areas. | See above re provision of service to rural schools. |
| (40) | F-105: work with cities and service providers to provide services. | Yes. |
| (41) | F-201: facilities and services should be provided in compliance with the ESA. | Yes. |
| (42) | F-202: ensure adequate supply of public facilities to support communities. | Yes. |
| (43) | F-203: work with cities, special purpose districts, and other service providers to define regional and local services and determine appropriate providers. | Yes. |
| (44) | F-206: funding for growth should support facilities needed w/in UGA’s, prioritized and coordinated through CIP’s to comply with concurrency requirements | Funding program is adequate to support identified needs, including facilities to serve anticipated population growth. |
| (45) | F-207: support rural levels of development and not facilitate urbanization. | Yes. |
| (46) | F-209: coordinate development of utility facilities. | Yes. |
| (47) | F-211: KC’s CIP demonstrates that projected needs for facilities and services can be met within the UGA in compliance with concurrency requirements; where not possible, identify strategies including phasing and financing. | Yes. |
| (48) | F-212: water and sewer utilities that provide services to unincorporated KC shall prepare capital facility plans consistent with requirements of GMA and KC Comp Plan | Yes. |
| (49) | F-214: KC to initiate subarea planning process where any service provider declares, in its capital facilities plan, an inability to accommodate projected service needs w/in their service area | Not applicable. |
| (50) | F-216: where an areawide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | Not applicable. |
| (51) | F-233-235, 238: develop regional water supply plan with a role for reclaimed water as a source of supply. | Not applicable. |
| (52) | F-239: KC partner with utilities to encourage best management practices and conservation through such means as developing reclaimed water, aggressive water conservation and reuse measures; support planned land uses with reliable service at minimum cost; encourage reclaimed water use, focused on large water users such as golf courses and cemeteries. | Yes. |
| (53) | F-244: groundwater supplies should be protected by preventing land uses that may adversely affect quantity or quality. | Not applicable. |
| (54) | F-245: all development within UGA to be served by public sewers, with some exceptions. | Yes. |
| (55) | F-246: KC and sewer utilities should jointly plan for phasing out of on-site systems w/in UGA. | The District anticipates its service area being totally sewered at buildout. |
| (56) | F-247: City-owned parks redesignated from rural to urban for annexation shall be tightlined. | Not applicable. |
| (45) | .F-248: Existing public sewer serving Town of Vashon cannot be expanded beyond town borders. Other towns may use appropriate on-site or decentralized systems. | Not applicable. |
| (57) | F-249: Public sewers may only be extended into rural and natural resource areas under limited conditions, only if they are tightlined, and only after specific findings are made; utilities shall have written agreements to ensure this; permitted public sewers shall not be allowed to convert rural or natural resource lands to urban uses and densities or to expand permitted nonresidential uses. | Yes. |
| (58) | F-250: facilities, such as pump stations, force mains, and trunk lines, that do not serve rural areas may only be located in rural areas if they are identified in KC-approved plans, and with a finding that such facilities are necessary to serve UGA. | Yes. |
| (59) | F-251: on-site facilities in rural and natural resource areas shall be designed, constructed, and operated as permanent facilities | Yes. |
| (60) | F-252: King County should monitor failing on-site systems and analyze options which may include connecting to sewerage systems where consistent with the KC Comp Plan. | No apparent issues within the District’s service area. |
| (61) | F-253: Collective on-site systems may only be used in rural and natural resource areas under specified conditions. | Not applicable. |