| Review of Woodinville Water District General Sewer Plan, 2007, amended 2010 |
| --- |
|  | A. General and sewer plan-specific requirements of King County Code 13.24.010 | Comments/findings |
| (1) | Review and approval by the King County Council is applicable to: special purpose districts under Revised Code of Washington (RCW) 57.16.010(6); and sewer districts that provide sewer collection or treatment in unincorporated areas of King County. Review of the plan is also required under King County Code (KCC) 28.84 as the District is a component agency of the regional system. | The review and approval of the Woodinville Water District’s (District) General Sewer Plan 2007, amended 2010, (Plan) is required as the District is a special purpose district authorized by, and operating under, Title 57 RCW. A portion of the District’s service area lies within unincorporated King County as well as within the City of Woodinville. The District’s wastewater flows are treated by the King County regional wastewater system. |
| (2) | The Plan shall be consistent with the King County Comprehensive Plan and development regulations and policies. | Yes. See below for details. For the King County Comprehensive Plan, the applicable policies are listed along with the policy or operational activity the District takes related to it. |
| (3) | The Plan shall be adopted by that entity and approved by the King County Council as a prerequisite for the following: operating in unincorporated King County; approval of annexation proposals; granting of new right-of-way franchises and right-of-way franchise renewals; and approval of right-of-way construction permits, except for emergency permits issued under KCC 14.44.055. | The commissioners of the District adopted the Plan by resolution dated September 18, 2007. Based on the previously approved Plan(s) the County has granted two franchises to the District. Franchises held by the District are numbers 9353 and 13917. With the approval of this Plan, and extension of sewer to serve parcel 071050050, there is a need to update the franchise(s). The District is aware of this requirement. The District covers a significant portion of north-central King County within the urban growth area, east of the City of Bothell and in and near the City of Woodinville. |
| (4) | Plans should be submitted every six years or sooner if required by the Washington State Department of Ecology (DOE), or whenever sewer conditions have changed significantly within sewer service area. | The District’s last wastewater plan is dated 1993 and was approved by King County in February 1994, Ordinance 11211. |
| (5) | Infrastructure for existing and future service areas based on adopted land use map. | Yes, for that portion of the service area in unincorporated King County, the County’s zoning was used; for the service area within the City of Woodinville, Woodinville’s land use zoning was used. For that portion of the service area within City of Redmond’s potential annexation area, King County’s current land use zoning was used. |

| (6) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes. See below for details as to existing facilities and plans for improvements. The District used a system hydraulic model to evaluate its collection capacity, and concluded that there is adequate capacity to accommodate peak flows and anticipated growth to the year 2022. |
| --- | --- | --- |
| (7) | Consistent with Washington Administrative Code (WAC) 173-240-050. | Yes. DOE reviewed the Plan and provided comments to the District, and approved the Plan April 17, 2008. |
| (8) | Discuss the following: existing and planned flows, average and peak; existing and planned flows for any basin discharging into the county system; amounts of inflow and infiltration (I/I), in comparison with county standard of 1,100 gallons/acre/day (gpad) and steps being taken to reduce; areas of concern regarding corrosion and odor control and steps being taken; and opportunities for reclaimed water. | The existing and planned for flows were developed with a standard method using data compatible with King County flow monitoring data, and are reasonable. All the mini-basins except for two have I/I rates less than the standard. Mini-basins WDN 004 and LBEARA 03 have an I/I rate of approximately 3,970 and 1,487 gpad respectively. The District is partnering in the King County Regional Infiltration and Inflow Control Program to address excessive I/I. There were no issues identified with either corrosion or odor control. The District did not evaluate opportunities for reclaimed water use within the Plan. |
|  | B. Public Sewer Service: 13.24.035 |  |
| (9) | All developments within Urban Growth Area (UGA) served by sewer unless on-site are allowed as temporary per KCC 13.24.136. | Yes, the District understands its sewer service area is entirely within the UGA and anticipates providing sewer service within its entire service area for new development. There are estimated to be as many as 2,500 existing on-site disposal systems within the sewer service area within the City of Woodinville that will convert to the sewer system over time. The District is planning to serve those users if and when the on-site systems fail. The District is supportive of property owner initiated utility local improvement districts; however, there is no District lead program to convert existing on-site systems to the regional system. The District currently has 2,100 residential connections and 400 commercial connections. There is no anticipated growth for the commercial connections, therefore, it is anticipated the total connections will grow to 5,400 by 2030. |

| (10) | Required elements of sewerage general plan, as called for in RCW 36.94.010(3), are included in King County Comprehensive Plan and Technical Appendix. | The Plan has the general location and description of treatment and disposal facilities, trunk and interceptor sewers, pumping stations, monitoring and control facilities, channels, local service areas, and a general description of the collection system to serve the service area. The Plan also contains preliminary engineering plans in adequate detail to assure technical feasibility and, to the extent known, discusses the methods of distributing the cost and expense of the system and the economic feasibility of plan implementation. |
| --- | --- | --- |
|  | C. Consistency requirements: 13.24.060 |  |
| (11) | State and local health requirements. | The Plan has been reviewed and approved by DOE, with responses to DOE’s comments incorporated into the revised Plan. The Utilities Technical Review Committee review process included a representative of Public Health Seattle and King County. |
| (12) | Elimination or prevention of duplicate facilities and a reduction of number of entities providing sewer service in King County. | The District has written agreements with local general purpose governments and other sewer providers as to areas to be served in order to coordinate service. The District has an ongoing negotiation with Northshore Utility District regarding service to a small area. The issues appear resolvable between the parties. |
| (13) | Promotion of most healthful and reliable services to the public. | Yes. |
| (14) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Sewer rates appear reasonable. |
| (15) | Basin wide or multibasin water plans, sewerage plans, or both when approved by DOE or Washington State Department of Health. | The District is aware of, and supports, the regional planning done by WRIA 8 for salmon recovery purposes. The District is part of the regional wastewater system managed by King County and its Plan is consistent with the Regional Wastewater Services Plan. |
| (16) | Applicable state water quality, water conservation (e.g., RCW 90.48.495), and waste management standards. | Yes, applicable state water quality and waste management standards are being met. There is no indication in the Plan as to whether the District’s planned water conservation efforts would reduce flows into the sewerage system or have any impact on its conveyance capacity. |
| (17) | Growth Management Act (GMA), chapter 36.70A RCW. | Yes, the Plan is consistent with the King County Comprehensive Plan and development regulations used to implement the GMA. |
| (18) | Groundwater Management Plans. | Groundwater quality will be protected if the District implements a septic abandonment program to connect areas served by on-site septic systems to the regional sewer system. Those actions should reduce public health risk from failing septic systems to underlying aquifers. |
| (19) | Federally-approved habitat conservation plans and recovery plans under Endangered Species Act. | The District recognizes its responsibility to avoid take of an endangered species in its operations. |
| (20) | Requirements for salmon recovery under RCW 77.85, and other plans, including regional water supply or water resource management plans. | The Plan makes no reference to the participation of the District with salmon recovery efforts within the watershed. No regional water supply plan is applicable. |
| (21) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | The District did not evaluate opportunities for the use of reclaimed water in the Plan. However, the District recognizes the Brightwater regional treatment system will produce water that can be reclaimed and that reclaimed water may impact their future operations. |
| (22) | State Environmental Policy Act documentation. | Determination of Nonsignificance was issued by the District on July 22, 2009, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (23) | CA-5 and CA-6: adopt policies to protect quantity and quality of groundwater. | Connection of houses and businesses with on-site septic to the District’s sewer system should reduce health risks from any failing septic systems. |
| (24) | CO-7: water reuse and reclamation shall be encouraged, especially for high water users. | See number 21 above. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (25) | F-104: plan for provision of services to rural areas. | The District knows that sewer service to the rural area is done consistent with the KCC. |
| (26) | E-105: protect critical habitat. | Yes. The District plans to upgrade facilities and address I/I issues. This should reduce discharges and assist in improving the water quality of the Puget Sound. |
| (27) | E-434: management and protection of water resources by King County through incentives, regulations and programs. | The District does protect water resource quality through a well run system. |

| (28) | E-466: protect groundwater and develop strategies to compensate or mitigate for losses. | See above discussion regarding I/I and sewer service to currently unsewered properties. |
| --- | --- | --- |
| (29) | E-477: protect and enhance surface waters, including Puget Sound. | Not applicable. |
| (30) | F-105: work with cities and service providers to provide services. | Yes, the District provides service within the City of Woodinville and the county inside the UGA. |
| (31) | F-202: ensure adequate supply of public facilities to support communities. | Yes. The District used information from the most recent comprehensive plans of the jurisdictions it overlays to project needed facilities. |
| (32) | F-203: work with cities, special purpose utilities, and other service providers to define regional and local services and determine appropriate providers. | Yes, King County has worked with the District to define the service area. The District has written agreements with the local governments regarding service provisions. The District needs to continue working with the Northshore Utility District to resolve a service area issue. |
| (33) | F-207: funding for growth should support facilities needed within UGAs, prioritized and coordinated through capital improvement programs (CIP), to comply with concurrency requirements. | Funding sources are identified to support identified needs, including facilities to serve anticipated population growth under local comprehensive plans. Developer extension agreements are anticipated to be the major source of funding for system expansion. |
| (34) | F-208: support rural levels of development and not facilitate urbanization. | There are no rural areas within the District’s sewer service boundary. There has been extension of sewer into the rural area to address public health and safety issues associated with failing on-site systems consistent with KCC 13.24.134. |
| (35) | F-210: coordinate development of utility facilities. | Yes. |
| (36) | F-212: King County’s CIP demonstrates that projected needs for facilities and services can be met within the UGA in compliance with concurrency requirements; where not possible, identify strategies including phasing and financing. | Yes. The District’s CIP identifies facilities and a funding strategy to ensure that it will meet anticipated demands. |
| (37) | F-213: water and sewer utilities that provide services to unincorporated King County shall prepare capital facility plans consistent with requirements of GMA and King County Comprehensive Plan. | Yes, the Plan is consistent with the King County Comprehensive Plan and GMA. |

| (38) | F-215 and F-217: where an area wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | Not applicable as no deficiency was identified. |
| --- | --- | --- |
| (39) | F-245: all development within UGA to be served by public sewers, with some exceptions. | Yes, the policy is being implemented. |
| (40) | F-246: King County and sewer utilities should jointly plan for phasing out of on-site systems within UGA. | The District anticipates its entire service area being served by sewers but recognizes the existing on-site systems will be operating for some time. |
| (41) | F-252: King County should monitor failing on-site systems and analyze options which may include connecting to sewerage systems where consistent with the King County Comprehensive Plan. | The District does have a large number (2,500 or more within the City of Woodinville) of existing on-site systems within its service area. There is not a significant number of failing on-site systems within the District’s service area of unincorporated King County at this time. |