| # Review of Ronald Wastewater District # Comprehensive Sewer Plan, January 2010 |  |  |  |
| --- | --- | --- | --- |
|  | A. General and sewer plan-specific requirements of King County Code (KCC) 13.24.010 and 28.84. | Comments/findings |  |
| (1) | - Review and approval by the King County Council is applicable to special purpose districts under Revised Code of Washington (RCW) 57.16.010(7); and - Sewer districts that provide wastewater to the regional system under KCC 28.84. | - The review and approval of the Ronald Wastewater District (District) Comprehensive Sewer Plan (Plan), January 2010, is required as the District is a special purpose district authorized by, and operated under, Title 57 RCW. - A portion of the District’s service area lies within the City of Shoreline and unincorporated Snohomish County. There is no service to areas of unincorporated King County. - A portion of the District’s wastewater flows to the regional treatment system. |  |
| (2) | - The Plan shall be consistent with the King County Comprehensive Plan and development regulations and policies. | - Yes. See below for details. For the King County Comprehensive Plan, the applicable policies are listed along with the policy or operational activity the District takes related to the policy. |  |
| (3) | - The Plan shall be adopted by that entity and approved by the King County Council as a prerequisite for the following: - Operating in unincorporated King County; - Approval of annexation proposals; - Granting of new right-of-way franchises and right-of-way franchise renewals; and - Approval of right-of-way construction permits, except for emergency permits issued under KCC 14.44.055. | - The District’s service area covers a portion, approximately 10.7 square miles, of northwestern (mostly) incorporated King County within the urban growth area (UGA). - The District is pursuing an annexation of the Holyrood Cemetery to the corporate boundary; the Cemetery is currently served by the District. The Seattle Golf Course is a potential annexation area for the District. - Given no service in unincorporated King County, there is no franchise in place or needed. |  |
| (4) | - Plans should be submitted every six years or sooner if required by the Washington State Department of Ecology (DOE), or whenever sewer conditions have changed significantly within the sewer service area. | - The District’s last wastewater plan is dated 2003 and no action was taken by King County. The District’s 1991 wastewater plan and name change in 2000 were approved by ordinances of the King County Council. - The DOE approved this Plan in a letter dated May 20, 2010. |  |
| (5) | - Infrastructure for existing and future service areas based on adopted land use map. | - Yes. |  |
| (6) | - Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | - Yes. See below for details as to existing facilities and plans for improvements. - The District has concluded that there is adequate capacity to accommodate peak flows and anticipated growth to the year 2030. |  |
| (7) | - Consistent with Washington Administrative Code (WAC) 173-240-050. | - Yes. |  |

| (8) | - Discuss the following: - Existing and planned flows, average and peak; - Existing and planned flows for any basin discharging into the County system; - Amounts of inflow and infiltration (I/I), in comparison with County standard of 1,100 gallons per-acre-per-day (gpad) and steps being taken to reduce; - Areas of concern regarding corrosion and odor control, and steps being taken; and - Opportunities for reclaimed water. | - The existing and planned for flows were developed with a standard method and are reasonable. - The District discharges to the regional system and a portion of the wastewater flows discharge to the City of Edmond’s treatment plant. - The District modeled the system to compare estimated sewer basin I/I to the King County standard. Most of the basins have flows greater than 1,100 gpad with some as high as 18,000 gpad. The District proposes to replace all side sewers when a main sewer is replaced given the larger percentage of I/I originating on private property. - There were no issues identified with either corrosion or odor control. - The District is supportive of reclaimed water opportunities and works with the City of Seattle and King County to evaluate potential reclaimed water users within the service area. |
| --- | --- | --- |
|  | B. Public Sewer Service: 13.24.035 |  |
| (9) | - All developments within UGA served by sewer unless on-site are allowed as temporary per KCC 13.24.136 and 13.08.070. | - Yes, the District anticipates providing sewer service within its entire service area for new development and the few remaining onsite systems. |
| (10) | - Required elements of a sewerage general plan, as called for in RCW 36.94.010(3), are included in King County Comprehensive Plan and Technical Appendix. | - The Plan has the general location and description of treatment and disposal facilities, trunk and interceptor sewers, pumping stations, monitoring and control facilities, channels, local service areas, and a general description of the collection system to serve the service area. - The Plan also contains preliminary adequate engineering detail to assure technical feasibility and discusses the methods of distributing the cost and expense of the system and the economic feasibility of plan implementation. |
|  | C. Consistency requirements: 13.24.060 |  |
| (11) | - State and local health requirements. | - The Plan has been reviewed and approved by DOE, with responses to DOE’s comments incorporated into the revised Plan. - The Utilities Technical Review Committee (UTRC) review process included a representative of Public Health Seattle and King County. |

| (12) | - Elimination or prevention of duplicate facilities and a reduction of number of entities providing sewer service in King County. | - The District has written agreements with local general purpose governments and other sewer providers as to areas to be served in order to avoid overlapping jurisdiction. - Because of topography, the District provides service to approximately 80 homes in the City of Lake Forest Park. |
| --- | --- | --- |
| (13) | - Promotion of most healthful and reliable services to the public. | - Yes. |
| (14) | - Provision of service at a reasonable cost, and maximization of use of public facilities. | - Sewer rates appear reasonable. |
| (15) | - Basin wide or multibasin water plans, sewerage plans, or both when approved by DOE or Washington State Department of Health. | - The Plan makes no reference to the participation of the District with basin wide or multibasin water plans, or sewerage plans. - No regional water supply plan is applicable. - The District is aware of, and supports, the planning done in the Cedar River basin and Puget Sound near shore for salmon recovery purposes. |
| (16) | - Applicable state water quality, water conservation (e.g., RCW 90.48.495), and waste management standards. | - The most significant water conservation efforts in the District’s service area occurred in the 1990’s. The water use by residents in the service area has remained relatively stable for the past decade. - The District sees a very small impact on the sewer system from water conservation today. |
| (17) | - Growth Management Act (GMA), chapter 36.70A RCW. | - Yes, the Plan is consistent with the King County Comprehensive Plan and development regulations used to implement the GMA. |
| (18) | - Ground water Management Plans. | - Ground water quality protection will be enhanced when the few remaining onsite systems connect to the District. - The District determined there are 1,437 wells (resource protection or de-watering) in the service area with the vast majority being either abandoned or resource protection wells. Thirty-five of the 1,437 wells are water wells. |
| (19) | - Federally-approved habitat conservation plans and recovery plans under Endangered Species Act. | - The District recognizes its responsibility to avoid take of an endangered species in its operations. |
| (20) | - Requirements for salmon recovery under RCW 77.85, and other plans, including regional water supply or water resource management plans. | - The Plan makes no reference to the participation of the District with salmon recovery efforts within the watershed. - No regional water supply plan is applicable. |

| (21) | - Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | - The District completed the reclaimed water evaluation called for in chapter 90.48.112 RCW. - The District is supportive of reclaimed water opportunities and works with King County’s Wastewater Treatment Division and the City of Seattle to evaluate potential reclaimed water users within the service area. |
| --- | --- | --- |
| (22) | - State Environmental Policy Act documentation. | - Determination of nonsignificance issued by the District on October 7, 2009, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (23) | - CA-5 and CA-6: adopt policies to protect quantity and quality of ground water. | - Connection of houses and businesses with on-site septic to the District’s sewer system should reduce health risks from any failing septic systems. |
| (24) | - CO-7: water reuse and reclamation shall be encouraged, especially for high water users. | - See number 21. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (25) | - F-104: plan for provision of services to rural areas. | - There are no rural areas within the District. |
| (26) | - E-105: protect critical habitat. | - Yes. The District plans to upgrade facilities and address possible I/I problems. This should reduce discharges and assist in improving the water quality of the Puget Sound. |
| (27) | - E-434: management and protection of water resources by King County through incentives, regulations, and programs. | - The District does protect water resource quality through a well run system. |
| (28) | - E-466: protect ground water and develop strategies to compensate or mitigate for losses. | - See above discussion regarding I/I and sewer service to properties which currently have no sewer service. |
| (29) | - E-477: protect and enhance surface waters, including Puget Sound. | - See number 26. |
| (30) | - F-105: work with cities and service providers to provide services. | - Yes, the District provides service within one city and a small area of unincorporated Snohomish County. |
| (31) | - F-202: ensure adequate supply of public facilities to support communities. | - Yes. The District used information from the most recent comprehensive plans of the jurisdictions it overlays. |
| (32) | - F-203: work with cities, special purpose utilities, and other service providers to define regional and local services and determine appropriate providers. | - Yes, King County has worked with the District to define the service area. - The District has written agreements with the local governments regarding service provision. |

| (33) | - F-207: funding for growth should support facilities needed within UGAs, prioritized and coordinated through capital improvement programs (CIP), to comply with concurrency requirements. | - Funding sources are identified to support identified needs, including facilities to serve anticipated population growth under local comprehensive plans. - Within the next six years, the District plans to seek Public Works Trust Fund loans for four projects totaling just over $1.4 million dollars. - All other projects will be funded by rates, general facility revenue from developers and proposed bonding. |
| --- | --- | --- |
| (34) | - F-208: support rural levels of development and not facilitate urbanization. | - There are no rural areas within the District. |
| (35) | - F-210: coordinate development of utility facilities. | - Yes, the District has coordinated with neighboring jurisdictions to coordinate service. |
| (36) | - F-212: King County’s CIP demonstrates that projected needs for facilities and services can be met within the UGA in compliance with concurrency requirements; where not possible, identify strategies including phasing and financing. | - Yes. The District’s CIP identifies facilities and a funding strategy to ensure the District will meet anticipated demands. - The District reviews its financial information each fall to ensure the CIP is in line with development in the service area. |
| (37) | - F-213: water and sewer utilities that provide services to unincorporated King County shall prepare capital facility plans consistent with requirements of GMA and King County Comprehensive Plan. | - No service in unincorporated King County. |
| (38) | - F-215 and F-217: where an area wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | - Not applicable as no deficiency was identified. |
| (39) | - F-245: all development within UGA to be served by public sewers, with some exceptions. | - Yes, the policy is being implemented. |
| (40) | - F-246: King County and sewer utilities should jointly plan for phasing out of on-site systems within UGA. | - Yes, the District anticipates its entire service area being served by sewers. |
| (41) | - F-252: King County should monitor failing on-site systems and analyze options which may include connecting to sewerage systems where consistent with the King County Comprehensive Plan. | - There is not a known significant number of failing on-site systems within the District’s service area. |