| Review of Fall City Water District 2006 Water System Plan |
| --- |
|  | A. General and water and sewer plan: King County Code 13.24.010; 13.28 | Comments/findings |
| (1) | Applicable to special purpose districts (Title 57 Revised Code of Washington (RCW)) and water utilities distributing or obtaining water in unincorporated King County. | The Fall City Water District’s (District) Water System Plan (Plan) is subject to King County Council approval pursuant to RCW 57.16.010(6). The District obtains and distributes water in unincorporated King County; therefore, King County Code (KCC) 13.24 applies. |
| (2) | Consistency with King County Comprehensive Plan and Development regulations, and policies including KCC 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | The District’s 2006 Plan is consistent except as noted. The District’s water franchise, number 13864, was approved in May 2000 and expires in May 2025. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | Yes, the District used adopted King County land use maps. The Plan was reviewed by King County Department of Transportation (DOT) and the Department of Development and Environmental Services (DDES). |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility’s approved plan, and ability to meet duty to serve requirement. | The District has made several modifications to its overall service area. Parts of the service area are being relinquished because providing water service was not feasible. The District has informed the East King County Regional Water Association about service area changes. The District acknowledges that it has a duty to serve within its remaining overall service area. The District describes its overall water service area as generally co-extensive with the service area described in the East King County Coordinated Water System Plan (CWSP), although much larger than its corporate boundaries. Except for those areas that either have been, or are proposed to be, relinquished, the District appears to have the ability, by one means or another, to serve the overall service area for the six- and 20-year periods covered by the Plan. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | The District currently obtains its water from six wells. The projected maximum day demand in 2026 is approximately .59 million gallons per day (mgd) and total supply available is 1.025 mgd. The District’s current water supplies appear more than sufficient to meet projected maximum day demand in 2026. |
| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved CWSP. | The Plan is currently inconsistent with the East King County CWSP for the service area due to the District relinquishing parts of its service area. The District has noted that when the CWSP is updated, the boundaries will have to be adjusted and has informed the East King County Regional Water Association of that fact. The Plan does not reference the timely and reasonable dispute resolution process of the CWSP. The Plan makes no mention of the conservation program goals for the East King County CWSP. Rather, the Plan states that the District set as an objective exceeding the minimum requirements outlined in state standards. The District is currently working to meet Washington State Department of Health (DOH) efficiency requirements under the Municipal Water Law. |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | State and local health requirements. | Yes. |
| (8) | Creation and maintenance of logical service areas. | Yes, the service area is logical. Yes, the District recognizes the need to change the service area boundaries. |
| (9) | Elimination or prevention of duplicate facilities. | Yes. Pursuant to state law and the KCC, approval of new Group B systems by Public Health – Seattle King County will be conditioned with the requirement to be satellite owned or managed. Although the District has adopted satellite management policies, it is not an approved Satellite Management Agency (SMA). Therefore, it will need to secure DOH approval before it can operate as a SMA. The District has not entered into any agreements with neighboring water utilities about their providing service to the areas it is relinquishing. |
| (10) | Promotion of most healthful and reliable services to the public. | Yes. A hydraulic analysis performed for the District shows the District’s water distribution system to have sufficient capacity to meet peak day and peak hour demand through the six- and 20-year planning periods. The hydraulic analysis of the District’s system indicates some areas where fire flows do not meet current standards. Generally, the problem is attributed to undersized transmission lines. Some of these areas are exempt from fire flow requirements due to lot size and where fire flow demands do not meet current standards, the capital improvement program (CIP) has targeted infrastructure improvements to address fire flow limitations. All new construction or rehabilitation of the system is required to meet existing fire flow standards. While the District can generally meet fire flow requirements, it does have a slight storage deficiency in its main zone. The addition of other reservoirs to the main zone should remedy this deficiency. That project is included in the District’s CIP. Water purveyed by the District is evaluated for compliance with water quality standards and results indicate the District is in compliance with the standards. |
| (11) | Provision of service at a reasonable cost, and maximization of use of public facilities. | The District’s rates for water service are comparable to the rates charged by similar utilities. The District has a graduated rate structure to encourage efficiency of water use during the summer months. |
| (12) | King County Comprehensive Plan and other pertinent county adopted plans and policies. | Yes, there is consistency between the District’s Plan and the King County Comprehensive Plan, except as noted herein. |
| (13) | Basin-wide or multibasin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (DOE) or DOH. | The District participates in the East King County Regional Water Association. The District does not provide sewer services. All wastewater produced within the service area of the District is treated by on-site systems. The Plan is consistent with the East King County CWSP, except as noted, and chapter 173-507 Washington Administrative Code (WAC), the Snohomish River Basin Instream Resources Protection Program. |
| (14) | Applicable state water quality, water conservation, and waste management standards. | The District tests the water produced from its wells and the water meets all water quality standards. The District’s water use per ERU has dropped since 1990 from 237 to 218 gallons per day (gpd) with even greater efficiencies being achieved for the non-residential sector, indicating that the District’s conservation activities are reducing water use. The District projects lost and/or unaccounted for water to remain consistent at one percent through 2026. This will be enhanced by the replacement of a number of water mains as part of the District’s CIP. The District participates in the regional conservation program through the East King County Regional Water Association and its membership in the Water Conservation Coalition of Puget Sound. |
| (15) | Water Resources Act (RCW 90.54). | The District evaluated its conservation program from a cost effectiveness perspective, but essentially at a conceptual level. The Plan makes no connection between the conservation program and the requirements of RCWs 90.54.180 and 90.03.386. The District’s Plan was drafted prior to the recently promulgated Water Use Efficiency Rule, but the District intends to comply with the rule nonetheless. |
| (16) | Growth Management Act (GMA) (RCW 36.70A). | The District assessed population data from the Puget Sound Regional Council (PSRC) at the forecast analysis zone (FAZ) level to determine its future population base. The District felt the PSRC data over-estimated potential growth because it included areas with a much higher growth potential. Therefore, the District developed a customized population projection based upon historical growth. Since the District is located in an unincorporated area, it appropriately used the land use zoning of King County. |
| (17) | Ground water Management Plans. | There is a ground water management plan for East King County, but the District’s Plan makes no mention of that plan in relationship to its wells. The District’s Plan does include a wellhead protection program for its six wells and the District is in the process of implementing the program. |
| (18) | Federally-approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | The District’s water comes from six wells located within the Snoqualmie River, which is part of the Snohomish River Basin. There is a Snohomish River Basin Salmon Conservation Plan, but the District’s Plan makes no mention of it. |
| (19) | Requirements for salmon recovery under RCW 77.85, and other plans, including regional water supply or water resource management plans. | The District participates indirectly in salmon recovery planning through its membership in the East King County Regional Water Association. |
| (20) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | The District does not include any centralized wastewater treatment facilities and does not have access to reclaimed water. The District completed the reclaimed water checklist provided by DOH as required by chapter 90.46 RCW. The Plan identifies schoolyard irrigation in the amount of approximately 1.8 million gallons of water use per year as a potential user of reclaimed water if it were available. However, it does not appear the use of reclaimed water is feasible in the near term within the District. |
|  | C. King County Comprehensive Plan—consistency with provisions and specific policies (Water System Plan) |  |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (21) | FW-5: management of resources for multiple beneficial uses, including flood and erosion hazard reduction. | Not applicable. |
| (22) | FW-12: ensure sufficient water supply for growth and fish habitat needs through long-term planning. | Sufficient water supply for projected growth is available. No apparent linkages and little relevance of the Plan to fish habitat needs. |
| (23) | CA-5 and CA-6: adopt policies to protect quantity and quality of ground water. | There are an East King County Ground Water Management Plan and an East King County Ground Water Protection Program, but the District’s Plan does not discuss them. See comment number 17 for information about the District’s wellhead protection program. |
| (24) | CO-5: water supply shall be regionally coordinated. | The District took part in the East King County CWSP process and is a member of the East King County Regional Water Association. |
| (25) | CO-6: aggressive conservation efforts shall be implemented. | The District is implementing the water use efficiency program required by DOH. |
| (26) | CO-7: water reuse and reclamation shall be encouraged, especially for high water users | The only large water user identified was schoolyards, with a use of about 1.8 mgd. See number 20 above. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (27) | E-119: management and protection of water resources by King County through incentives, regulations and programs. | Yes. |
| (28) | E-123: protect and enhance surface waters, including Puget Sound. | Not applicable. Enhancing protection of Puget Sound could possibly be realized by reduction of demand or using alternative sources of water, such as reclaimed water. |
| (29) | E-155: protect ground water, and develop strategies to compensate or mitigate for losses. | See comments 17 and 23. |
| (30) | E-204: protect critical habitat. | Not applicable. |
| (31) | F-102: King County will provide or manage countywide services, which include waste water, water resource management, surface water management, flood warning and floodplain management, protection and preservation of natural resource lands. | Yes, for the whole of the District’s service area, which is unincorporated. |
| (32) | F-104: plan for provision of services to rural areas. | Yes, the District provides water service in rural areas consistent with the King County Comprehensive Plan. The District recognizes the rural nature of its service area and has no plans for the provision of sewer service. |
| (33) | F-105: King County work with cities and service providers to provide services. | The CIP program is appropriately focused. |
| (34) | F-201: all facilities and services should be provided in compliance with provisions and requirements of the ESA. | Not applicable. |
| (35) | F-202: ensure adequate supply of public facilities to support communities. | Yes, although fire flow for certain areas is problematic. The District recognizes that and a program is in place to address fire flow needs in its CIP. |
| (36) | F-203: King County will work with cities, special purpose districts, and other service providers to define regional and local services and determine appropriate providers. | Yes. |
| (37) | F-207: support rural levels of development and not facilitate urbanization. | Yes, see comment 32. |
| (38) | F-208: capital facility plans and improvement programs for services to unincorporated King County are consistent with King County Comprehensive Plan. | Yes, the District’s CIP is consistent with the King County Comprehensive Plan. |
| (39) | F-209: King County helps coordinate development of utility facilities. | Not applicable. |
| (40) | F-211: King County CIP shall show that projected need for services and facilities in the Urban Growth Area (UGA) can be met in compliance w/concurrency requirements of the GMA. | Not applicable. The District’s service area is entirely rural in nature. |
| (41) | F-212: water and sewer utilities providing service to unincorporated King County shall prepare capital facility plans consistent with requirements of GMA and the King County Comprehensive Plan. | The District’s service area is entirely rural in nature and is unincorporated. The CIP is reasonable and consistent with GMA and the King County Comprehensive Plan. |
| (42) | F-214: King County shall initiate a sub-area planning process with any service provider that declares, in capital facilities plan, an inability to meet service needs within service area. | Not applicable as the District did not identify any inability to meet service needs within the service area. |
| (43) | F-216: where an area-wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | No area-wide water or sewerage deficiency identified. |
| (44) | F-224: King County supports coordination of regional water supply planning, sales of excess water among municipalities, water quality programs, and water conservation and reuse programs. | Not applicable. The District neither wholesales water nor exchanges it with adjacent water systems. |
| (45) | F-225: Group A water systems must meet duty to serve requirement within service area as defined under CWSP or by individual water system plans. | See comments 4 and 5. |
| (46) | F-226-230: provides a hierarchy of water supply providers in unincorporated King County, depending on whether within UGA or rural areas, with preference for providing water from existing suppliers. | The District recognizes its duty to serve within its service area. Although it has not done so as yet, the District has stated its intention to become a Satellite Management Agency for purposes of operating small water systems within its service area. |
| (47) | F-231: service from exempt wells limited to subdivisions with no more than six lots, and limited to one well unless an additional well is needed for flow requirements for the six lots; water from the exempt well is limited to no more than one-half acre irrigation. | The District does not see this policy as its responsibility as it would be invoked only in those circumstances when the District would not be able to provide water in a timely and reasonable manner. |
| (48) | F-233-235: develop regional water supply plan with a role for reclaimed water as a source of supply. | See comment 20. |
| (49) | F-236: King County supports the use of interties consistent with planning, and implement approved ESA and Clean Water Act (CWA) response requirements. | The District does not have any interties and its Plan does not indicate intent to develop any. |
| (50) | F-239: King County partner with utilities to encourage best management practices and conservation through such means as developing reclaimed water, aggressive water conservation and reuse measures; support planned land uses with reliable service at minimum cost; encourage reclaimed water use, focused on large water users such as golf courses and cemeteries. | King County is willing to work with the District on these issues, particularly the provision of water service in unincorporated areas at an affordable price and the use and evaluation of reclaimed water opportunities. |
| (51) | F-240: Utilities Technical Review Committee (UTRC) to consider (a) consistency with land use plans and development regulations; (b) approved or adopted plans for ground water, ESA, salmon recovery, water resources, watershed planning, regional water supply plan; and (c) the Regional Wastewater Services Plan. | The UTRC did consider the given issues and recommends approval of the Plan. |
| (52) | F-241: in reviewing proposals for modified and expanded service area boundaries, UTRC must include an evaluation of the utility’s compliance with its comprehensive water system plan, including water conservation elements, and whether it can meet its duty to provide service; no approval of service area where unable to provide service for reasons in RCW 43.20.260. | The District has either altered, or is proposing to alter, its service area boundaries by relinquishing parts of its service area. King County has pointed out in its comments to the District, the need for further clarification on “duty to serve” requirements. |
| (53) | F-242: UTRC to develop a water accounting system, in conjunction with water utilities, to ensure the ability of utilities to issue certificates of availability. | The District uses the water availability certificate document to demonstrate water availability for DDES. |
| (54) | F-243: public drinking water system reservoirs and watersheds should be managed primarily to protect drinking water supplies, but allow multiple uses when not jeopardizing water quality; downstream uses including recreation, fish, and agricultural resources. | Not applicable. |
| (55) | F-244: ground water supplies should be protected by preventing land uses that may adversely affect quantity or quality. | See comments 5 and 17 for wellhead protection program comments. |