Review of the Sammamish Plateau Water and Sewer District 2010 Comprehensive Water System, December 2010

Service Area The Sammamish Water and Sewer District service area is on the Sammamish Plateau and the eastern portion of Union Hill east of 244th Avenue. The district is bounded by Lake Sammamish on the west, the Snoqualmie Valley on the east and approximately NE 90th Street on the north, and I-90 on the South. The area includes the majority of the City of Sammamish and the northern portion of City of Issaquah. The retail and future service areas are concurrent and approximately 28.6 square miles in size. The district provides water service in two zones. The Plateau Zone encompasses 24.3 square miles and is south of the Redmond-Fall City Road. The Cascade View Zone is located north of the Plateau Zone and encompasses 4.3. square miles. The future service area is relatively small and generally runs along the eastern part of the district. The Plateau Zone is adjacent to four Group A water purveyors: City of Issaquah, Overdale Water Association, Northeast Sammamish Sewer and Water District, and Ames Lake Water Association. The Cascade Zone boarders the Ames Lake Water Association, Union Hill Water Association and City of Redmond. The service area has changed from that claimed in the East King County Coordinated Water System Plan (CWSP) through adjustments of the boundary between the district and Northeast Sammamish Sewer and Water District, Ames Lake Water Association, Union Hill, and City of Issaquah. The service area has been decreased with the transfer of the Treemont area to Ames Lake and the Issaquah Highlands (Grand Ridge) development annexation by the City of Issaquah. There is also one area being added to the district’s service area from the City of Redmond. An area originally in the Redmond Ridge master planned development located directly north of the district is separate from the urban portion of the Redmond Ridge master planned development, designated rural and the City of Redmond no longer wishes to serve the area. Within the Plateau Zone approximately 16 percent of the existing parcels are vacant. A much higher percentage of parcels are underdeveloped. Existing zoning will allow for much higher development. For the Cascade Zone approximately 23 percent of the parcels are undeveloped. The district holds several franchises for water and sewer service including franchise 6301, 6184, 6311, 7542, and 7864 four of which expired last year. The district is in the process of updating the franchises with intent to combine them into one for water and one for sewer. Water Use Efficiency The district currently provides water service for approximately 52,000 people in its service area. Nearly all of the service area is composed of single and multi-family residences and most are in the Plateau Zone. The district has approximately 16,067 service connections. The customers within the district’s service area consume approximately 4.4 million gallons of water per day (mgd) on an annual average basis, and about 11.3 mgd during a peak day of usage. Distribution system loss was approximately 7.3 percent for 2008. The district is hydraulically divided into two parts, the Plateau Zone located south of Redmond–Fall City Road and the Cascade View Zone located north of Redmond–Fall City Road. Most of the Plateau Zone is located within the urban growth area. In the Cascade Zone, the district has three wells, two storage tanks and a connection to the regional system. The district has 11 operational wells, six storage facilities and an intertie to obtain water from the regional system in the Plateau Zone. The Plan contains an ambitious six-year capital improvement plan with the cost estimated to be approximately $31.9 million. The district identified three funding sources for the proposed improvement projects: developer extensions, rates, and general facility charges. Rate revenues for 2010 are projected to be $9.7 million. Reclaimed Water and Regional Planning The district recognizes the value of reclaimed water as a means to conserve and extend the useful life of the potable water supply. The district worked with King County in the development of the regional reclaimed water planning process and has committed to work with its customers and the county as appropriate to assess the feasibility of using reclaimed water for various non-potable water needs. SEPA The district completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of non-significance for the issuance of the Plan on December 15, 2010.

| A review of the specific statutes, rules, codes, and policies to the water system plan is as follows: |
| --- |
|  | A. General and water and sewer plan: King County Code 13.24.010; 13.28 | Comments/findings |
| (1) | Review is applicable to special purpose districts organized under Title 57 Revised Code of Washington (RCW). Is there a need to meet the consistency requirements of RCW 43.20.260? | Yes, the Sammamish Plateau Water and Sewer district 2010 Comprehensive Water System Plan (Plan) is subject to King County Council approval under Title 57 RCW. The Washington State Department of Health (DOH) also needs to determine consistency of the Plan under RCW 43.20.260. The City of Sammamish and City of Issaquah provided the district with statements of consistency under RCW 43.20.260 that affirmed consistency between their comprehensive plan(s) and the plan of the district. |
| (2) | Consistency with King County Comprehensive Plan (KCCP) and development regulations, and policies including King County Code (KCC) 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | Yes, the district’s Plan is consistent. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | Yes. The district used adopted land use maps. The service area is in the City of Sammamish, the City of Issaquah and unincorporated King County. |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility’s approved plan, and ability to meet duty to serve requirement. | The service area is expected to change in small areas due to agreements with neighboring jurisdictions. The district maintains duty to serve policies for its retail service area. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates an ability to provide service consistent with applicable statutes, codes and regulations. The district obtains its water from groundwater sources and has access to regional water through membership in the Cascade Water Alliance. The district’s water supplies appear sufficient to meet projected peak day demand in 2030. |

| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved Coordinated Water System Plan (CWSP). | The district is within the East King County CWSP. The district’s water use efficiency plan identifies conservation activities which the district employs as part of its long-range conservation plan. |
| --- | --- | --- |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | State and local health requirements. | Yes. |
| (8) | Creation and maintenance of logical service areas. | Yes, the service area is logical. |
| (9) | Elimination or prevention of duplicate facilities. | Yes. The district intends to provide service within its service area by means of direct connection. Satellite management is being contemplated by the district. The district maintains interties with the City of Redmond, Union Hill, Northeast Sammamish Sewer and Water district (NESSWD), and Ames Lake Homeowners Association. The district shares a reservoir with the NESSWD. |
| (10) | Promotion of most healthful and reliable services to the public. | Yes. Water purveyed by the district complies with public health standards. The water is chlorinated and fluoridated except for that water supply and storage reservoir shared with the NESSWD. The existing combination of water sources provides sufficient capacity to meet the requirements of the district through 2030. |
| (11) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Yes, the district’s rates for water service are comparable to the rates charged by similar utilities. The district has adopted a graduated rate structure to encourage efficient of water use. |
| (12) | KCCP and other pertinent county adopted plans and policies. | Yes, there is consistency between the district’s Plan and the KCCP. |
| (13) | Basin-wide or multibasin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (Ecology) or DOH. | The district has not been involved in multibasin water plans. The district neither collects nor treats wastewater. The Plan is consistent with the East King County CWSP. |
| (14) | Applicable state water quality, water conservation, and waste management standards. | Yes, applicable standards are met. The district’s average day demand per equivalent residential unit (ERU) between 2006 and 2008 was 237 gallons per day. From 2006-2008, the average distribution system leakage was estimated at 8.9 percent, which is currently below the ten percent requirement established under the Municipal Water Law. |
| (15) | Water Resources Act (RCW 90.54). | The Plan makes no connection with the requirements of RCW 90.54.180 or RCW 90.03.386. The district will maintain its existing conservation (efficiency) program while complying with DOH’s Water Use Efficiency Rule. |
| (16) | Growth Management Act (GMA) (RCW 36.70A). | The district received a consistency statement from the City of Sammamish and the City of Issaquah affirming that the district used planning assumptions and data consistent with adopted city policies. The district includes an unincorporated area and it appropriately used land use zoning of King County for that area. |
| (17) | Ground water management plans. | The district owns 14 groundwater well sources and several monitoring wells. The wellhead protection areas for sources in unincorporated King County are reflected in the critical areas ordinance, critical aquifer recharge areas. |
| (18) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | Not discussed in Plan. |
| (19) | Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | Not applicable. |
| (20) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW and CO-7. | The Plan discusses reclaimed water, and recognizes the value of reclaimed water as a measure to conserve and extend the useful life of the potable water supply. The district did not complete the King County Reclaimed Water Checklist. However, the district participated with the county in its development of a regional reclaimed water plan and provided information similar to what would have been provided on the checklist. |
|  | C. King County Comprehensive Plan—consistency with provisions and specific policies (Water System Plan) |  |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (21) | FW-5: management of resources for multiple beneficial uses, including flood and erosion hazard reduction. | Not applicable. |
| (22) | FW-12(c): ensure sufficient water supply for growth and fish habitat needs through long-term planning. | Sufficient water supply for projected growth is available. No apparent linkage and little relevance of the Plan to fish habitat needs. |
| (23) | CA-5, CA-6, and E-434 and policies to protect quantity and quality of groundwater. | The district uses groundwater. The well head protection program is current. |
| (24) | CO-5: water supply shall be regionally coordinated. | The district is self supplied and obtains water from the regional system through Cascade Water Alliance. The district is located within the East King County Critical Water Supply Service Area. The district’s Plan is subject to consistency with the East King County CWSP and it is. |
| (25) | CO-6: aggressive conservation efforts shall be implemented. | The district has a conservation program in place which appears to meet minimum state requirements. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (26) | F-102: King County will provide or manage countywide services, which include wastewater, water resource management, surface water management, flood warning and floodplain management, protection and preservation of natural resource lands. | Yes, for that portion of the service area that is in unincorporated King County. |
| (27) | F-104: plan for provision of services to rural areas. | The district service area does include portions of the rural area and the district is committed to serving the area consistent with King County’s code. |
| (28) | F-105: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The capital improvement program (CIP) is adequate and appropriately focused with funding sources identified. |
| (29) | F-201: all facilities and services should be provided in compliance with provisions and requirements of the ESA. | Not applicable. |
| (30) | F-202: ensure adequate supply of public facilities to support communities. | Yes, the district has sufficient water supplies and has an arrangement for additional supply through City of Redmond or City of Issaquah for regional water. The district also maintains emergency interties with neighboring jurisdictions. |
| (31) | F-203: King County will work with cities, special purpose districts, and other service providers to define regional and local services and determine appropriate providers. | Yes. |
| (32) | F-208: support rural levels of development and not facilitate urbanization. | The district is committed to serving the area consistent with land use. |
| (33) | F-209 and F-212: capital facility plans and improvement programs for services to unincorporated King County are consistent with the KCCP. | Yes, the CIP is consistent with the King County Comprehensive Plan. |
| (34) | F-210: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (35) | F-215: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The district did not identify any inability to meet service needs within its service area. |
| (36) | F-217: where an area-wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | No area-wide water deficiency is identified. |
| (37) | F-225: King County supports coordination of regional water supply planning, sales of excess water among municipalities, water quality programs, and water conservation and reuse programs. | The district has agreements with its neighboring utilities for sharing of water during an emergency. |
| (38) | F-226: Group A water systems must meet duty to serve requirement within service area as defined under CWSP or by individual water system plans. | Yes, the district is committed to meeting its duty to serve in the retail service area. |
| (39) | F-227-231: provides a hierarchy of water supply providers in unincorporated King County, depending on whether within urban growth area or rural areas, with preference for providing water from existing suppliers. | The district recognizes its duty to serve within its service area and is committed to providing water to all its customers within its service area by direct connection. The district may consider indirect service within the future service area. |
| (40) | F-237: King County supports the use of interties consistent with planning, and implementation of approved ESA and Clean Water Act response requirements. | The district is primarily self supplied and maintains emergency interties with neighboring utilities. |
| (41) | F-239: King County partners with utilities to encourage best management practices and conservation through such means as developing reclaimed water, aggressive water conservation and reuse measures; support planned land uses with reliable service at minimum cost; encourage reclaimed water use, focused on large water users such as golf courses and cemeteries. | King County is willing to work with the district on these issues, particularly the evaluation of reclaimed water opportunities. |
| (42) | F-240: Utilities Technical Review Committee (UTRC) to consider (a) consistency with land use plans and development regulations; (b) approved or adopted plans for groundwater, ESA, salmon recovery, water resources, watershed planning, regional water supply plan; and (c) the Regional Wastewater Services Plan. | The UTRC did consider these given issues and recommends approval of the Plan. |
| (43) | F-241: in reviewing proposals for modified and expanded service area boundaries, the UTRC must include an evaluation of the utility’s compliance with its comprehensive water system plan, including water conservation elements, and whether it can meet its duty to provide service; no approval of service area where unable to provide service for reasons in RCW 43.20.260. | The district is not changing its service area and cannot expand as all surrounding areas are served by other purveyors. |
| (44) | F-243: public drinking water system reservoirs and watersheds should be managed primarily to protect drinking water supplies, but allow multiple uses when not jeopardizing water quality; downstream uses including recreation, fish, and agricultural resources. | The district jointly owns a water storage reservoir with NESSWD. |
| (45) | F-244: groundwater supplies should be protected by preventing land uses that may adversely affect quantity or quality. | Yes, this is done by the city and county’s critical areas ordinance and implementation of the critical aquifer recharge area code. |