Metropolitan King County Council

Environment and Transportation Committee

- STAFF REPORT

| AGENDA ITEM: | 37 | DATE: | February 23, 2010 |
| --- | --- | --- | --- |
| PROPOSED NO.: | 2010-0073 | PREPARED BY: | Mike Reed |

SUBJECT

Proposed Ordinance 2010-0073 would approve the Sallal Water Association (“Association”) 2006 Water System Plan, revised 2009 (“Water Plan”).

SUMMARY

Council approval of water utility comprehensive plans is required by County Code as a prerequisite for: operating in unincorporated King County, granting right of way construction permits, granting new or renewed franchises, and service boundary annexations.

BACKGROUND

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee ("UTRC") to review and make recommendations to the Executive and County Council on the adequacy of all water system comprehensive plans and related matters, and to determine whether the plan:

- is consistent with local comprehensive plans;

- is consistent with the King County Comprehensive Plan;

- reflects current supply and demand;

- forecasts future supply and demand;

- provides a capital plan for obtaining, using, storing and conveying water and sewage;

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of King County Code Chapter 13.24, the County's approval of a plan also provides the determination for state regulatory agencies that a plan is consistent with the King County Comprehensive Plan and related policies and implementing development regulations.  See RCW 43.20.260.

UTRC ANALYSIS OF THE SALLAL WATER ASSOCIATION’S WATER SYSTEM PLAN

In August of 2009, the UTRC reviewed the Association's Water Plan and found it met the requirements of King County Code Chapter 13.24 and recommended its approval.  Highlights of the Water Plan as reviewed by the UTRC are outlined below:

Service Area - The Association’s service area is located in the eastern part of King County, southeast of North Bend, and consists primarily of single-family residences in rural settings.  In 2007, the Association provided service to a population of 6,756, equating to 2,049 equivalent residential units (“ERU”), within its retail water service area.  The Association’s service area has been reduced because the Association found that it lacked capacity to provide water to the entire area, so it is now smaller than that identified in the East King County Coordinated Water System Plan (“CWSP”), which will eventually need to be amended.

The service area includes an area that has been designated part of the Urban Growth Area for the City of North Bend.  The Association additionally sells water to the Wilderness Rim Maintenance Corporation for a subdivision within the Association’s service area boundary.  The Association also has an intertie for emergency supplies with the Riverbend Homesites Association, another system located entirely within the Association’s service area boundary.

Water Use Efficiency - The water used by the Association comes from the three wells.  The annual average day production (water pumped) for 2007 was 493,474 gallons per day, with maximum day demand estimated to be twice that amount.  The Association’s average water consumption per ERU was 199 gallons per day.  The Association’s proposed efficiency goals are to participate with other utilities in the Partnership for Water Conservation, to maintain the current ERU and per capita water consumption over the next several years, and meet the state standard of less than ten percent unaccounted for water.

Capital Improvement Program - The Plan contains a six-year capital improvement program (CIP) with the cost estimated to be approximately $4.94 million.  The Association proposes to fund the CIP projects with funding resources such as sales of Association membership, water sales, and low-interest loans from the U.S. Rural Development program.  The highest cost capital projects are dependent on the Association receiving loans.  Budgeted operating revenue for 2009 is $1,020,288.

Reclaimed Water and Regional Planning - The Association neither collects nor treats wastewater.  The Association evaluated reclaimed water as required by statute, but did not identify any opportunities for the use of reclaimed water.  The Association has participated in a number of regional efforts, including the development of the East King County CWSP, and is currently an associate member of the East King County Regional Water Association.

- SEPA - The Association completed a State Environmental Policy Act (“SEPA”) checklist for the Plan.  King County, as lead agency, issued a determination of non-significance for the issuance of the Plan on August 5, 2009.  No comments were received on the SEPA notice.

ATTACHMENTS

- Proposed Ordinance 2010-0073