## STAFF REPORT

| Agenda Item: | 6 | Name: | Andy Micklow |
| --- | --- | --- | --- |
| Proposed No.: | 2019-0087 | Date: | May 13, 2019 |

SUBJECT

An ordinance approving the Ames Lake Water Association Water System Plan, September 2018.

SUMMARY

Proposed Ordinance 2019-0087 would approve the Ames Lake Water Association Water System Plan, September 2018, meeting the requirement for a water utility to provide water service in unincorporated King County.

BACKGROUND

The Ames Lake Water Association (ALWA) owns and operates a Class A water system. The ALWA is located in unincorporated King County north of the community of Fall City, and west across the Snoqualmie River from the City of Carnation. In 2016, the ALWA’s water system provided service to a population of approximately 3,104 residents through 1,107 active residential connections. The ALWA currently serves two customer classes, residential and commercial. Average daily water demand is approximately 181,700 gallons per day (gpd). The previous water system plan is dated 2008 and was approved in 2010 by King County Ordinance 16768.

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of all water and sewer comprehensive plans and related matters, and to determine whether the plan:

- is consistent with the King County Comprehensive Plan,

- is consistent with local comprehensive plans,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of KCC Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

Additionally, King County has adopted a Comprehensive Plan that includes policies that address water policies for facilities and services, calling for consistency with other adopted plans, pursuit of reclaimed water, water conservation, and protection of water resources.

UTRC ANALYSIS OF AMES LAKE WATER ASSOCIATION WATER SYSTEM PLAN, sEPTEMBER 2018

The UTRC finalized its review of the Plan in December 2018 (see Attachment 4 to this staff report for a more detailed description of the UTRC review). The UTRC found the Plan meets the requirements of KCC chapter 13.24 and has recommended its approval. Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area: The ALWA is located in unincorporated King County north of the community of Fall City, and west across the Snoqualmie River from the City of Carnation. Its water system provides service to an area of approximately ten square miles, and primarily covers the upland areas known as Tolt Hill. The water service area for ALWA is bordered by the City of Carnation water system, Sammamish Plateau Water, Camp Korey (former Nestle Regional Training Center), and the Fall City Water District. The ALWA has no plans to expand its service area in the future.

Supply: The major components of the ALWA's water system include eight groundwater wells, two treatment facilities, six reservoirs and three booster stations to serve seven pressure zones through nearly 39 miles of pipeline. The ALWA owns eight wells with an ability to produce approximately 397.32 acre-feet per year of water.

The UTRC determined that the Association’s water plan demonstrates the ALWA’s ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations.

Growth: The projected daily demand in 2036 is 210,700 gallons per day (gpd). The current annual water rights are projected to meet the ALWA's demands through the 20-year period. The Association states that water supply will support anticipated near-term growth.

System Improvements: The Plan contains a ten-year capital improvement program (CIP) with an estimated cost of approximately $2.5 million dollars. Two booster station projects and four distribution system projects are identified in the CIP. The anticipated funding sources for the proposed improvement projects include rates and water service fees.

SEPA: The ALWA completed a State Environmental Policy Act (SEPA) checklist for the Plan and, King County, as lead agency, issued a determination of nonsignificance for the issuance of the Plan on October 25, 2018. There were no appeals.

INVITEES

- Steve Hirschey, Chair, Utilities Technical Review Committee

ATTACHMENTS

- Proposed Ordinance 2019-0087 (attachments available in the Clerk’s office)

- Transmittal Letter

- Fiscal Note

- UTRC Matrix