EXHIBIT G

King County will meet the substantive requirements identified below by the King County Permitting Division for the following exempt permit to the extent the substantive requirements are applicable to this project.  Where considerations (as opposed to requirements) are noted or recommended, the County will consider the same.  For any mention of the potential need to obtain variances or approvals, King County would also be exempt from needing to obtain those local variances or approvals, but would consult further with the King County Permitting Division as necessary to meet the requirements of Agreed Order Section VII.P.

- King County Department of Local Services Permitting, Clearing and Grading Permit including compliance with the following:

Clearing and Grading

General Conditions

1) CA Review Comments

1. Wetland Report needs to include current rating system and buffer widths. Verify

wetland boundary and confirm buffer widths to determine if parking area is proposed within buffer.

If so buffer averaging would be required.

2) Zoning General Notes

1. Landscaping is not required for this use but discouraging parking along the shoulder is

recommended.

2. Recommend evaluating safe crossing options for pedestrians and equestrians.

3) Plan Review Comments

1. Show/provide topography elevations, if not shown/provided on existing and proposed elevations.

2. Show/provide Temporary Erosion Sedimentation Control (TESC) plans if not shown/provided.

3. Show/provide geotechnical analysis/report/recommendations if not shown/provided for proposed grading for parking lot and 2:1 side slopes. Construction recommendations should be provided for guidance during construction.

4. Head in and perpendicular parking are proposed. Site plan does not show traffic direction or signage for direction.

5. Handicap parking and landing are proposed with paved surface. No route of travel from handicap parking to trails is shown.

6. If planting is proposed for weed removal area, show/provide planting plan and detail. If no planting is proposed, ensure area is stabilized after weed removal.

Engineering

Site

1) Noxious Weed Removal

The project is proposing to clear and remove the weeds of a certain area. The proposal will create a

land disturbance of 7,000 Sf or greater. Per the 2016 KCSWDM, it states that land disturbance of

7,000 SF or more needs to address the full drainage review requirement of the drainage manual in a

TIR. The engineer would need to provide a TIR showing how each of the Core and

Special Requirement of the drainage manual is being mitigated/addressed for this proposed land

disturbance. The engineer also needs to show how the proposed clearing of the area is mitigating

and addressing the erosion control requirements of the drainage manual.

2) Off-Site Analysis

The TIR for the parking area states that no off-site analysis was conducted because all runoff is

infiltrated. Normally, all project that are required to address Core Requirement #2 requires providing

an off-site analysis per the drainage manual. The 2016 KCSWDM requires addressing the concern of

the system failing. It needs to examine that no downstream issues will be created, or existing

problem will not be affected. Also, as part of the off-site analysis, examine the DOE 303 (D) listing

for contaminant issue and address it in the TIR appropriately per the 2006 KCSWDM guidelines.

3) Parking Flow Control

The proposed parking surface is utilized as an infiltration system in addressing the flow control

requirement of the 2016 KCSWDM for the parking area. But, the proposed infiltration system does

not conform to any of the standard specified in the 2016 KCSWDM as an infiltration system.

Normally, any non-standard flow control system is reviewed and approved through a SWM Variance

Adjustment process as described in the 2016 KCSWDM.

4) Parking Surface

The paving surface for parking area is usually required to meet the standard off-street parking surface

of the zoning code or the 2016 King County Road standard. The proposed paving for the parking

under this project is not per the standard. The non-standard proposal will have to be examined on

what would be the appropriate procedure in approving the paving surface being proposed.

5) Right-of-Way Frontage

As a standard, KCDLS would examine existing frontage right-of-way on the property to determine if

the existing right -of-way is constructed to the standard classification of the road and does it warrant

it.

6) Right-of-Way Shoulder

Proposing gravel shoulder within the road ROW has potential to invite people to park

along the side of the road. This would have to be examined. Normally, the shoulder within the road

ROW would need to comply with the King County Road Standard.

7) Sight Distance

As part of the road improvement, the SSD and Entering and exiting sight distance of the project may

need to be examined for safety issues.

The two-driveway entrance to the parking area must meet the standard of the King County Road Standard.

8) Traffic

The proposed improvements to the site area with the proposed parking could increase the flow of

traffic into the site area. We would normally examine the potential of impact of traffic flow to the

area. We would examine if roadway improvements are warranted for the proposed site improvement.

It should be examined if roadway improvement is necessary to accommodate additional traffic volume.

9) Trail Conditions

The trails are considered as new/replaced impervious surface. The engineer would need to address

the full drainage review requirement of the 2016 KCSWDM for the proposed trails. The TIR for the

trails would need to address each of the Core and Special requirements of the drainage manual,

including but not limited to flow control requirements for the trail, examining how flow control

BMPs are being mitigated with the proposal, and documenting how the proposed construction is

mitigating the requirement for erosion control.

10) Water Quality

The proposed water quality treatment for the pollution generating aspect of the parking area was the

water quality treatment process of the soils on-site. There are guidelines in the drainage manual for

this type of treatment, but it has to meet all the criteria of the requirement for this type of water quality treatment.

Planning

Zoning

1) Accessibility and Circulation

For parking areas providing between 1 and 25 spaces, at least one accessible stall shall be provided.

This space shall be van accessible and it shall be paved. An accessible route of travel shall be

provided between the accessible spaces and the entrance to any buildings (max 100' traveled

distance). ARTs shall be paved, 36" min width, and with a slope no greater than 1:20. Accessible

connectivity should be provided to the trailhead. See KCC 21A.18.060 and IBC 2015.

Pedestrian circulation on the site shall be designed to minimize conflict. Bicycle and pedestrian

access shall be provided within and onto the site. See KCC 21A.18.100.

2) Allowed Uses and Dimensional Standards

A park is an allowed use in the RA zones per KCC 21A.08.040.A, see development conditions under

KCC 21A.08.040.B.1.

Per KCC 21A.12.220, non-residential structures shall maintain a 30' setback from all property lines.

If the restroom is a permanent installation (vault toilet/CXT), this setback must be met. Parking areas

may be located in the setback. Perimeter landscaping is not required for this use.

3) Parking Dimensional Standards & Circulation

See the table in KCC 21A.18.110.B. Ninety degree stalls should feature a drive aisle measuring 24'

in width.

Note: Suggest modeling turning radii for trailered vehicles to ensure that drive aisles and parking

space dimensions are adequate. County Code does not contain standards for equestrian or trailer

parking.

4) Parking Levels

Required parking levels for this use are determined by the director, typically in conjunction with a

parking demand study. If at least 6 vehicle spaces are proposed, bicycle parking in the form of a rack

or lockers is required. One additional bicycle parking space for every 12 vehicle spaces shall be

provided. The director may increase the required level of bicycle parking for uses such as parks that

may attract additional bicycle traffic. See KCC 21A.18.030.

5) Parking Surface & Marking

Gravel is not an approved surfacing for parking areas in use for more than 5 days per week. Parking

spaces shall be marked. See KCC 21A.18.120.

Site Development

Site Development

1) Boundaries of Clearing Limits

The boundaries of the clearing limits shown on this plan shall be clearly flagged in the field prior to

construction. During the construction period, no disturbance beyond the flagged clearing limits shall

be permitted. The flagging shall be maintained by the permittee for the duration of construction.

2) Construction Entrances

Stabilized construction entrances and wash pads shall be installed at the beginning of construction

and maintained for the duration of the project. Additional measures may be required to ensure that

all paved areas are kept clean for the duration of the project. (RCW 46.61.655)

3) Contaminated Soils

All persons collecting or transporting contaminated soils shall take appropriate measures to avoid

spillage during loading and transporting.

4) Contaminated Soils Stockpiled

Any contaminated soils stockpiled and stored on site for ANY length of time (but not to exceed 60

days) shall be placed on plastic sheeting (minimum 10 mil) and be entirely covered with plastic

sheeting immediately after excavation. Berms shall be constructed around the contaminated soils to

prevent run off of free liquids. These berms can be straw bales, mounded sand, concrete, or any other

material which will form a barrier for contaminants or run-off. Run-off controls shall be checked on

a daily basis and more often, if necessary, to ensure that they are working properly, especially during

and after storm events.

5) Cut-Fill Slopes

Cut/fill slopes shall be no steeper than is safe for the intended use and shall not exceed 2 foot

horizontal to 1 foot vertical unless otherwise approved by DDES.

6) Daily ESC Inspections

Permittee shall inspect the TE/SCP facilities at the end of each working day to assure himself that

they are in good condition. If TE/SCP facilities require repair or maintenance, it shall be performed

prior to the end of the working day. All disturbed areas shall be promptly and thoroughly stabilized

against erosion during periods of wet weather when work is not being performed at the site.

7) Detailed Accounting

The permittee shall maintain an accounting of off site disposal activities. The accounting shall include date, number of trips, quantity, type of material, and destination.

8) De-watering Plan

In the event that the permittee encounters areas needing de-watering that have not been indicated on

the approved plans, work, except for erosion control as needed to remedy unforeseen water quality

problems, shall not commence nor continue until a de-watering plan, approved by King County

DDES, is obtained.

9) Disposal in Sensitive Areas

The permittee shall not dispose of waste generated from construction activities or workers in a

sensitive area and/or buffer or a Shoreline environment.

10) Disposed or Recycled

All uncontaminated , unsuitable, or surplus excavated soils, construction, demolition, or land

clearing (CDL) debris to be removed from the site shall be disposed of or recycled in an approved,

legal disposal or recycling site. It will be the permittee's responsibility to locate acceptable disposal

or recycling sites and to assure that all surplus material and CDL debris is disposed of in those sites.

11) Disturbed Areas 48 hours

Any areas of exposed soils, including roadway embankments, that will not be disturbed for two days

during the wet season (October 1 to March 31) or seven days during the dry season (April 1 to

September 30) shall be immediately stabilized with approved TESC measures (e.g., seeding,

mulching, plastic covering, etc.) If a King County Community Plan and/or Basin Plan or the Depart.

of Ecology Stormwater Manual have more conservative timelines for implementation of erosion

control measures, the more stringent timelines shall apply.

12) Dust

Dust, dirt, and fly ash or airborne solids from any source shall not be emitted in quantities as to

adversely affect adjacent property. (KCC 21A.22.070)

13) ESC Minimum

The ESC facilities shown on this plan are the minimum requirements for anticipated site conditions.

During the construction period, these ESC facilities shall be upgraded (e.g. additional sumps,

relocation of ditches and silt fences, etc.) as needed for unexpected storm events.

14) Geotechnical Inspection

Geotechnical consultant of record shall provide special inspections for all grading work proposed for

parking areas and 2:1 slopes proposed. Written documentation shall be provided to applicant to

verify site stabilization.

15) Hours of Operation

Permittee shall comply with the Hours of Operation as set forth in K.C.C. 12.86:

For heavy equipment used on construction sites, including crawlers, tractors, bulldozers, rotary drills

and augers, loaders, power shovels, cranes, derricks, graders, off-highway trucks, ditchers, trenchers,

compactors, compressors and other similar equipment, operating hours are between 7:00 a.m. and

7:00 p.m. weekdays and between 9:00 a.m. and 7:00 p.m. weekends;

For impact types of construction equipment, including pavement breakers, pile drivers, jackhammers,

sandblasting tools or other types of equipment or devised that create impulse noise or impact noise,

operating hours are between 8:00 a.m. and 5:00 p.m. on weekdays and 9:00 a.m. and 5:00 p.m. on

weekends; and

For all other construction activities, operating hours are between 7:00 a.m. and 10:00 p.m. on

weekdays and between 9:00 a.m. and 8:00 p.m. on weekends.

This condition does not apply to sound created by mineral extraction or materials processing

operations, which are governed by K.C.C. chapter 21A.22.

16) Secure Stockpiles from Public

If stockpiling of contaminated soils occurs on site, the site must be secured to prevent public access.

17) Straw Mulch

Where straw mulch for temporary erosion control is required, it shall be applied at a minimum

thickness of 2 inches.

18) Sweepers

Permittee shall be responsible for implementing all appropriate measures needed (i.e. paving,

sweepers, and/or other techniques) to keep streets and roads used as haul routes for export or import

of material clean and free from debris, mud, etc.

19) Temporary Erosion Sedimentation Control (TESC)

TESC best management practices shall be implemented on site prior to any clearing and grading

activities. Standards per Appendix "D" of the King County Surface Water Design Manual for TESC

shall be used for reference.

20) Traffic Signs

Warning signs must also be installed prior to hauling and must conform to the Manual on Uniform

Traffic Control Devices.

21) Turbidity

Turbidity caused by construction activities from this project shall not exceed Washington State water

quality standards. Sediment larger than 0.075 mm shall not leave the site or enter on site wetlands,

streams, lakes or other natural drainage features or existing constructed drainage systems which

outlet to natural drainage features.