## STAFF REPORT

| Agenda Item: | 7 | Name: | Andy Micklow |
| --- | --- | --- | --- |
| Proposed No.: | 2019-0088 | Date: | May 13, 2019 |

SUBJECT

An ordinance approving the Seattle Public Utilities 2019 Water System Plan.

SUMMARY

Proposed Ordinance 2019-0088 would approve the Seattle Public Utilities 2019 Water System Plan, meeting the requirement for a water utility to provide water service in unincorporated King County.

BACKGROUND

The City of Seattle owns and operates a municipal water system through Seattle Public Utilities (SPU) that serves the City and 19 wholesale water customers as well as unincorporated lands in King County. SPU provides drinking water to a service area population of 1.4 million within the greater Seattle metropolitan region of King County and portions of southern Snohomish County. The City’s previous water system plan is dated 2012 and was approved in 2013 by King County Ordinance 17622.

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of all water and sewer comprehensive plans and related matters, and to determine whether the plan:

- is consistent with the King County Comprehensive Plan,

- is consistent with local comprehensive plans,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of KCC Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

Additionally, King County has adopted a Comprehensive Plan that includes policies that address water policies for facilities and services, calling for consistency with other adopted plans, pursuit of reclaimed water, water conservation, and protection of water resources.

UTRC ANALYSIS OF SEATTLE PUBLIC UTILITIES 2019 WATER SYSTEM PLAN

The UTRC finalized its review of the Plan in December 2018 (see Attachment 4 to this staff report for a more detailed description of the UTRC review). The UTRC found the Plan meets the requirements of KCC chapter 13.24 and has recommended its approval. Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area: SPU serves the City of Seattle and 19 wholesale water customers as well as unincorporated lands in King County. SPU provides water service to its residential and wholesale customers with over 191,000 service connections. Approximately one-half of SPU's water is used by SPU's retail customers and one-half is sold through wholesale contracts to 19 municipalities and special purpose districts, plus the Cascade Water Alliance.

Supply: The regional and sub-regional water transmission systems include the mountain reservoirs, approximately 193 miles of pipeline, seven covered reservoirs, 15 pump stations, six elevated tanks and standpipes, and 131 wholesale customer taps with meters. SPU identified infrastructure improvement needs for the water supply system that include Morse Lake Pump Plant, Overflow Dike Replacement, and Landsburg Dam Flood Passage Improvements projects. City water comes from the Cedar River, Tolt River and two well fields. The current firm yield estimate for SPU's water supply system is 172 mgd (million gallons per day).

The UTRC determined that the Plan demonstrates an ability to provide service consistent with applicable statutes, codes, and regulations

Growth: The demand forecast and current firm yield estimate for SPU's existing supply resources indicate no new source of supply is needed before 2060.

System Improvements: The Plan contains a capital facilities plan (CFP) with an estimated total of approximately $1.9 billion through 2040. Approximately 60 percent of the CFP is for improvement to and rehabilitation of the distribution system.

The UTRC review determined the CIP to be adequate and appropriately focused with funding sources identified to meet anticipated facility and service needs.

SEPA: The City completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of nonsignificance for the issuance of the Plan on March 12, 2018. There were no appeals.

INVITEES

- Steve Hirschey, Chair, Utilities Technical Review Committee

ATTACHMENTS

- Proposed Ordinance 2019-0088 (attachments available in the Clerk’s office)

- Transmittal Letter

- Fiscal Note

- UTRC Matrix