[image: image1.png]u

King County




Metropolitan King County Council

Regional Water Quality Committee

Staff Report

	Agenda Item No.:
	8
	
	Name:
	Beth Mountsier

	Briefing No.:
	2012-B0053
	
	Date:
	April 4, 2012

	Attending:
	Mark Buscher, Supervisor, Comprehensive Planning Group, Wastewater Treatment Division, Department of Natural Resources and Parks



SUBJECT:   
A briefing to provide an overview and history of King County’s Combined Sewer Overflow (CSO) Control Program.
SUMMARY:

The purpose of this briefing is to provide the committee with an overview and history of King County’s combined sewer overflow control program in advance of the transmittal of the Executive’s recommended update to the Combined Sewer Overflow (CSO) Control Plan.   That plan is now expected to arrive sometime in May 2012 with the first formal briefing before the committee in June 2012. 

BACKGROUND:   
Combined sewer overflows are discharges of untreated or partially treated sewage and stormwater released directly into marine waters, lakes and rivers during heavy rainfall, when the sewers have reached their capacity.   Although the sewage in CSOs is greatly diluted by stormwater, both CSOs and stormwater may be harmful to public health and aquatic life because they carry chemicals and disease-causing pathogens. 

From the late 1800s through the 1940s, engineers designed combined sewers (sewers that carry sewage and stormwater runoff in a single pipe) to convey sewage, horse manure, street and rooftop runoff, and garbage from city streets to the nearest receiving body of water.   Around the 1950s, most sewer systems were built as separated systems (sewage in one pipe; stormwater in another pipe). In the late 1950s, treating wastewater became the standard. Interceptor pipes were built to transport all wastewater (from either combined or separated systems) to treatment plants. 

Combined sewers exist in many parts of older cities, including Seattle. During heavy or long storms, the volume of the stormwater runoff may become too much for the combined sewers to handle. To protect treatment plants and avoid sewer backups into homes, businesses and streets, combined sewers sometimes overflow into Puget Sound, the Duwamish Waterway, Elliott Bay, the Lake Washington Ship Canal and Lake Washington.

Both King County and the City of Seattle manage CSOs within Seattle. King County's Wastewater Treatment Division owns and manages 38 locations and Seattle Public Utilities manages more than 90.  King County also has four CSO treatment plants, one in north Seattle (Carkeek Park CSO Treatment Plant) and one in West Seattle (Alki CSO Treatment Plant), and the new Mercer/Elliott West and Henderson/MLK facilities (see map below).
CSO Control Planning and Implementation

The federal Clean Water Act (CWA) was adopted in 1972.  Its objective is to restore and maintain the integrity of the nation’s waters with two primary goals of eliminating discharges of pollutants into the nation’s waters and achieving/maintaining swimmable and fishable waters. 
The Clean Water Act requires all wastewater treatment facilities and industries that discharge effluent into surface waters to have a National Pollutant Discharge Elimination System (NPDES) permit.  The Washington State Department of Ecology (Ecology) issues the permit as a vehicle for setting limits on the quality and quantity of effluent discharged from point sources such as treatment plants, CSOs, and industrial facilities.  King County holds NPDES permits for the West Point, South, and Vashon Treatment Plants.  The West Point NPDES permit includes the Alki and Carkeek CSO treatment plants, the CSO outfalls, and the newly constructed Mercer/Elliott West and Henderson/Norfolk CSO storage and treatment facilities.
In 1984, Ecology introduced legislation requiring agencies with CSOs to develop plans for the “greatest reasonable reduction [of CSOs] at the earliest possible date.”  By 1987 the greatest reasonable reduction was defined as “control of each CSO such that an average of one untreated discharge may occur per year.”  
When King County adopted the RWSP in 1989,  it established policies for completing CSO control by 2030.  The CSO control plan in the RWSP identified 21 projects
, that when completed, would bring all County CSOs into compliance with the one-per-year discharge requirement by 2030.  
The CSO program review in 2005-2006 reaffirmed the RWSP priorities of protecting public health, the environment and endangered species that are the foundation of the CSO control program.  The review also reinforced the environmental and operational benefits of transferring as many CSO flows as possible to regional plants for best available treatment prior to discharge.    The review revealed upward cost pressures on the CSO control program – as construction prices continued to rise.  The review report suggested that changes in the market and environmental regulations might require further exploration of alternative CSO treatment technologies and subsequent changes to design of CSO control facilities.   The Wastewater Treatment Division therefore continued conducting pilot testing of promising new technologies that may be more cost-effective.  

[image: image2.emf]
As a result of the program review, it was also found that the hydraulic model used to predict the effectiveness of CSO control and design CSO control projects needed to be updated and recalibrated.  Once the updated model was implemented it was expected that projects might be resized, cost-effective technology changes might be incorporated, and new cost estimates developed for the projects.

WTD last prepared such an update in 2008 when the West Point NPDES permit renewal was submitted to Ecology.  The 2008 Plan Update described the county’s wastewater system and the control status of its CSOs, indicating how the county is meeting the U.S. Environmental Protection Agency’s (EPA’s) Nine Minimum Controls, and summarizing the scientific studies that have shaped the control program over time. The update also described completed, in progress, and planned CSO control projects, available CSO control strategies, and how these strategies apply to county projects.

Coincidentally, in early January 2008, EPA conducted an audit of the county’s wet-weather management programs. Such audits are occurring across the country under a strategy set by EPA’s Office of Enforcement and Compliance Assurance (OECA). Metropolitan areas and their agencies were selected to be audited based on their size, population served, and system complexity. City of Seattle programs underwent a similar audit at the same time King County was audited. 
OECA and EPA Region 10 staff, accompanied by Ecology staff, performed an intensive inspection over five days. Since that time, King County has met with EPA many times and has provided additional information on programs and activities. King County continues to meet with OECA, EPA Region 10 staff and Ecology  -- and is committed to working with all of the regulatory agencies to ensure that its programs comply with regulations.

The Next Plan Update

While the audit process and work with EPA continues,  the current cycle of review to prepare the next update to the CSO Control Plan for Ecology’s process began in 2010.   As noted above, it will result in submittal of a plan (and legislation) to the Regional Water Quality Committee and the King County Council in May 2012 recommending any changes to the CSO control plan and program. The adopted update to the plan will then be finalized and submitted to Ecology by January 2013 to meet the deadline set in the NPDES permit renewal.

The  current review and plan update takes into consideration the City of Seattle’s CSO control needs. King County recommended a collaborative control project alternative development process to the city in early 2009. The approach was to develop collaborative alternatives in parallel with independent alternatives. Collaborative alternatives that are more cost-effective than independent alternatives are anticipated to be included in the recommended plan.
The Regional Water Quality Committee was briefed on the collaborative approach King County and Seattle engaged in for future CSO project planning in June 2009.  In 2010, the committee was updated on the planning efforts and regarding progress on alternatives analysis for the beach projects. The committee was briefed most recently in June 2011 to bring the committee up to date on planning efforts and the CSO beach projects.

Regional Wastewater Services Plan -  Combined Sewer Overflow Control Policies 
The CSO control policies are intended to guide the county in controlling CSO discharges. Highest priority for controlling CSO discharges is directed at those that pose the greatest risk to human health, particularly at bathing beaches, and environmental health, particularly those that threaten species listed under ESA. The county will continue to work with federal, state and local jurisdictions on regulations, permits and programs related to CSOs and stormwater. The county will also continue its development of CSO programs and projects based on assessments of water quality and contaminated sediments. 

CSOCP-1: King County shall plan to control CSO discharges and to work with state and federal agencies to develop cost-effective regulations that protect water quality. King County shall meet the requirements of state and federal regulations and agreements. 

CSOCP-2: King County shall give the highest priority for control to CSO discharges that have the highest potential to impact human health, bathing beaches and/or species listed under ESA. 

CSOCP-3: Where King County is responsible for stormwater as a result of a CSO control project, the county shall participate with the city of Seattle in the municipal stormwater national pollutant discharge elimination system permit application process. 

CSOCP-4: Although King County’s wastewater collection system is impacted by the intrusion of clean stormwater, conveyance and treatment facilities shall not be designed for the interception, collection and treatment of clean stormwater. 

CSOCP-5: King County shall accept stormwater runoff from industrial sources and shall establish a fee to capture the cost of transporting and treating this stormwater. Specific authorization for such discharge is required. 

CSOCP-6: King County, in conjunction with the city of Seattle, shall implement stormwater management programs in a cooperative manner that results in a coordinated joint effort and avoids duplicative or conflicting programs. 

CSOCP-7: King County shall implement its long-range sediment management strategy to address its portion of responsibility for contaminated sediment locations associated with county CSOs and other facilities and properties. Where applicable, the county shall implement and cost share sediment remediation activities in partnership with other public and private parties, including the county's current agreement with the Lower Duwamish Waterway Group, the Department of Ecology and the Environmental Protection Agency, under the federal Comprehensive Environmental Response, Compensation and Liability Act. 

CSOCP-8: King County shall assess CSO control projects, priorities and opportunities using the most current studies available, for each CSO Control Plan Update as required by the Department of Ecology in the NPDES permit renewal process, which is approximately every five to seven years. Before completion of an NPDES required CSO Control Plan Update, the executive shall submit a CSO program review to the council and RWQC. Based on its consideration of the CSO program review, the RWQC may make recommendations for modifying or amending the CSO program to the council. 

CSOCP-9: Unless specifically approved by the council, no new projects shall be undertaken by the county until the CSO program review has been presented to the council for its consideration. CSO project approval prior to completion of CSO program review (beyond those authorized in this subsection) may be granted based on, but not limited to, the following: availability of grant funding; opportunities for increased cost-effectiveness through joint projects with other agencies; ensuring compliance with new regulatory requirements; or responding to emergency public health situations. The council shall request advice from the RWQC when considering new CSO projects. King County shall continue implementation of CSO control projects underway as of December 13, 1999, which are the Denny way, Henderson/Martin Luther King, Jr. way/Norfolk, Harbor and Alki CSO treatment plants. (Ord. 15602 § 4, 2006: Ord. 13680 § 8, 1999).

ATTACHMENTS:  none






� Two projects have been completed since then; and there are currently five projects in design (four ‘beach’ projects and one project in conjunction with the Ballard Siphon project).  The remaining 14 projects have been proposed to be consolidated into 9 projects in the Draft CSO Control Plan that was out for public comment this fall. 









