## STAFF REPORT

| Agenda Item: | 5 | Name: | Andy Micklow |
| --- | --- | --- | --- |
| Proposed No.: | 2019-0086 | Date: | May 13, 2019 |

SUBJECT

An ordinance approving the Midway Sewer District General Sewer Plan, June 2018.

SUMMARY

Proposed ordinance 2019-0086 would approve the Midway Sewer District General Sewer Plan, June 2018, meeting the requirement for a special purpose district authorized by, and operated under Title 57 RCW.

BACKGROUND

The Midway Sewer District owns, operates, and manages all wastewater collection, conveyance, and treatment facilities within its service area. The service area is 10 square miles and includes portions of the cities of SeaTac, Des Moines, Normandy Park, Burien, Federal Way, and Kent. The entire service area is entirely within the King County urban growth area boundary. The District’s last wastewater plan is dated 2008 and was approved in 2010 by King County Ordinance 16926.

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of all water and sewer comprehensive plans and related matters, and to determine whether the plan:

- is consistent with the King County Comprehensive Plan,

- is consistent with local comprehensive plans,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of KCC Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

Additionally, King County has adopted a Comprehensive Plan that includes policies that address water and wastewater policies for facilities and services, calling for consistency with other adopted plans, pursuit of reclaimed water, water conservation, and provision of sewer and wastewater services.

UTRC ANALYSIS OF MIDWAY SEWER DISTRICT GENERAL SEWER PLAN JUNE 2018

The UTRC finalized its review of the Plan in October 2018 (see Attachment 4 to this staff report for a more detailed description of the UTRC review). The UTRC found the Plan meets the requirements of KCC chapter 13.24 and has recommended its approval. Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area: The Midway Sewer District is in south King County, between the cities of Seattle and Tacoma. The District is bound by Puget Sound and 8th Avenue South to the west, SeaTac International Airport to the north near South 188th Street and South 176th Street, Interstate 5 to the east, and South 276th Street to the south. The District is 10 square miles and is primarily residential with some commercial and industrial areas.

Supply: The District's wastewater collection facilities include gravity sewers, sewer force mains, siphons, and pump stations that convey wastewater to the District's Des Moines Creek Wastewater Treatment Plant (WWTP). The WWTP provides both primary and secondary treatment prior to discharge. The District currently serves a population of approximately 47,000.

The UTRC determined that the District’s sewer plan demonstrates that the District has capacity to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations.

Growth: The District used a system hydraulic model to evaluate its collection capacity and concluded that there is adequate capacity to accommodate peak flows and anticipated growth for the next six and 20-year forecasts.

System Improvements: The Plan contains six- and 20-year capital improvement programs (CIP) with an estimated cost of $38.6 million and $16.6 million, respectively. Developer extension agreements are anticipated to be the major source of funding for system expansion. According to the UTRC review, the District’s CIP identifies facilities and a funding strategy to ensure that it will meet anticipated demands.

SEPA: The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency under SEPA, issued a determination of nonsignificance for the approval of the Plan on May 9, 2018. There were no appeals.

AMENDMENT

Amendment 1 corrects the location of the sewer district service area.

INVITEES

- Steve Hirschey, Chair, Utilities Technical Review Committee

ATTACHMENTS

- Proposed Ordinance 2019-0086 (attachments available in the Clerk’s office)

- Amendment

- Transmittal Letter

- Fiscal Note

- UTRC Matrix