## Wastewater Final
Attachment 4
Proposed Ordinance 2002 - 829, Section 118: Wastewater Treatment Capital Improvement Projects (Fund 4616)
|  | 2003 | [5 empty] | Total
PROJECT | DESCRIPTION | Proposed | 2004 | 2005 | 2006 | 2007 | 2008 | 2003-2008
A20010 South Treatment Plant - Asset Mgmt
2003-03 | STP Digestion Enhancement/Full-scale operation testing | 200000 | Total 2003-2008: 200000
2003-04 | STP Dewatering Equipment Replacement | 11450000 | 2004: 3825562; Total 2003-2008: 15275562
2003-05 | STP Convert Disinfection from Chloride to Sodium | 554742 | 2005: 2682399; 2006: 105859; Total 2003-2008: 3343000
2003-06 | STP Fire Alarm System Upgrade | 1403717 | 666989 | 36067 | 150000 |  |  | 2256773
423485 | STP Treatment Plant Landscape Upgrade | 29975 | Total 2003-2008: 29975
423487 | STP E. Div. Secondary Tank Coating | 1416135 | 566135 |  | 566135 | 566135 | 566135 | 3680675
423503 | STP Satellite Engr/CM Office | 15000 | Total 2003-2008: 15000
423514 | STP East Division Corrosion Repairs | 1307250 | 307250 | 307250 | 307250 | 307250 | 307250 | 2843500
| Sub-Total | 16376819 | 5365936 | 3025716 | 1129244 | 873385 | 873385 | 27644485
A20020 South Treatment Plant - New Facilities & Improvement
423408 | STP Fuel Cell Demonstration | 2050000 | 2004: 40000; 2005: 35000; Total 2003-2008: 2125000
423548 | STP Cogen | 19754605 | 2004: 13197000; Total 2003-2008: 32951605
423567 | Structural Repairs to Earthquake Damaged Facilities | 830065 | 2004: 55120; Total 2003-2008: 885185
| Sub-Total | 22634670 | 13292120 | 35000 | 0 | 0 | 0 | 35961790
A20040 South Treatment Plant - Power Management
423234 | STP EDRP - Power Equipment Replacement | 3446131 | 3505503 | 3505503 | 2672763 |  |  | 13129900
| Sub-Total | 3446131 | 3505503 | 3505503 | 2672763 | 0 | 0 | 13129900
| Total A20000 - South Treatment Plant | 42457620 | 22163559 | 6566219 | 3802007 | 873385 | 873385 | 76736175
A20110 West Treatment Plant - Asset Mgmt
423323 | WTP - Process Safety & Risk Management | 29750 | 2004: 132590; Total 2003-2008: 162340
423334 | WTP - Sump Pump Wiring Modifications | 23410 | 2004: 106787; Total 2003-2008: 130197
423351 | WTP Community One-time Mitigation for PCL/SMI | 3000000 | Total 2003-2008: 3000000
423352 | WTP Regional One-time Mitigation for PCL/SMI | 500000 | Total 2003-2008: 500000
423388 | WTP - Digester Roof Anti-Rotation Device | 17685 | Total 2003-2008: 17685
423417 | WTP Grit System Modifications | 718731 | 2004: 4338997; 2005: 2061539; Total 2003-2008: 7119267
423461 | WTP Clarifier Painting | 405600 | 2004: 216087; Total 2003-2008: 621687
423513 | WTP West Division Corrosion Repairs | 112306 | 479594 | 306006 | 306006 | 306006 | 306006 | 1815924
423547 | West Point Moore Controllers | 120000 | 2004: 635000; Total 2003-2008: 755000
423561 | WPTP Digester Compressor System Modification | 775000 | 2004: 370000; Total 2003-2008: 1145000
423566 | West Point OGADS VSA-2 Media & Retention-Screen Replacement |  | 2004: 2075985; 2005: 31694; Total 2003-2008: 2107679
| Sub-Total | 5702482 | 8355040 | 2399239 | 306006 | 306006 | 306006 | 17374779
A20120 West Treatment Plant - New Facilities & Improvements
423163 | WTP Demo and Dev Project | 700000 | 700000 | 700000 | 700000 | 700000 | 700000 | 4200000
| Sub-Total | 700000 | 700000 | 700000 | 700000 | 700000 | 700000 | 4200000
A20140 West Treatment Plant - Power Mgmt
423246 | Electrical Equipment |  | 2004: 50000; Total 2003-2008: 50000
423305 | WTP Stepping Power Factor Filter/Cap | 38567 | 2004: 43534; Total 2003-2008: 82101
423426 | Power Reliability | 570105 | Total 2003-2008: 570105
423474 | WTP West Point Energy System Upgrade | 10475000 | 2004: 6850000; Total 2003-2008: 17325000
| Sub-Total | 11083672 | 6943534 | 0 | 0 | 0 | 0 | 18027206
| Total A20100 - West Point Treatment Plant | 17486154 | 15998574 | 3099239 | 1006006 | 1006006 | 1006006 | 39601985
A20220 Brightwater Treatment Plant - New Facilities & Improvements
2003-07 | Brightwater Conveyance | 13408861 | 16459156 | 43545364 | 95740245 | 179818276 | 171138336 | 520110238
423457 | BTP Marine Outfall Study | 1403018 | 511199 | 1268111 | 1268111 | 10064299 | 10064299 | 24579037
423484 | Brightwater Treatment Plant | 56022370 | 76939510 | 59327687 | 86987409 | 68213634 | 70260043 | 417750653
| Sub-Total | 70834249 | 93909865 | 104141162 | 183995765 | 258096209 | 251462678 | 962439928
| Total A20200 - Brightwater Treatment Plant | 70834249 | 93909865 | 104141162 | 183995765 | 258096209 | 251462678 | 962439928
A20320 Vashon Treatment Plant - New Facilities & Improvements
423460 | VTP Vashon Facility Improvement | 7484751 | 4712462 | 1488436 | 668000 |  |  | 14353649
| Sub-Total | 7484751 | 4712462 | 1488436 | 668000 | 0 | 0 | 14353649
| Total A20300 - Vashon Treatment Plant | 7484751 | 4712462 | 1488436 | 668000 | 0 | 0 | 14353649
A20410 Conveyance Pipelines and Storage - Asset Mgmt
423121 | CP&S Madsen Creek Sewer Erosion | 110000 | 100000 | 35000 | 35000 | 35000 |  | 315000
423363 | CP&S Auburn Facilities Improvements | 25007 | 2004: 1700000; 2005: 1488496; Total 2003-2008: 3213503
423524 | CP&S SW Lake Washington Int Rehabilitation | 23732 | 2004: 311159; Total 2003-2008: 334891
| Sub-Total | 158739 | 2111159 | 1523496 | 35000 | 35000 | 0 | 3863394
A20420 Conveyance Pipelines and Storage - New Facilities & Improvements
423107 | CP&S Mill Creek Relief Sewer | 50000 | Total 2003-2008: 50000
423122 | CP&S South Interceptor | 90000 | Total 2003-2008: 90000
423272 | CP&S Swamp Creek Sewer Trunk | 40000 | Total 2003-2008: 40000
423345 | CP&S Wilburton Siphon Expansion | 90000 | 2004: 1480000; 2005: 340000; Total 2003-2008: 1910000
423346 | CP&S Auburn Facilities Acquisition | 22500 | 22500 | 22500 | 22500 | 22500 |  | 112500
423373 | CP&S RWSP Conveyance System Improvements | 14175839 | 18165958 | 24528286 | 24955114 | 47188033 | 78201279 | 207214509
423420 | CP&S E. Side Interceptor Section 1 Repair | 1742577 | Total 2003-2008: 1742577
423507 | CP&S Bear Creek Interceptor Extension | 67500 | 67500 | 67500 | 67500 | 67500 |  | 337500
423519 | CP&S North Creek Storage | 237698 | 2004: 5327638; Total 2003-2008: 5565336
423557 | Carnation Treatment Plant | 903167 | 4527834 | 3897000 | 1036024 |  |  | 10364025
| Sub-Total | 17419281 | 29591430 | 28855286 | 26081138 | 47278033 | 78201279 | 227426447
A20430 Conveyance Pipelines and Storage - Odor Control
423269 | CP&S ESI Lining Program H2S Repair | 5661496 | 2004: 3939528; 2005: 243564; Total 2003-2008: 9844588
423430 | CP&S Redmond/Juanita Int H2S Repairs | 58882 | Total 2003-2008: 58882
423431 | CP&S Enatai Interceptor H2S Repair Phase II | 64659 | 410310 | 14864 | 105947 |  |  | 595780
423439 | CP&S Fremont Siphon Odor Control | 134710 | 2004: 392813; Total 2003-2008: 527523
423468 | CP&S ESI Chemical Injection | 57359 | 2004: 108617; Total 2003-2008: 165976
423568 | North Creek Forcemain Discharge Odor Control | 152695 | 2004: 217341; Total 2003-2008: 370036
| Sub-Total | 6129801 | 5068609 | 258428 | 105947 | 0 | 0 | 11562785
| Total A20400 - Conveyance Pipes and Storage | 23707821 | 36771198 | 30637210 | 26222085 | 47313033 | 78201279 | 242852626
A20510 Conveyance Pump Station - Asset Mgmt
423135 | Interbay Pump Station Upgrade | 996100 | 671740 | 6424527 | 6424527 |  |  | 14516894
423303 | Sweyolocken PS - Pumps, Motors & Drives | 2713940 | 3084000 | 2488580 | 304580 |  |  | 8591100
423341 | PLC Replacement/Offsite Facilities | 522094 | 2004: 311639; Total 2003-2008: 833733
423562 | Matthews Park Pump Station Upgrade | 3640000 | 2004: 4065000; 2005: 35000; Total 2003-2008: 7740000
423563 | East Offsite Control Systems & West Offsite Facilities Electrical Replacement | 173798 | 1218796 | 1168796 | 661455 | 69983 | 50000 | 3342828
423564 | Barton, Murray, 53rd Avenue, 63rd Avenue - VFDs, MCCs - Alki Pump Stations Electrical Upgrades | 294996 | 4013662 | 741938 | 192982 |  |  | 5243578
| Sub-Total | 8340928 | 13364837 | 10858841 | 7583544 | 69983 | 50000 | 40268133
A20520 Conveyance Pump Station - New Facilities & Improvements
423365 | Hidden Lake/Boeing Trunk Upgrade Improvement | 1546990 | 1725504 | 7906359 | 11300832 |  |  | 22479685
423406 | Juanita Bay PS Modifications | 3690000 | 2760584 | 8349043 | 8349043 | 8886546 |  | 32035216
423407 | Kirkland PS Modifications | 2873306 | 2004: 2539502; 2005: 825358; Total 2003-2008: 6238166
423494 | Madsen Creek Conveyance | 1388000 | 2004: 3549644; 2005: 876460; Total 2003-2008: 5814104
423518 | Pacific Pump Station | 874266 | 2004: 1450245; 2005: 3756157; Total 2003-2008: 6080668
423521 | Bellevue PS | 990000 | 3473402 | 4358721 | 3700000 |  |  | 12522123
| Sub-Total | 11362562 | 15498881 | 26072098 | 23349875 | 8886546 | 0 | 85169962
A20530 Conveyance Pump Station - Odor Control
423219 | H2S Odor Control E/W Division | 314267 | 2004: 29581; 2005: 329600; Total 2003-2008: 673448
423227 | Lake City RS Permanent Odor Control Unit | 50000 | Total 2003-2008: 50000
423455 | Univ Reg Station Odor Control | 65355 | 2004: 214043; Total 2003-2008: 279398
423469 | Sweyolocken Discharge Odor Upgrade | 39300 | Total 2003-2008: 39300
| Sub-Total | 468922 | 243624 | 329600 | 0 | 0 | 0 | 1042146
A20540 Conveyance Pump Station - Power Mgmt
423154 | South Mercer PS - Emergency Generator | 156756 | 2004: 377026; Total 2003-2008: 533782
423155 | Sunset/Heathfield PS - Emergency Gen | 30000 | Total 2003-2008: 30000
423506 | Emergency Generator Program | 500000 | 2004: 2325000; 2005: 2050000; Total 2003-2008: 4875000
423549 | 53rd Street Pump Station Upgrade | 450000 | 2004: 250000; Total 2003-2008: 700000
| Sub-Total | 1136756 | 2952026 | 2050000 | 0 | 0 | 0 | 6138782
| Total A20500 - Conveyance Pump Station | 21309168 | 32059368 | 39310539 | 30933419 | 8956529 | 50000 | 132619023
A20620 Combined Sewer Overflow Control - New Facilities & Improvements
423001 | Denny Way CSO | 5591683 | 2004: 16458393; Total 2003-2008: 22050076
423003 | Ravenna Creek Separation | 2265744 | 2004: 177400; Total 2003-2008: 2443144
423179 | S. Henderson/M.L. King CSO | 3600000 | 10920000 | 13850000 | 1423000 |  |  | 29793000
423350 | WCC/Ravenna Creek Parks Dept | 1700000 | 425000 | 425000 | 425000 |  |  | 2975000
423441 | CSO Plan Update | 773907 | 2004: 779314; 2005: 825549; Total 2003-2008: 2378770
423489 | Carkeek Overflow Reduction | 56553 | Total 2003-2008: 56553
423515 | CSO Control & Improvement | 167405 | 172427 | 1504229 | 3134597 | 4175052 | 8344167 | 17497877
| Sub-Total | 14155292 | 28932534 | 16604778 | 4982597 | 4175052 | 8344167 | 77194420
A20650 Combined Sewer Overflow Control - Remediation
423056 | NOAA Misc Sediment Remediation | 4680326 | 3410832 | 66720 | 66720 | 1277887 | 1248640 | 10751125
423059 | Source Control (In-kind) | 400000 | 2004: 142000; 2005: 145934; Total 2003-2008: 687934
423062 | Non Project-specific - NOAA | 39464 | 2004: 39464; 2005: 39572; Total 2003-2008: 118500
423368 | Sediment Management Plan | 2082323 | 2635639 | 10570652 | 10039982 | 1388147 | 1714276 | 28431019
| Sub-Total | 7202113 | 6227935 | 10822878 | 10106702 | 2666034 | 2962916 | 39988578
| Total A20600 - Combined Sewer Overflow (CSO) Control | 21357405 | 35160469 | 27427656 | 15089299 | 6841086 | 11307083 | 117182998
A20700 - Infiltration and Inflow (I/I) Control
423297 | RWSP Local System I/I Control | 14391240 | 3862000 | 3000000 | 20000000 | 20000000 | 20000000 | 81253240
| Sub-Total | 14391240 | 3862000 | 3000000 | 20000000 | 20000000 | 20000000 | 81253240
| Total A20700 - Infiltration and Inflow (I/I) Control | 14391240 | 3862000 | 3000000 | 20000000 | 20000000 | 20000000 | 81253240
A20810 Biosolids - Assets Mgmt
423141 | Biosolids Forestry Equipment | 136000 | 136000 | 136000 | 136000 |  |  | 544000
423142 | Biosolids Agricultural Equipment | 31000 | 31000 | 31000 | 31000 |  |  | 124000
| Sub-Total | 167000 | 167000 | 167000 | 167000 | 0 | 0 | 668000
A20820 - Biosolids - New Facilities & Improvements
423140 | Biosolids Site Development | 136000 | 136000 | 136000 | 136000 |  |  | 544000
| Sub-Total | 136000 | 136000 | 136000 | 136000 | 0 | 0 | 544000
| Total A20800 - Biosolids Recycling | 303000 | 303000 | 303000 | 303000 | 0 | 0 | 1212000
A20900 Water Reuse - New Facilities
423258 | Future Water Reuse | 1300000 | 2004: 1300000; 2005: 1300000; Total 2003-2008: 3900000
423462 | Mill Creek Habitat Restoration | 269900 | 2004: 65000; 2005: 40000; Total 2003-2008: 374900
423523 | RWSP Water/Wastewater Conservation Program | 300000 | 2004: 300000; 2005: 300000; Total 2003-2008: 900000
423528 | Sammamish Valley Reclaimed Water Production Facility | 14343000 | 2004: 15700000; 2005: 4356000; Total 2003-2008: 34399000
423533 | Water Resources Project | 507916 | 2004: 493161; 2005: 125000; Total 2003-2008: 1126077
| Sub-Total | 16720816 | 17858161 | 6121000 | 0 | 0 | 0 | 40699977
| Total A20900 - Water Reuse | 16720816 | 17858161 | 6121000 | 0 | 0 | 0 | 40699977
A21010 Environmental Laboratory - Asset Mgmt
2003-02 | Trace Metals ICP-MS | 300000 | Total 2003-2008: 300000
423034 | Lab CAMP | 599418 | 600826 | 606714 | 517765 | 652236 | 600000 | 3576959
| Sub-Total | 899418 | 600826 | 606714 | 517765 | 652236 | 600000 | 3876959
A21020 Environmental Laboratory - New Facilities & Improvements
423459 | Environmental Laboratory Expansion | 1157061 | 2004: 201431; Total 2003-2008: 1358492
| Sub-Total | 1157061 | 201431 | 0 | 0 | 0 | 0 | 1358492
| Total A21000 - Environmental Laboratory | 2056479 | 802257 | 606714 | 517765 | 652236 | 600000 | 5235451
A21100 - Central Functions
2003-08 | WTD Division-wide Security | 1789419 | 2004: 838250; 2005: 234912; Total 2003-2008: 2862581
423082 | Lake Hills Remediation | 42106 | 42106 | 42106 | 51675 |  |  | 177993
423086 | Water Quality Capital Outlay | 700000 | 700000 | 700000 | 700000 | 700000 | 700000 | 4200000
423311 | WTD - FSRP | 1983963 | 1983963 | 3983963 | 3983963 |  |  | 11935852
423458 | Habitat Conservation Program - HCP | 1388027 | 1549755 | 2117826 | 264731 |  |  | 5320339
423493 | Information Systems | 3755000 | 3870000 | 3850000 | 1625000 | 790000 | 2195000 | 16085000
423532 | ESA Data Management | 125000 | Total 2003-2008: 125000
423550 | Freshwater Assessment Program | 3117080 | 2875245 | 2298280 | 660004 |  |  | 8950609
| Sub-Total | 12900595 | 11859319 | 13227087 | 7285373 | 1490000 | 2895000 | 49657374
| Total A21100 - Central Functions | 12900595 | 11859319 | 13227087 | 7285373 | 1490000 | 2895000 | 49657374
A21201 Minor Asset Management - Electric/I&C
423551 | Electrical/I&C | 3141715 | 3438693 | 3126078 | 3180000 | 3180000 | 3180000 | 19246486
| Sub-Total | 3141715 | 3438693 | 3126078 | 3180000 | 3180000 | 3180000 | 19246486
A21202 Minor Asset Management - Mechanical Upgrade and Replacement
423552 | Mechanical Upgrade and Replacement | 3138298 | 3618465 | 3719784 | 3831376 | 3946318 | 4064708 | 22318949
| Sub-Total | 3138298 | 3618465 | 3719784 | 3831376 | 3946318 | 4064708 | 22318949
A21203 Minor Asset Management - Odor/Corrosion Control
423553 | Odor/Corrosion | 672850 | 667585 | 687611 | 708239 | 729485 | 751370 | 4217140
| Sub-Total | 672850 | 667585 | 687611 | 708239 | 729485 | 751370 | 4217140
A21204 Minor Asset Management - Pipeline Replacement
423555 | Pipeline Replacement | 2147059 | 2211469 | 2277811 | 2346147 | 2416530 | 2494027 | 13893043
| Sub-Total | 2147059 | 2211469 | 2277811 | 2346147 | 2416530 | 2494027 | 13893043
A21205 Minor Asset Management - Process Replacement/Improvement
423554 | Process Replacement/Improvement | 2940781 | 3365560 | 3466526 | 3570521 | 3677637 | 3787966 | 20808991
| Sub-Total | 2940781 | 3365560 | 3466526 | 3570521 | 3677637 | 3787966 | 20808991
A21206 Minor Asset Management - Structures/Site Improvement
423556 | Structures/Site Improvement | 1800597 | 1800390 | 1800595 | 1800390 | 1800390 | 1800390 | 10802752
| Sub-Total | 1800597 | 1800390 | 1800595 | 1800390 | 1800390 | 1800390 | 10802752
| Total A21200 - Minor Asset Management | 13841300 | 15102162 | 15078405 | 15436673 | 15750360 | 16078461 | 91287361
| Total Wastewater Treatment CIP Appropriation Fund 4616 | 264850598 | 290562394 | 251006667 | 305259392 | 360978844 | 382473892 | 1855131787
| Waste Water Treatment CIP Fund - CIP Reconciliation | [7 empty] | 0
200011 | WTP Anoxic Gas Flotation Demo | -80896 | Total 2003-2008: -80896 | -161792
423055 | Habitat Development | -1171718.4102 | Total 2003-2008: -1171718.4102 | -2343436.8203
423061 | NOAA Real Property Site | 157360.3416 | Total 2003-2008: 157360.3416 | 314720.6833
423096 | CP&S Lk City Tunnel Corrosion Wrk | -879.7485 | Total 2003-2008: -879.7485 | -1759.497
423110 | Cedar River Trunk | -386.46 | Total 2003-2008: -386.46 | -772.92
423111 | Cedar River Phase 3 | 276.24 | Total 2003-2008: 276.24 | 552.48
423114 | CP&S Cascade Siphon/Footbridge | -10999.7457 | Total 2003-2008: -10999.7457 | -21999.4914
423115 | Eastside Flow Monitoring | -1710.32 | Total 2003-2008: -1710.32 | -3420.64
423117 | CP&S Byrn Mawr Lk Ridge Siphon | -1990068 | Total 2003-2008: -1990068 | -3980136
423123 | N Creek Expansion | -50000 | Total 2003-2008: -50000 | -100000
423130 | Alki program | 18174 | Total 2003-2008: 18174 | 36348
423140 | Biosolids Site Development | -125138.7859 | Total 2003-2008: -125138.7859 | -250277.5717
423142 | Biosolids Agricultural Equipment | -151752.3565 | Total 2003-2008: -151752.3565 | -303504.7129
423143 | WP Biosolids Equipment | -180000 | Total 2003-2008: -180000 | -360000
423149 | IBIS Conversion Balance | -25 | Total 2003-2008: -25 | -50
423155 | Sunset/Heathfield PS - Emergency Gen. | -5485.82 | Total 2003-2008: -5485.82 | -10971.64
423167 | Univ. Reg. Post Discharge Study | -48338 | Total 2003-2008: -48338 | -96676
423169 | CSO Program | -427.27 | Total 2003-2008: -427.27 | -854.54
423170 | WW2020 | 514.8 | Total 2003-2008: 514.8 | 1029.6
423172 | CP&S Tukwila Frwy Crossing Relocation & Rehab. | -12719.5441 | Total 2003-2008: -12719.5441 | -25439.0882
423175 | MMIS Implementation | -151263.485 | Total 2003-2008: -151263.485 | -302526.97
423177 | Kirkland Force Main Relocate | -565.89 | Total 2003-2008: -565.89 | -1131.78
423192 | Yarrow Bay PS - Pump & Drive Replacement | -16619.7535 | Total 2003-2008: -16619.7535 | -33239.5069
423193 | Primary Sed. Tank Rehab. | -955.77 | Total 2003-2008: -955.77 | -1911.54
423194 | CP&S CAMP | -379703.61 | Total 2003-2008: -379703.61 | -759407.22
423218 | Acoustic Upgrades | -175189 | Total 2003-2008: -175189 | -350378
423219 | H2S Odor Control E/W Division | -80675 | Total 2003-2008: -80675 | -161350
423225 | Medina FM Siphon | 88.96 | Total 2003-2008: 88.96 | 177.92
423228 | Misc. Odor Control/H2S | -50000 | Total 2003-2008: -50000 | -100000
423232 | STP Centrifuge Renton Dewatering | -1235994.5443 | Total 2003-2008: -1235994.5443 | -2471989.0885
423236 | York PS - Upgrade & Power Reliability | -2095499 | Total 2003-2008: -2095499 | -4190998
423237 | Sunset/Heathfield PS - Drive Replacement | -23.1172 | Total 2003-2008: -23.1172 | -46.2345
423242 | Misc. Facilities Improvement | -313190.79 | Total 2003-2008: -313190.79 | -626381.58
423246 | Electrical Equipment | -708782.8322 | Total 2003-2008: -708782.8322 | -1417565.6644
423247 | Lk Ballinger PS - Emergency Generator | 12202.4739 | Total 2003-2008: 12202.4739 | 24404.9478
423250 | Misc. Power Reliability | -250000 | Total 2003-2008: -250000 | -500000
423274 | CP&S Holmes Point Rock Box | -40138 | Total 2003-2008: -40138 | -80276
423276 | Future Other Transmission | -250000 | Total 2003-2008: -250000 | -500000
423285 | Lab Facilities Improvements | -113145.43 | Total 2003-2008: -113145.43 | -226290.86
423287 | Aqua File Server | -964 | Total 2003-2008: -964 | -1928
423291 | STP - E. & W. Primary Roof Replacement | -40347.0009 | Total 2003-2008: -40347.0009 | -80694.0017
423294 | Relocate Computer Room Gateway | 2741.14 | Total 2003-2008: 2741.14 | 5482.28
423299 | CP&S No. Creek Interceptor Repair | -13959.6542 | Total 2003-2008: -13959.6542 | -27919.3083
423304 | WTP Misc Utility System Monitoring | -418295.58 | Total 2003-2008: -418295.58 | -836591.16
423307 | WTP Incinerator Enhancements | -4244.3852 | Total 2003-2008: -4244.3852 | -8488.7704
423310 | Industrial Waste Info System (IWIS) | -2899.7485 | Total 2003-2008: -2899.7485 | -5799.497
423315 | WTP - Develop Routine Test Procedures | 1142.4712 | Total 2003-2008: 1142.4712 | 2284.9424
423320 | Matthews Pk PS - Variable Speed Drives | -324331.666 | Total 2003-2008: -324331.666 | -648663.332
423321 | WTP Digester Foam Removal/Odor Control | -530.43 | Total 2003-2008: -530.43 | -1060.86
423322 | Oil/Water Removal from Digesters Gas | -962.66 | Total 2003-2008: -962.66 | -1925.32
423323 | WTP - Process Safety & Risk Management | -78993.9823 | Total 2003-2008: -78993.9823 | -157987.9647
423324 | WTP Process Cleanings w/ Odor Control | -1096319.5362 | Total 2003-2008: -1096319.5362 | -2192639.0723
423325 | WTP - Expansion Tank Alarm Switches | -64369.8371 | Total 2003-2008: -64369.8371 | -128739.6742
423326 | WPTP - Sludge Process Improvements | -652300.0061 | Total 2003-2008: -652300.0061 | -1304600.0121
423329 | Strengthen Panel Connect At Digesters | -891.79 | Total 2003-2008: -891.79 | -1783.58
423332 | WTP 480V Breaker Trip Indication | -17589.9298 | Total 2003-2008: -17589.9298 | -35179.8596
423333 | WTP - ICS Gate Modifications | -43818.39 | Total 2003-2008: -43818.39 | -87636.78
423337 | WTP - SCS/PLC Plant Enhancements | -79909.5245 | Total 2003-2008: -79909.5245 | -159819.0489
423340 | Modify Existing Openings - Grinder RM | -69.34 | Total 2003-2008: -69.34 | -138.68
423341 | PLC Replacement/Offsite Facilities | -670717.8795 | Total 2003-2008: -670717.8795 | -1341435.759
423342 | WP Post Construction Monitoring | -30139.47 | Total 2003-2008: -30139.47 | -60278.94
423351 | WTP Community-One Time Mitigation for PCL/SMI | 29.38 | Total 2003-2008: 29.38 | 58.76
423354 | CP&S Juanita Bay FM Replacement | -46705.9024 | Total 2003-2008: -46705.9024 | -93411.8048
423360 | Backup STEP Screen | -451.26 | Total 2003-2008: -451.26 | -902.52
423374 | WPTP - Install EPS #4 | 281.98 | Total 2003-2008: 281.98 | 563.96
423375 | WTP - Waste Gas Burner | -54250.241 | Total 2003-2008: -54250.241 | -108500.4819
423377 | WTP Centrifuge Relocation/Improvements | 155680.2694 | Total 2003-2008: 155680.2694 | 311360.5388
423378 | WTP West Point Odor Improvements | -216514.9593 | Total 2003-2008: -216514.9593 | -433029.9186
423379 | WTP High-Solids Centrifuge | -239203.474 | Total 2003-2008: -239203.474 | -478406.948
423384 | Reclaimed Water Product Characterization | -9292.24 | Total 2003-2008: -9292.24 | -18584.48
423385 | WTP Emergency Electrical Issues | -167612 | Total 2003-2008: -167612 | -335224
423388 | WTP - Digester Roof Anti-Rotation Device | -26029.9637 | Total 2003-2008: -26029.9637 | -52059.9275
423389 | WTP - Ferric/Caustic Containment Piping | -11999.7226 | Total 2003-2008: -11999.7226 | -23999.4452
423397 | Matthews Pk PS - Emergency Generator | -800000 | Total 2003-2008: -800000 | -1600000
423401 | WPTP Solids Bldg. IOS Valves | -1282.63 | Total 2003-2008: -1282.63 | -2565.26
423403 | WTP Jameson Building - Bulk Oil Storage | -300000 | Total 2003-2008: -300000 | -600000
423410 | WTP Thermophilic Digestion Design | -236994.5211 | Total 2003-2008: -236994.5211 | -473989.0423
423411 | WTP Health/Safety/Fire/ Dryer Mods | -182071.3722 | Total 2003-2008: -182071.3722 | -364142.7443
423413 | WTP Drying Building Modifications | 158270.1608 | Total 2003-2008: 158270.1608 | 316540.3217
423419 | Fleet - Car Replacement | 315 | Total 2003-2008: 315 | 630
423425 | WTP Other Facilities Improvements - EWRs | 457465.8304 | Total 2003-2008: 457465.8304 | 914931.6609
423432 | CP&S E. Channel Siphon Cathodic Protection | -426146.1796 | Total 2003-2008: -426146.1796 | -852292.3591
423433 | CP&S S. Magnolia Outfall Replacement | -18905.6462 | Total 2003-2008: -18905.6462 | -37811.2923
423438 | Mathews Ventilation | -886.8226 | Total 2003-2008: -886.8226 | -1773.6452
423447 | WTP SIF Closeout - KC Const. Dist. Marra | -938.7682 | Total 2003-2008: -938.7682 | -1877.5364
423449 | Labor Settlement Costs | 300.56 | Total 2003-2008: 300.56 | 601.12
423451 | WPTP HillSide Retain. Wall Drainage System Replacement | 216.51 | Total 2003-2008: 216.51 | 433.02
423454 | Kenmore PS Emergency Generator | -94391.05 | Total 2003-2008: -94391.05 | -188782.1
423457 | BTP Marine Outfall Study | 276010.1861 | Total 2003-2008: 276010.1861 | 552020.3722
423460 | VTP Vashon Facility Improvement | 392249.4536 | Total 2003-2008: 392249.4536 | 784498.9072
423461 | WTP Clarifier Painting | -47366.8257 | Total 2003-2008: -47366.8257 | -94733.6513
423467 | Kenmore Chemical Injection | -205818.7703 | Total 2003-2008: -205818.7703 | -411637.5407
423468 | CP&S ESI Chemical Injection | -572917 | Total 2003-2008: -572917 | -1145834
423470 | Mobil Odor Control Units | -320376 | Total 2003-2008: -320376 | -640752
423471 | North Portal Odor Control | -59574.8506 | Total 2003-2008: -59574.8506 | -119149.7013
423472 | WTP Owl Creek Drainage Improvements | -183169.6828 | Total 2003-2008: -183169.6828 | -366339.3656
423473 | CP&S Boeing Creek Trunk H2S Repair | -259703.6187 | Total 2003-2008: -259703.6187 | -519407.2375
423475 | King Street Relocation | -114056 | Total 2003-2008: -114056 | -228112
423476 | Duwamish & Wilburton PS Pavement | -95 | Total 2003-2008: -95 | -190
423478 | Lakes Study | 512256.58 | Total 2003-2008: 512256.58 | 1024513.16
423479 | Green/Duwamish River Study | -1200000 | Total 2003-2008: -1200000 | -2400000
423481 | Misc. Paving Replacement | -99998.8441 | Total 2003-2008: -99998.8441 | -199997.6882
423482 | STP LARS2 | -249998.8441 | Total 2003-2008: -249998.8441 | -499997.6882
423485 | STP Treatment Plant Landscape Upgrade | -30000 | Total 2003-2008: -30000 | -60000
423486 | STP Primary Launders | -946.95 | Total 2003-2008: -946.95 | -1893.9
423491 | WP Energy Improvements | -791.44 | Total 2003-2008: -791.44 | -1582.88
423493 | Information Systems | 93177.272 | Total 2003-2008: 93177.272 | 186354.5439
423494 | Madsen Creek Conveyance | 130057.38 | Total 2003-2008: 130057.38 | 260114.7601
423495 | STP Microvax & Ethernet Replacement | -153000 | Total 2003-2008: -153000 | -306000
423496 | STP Septage Scale | -149910.0124 | Total 2003-2008: -149910.0124 | -299820.0247
423500 | Off-site Septage Facility Study | -70000 | Total 2003-2008: -70000 | -140000
423501 | STP Admin. Facility Expansion | -149285.4141 | Total 2003-2008: -149285.4141 | -298570.8282
423502 | STP Bowker Building Lift Station | -87715.141 | Total 2003-2008: -87715.141 | -175430.282
423508 | RWSP-ADTLProf. Svs | 144.03 | Total 2003-2008: 144.03 | 288.06
423511 | STP Balker Building Pave. Repl. | -71505.73 | Total 2003-2008: -71505.73 | -143011.46
423517 | WTP West Section Warehouse | -190000 | Total 2003-2008: -190000 | -380000
423520 | CP&S Tukwila Interceptor/Freeway Crossing | -1596837 | Total 2003-2008: -1596837 | -3193674
423522 | Clark Settlement | 455309.0034 | Total 2003-2008: 455309.0034 | 910618.0068
423525 | Matthews Beach Odor Upgrades | -1454283.5313 | Total 2003-2008: -1454283.5313 | -2908567.0626
423526 | Hidden Lake PS & Siphon | -704829 | Total 2003-2008: -704829 | -1409658
423529 | WTP Full-ScaleThermophillic Digestion | -100660.9769 | Total 2003-2008: -100660.9769 | -201321.9538
423535 | Biosolids Property Acquisition | -1497077.08 | Total 2003-2008: -1497077.08 | -2994154.16
423536 | STP Microwave Power Co-Generation | -1996102.77 | Total 2003-2008: -1996102.77 | -3992205.54
423543 | South Plan Raw Sewage Punp Installation | -895.99 | Total 2003-2008: -895.99 | -1791.98
423550 | Freshwater Assessment Program | 6198.34 | Total 2003-2008: 6198.34 | 12396.68
423551 | Electrical / I&C | 30352 | Total 2003-2008: 30352 | 60704
423555 | Pipeline Replacement | 1771.27 | Total 2003-2008: 1771.27 | 3542.54
| 4616 Total CIP Reconciliation | -24771954.0855 | Total 2003-2008: -24771954.0855 | -49543908.1711
| 4616 Grand Total (2003 Proposed) | 240078643.9145 | Total 2003-2008: 1830359832.9145 | 2070438476.8289