October 11, 2010

The Honorable Bob Ferguson

Chair, King County Council

Room 1200

C O U R T H O U S E

Dear Councilmember Ferguson:

Enclosed for King County Council consideration is an ordinance approving the City of Renton (City) Long-Range Wastewater Management Plan (Plan), Final 2010.  Approval of the Plan is required under King County Code (K.C.C.) chapter 13.24 as a prerequisite to granting county right-of-way franchises and construction permits.  Approval of the Plan is also required under K.C.C. chapter 28.84 as the City is a component agency of the regional wastewater system.  The Utilities Technical Review Committee (UTRC) recommends approval of the Plan as it is consistent with the King County Comprehensive Plan and the K.C.C.

The principal operational issues in the Plan are the need for and timing of the replacement of older, deteriorating sanitary facilities in the City and extending service to areas without sewer service.  The City is cooperating with the County to investigate the origins and magnitude of excessive infiltration and inflow (I/I) into the sewer system from different portions of its service area and anticipates working with the County to develop a strategy for reducing those flows as part of the regional I/I program.

On April 24, 2009, the City issued a Determination of Nonsignificance for the Plan in accordance with the State Environmental Policy Act.  There were no appeals.

An enclosed matrix provides additional information regarding the City’s compliance with K.C.C. requirements and consistency with the King County Comprehensive Plan.

I appreciate the City’s cooperation in submitting the Plan and working with the UTRC review process.  If you have any questions about the Plan or the proposed ordinance, please feel free to contact Steve Hirschey, Chair of the UTRC, at 206-205-0817.

I urge the council to adopt the enclosed ordinance approving the City’s Plan.

Sincerely,

Dow Constantine

King County Executive

Enclosures

cc:	King County Councilmembers

ATTN:  Tom Bristow, Chief of Staff

Anne Noris, Clerk of the Council

Michael Benoit, Wastewater Utility, City of Renton

Dwight Dively, Director, Office of Management and Budget and Office of Strategic 
    Planning and Performance Management

Christie True, Director Designee, Department of Natural Resources and Parks

Steve Hirschey, Chair, Utilities Technical Review Committee