## STAFF REPORT

| Agenda Item: | 6 | Name: | Mike Reed |
| --- | --- | --- | --- |
| Proposed No.: | 2013-0014 | Date: | January 29, 2013 |

SUBJECT

Proposed Ordinance 2013-0014 would approve the City of Duvall (“City”) Comprehensive Water System Plan (“Plan”).

SUMMARY

Council approval of water utility comprehensive plans is required by County Code as a prerequisite for operating in unincorporated King County, granting right of way construction permits, granting new or renewed franchises, and service boundary annexations.  The City of Duvall's Comprehensive Water System provides water service to a service area that primarily corresponds with the city boundaries and adjacent parcels.

BACKGROUND

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee ("UTRC") to review and make recommendations to the Executive and County Council on the adequacy of all water system comprehensive plans and related matters, and to determine whether the plan:

- is consistent with local comprehensive plans,

- is consistent with the King County Comprehensive Plan,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of KCC Chapter 13.24, the County's approval of a plan also provides the determination for state regulatory agencies that a plan is consistent with the King County Comprehensive Plan and related policies and implementing development regulations.  See RCW 43.20.260.

UTRC ANALYSIS OF THE CITY OF DUVALL COMPREHENSIVE WATER SYSTEM PLAN

The UTRC finalized its review of the Plan, found it to meet the requirements of KCC chapter 13.24 and recommended its approval.  Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area  The City’s retail water service area includes the city limits and parcels immediately adjacent to the city limits.  The existing water system extends north to NE Cherry Valley Road, south to approximately Big Rock Road NE, west to the Snoqualmie River and east to 292nd Ave NE.  The City’s future water service area boundary extends north to NE Cherry Valley Road, west to the Snoqualmie River, and south and east to the boundary of King County Water District No. 119.

Facilities  Seattle Public Utilities supplies the City with water through the Tolt supply pipeline at two supply stations; water treatment is provided by SPU.  Two city-owned reservoirs, with total capacity of 2.7 million gallons, provide water storage for the system.  The system further includes 15 pressure reducing stations, one booster pump, three pressure relief stations, and 39 miles of water main.

Growth  City population was 6,646 in 2009, with 2,254 water service connections.  Most of the water consumption is from single family residential customers, at 83%, with 7% commercial/industrial, 5% multi-family, and 5% government/education.  Population is projected at 11,386 by 2030.  2012 water demand, assuming conservation, is 856 gallons per minute.  In 2030, projections indicate that, assuming conservation measures are in place, 1,078 gallons per minute will be required.

System Improvements  The Plan includes a schedule of system improvements to replace water mains, loop pipelines to connect them to the larger system, reduce pressure, and generally update and improve facilities.  The schedule identifies $2,914,000 of water main replacements, $3,489,000 of water main looping improvements, $135,000 of pressure reducing station and relief improvements, $820,000 of citywide improvements and $2,908,000 of facility improvements, totaling $10,266,000 of improvements, scheduled over a 20-year planning period.  Revenues for capital improvement are supported from a number of sources:  a General Facilities Charge, which is a one-time charge imposed on new customers connecting to the utility system; a local facilities charge to recover the cost of extending service to local properties; developer extensions; latecomer charges; local improvement districts; bond financing; and grants from state agencies.  A financial analysis included in the Plan concludes that the projected revenues will be sufficient to fund utility operations and the City's water supply capital improvement program developed for the Plan.

SEPA  The City issued a SEPA Determination of Non-Significance for the Plan on August 30, 2011. There were no appeals.

ATTACHMENTS

- Proposed Ordinance 2013-0014 without attachment of the City of Duvall Comprehensive Water System Plan, which is available upon request