## STAFF REPORT

| Agenda Item: | 5 | Name: | Leah Zoppi |
| --- | --- | --- | --- |
| Proposed No.: | 2015-0205 | Date: | June 2, 2015 |

SUBJECT

An ordinance approving the Sammamish Plateau Water and Sewer District 2013 Wastewater Comprehensive Plan.

SUMMARY

Proposed Ordinance 2015-0205 would approve the Sammamish Plateau Water and Sewer District’s 2013 Wastewater Comprehensive Plan, meeting the requirement for a water and sewer district to operate in unincorporated King County.

BACKGROUND

The Sammamish Plateau Water and Sewer District owns and operates a wastewater system that serves an area located north of Issaquah and east of Lake Sammamish.

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of all  water and sewer comprehensive plans and related matters, and to determine whether the plan:

- is consistent with the King County Comprehensive Plan,

- is consistent with local comprehensive plans,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of KCC Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

King County Comprehensive Plan wastewater policies F-214, and F-255 through F-264 call for consistency with other adopted plans, pursuit of reclaimed water, and protection of water resources.

UTRC ANALYSIS OF Sammamish Plateau Water and Sewer District 2013 Wastewater Comprehensive Plan

The UTRC finalized its review of the Plan on February 18, 2015.  The UTRC found the Plan meets the requirements of KCC chapter 13.24 and has recommended its approval.  Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area:  The District’s service area is approximately 20 square miles located in central King County bordered by the City of Issaquah to the south, Lake Sammamish to the west, and the Snoqualmie River Valley to the east. The wastewater system currently serves a population of approximately 37,347 people through approximately 13,000 service connections.

Facilities:  The District’s wastewater system includes approximately 150 miles of pipe varying in size from 8-inch collectors to 36-inch interceptors. The District’s wastewater is treated at the South Treatment Plant facility.

System Improvements:  The Plan contains a capital improvement plan projected to cost $21.6 million within the next six years and $105 million within the next twenty years. The District identified funding sources for the proposed improvement projects which include rates, general facilities charges and bond proceeds.

SEPA:  The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and issued a determination of non-significance for the Plan on April 1, 2014. There were no appeals.

ATTACHMENTS

- Proposed Ordinance 2015-0205 (and its attachments)

- Transmittal Letter dated April 24, 2015

- Fiscal Note