Review of the City of Kirkland Comprehensive Water System Plan

Service Area The City of Kirkland (the City) owns and operates a water system that serves portions of the City and a small area in unincorporated King County. The City provides water service to customers throughout its corporate limits, except for the Finn Hill, North Juanita, and Kingsgate neighborhoods which were annexed in 2011 and are served by the Northshore Utility District (NUD) and Woodinville Water District. The City is located in central King County along the eastern shore of Lake Washington and is surrounded by the City of Redmond (Redmond), City of Bellevue (Bellevue), NUD, and Woodinville Water District water systems. The City also serves a small unincorporated area in the northeast corner of this water service area. The City boundary encompasses an area of approximately 18.2 square miles that extends north to NE 145th Street, east to the Sammamish River, and south to State Route 520. The City’s existing water service area boundary encompasses approximately 9.8 square miles. Redmond provides water service to customers generally east of 132nd Avenue NE and Bellevue serves customers to the south of the City. The City provided water service to approximately 12,318 customer accounts and a population of approximately 40,370 in 2013. The City primarily provides water service to residential customers who make up approximately 84 percent of all customer accounts and use approximately 52 percent of all water supplied. The average amount of water demand per person has decreased from approximately 108 gallons per day in 2005 to approximately 89 gallons per day in 2013. The City’s average per capita demand of 95 gallons per day from 2007 through 2013 and average demand per equivalent residential unit (ERU) of 189 gallons per day are slightly less than the average for the Puget Sound area. The distribution system leakage was 6 percent in 2013 based on a 3-year rolling average, which is below the standard established by the State of 10 percent or less. All water in the City’s system is currently supplied by the Seattle supply system from the Tolt and Cedar River supply pipelines. The City is primarily served with water that originates from the Tolt River System, but also periodically receives water from the Cedar River system. The City’s water system contains more than 170 miles of water main ranging in size from 2 inches to 24 inches. Most of the water main (approximately 54 percent) within the service area is 8 inches in diameter and an additional 24 percent of the water main is 10 inches in diameter or larger. Reclaimed Water The City does not receive or use reclaimed water but is supportive of reclaimed water projects and is willing to work with King County to identify opportunities. The City completed the King County’s Water Reclamation Evaluation Checklist. SEPA The City completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency under SEPA, issued a determination of non-significance for the approval of the Plan on March 11, 2014. There were no appeals.

|  | A. General, water and sewer plan specific King County Code (KCC) 13.24.010 | Comments/findings |
| --- | --- | --- |
| (1) | The code is applicable to water and or sewer utilities that obtain water in unincorporated areas, provide service in unincorporated areas of King County, and/or are component agencies of the regional wastewater system. | The City distributes water in unincorporated areas of King County, making review under KCC 13.24 appropriate. The City provides water service to three properties in unincorporated King County to the east of the city limits near NE 124th St and Willows Rd NE. This area was recently transferred from the City of Redmond to the City of Kirkland. |
| (2) | Water system plans should be submitted every six years or sooner if required by the Washington State Department of Health. | The City’s last water plan in 2007 was not approved by King County because at that time the City did not provide water in unincorporated King County. Recently, there was a transfer of service areas between the City of Redmond to the City of Kirkland and the City of Kirkland now serves in unincorporated King County. The City will seek plan approval from the Washington State Department of Health. |
| (3) | The infrastructure for existing and future service areas based on adopted land use map. | Yes, King County land use and zoning maps were appropriately used in determining the water demand projections. |
| (4) | The Plan contains sufficient information to demonstrate the ability to provide services consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates that the City has ample water supply to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. |
| (5) | The Plan is consistent with Washington Administrative Code (WAC) 246-290-100 for the water service. | Yes, the Plan is consistent with the applicable rules. |
|  | B. Consistency requirements: 13.24.060 |  |
| (6) | King County Code related to the installation of fire hydrants and water mains. | Yes, the Plan proposes to provide adequate fire flow. |
| (7) | State and local health requirements. | The Plan has not yet been approved by the Washington State Department of Health. The UTRC review process included a representative of Public Health-Seattle and King County. |
| (8) | Elimination or prevention of duplicate facilities. | The City has written agreements with other water providers regarding areas to be served in order to avoid overlapping jurisdiction and to ensure efficiency in the use of existing facilities. |
| (9) | Promotion of most healthful and reliable services to the public. | Yes. |
| (10) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Currently, the City charges a rate that is in the affordable range. |
|  | C: King County Comprehensive Plan – consistency with provisions and specific policies |  |
| (11) | Consistency with the King County Comprehensive Plan and applicable County plans and policies including the Flood Hazard Management Plan and Emergency Response Plan. | Yes, the Plan is consistent with the applicable comprehensive plans. |
| (12) | Consistency with the Coordinated Water System Plans adopted in KCC 13.28. | Yes, the Plan is consistent with the East King County Coordinated Water System Plan (CWSP). The City CWSP designated service area boundary is concurrently its retail service area. |
| (13) | Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology or the Washington State Department of Health. | Not applicable. |
| (14) | Applicable state water quality, water conservation (e.g., chapter 90.54 RCW and RCW 90.48.495), and waste management standards. | Yes. The City implements a water conservation program. |
| (15) | Growth Management Act; chapter 36.70A RCW. | Yes, the Plan is consistent with the Growth Management Act. See specific policies below. |
| (16) | Groundwater Management Plans. | Not applicable. |
| (17) | Federally-approved habitat conservation plans and recovery plans under Endangered Species Act, and other plans, including regional water supply or water resource management plans. | The City is aware of, and supports, the planning done for salmon recovery purposes. There is no active applicable regional water supply plan. |
| (18) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | Yes, The City supports King County’s reclaimed water planning efforts. The City completed the King County’s Water Reclamation Evaluation Checklist. |
| (19) | State Environmental Policy Act documentation. | The City completed a SEPA checklist and issued a Determination of Nonsignificance for approval of the plan on March 11, 2014, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (20) | DP‐13: All jurisdictions shall plan to accommodate housing and employment targets. This includes: “Coordinating water, sewer, transportation and other infrastructure plans and investments among agencies, including special purpose districts;…”. | Yes, the City does this. |
| (21) | PF‐4: Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | The City has a reasonable plan for long-term water supply to meet projected growth. The Plan does not discuss climate change impacts on water supply. The City is a member of the Cascade Water Alliance. |
| (22) | PF‐5: Support efforts to ensure that all consumers have access to a safe, reliably maintained, and sustainable drinking water source that meets present and future needs. | Yes, the City does this. |
| (23) | PF‐6: Coordinate water supply among local jurisdictions, tribal governments, and water purveyors to provide reliable and cost‐effective sources of water for all users, including residents, businesses, fire districts, and aquatic species. | The City is a member of the Cascade Water Alliance and water supplies are coordinated by the Cascade Water Alliance for the benefit of the members. The City has agreements in place with neighboring utilities for emergency supply. |
| (24) | PF‐7: Plan and locate water systems in the Rural Area that are appropriate for rural uses and densities and do not increase the development potential of the Rural Area. | Not applicable as the City does not serve the rural area. The City serves a few parcels in the agricultural area and appropriately used King County land use and zoning maps for that area. |
| (25) | PF‐8: Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | The City has agreements with neighboring utilities for service area and to assist in emergency situations. |
| (26) | PF‐9: Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | The City’s average day water demand has decreased from approximately 108 gallons per day in 2005 to approximately 89 gallons per day in 2013. The City’s average per capita demand was 95 gallons per day on average and average demand per equivalent residential unit was 189 gallons per day. The City’s three-year average distribution system loss is 6 percent. |
| (27) | PF‐10: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | The City completed King County’s Water Reclamation Evaluation Checklist. There are no opportunities to use reclaimed water at this time. |
|  | KING COUNTY COMPREHENSIVE PLAN (KCCP) POLICIES |  |
| (28) | F-107: Plan for provision of services to rural areas. | Not applicable. |
| (29) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The capital improvement program (CIP) is adequate and appropriately focused with funding sources identified. |
| (30) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act and the Clean Water Act. | Yes, to the extent known, facilities and service are provided consistent with the federal laws. |
| (31) | F-209: Support rural levels of development and not facilitate urbanization. | Not applicable. |
| (32) | F-210: Capital facility plans and improvement programs for services to unincorporated King County are consistent with the KCCP. | Yes, the CIP is consistent with the KCCP. |
| (33) | F-211: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (34) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The City did not identify any inability to meet service needs within its service area. |
| (35) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies reuse programs. | Not applicable. The City did not identify any inability to meet service needs within its service area. |
| (36) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs. | Yes, The City supports regional water supply coordination. The City operates several joint-use facilities that provide supply to areas of the City of Redmond and the City of Bellevue. The three cities are proportionally responsible for the cost of maintaining and operating the joint use facilities. This arrangement was agreed to during the Rose Hill Water District assumption in 1994. |
| (37) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the County for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service areas. | The City obtains and distributes water in unincorporated King County so the plan is subject to review and approval by the King County Council. The City is committed to meeting its duty to serve in its retail service area by direct service and has described in the plan its general terms of service. |
|  | F-248 King County shall partner with utilities to publicize water conservation and encourage best management practices that conserve potable water supply through measures that include use of alternative supplies such as reclaimed water. | Yes, the County will do this. |
| (38) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, Endangered Species Act (ESA) response requirements and Clean Water Act requirements. | The City has interties with other utilities. |
| (39) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County’s Water Reclamation Evaluation. | The City completed King County’s Water Reclamation Evaluation Checklist. |
| (40) | F-251: In its review of water system plans, the UTRC shall consider the criteria provided in KCC 13.24.010, 13.24.060, and 13.24.070, and determine the plan’s consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The County’s Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by King County, as specified in UTRC Guidance or checklists. | The UTRC did consider these issues and recommends approval of the Plan. |
| (41) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | The City is not planning to change its service area. |
| (42) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | Not applicable. |
| (43) | F-254: Groundwater-based public water supplies should be protected by preventing land uses that may adversely affect groundwater quality or quantity to the extent that the supply might be jeopardized. The county shall protect the quality and quantity of groundwater used as water supplies through implementation of Policies E-493 through E-497 where applicable. | Not applicable. |