Review of the City of Bellevue Comprehensive Water Plan (the Plan)

Service Area The City of Bellevue (City) owns and operates a municipal water system that primarily serves the City as well as unincorporated land in King County contiguous with the City. The City is located in central King County, east of Lake Washington and water utility service area includes the entire City of Bellevue, the Cities of Clyde Hill and Medina, the Towns of Hunts Point and Yarrow Point, and small adjacent portions of the City of Issaquah (South Cove area), the City of Kirkland (east of Watershed Park) and unincorporated King County. Its water system provides service to an area of approximately 37 square miles. The City is surrounded by adjacent water utilities including those of the Cities of Kirkland, Issaquah, Newcastle and Redmond. It is unlikely the retail water service area will change in the future. The City holds franchise number 12004 for water distribution; the franchise is current and expires in 2020. Water Use Efficiency In 2014 the City’s water system provides service to a local employment base of over 150,000 jobs, and a residential population of over 145,000. Average daily water demand is approximately 16 million gallons. The City uses a peaking factor of 2.2. The City currently has an average equivalent residential unit use of 232 gallons per day (GPD). The recent annual average distribution system loss is approximately 3.3 percent, with a three-year average value of five percent, which is less than the statutory standard of ten percent. The system includes approximately 69 separate pressure zones, 6,000 fire hydrants, 10,500 main isolation valves, 37,500 customer accounts with 41,000 customer meters, 25 active reservoirs (plus two decommissioned), 22 pump stations, 145 active pressure reducing valve (PRV) stations, and over 600 miles of pipe. The City asserts legacy groundwater rights to numerous wells, totaling roughly 6.6 million gallons per day. The Plan contains a six-year capital improvement program (CIP) with an estimated cost of approximately $103,874,000. The funding sources for the proposed improvement projects include rates, water service fees and bond proceeds. Reclaimed Water The City completed King County’s Reclaimed Water Checklist and, while recognizing the value of reclaimed water, does not currently use any reclaimed water. SEPA The City completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of nonsignificance for the issuance of the Plan on January 28, 2016. There were no appeals.

| A review of the specific statutes, rules, codes and policies to the water system plan is as follows: |
| --- |
|  | A. General water plan, King County Code (KCC) 13.24.010 and 13.28 | Comments/findings |
| (1) | Review is applicable to utilities that obtain or distribute water in unincorporated King County under KCC 13.24. Is there a need to meet the consistency requirements of RCW 43.20.260? | Yes, the City distributes water in unincorporated King County and the plan is subject to King County Council approval. Yes, the Washington State Department of Health (DOH) also needs to determine consistency of the Plan under RCW 43.20.260. |
| (2) | Consistency with King County Comprehensive Plan (KCCP) and development regulations, and policies including KCC 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | Yes, the Plan is consistent. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | Yes, the City used adopted land use maps for that portion of the service area within unincorporated King County. |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility’s approved plan, and ability to meet duty to serve requirement. | The existing service area is the same as the service area adopted in the East King County Coordinated Water System Plan (CWSP) with minor adjustments. The City maintains duty to serve policies for its retail service area. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates an ability to provide service consistent with applicable statutes, codes and regulations. The City obtains its water from the regional water system. |
| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved CWSP. | The City is within the East King County CWSP and participates in the regional conservation program. |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | State and local health requirements. | Yes. |
| (8) | Creation and maintenance of logical service areas. | Yes, the service area is logical. |
| (9) | Elimination or prevention of duplicate facilities. | Yes, the City intends to provide service within its service area by means of direct connection. The City has multiple interties with neighboring utilities. |
| (10) | Promotion of most healthful and reliable services to the public. | Yes. Water purveyed by the City complies with public health standards. The water is treated and chlorinated. |
| (11) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Yes, the City's rates for water service are comparable to the rates charged by similar utilities. |
| (12) | Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (Ecology) or DOH. | No multi-basin water plans are applicable. The Plan is consistent with the East King County CWSP. |
| (13) | Applicable state water quality, water conservation, and waste management standards. | The City’s water meets applicable water quality standards. The three-year rolling average distribution system leakage is estimated at five percent, which is less than ten percent requirement established under the Municipal Water Law. |
| (14) | Water Resources Act (RCW 90.54). | The Plan makes no connection with the requirements of RCW 90.54.180 or RCW 90.03.386. The City will maintain its existing conservation (efficiency) program to comply with DOH’s Water Use Efficiency Rule. |
| (15) | Growth Management Act (GMA) (RCW 36.70A). | The City appropriately used King County land use zoning for that area of King County it serves. |
| (16) | Groundwater management plans. | Not applicable. |
| (17) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | Not discussed in Plan. |
| (18) | Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | Not discussed in Plan. |
|  | C: Countywide Planning Policies |  |
| (19) | G-4: Adopt comprehensive plans that are consistent with the Countywide Planning Policies as required by the Growth Management Act. | Yes. |
| (20) | EN-19: Promote energy efficiency, conservation methods and sustainable energy sources to support climate change reduction goals. | Not discussed in Plan. |
| (21) | DP-13: All jurisdictions shall plan to accommodate housing and employment targets. This includes coordinating water, sewer, transportation and other infrastructure plans and investments among agencies, including special purpose districts. | The City is planning to accommodate housing targets that it adopted and is using reasonable growth rates for that part of unincorporated King County that it serves. |
| (22) | PF-2: Coordinate among jurisdictions and service providers to provide reliable and cost effective services to the public. | The City coordinated its water plan with neighboring jurisdiction infrastructure plans. |
| (23) | PF-4: Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | Sufficient water supply for near-term growth is available. The City is pursuing development of new sources through the Cascade Water Alliance. Climate change is not mentioned. |
| (24) | PF-7: Plan and locate water systems in the Rural Area that are appropriate for rural uses and densities and do not increase the development potential of the Rural Area. | The City recognizes the limited growth King County is planning for in the rural area that it serves and is planning accordingly. |
| (25) | PF-8: Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | The City is a member of the Cascade Water Alliance and supports regional water source development and regional water conservation efforts. |
| (26) | PF-9: Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | The water conservation and efficiency efforts of the City meet the minimum required by state statute. |
| (27) | PF-10: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | The City discharges wastewater to the regional treatment system and recognizes the value of reclaimed water as a means to conserve and extend the useful life of the potable water supply, though it does not currently use reclaimed water. |
|  | D: King County Comprehensive Plan |  |
| (28) | F-107: With special purpose districts or local service providers, plan for provision of services to rural areas. | Not applicable as the City does not serve rural areas. |
| (29) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | Yes, the City and the County established priority areas through the capital facilities plan. |
| (30) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act and the Clean Water Act. | Yes. |
| (31) | F-209: In the Rural Area, services provided by agencies should support a rural level of development and not facilitate urbanization. | Not applicable as the City does not serve rural areas. |
| (32) | F-210: Capital facility plans and capital improvement programs for services to unincorporated King County are consistent with the KCCP. | Yes, the City’s capital facility plans and capital improvement programs for services to unincorporated King County are consistent with the KCCP. |
| (33) | F-211: King County helps coordinate development of utility facilities with other projects that utilize public rights of way and easements, where possible. | Yes, this is done. |
| (34) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable as the City did not identify an inability to meet service needs within its service area. |
| (35) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies. | Not applicable as the City did not identify an inability to meet service needs within its service area. |
| (36) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs. | The City does this with the Cascade Water Alliance. |
| (37) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the county for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service area. | Yes, the City distributes water in unincorporated King County and the Plan describes how it intends to meet its duty to provide service within its retail service area. |
| (38) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, Endangered Species Act response requirements and Clean Water Act requirements. | The City has multiple interties with neighboring utilities. |
| (39) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County’s Water Reclamation Evaluation Checklist. | Yes, the City completed King County’s Water Reclamation Evaluation Checklist. |
| (40) | F-251: In its review of water system plans, the UTRC shall consider the criteria provided in K.C.C. 13.24.010, 13.24.060, and 13.24.070, and determine the plan’s consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The county’s Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by King County, as specified in UTRC guidance or checklists. | The UTRC has reviewed the planning data and city operations and has found the plan is consistent with: the King County Comprehensive Plan, land use plans and development regulations; to the extent applicable, the basin plans, groundwater plans, watershed-based conservation and recovery plans for the service area; Regional Wastewater Services Plan as it pertains to an evaluation of reclaimed water use potential and other applicable provisions. |
| (41) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | Not applicable as the City is not changing its water service area. |
| (42) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | Not applicable. |
| (43) | F-254: Groundwater-based public water supplies should be protected by preventing land uses that may adversely affect groundwater quality or quantity to the extent that the supply might be jeopardized. The county shall protect the quality and quantity of groundwater used as water supplies through implementation of Policies E-493 through E-497 where applicable. | The City maintains four emergency wells; it is not apparent that the City has a Well Head Protection Program in place. |