| Review of the Fall City Water District 2016 Water System Plan |
| --- |
| Service Area The Fall City Water District (District) is a special purpose district that owns and operates a water system located in the central part of King County. The Water District is a municipal corporation organized under Title 57 Revised Code of Washington. The District's service area encompasses 21 square miles or 13,445 acres of land, much of which consists of steep slopes or floodplain and ranges in elevations from a low of 80 feet to a high of over 1,200 feet. The service area abuts the City of Snoqualmie service area along the southeasterly boundary and easterly boundary near Tokul Creek. The service area extends southwesterly to the top of Mitchell Hill and westerly to abut the service area of Sammamish Plateau Water and Sewer District. The service area extends northwesterly to the ridge on the westerly side of the Snoqualmie Valley to abut the Ames Lake Water Association service area boundary and northerly to the area south of Griffin Creek to abut the City of Carnation service area boundary. The District's service area includes the unincorporated Rural Town of Fall City and encompasses several existing smaller water systems including Spring Glen Water Association and Spring Glen Mobile Home Park. Origins of the current community water system began in the early 1920's, when approximately 35 users formed the Fall City Water Company. A surface water source was developed on the hillside to the northeast of Fall City, and a six-inch water main extended to the downtown area. Four-inch and two-inch water mains were placed in the main part of town and out to the farming areas. A 6-inch water main was installed in the downtown area in about 1950 and a well was drilled near the downtown area in 1959. In 1962, a second well was drilled adjacent to the first well. The Water Company applied for and received water rights from the State of Washington for all of its water sources. System Description The District acquired the water system facilities and water rights of the Water Company and began operation in early 1981. Currently the District has 1,117 accounts, 2,967 people or 1,099 residential Equivalent Residential Units (ERUs). Commercial/governmental/industrial ERU connections account for 134 ERUs with the total ERUs of 1,233. The District has seven wells, approximately twenty-six miles of water mains and 924,585 gallons of storage. The District’s Capital Improvement Plan recommends improvements totaling approximately $4,229,328 over a ten-year period. The improvements will be financed through a low interest rate loan, connection charges and capital project fees. If revenue or funding does not occur as anticipated, then the District may defer its ten-year capital improvement schedule into the next ten years. Reclaimed Water The District completed King County’s Water Reclamation Evaluation Checklist. SEPA The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency under SEPA, issued a determination of nonsignificance for the approval of the Plan on May 1, 2017. There were no appeals. |
|  | A. General, water and sewer plan specific King County Code (KCC) 13.24.010 | Comments/findings |
| (1) | RCW 57.16.010 requires that general comprehensive plans by special purpose districts be submitted to, and approved by, the legislative authority within whose boundaries all or a portion of a utility lies. The King County Code is applicable to water utilities that obtain or distribute water in unincorporated areas of King County. | The District is authorized under chapter 57.16 RCW and so review and approval of the plan by Council is required by statute. The District also distributes water in unincorporated areas of King County so review and approval under the King County Code is applicable. |
| (2) | Water system plans should be submitted every six years or sooner if required by the Washington State Department of Health (DOH). | The District’s last water plan was submitted in 2008. The District submitted the Plan to the DOH and is seeking state approval of the Plan. |
| (3) | The infrastructure for existing and future service areas based on adopted land use map. | Yes, the infrastructure for existing and future service area is based on the adopted land use map. |
| (4) | The Plan contains sufficient information to demonstrate the ability to provide services consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates that the District has ample water supply to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. |
| (5) | The Plan is consistent with Washington Administrative Code (WAC) 246-290-100 for the water service. | Yes, the Plan is consistent with the applicable rules. |
|  | B. Consistency requirements: 13.24.060 |  |
| (6) | King County Code related to the installation of fire hydrants and water mains. | Yes, the Plan proposes to provide adequate fire flow for the service areas. |
| (7) | State and local health requirements. | The Plan has not yet been approved by DOH. The UTRC review process included a representative of Public Health-Seattle and King County. |
| (8) | Elimination or prevention of duplicate facilities. | Six water purveyors border the District. Adjacent purveyors include: The City of Snoqualmie, located to the southeast; King County Water District No. 123 (Preston) and the Preston Industrial Park to the south; Sammamish Plateau Water and Sewer District to the west; Ames Lake Water Association to the northwest; and the City of Carnation to the north. Several small private water systems are located within the District's service area, including Spring Glen Water Association and the Spring Glen Mobile Home Park. The District recognizes and supports agreements with other water purveyors to promote effective conveyance of water supplies and to secure adequate supplies for emergencies but does not have any interties with neighboring systems. The District and neighboring utilities work together in order to avoid overlapping jurisdiction and to ensure efficiency in the use of existing facilities. |
| (9) | Promotion of most healthful and reliable services to the public. | Yes. |
| (10) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Currently, the District charges a rate that is in the affordable range. |
|  | C. King County Comprehensive Plan (KCCP) – consistency with provisions and specific policies. |  |
| (11) | Consistency with the KCCP and applicable County plans and policies including the Flood Hazard Management Plan and Emergency Response Plan. | Yes, the Plan is consistent with the applicable comprehensive plans and policies. |
| (12) | Consistency with the Coordinated Water System Plans adopted in KCC 13.28. | Yes, the Plan is consistent with the East King County Coordinated Water System Plan. The District does not expect to expand its service area. |
| (13) | Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology or the Washington State Department of Health. | The District acknowledges salmon recovery priorities and the relevance of Endangered Species Act listings. |
| (14) | Applicable state water quality, water conservation (e.g., chapter 90.54 RCW and RCW 90.48.495), and waste management standards. | The District’s water use efficiency report for 2016 reports a negative 3.3 percent of water loss of total water produced. The District believes there is a source meter problem and replaced the source meter on Well 2 in 2016. The District’s water use efficiency goal is to maintain residential yearly average use at 218 gallons and two times that for non-residential connections. In 2016 the District averaged 172 gallons per day per residence and non-residential connections were 364 gallons per day. |
| (15) | Growth Management Act; chapter 36.70A RCW. | Yes, the Plan is consistent with the Growth Management Act. See specific policies below. |
| (16) | Groundwater Management Plans. | No applicable groundwater management plan is in place. The District will submit its Wellhead Protection Program to King County and those areas will be reflected in the comprehensive plan and the critical aquifer recharge areas. |
| (17) | Federally-approved habitat conservation plans and recovery plans under Endangered Species Act, and other plans, including regional water supply or water resource management plans. | There is no applicable regional water supply plan. |
| (18) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | Yes, the District evaluated reclaimed water use opportunities and found there to be none for the following reasons: no access to sewers and therefore, the District does not have access to reclaimed water; adjacent sewer districts are miles away and the cost to build transmission piping to deliver reclaimed water greatly outweigh reclaimed water savings; and too few large non-potable water users and those that exist are seasonal water uses. |
| (19) | State Environmental Policy Act documentation. | The District completed a SEPA checklist and issued a determination of nonsignificance for approval of the plan on May 1, 2017, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (20) | DP‐13: All jurisdictions shall plan to accommodate housing and employment targets. This includes: “Coordinating water, sewer, transportation and other infrastructure plans and investments among agencies, including special purpose districts;…”. | Yes, the District does this. |
| (21) | PF‐4: Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | The District states water supply will support anticipated growth. The Plan does not discuss climate change impacts on water supply. |
| (22) | PF‐5: Support efforts to ensure that all consumers have access to a safe, reliably maintained, and sustainable drinking water source that meets present and future needs. | Yes, the District does this. |
| (23) | PF‐6: Coordinate water supply among local jurisdictions, tribal governments, and water purveyors to provide reliable and cost‐effective sources of water for all users, including residents, businesses, fire districts, and aquatic species. | The District has discussions with neighboring water purveyors regarding utility coordination. |
| (24) | PF‐7: Plan and locate water systems in the Rural Area that are appropriate for rural uses and densities and do not increase the development potential of the Rural Area. | The District serves the rural area at an appropriate level. |
| (25) | PF‐8: Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | The District has mutual aid agreements with neighboring utilities. |
| (26) | PF‐9: Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | Yes, the District does this to the extent required by law. |
| (27) | PF‐10: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | The District completed King County’s Water Reclamation Evaluation Checklist. |
|  | KING COUNTY COMPREHENSIVE PLAN (KCCP) POLICIES |  |
| (28) | F-107: Plan for provision of services to rural areas. | The District appropriately plans for service to the rural area. |
| (29) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The District’s capital improvement program (CIP) has sufficient funding based on its current rate structure. |
| (30) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act (ESA) and the Clean Water Act. | Yes, to the extent known, facilities and service are provided consistent with the federal laws. |
| (31) | F-209: Support rural levels of development and not facilitate urbanization. | Yes, the District supports rural levels of development and does not facilitate urbanization. |
| (32) | F-210: Capital facility plans and improvement programs for services to unincorporated King County are consistent with the KCCP. | The District’s capital facility plan is consistent with the KCCP. |
| (33) | F-211: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (34) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (35) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies reuse programs. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (36) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs. | Yes, the District supports regional water coordination. |
| (37) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the County for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service areas. | The District is a special purpose district authorized under Title 57 RCW and so review and approval of the plan by the County is appropriate. The District also distributes water in unincorporated areas of King County so review and approval under the King County Code is applicable. The District did describe service area policies for its retail service area. |
| (38) | F-248 King County shall partner with utilities to publicize water conservation and encourage best management practices that conserve potable water supply through measures that include use of alternative supplies such as reclaimed water. | Yes, the County will do this. |
| (39) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, and response requirements of ESA and Clean Water Act. | The Plan is consistent with the East King County Coordinated Water System Plan. |
| (40) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County’s Water Reclamation Evaluation. | The District did an evaluation of reclaimed water use; near-term use of reclaimed water is not expected within this Plan. |
| (41) | F-251: In its review of water system plans, the UTRC shall consider the criteria provided in KCC 13.24.010, 13.24.060, and 13.24.070, and determine the plan’s consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The County’s Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by King County, as specified in UTRC Guidance or checklists. | The UTRC did consider these issues and recommends approval of the Plan. |
| (42) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | The District is not planning to change its service area boundaries. |
| (43) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | Not applicable. |
| (44) | F-254: Groundwater-based public water supplies should be protected by preventing land uses that may adversely affect groundwater quality or quantity to the extent that the supply might be jeopardized. The County shall protect the quality and quantity of groundwater used as water supplies through implementation of Policies E-493 through E-497 where applicable. | The District’s Wellhead Protection Program will be submitted to King County and be reflected in the critical areas ordinances in the future. |