## STAFF REPORT

| Agenda Item: | 19 | Name: | Terra Rose |
| --- | --- | --- | --- |
| Proposed No.: | 2018-0071 | Date: | March 6, 2018 |

SUBJECT

An ordinance that would approve the City of Pacific Water System Plan dated August 2017.

SUMMARY

Proposed Ordinance 2018-0071 would approve an update to the City of Pacific Water System Plan (Plan), meeting the requirement for a water utility to obtain or distribute water in unincorporated King County.

BACKGROUND

The City of Pacific owns and operates a water system located in southwestern King County with a part of the city located in northwest Pierce County. The water service area includes areas inside and outside of the current city limits with a small population located on the western side of the city that is served by the Lakehaven Water District.

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of water and sewer comprehensive plans and related matters, and to determine whether the plan:

- is consistent with the King County Comprehensive Plan,

- is consistent with local comprehensive plans,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of KCC Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

Additionally, King County has adopted a Comprehensive Plan that includes policies F-101 through F-254, the applicable portions of which address water policies for facilities and services, calling for consistency with other adopted plans, pursuit of reclaimed water, water conservation, and protection of water resources.

UTRC ANALYSIS OF THE CITY OF PACIFIC’s Water System Plan

The UTRC finalized its review of the Plan in November 2017.  The UTRC found the Plan meets the requirements of KCC chapter 13.24 and has recommended its approval.  Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area:  The City of Pacific owns and operates a water system located in southwestern King County with a part of the city located in northwest Pierce County. The area of the City is approximately 1,587 acres with 421 of these acres in Pierce County. As of December 2014, the City served an estimated population of 6,990 through 1,985 service connections.

Supply:  The City of Pacific’s municipal water facilities include three active wells, a 750,000-gallon reservoir, a 3,500 gallons-per-minute booster pump station, and approximately thirty miles of distribution pipe. The City holds two primary water rights and one supplemental water right for the well field, which allow for a cumulative withdrawal of 2,000 gallons per minute, not to exceed 2,080 acre-feet per year for municipal and domestic supplies. Total annual water use within the district over the last six years has fluctuated between a low of approximately 179,000,000 and a high of approximately 199,000,000 gallons per year. The UTRC review indicates that the Plan demonstrates ample water supply to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations.

Growth: The Plan indicates that existing water rights will provide adequate water supply for the next twenty years and beyond and that well levels will be monitored and recorded on a regular basis.  The Plan does not discuss climate change impacts on water supply.

System Improvements:  The City’s capital improvement plan (CIP) recommends improvements totaling approximately $4.6 million over the next six year. The UTRC considers the CIP adequate and appropriately focused to meet anticipated facility and service needs.

SEPA:  The City completed a State Environmental Policy Act (SEPA) checklist for the Plan and issued a determination of non-significance for the Plan on February 24, 2017. There were no appeals.

ATTACHMENTS

- Proposed Ordinance 2018-0071 (attachments available in the Clerk’s office)

- Transmittal Letter

- Fiscal Note

- UTRC Review Matrix