## STAFF REPORT

| Agenda Item: | 7 | Name: | Mike Reed |
| --- | --- | --- | --- |
| Proposed No.: | 2018-B0080 | Date: | May 2, 2018 |

SUBJECT

The Washington Department of Ecology’s Puget Sound Nutrients Source Reduction Project, and its relationship to King County wastewater treatment facilities.

SUMMARY:

The Washington Department of Ecology has undertaken extensive analysis and review in considering appropriate approaches to its responsibilities for managing discharge of nutrients into Puget Sound, consistent with the requirements of the federal Clean Water Act.  Ecology is seeking input from concerned parties as it proceeds with developing a management strategy regarding nutrient control.  King County’s operation of two of the largest wastewater treatment plants discharging into Puget Sound raise this as a topic of concern for the Regional Water Quality Committee, which has included the control of nutrients on its annual workplan for the past two years.

BACKGROUND:

The Washington Department of Ecology is currently engaged with a Puget Sound Nutrients Source Reduction Project, intended to analyze and respond to the impacts of excessive nutrient discharges on marine biota in Puget Sound.  Monitoring of marine waters by Ecology has led the agency to conclude that the water quality of Puget Sound is changing as the result of excessive levels of nutrients from human sources.  Ecology notes that monitoring data has identified many places throughout the Sound where levels of dissolved oxygen—critical for marine biota—are limited.

What are Nutrients?  How do they contribute to oxygen depletion?

Nutrients are chemicals such as nitrogen and phosphorous that stimulate the growth of plant life—either on land or in the water. As an example, many homeowners will be familiar with the three-number rating system on lawn fertilizers—15-15-15, or 21-7-14, for example.  The first of these numbers is the percentage of nitrogen that the fertilizer is composed of; the second is the percentage of phosphorous (the third is potassium).  The presence of nitrogen in lawn fertilizer leverages its utility as a stimulant for growth in green plants.  This is one example of the numerous sources of nitrogen and phosphorous that are present in human environments; human and animal waste are other major sources of nitrogen, as are agricultural wastes, atmospheric deposition, urban runoff, and wastewater treatment plant effluent.

Nitrogen and phosphorous are considered nutrients, in that they function to stimulate the growth of green plant material.  In the marine environment, nitrogen encourages the growth of algae.  While nitrogen is a critical element in the cycle of marine life, excessive levels can lead to uncontrolled growth, such as large algae blooms covering extensive areas of water surfaces.  When this algae dies, it sinks to the bottom of the water column; there, bacteria work to decompose it, consuming available oxygen in the process, and depriving the water of oxygen needed by marine life.

The federal Clean Water Act requires that states develop a plan to address polluted waters.  Washington’s Ecology Department has been delegated authority by the federal Environmental Protection Agency to implement the federal Clean Water Act in Washington.

Chesapeake Bay Nutrients Management Example:  Total Maximum Daily Load

Management of nutrient impacts has been the subject of federal and state action elsewhere in the nation.  In 2010, the federal Environmental Protection Agency (“EPA”) established the Chesapeake Bay Total Maximum Daily Load (“TMDL”), as tool for defining maximum pollution limits Bay-wide, and allocating pollution discharge amounts within those limits.  This followed extensive restoration efforts during the prior 25 years, which did not result in sufficient progress towards improvements in water quality, and triggered a federal Clean Water Act mandate for the TMDL.  It also responded to a Presidential Executive Order to restore and protect Chesapeake Bay.

The TMDL set watershed limits of 185.9 million pounds of nitrogen, 12.5 million pounds of phosphorous, and 6.45 billion pounds of sediment per year, across jurisdictions with discharges into the Chesapeake Bay, including Delaware, Maryland, New York, Pennsylvania, Virginia, West Virginia and the District of Columbia.  Watershed Implementation Plans (“WIP”) were established for the various jurisdictions defining how they would achieve the discharge reductions required for the TMDL allocations.

The Chesapeake Bay project is being supported by a number of federal and other funding resources.  The Clean Water Act’s Section 319 Nonpoint Source Management Program has provided grant funds to various water pollution control projects since 1990; in 2017, $167.9 million in Section 319 grants was allocated for nonpoint source projects at various locations across the nation.  Additionally, the Clean Water State Revolving Fund, established by the 1987 amendments to the Clean Water Act, is a financial assistance program for water infrastructure projects including municipal wastewater treatment plants, defined under 33 US Code Sect.1383.  These funds are provided in partnership with state resources.  Through 2017, building on a federal investment of $42 billion, state Clean Water Act Revolving Funds have provided more than $126 billion to communities through 2017.   It is acknowledged that historic funding through these and other sources does not indicate future levels of federal funding availability or support.

Wastewater facilities have been a particular point of focus in the Chesapeake Bay project.  According to the EPA, upgrades and operational efficiencies at wastewater treatment plants throughout the Chesapeake Bay watershed have resulted in steep reductions in nitrogen and phosphorous pollution.  From 1985 through 2015, the wastewater sector cumulatively prevented over 900 million pounds of nitrogen and phosphorous pollution from entering the Bay’s tributaries, reducing nitrogen in the Bay by 57% and phosphorous by 75%.  In 2015, annual progress in the wastewater sector effectively met its 2025 nutrient pollution limits set the Chesapeake Bay TMDL. The 472 municipal and industrial wastewater treatment plants in the Chesapeake Bay watershed were designated as significant sources by states and the EPA, and have annual nutrient pollutant limits in their NPDES permits, providing legally enforceable assurances that pollutant reductions will be achieved.  Continuing investments in advanced wastewater treatment have exceeded $7 billion in the Bay watershed. These successes have been helped by state laws setting limits on the amount of phosphorus in consumer cleaning products, including laundry and dishwasher detergents—preventing watershed homes from sending significant amounts of phosphate pollutants to local wastewater plants.

Washington Department of Ecology Study 2014:  Puget Sound and the Straits Dissolved Oxygen Assessment

Attention to the control of nutrients into Puget Sound has been growing in Washington State.  The Washington Department of Ecology, participating with the Pacific Northwest National Laboratory, in 2014 published a report addressing the relationship of nitrogen discharges to levels of oxygen.  The “Puget Sound and the Straits Dissolved Oxygen Assessment: Impacts of Current and Future Nitrogen Sources and Climate Change through 2070”, summarizes current and future impacts of human nutrient loads, Pacific Ocean conditions, and climate change on dissolved oxygen levels in the Salish Sea.  The geographic focus of the study was beyond Puget Sound specifically, and focused on the larger Salish Sea—including Puget Sound, the Strait of Juan de Fuca, and the Strait of Georgia in British Columbia. The authors note that, while Puget Sound—defined as the waters south of Admiralty Inlet—is the area of primary interest, Puget Sound is connected to the Strait of Juan de Fuca and the Strait of Georgia, and cannot be considered in isolation—so the analysis includes all major U.S. and Canadian influences on circulation and water quality in the Salish Sea. Among the determinations of the Report:

- Human sources of nitrogen discharging into the Salish Sea—distinct from natural sources--have the greatest impacts on dissolved oxygen in South and Central Puget Sound. Between marine point sources—primarily wastewater treatment plants, with limited numbers of industrial outfalls—and watershed inflows, the marine point sources cause greater decreases of dissolved oxygen levels than watershed inflows—both of which will increase with increasing population growth.

- Strong influences on dissolved oxygen result from Pacific Ocean inflows; North Pacific dissolved oxygen concentrations have been declining for 50 years—and if those trends continue, Salish Sea dissolved oxygen would decline far more from ocean inflows than from human nutrient loads.

- Nitrogen naturally occurs in rivers and streams entering marine waters, but human activities have increased nitrogen loads above naturally occurring levels.   Natural nitrogen concentrations in rivers are governed by nitrogen concentrations in rainfall and processes within a forested watershed.  These baseline conditions are impacted if regional air emissions alter rainfall nitrogen concentration, or if forested areas are converted to other developed land uses.  In a watershed, human contributions include point source discharges, including wastewater treatment plants.  Nonpoint sources from developed lands also increase human contributions above natural levels.

- In the U.S. (excluding plants serving Vancouver, Victoria and other Canadian communities) 78 municipal wastewater treatment plants and 10 industrial facilities discharge treated effluent through outfalls to Puget Sound and the Straits.  Water volumes from wastewater plants are small compared to inflows from watersheds; however, municipal wastewater treatment plant effluent contains higher concentrations of nitrogen compared to inputs from rivers and streams.  Industrial plant discharges generally have lower nitrogen concentrations than municipal wastewater plants.

- The population served by the 78 municipal WWTPs serving the U.S. portion of the Salish Sea will double by 2070, from 4.2 million served currently to 7.8 – 8.8 million served by the year 2070. Compared to current flows from these 78 municipal WWTPs (320 mgd), future flows are projected to grow to 390 to 400 mgd by 2020 and 570 to 660 mgd by 2070.  With this doubling of population, marine point source loads of nitrogen would increase by an additional 47,200 kg/d discharging to Puget Sound and the Straits. Land use changes would increase nitrogen loads by 31,300 kg/d by 2070 compared with current conditions due to the conversion of forested land to developed land such as residential and agricultural uses.

- For assessed Salish Sea plants, current median dissolved inorganic nitrogen (“DIN”) concentrations in municipal wastewater treatment plant (“WWTP”) effluent for plants >10 mgd is 24 mg/L. This is three times greater than the 8 mg/L concentrations that can be achieved by upgrading to BNR treatment. Assuming no change to current treatment technology, dissolved inorganic nitrogen loads discharged into marine waters would roughly double from 33,000 kg/d today to 55,000 to 65,000 kg/d by 2070.

- Maximum 2070 load predictions under the High population projection with no change to treatment technology represent a 93% increase in DIN loads from current conditions. Even with the High population projection for 2070, WWTP loads could decrease by 42% compared with current conditions if all WWTPs upgrade to nutrient removal technology.

- Current industrial effluent flows into the Salish Sea currently contribute 49 mgd, or about 11% of the total flow from all point sources into U.S. Salish Sea waters. Dissolved inorganic nitrogen load contributions from industrial facilities, however, are much lower, and contribute 220 kg/d, less than 1% of the DIN load from U.S. Salish Sea point sources.

- Compared with natural conditions, current human contributions cause the largest average depletion in South Puget Sound and the southern end of Central Puget Sound. Regional depletions range up to 0.1 mg/L. Whidbey Basin and northern Central Puget have the next highest impacts. Average regional dissolved oxygen (“DO”) declines by up to 0.04 mg/L in Hood Canal and the Strait of Georgia. The lowest impacts are in the Strait of Juan de Fuca and northern Strait of Georgia. Current sources produce <0.02 mg/L depletions in the shallow regions of South Puget Sound inlets, Sinclair and Dyes Inlets, northern Whidbey Basin, and Bellingham Bay.

- The combination of current marine point sources and watershed inflows from the U.S. and Canada into the Salish Sea cause the greatest impacts in South and Central Puget Sound. The largest U.S. population centers occur around Central Puget Sound and discharge treated wastewater to deep waters. Central Puget Sound sources contribute over 70% of the nitrogen load from Puget Sound marine point sources. The net circulation pattern is landward, which transports some proportion of water from these marine point sources through the Tacoma Narrows and into South Puget Sound. Marine point source discharges from other large population centers in the U.S. and Canada occur closer to the Pacific Ocean boundary where residence time is shorter.

- Watershed inflows deliver nitrogen loads to the surface layers where algae growth occurs. Marine point sources generally discharge to the lower water column, especially the largest wastewater plants, where effluent mixes with water below where most algae grow. Outfalls are designed to maximize mixing and to trap plumes in lower layers to minimize local impacts. However, nutrients from the lower water column can reach surface waters through vertical mixing, particularly at sills such as the Tacoma Narrows and Admiralty Inlet. Marine point sources appear to have a diffuse impact on surface water nitrogen levels that increases algae growth and decomposition, drawing down lower water column oxygen levels. The impacts are greater than those caused by human sources within watershed inflows.

Chart 1:  Distribution of Sources of Dissolved Inorganic Nitrogen into Salish Sea

Nitrogen Load Allocation among Puget Sound Wastewater Plants

King County operates three regional wastewater treatment facilities—the West Point Treatment Plant, the South Treatment Plant, and the Brightwater Treatment Plant.  West Point and South are among the larger facilities serving the Puget Sound population.  Among 69 plants reviewed by Ecology with marine discharge in the greater Puget Sound area, 10 plants serve around 80% of the total population connected to a central sewer collection system (Attachment 2).  Most of these are connected to West Point (26%) of the population total and South Plant (21% of the population total).  As shown in the chart below, West Point and South Plant generate over half (52%) of the total Kjeldahl nitrogen load.

Chart 2:  Allocation of Nitrogen Load among Puget Sound Wastewater Plants

Washington Water Quality Standards—Nutrients

The water quality standards established by WDOE include provisions for the minimum concentrations of dissolved oxygen needed to protect aquatic life.  The standards vary by basin. Most U.S. waters of the Salish Sea have the most protective “Extraordinary” water quality requirements to protect aquatic life with a minimum dissolved oxygen concentration of 7.0 mg/L. Several bays and inlets have a lower “Excellent” standard to protect aquatic life where dissolved oxygen must be >6.0 mg/L. Urban bays must maintain minimum concentrations above 5.0 mg/L to protect “Good” aquatic life uses. If a water body is naturally lower in oxygen than these thresholds, then the combined effects of all human activities must not cause the naturally lower oxygen to decrease by more than 0.2 mg/L.

Nitrogen Control at West Point WWTP:  the 2011 Corolla Study

In March, 2011, Carolla Engineers completed the Final Report on a study contracted with the King County Wastewater Treatment Division, entitled “Assessment of Potential Nitrogen Removal Technologies at the West Point Treatment Plant and their Impact on Future Water Reuse Program Development”.  That 2011 study, also referred to as the West Point Nitrogen Removal Study, was a followup to a similar Carolla study on nitrogen removal at the County’s South Treatment Plant, completed the previous year.  The studies were prepared in light of increasing attention by the region and the Washington Department of Ecology to the impacts of nitrogen discharges in wastewater effluents in Puget Sound.  The study noted, in particular, constructability, process, footprint and cost challenges associated with development of nitrogen control features at West Point.

“This study demonstrates that the only processes that could potentially fit within the footprint of available land area at the WPTP site are those that require demolition of major portions of the existing secondary treatment plant. Furthermore, even with the important criterion of avoiding stranded assets not considered, the planning level evaluation has been unable to conclusively confirm that construction of new facilities at WPTP for NR (nitrogen removal) of the entire 139 mgd summer flow or the entire 215 mgd annual average flow is feasible. Much more detailed evaluation is required to reach this conclusion. This study demonstrates that it may be possible to fit the necessary process tanks on the WPTP site to achieve a 3 milligrams per liter (mg/L) total inorganic nitrogen (TIN) (year round) limit. Once more detailed studies are completed, it may be concluded that implementation of NR at the WPTP site would be practically limited due to constructability and site access constraints, including most significantly the need to maintain reliable operation during construction. In this case, the WPTP capacity would be significantly reduced, creating the need for new facilities at another site.”

The 2011 study summarizes findings and conclusions, presented below;

Two potential nitrogen removal permit requirements were evaluated to bracket potential permit limits that could be applied by the Department of Ecology in response to South Puget Sound water quality studies: 1) a “least stringent” potential effluent limit of 8 mg/L TIN for the summer months only; and 2) a “most stringent” potential limit of 3 mg/L TIN year round. The principle findings and conclusions of this report are:

1. The modeled maximum month capacity of the current WPTP to meet the “least stringent” summer effluent limit was estimated at 47 mgd. Major modifications would be needed to meet this capacity, including construction of a new treatment plant at a different site to treat the remainder of the summer maximum month flow (approximately 92 mgd). If land designated for future expansion were used, this capacity would increase to approximately 61 mgd and approximately 85,000 ppd of BOD5, reducing the amount of supplemental capacity needed to about 78 mgd.

2. The modeled maximum month capacity of the current WPTP to meet, with modifications, the “most stringent” year round effluent limit was 44 mgd. Major modifications that would be needed to meet this capacity, including construction of a new treatment plant to treat the remainder of the flow (approximately 171 mgd). If land designated for future expansion were used, this capacity would increase to approximately 61 mgd and approximately 64,000 ppd of BOD5, reducing the amount of supplemental capacity needed to about 154 mgd.

3. Three initial alternatives for NR were evaluated for each permit scenario. Based on evaluation of initial alternatives none were judged able to meet requirements for NR within the land area available for future expansion at the WPTP site. Subsequently, alternatives that require demolition of existing process tanks were developed. Two alternatives: Replacement MBR; and Replacement BAF/DNF, were judged to be potentially feasible at the WPTP. Both alternatives present significant constructability challenges that must be identified and resolved through further analysis. Of these two alternatives, replacement MBR was selected to be the representative alternative for achieving NR at the WPTP.

4. The incremental present worth cost to implement the representative NR alternative is estimated at approximately $1,500 million, as compared to continued operation of secondary treatment with the existing HPO process over the next twenty years.

5. It was concluded that meeting a 3 mg/L TIN year round permit level would result in approximately three times more GHG emissions compared to continuing with secondary treatment at the WPTP.

Regulatory Agency Pressure to Act

Both the federal Environmental Protection Agency and the Washington Department of Ecology have encountered pressure to move forward with measures to control discharge of nutrients into national and state waters.  In August, 2009, the U.S. Environmental Protection Agency Office of the Inspector General issued an Evaluation Report entitled “EPA Needs to Accelerate Adoption of Numeric Nutrient Water Quality Standards”  The Inspector General’s Office found that

EPA’s 1998 National Strategy and Plan to promote State adoption of nutrient

water quality standards (which better protect aquatic life and human health) has

been ineffective. In 1998, EPA stated that a critical need existed for improved

water quality standards, given the number of waters that were impaired from

nutrients. In the 11 years since EPA issued its strategy, half the States still had no

numeric nutrient standards. States have not been motivated to create these

standards because implementing them is costly and often unpopular with various

constituencies. EPA has not held the States accountable to committed milestones.

The current approach does not assure that States will develop standards that

provide adequate protection for downstream waters. Until recently, EPA has not

used its Clean Water Act authority to promulgate water quality standards for

States.

EPA cannot rely on the States alone to ensure that numeric nutrient standards are

established. EPA should prioritize States/waters significantly impacted by excess

nutrients and determine if it should set the standards. EPA also needs to establish

effective monitoring and measures so that accurate program progress is reported.

This will assist EPA management in program decision-making.

We recommend that the Assistant Administrator for Water:

- Select significant waters of national value which need numeric nutrient

water quality standards to meet the requirements of the Clean Water Act.

- Set numeric nutrient water quality standards for the waters identified in

the first recommendation to meet the requirements of the Clean Water

Act.

- Establish EPA and State accountability for adopting numeric nutrient

standards for the rest of the Nation’s waters.

- Establish metrics to gauge the actual progress made by the States.

The Washington Department of Ecology has also been the subject of pressure to act.  In 2017, Northwest Environmental Advocates petitioned Ecology to launch a “Total Maximum Daily Load” study immediately, and asserted that the agency should limit releases of nitrogen from sewage treatment plants that discharge into Puget Sound.  Ecology denied the petition for a TMDL, indicating that it does not have sufficient information to begin the process.  In the letter, Ecology indicated,

“Although Ecology has decided to deny your petition, we share many of your concerns regarding nutrient impacts in Puget Sound.  Further, Ecology agrees that Puget Sound is impared by nutrient pollution and that a TMDL may be necessary to address this impairment.”

ANALYSIS:

The Washington Department of Ecology has undertaken extensive analysis of the sources of, and impacts of, nutrient discharge into Puget Sound.  While there are a number of major sources, wastewater treatment plants appear to be among the major human-driven generators, and King County’s plants appear to be among the larger generators within the community of Puget Sound wastewater plants.

Upland sources also generate significant nutrient volumes, and the Pacific Ocean contributes large volumes to the overall load of nitrogen in particular.

Other parts of the country have moved forward with efforts to control nutrient discharges into waters of national significance; jurisdictions surrounding Chesapeake Bay, in particular, have made notable progress in reducing discharge of nutrients, federal financial assistance.

Given the limited footprint of the West Point Treatment Plant, development and operation of nitrogen discharge reduction mechanisms is expected to be particularly challenging.

The issue of nutrient control has been on the workplan of the Regional Water Quality Committee for a number of years.  Today’s briefing by the Washington Department of Ecology will provide context for anticipated state efforts to limit nutrient discharges into the Sound.  Mechanisms and strategies for managing discharges have not yet been specified.  It is anticipated that Ecology will encourage involvement in discussions of strategic direction by generators of nutrient discharges who may be effected by efforts to control nutrient discharges.

ATTACHMENTS:

- Introduction:  Puget Sound and the Straits Dissolved Oxygen Assessment—Impacts of Current and Future Human Nitrogen sources and Climate Change Through 2070   March 2014

- WDOE Memorandum—Relative N and P Loading Among Major Wastewater Treatment Plants Discharging to Puget Sound  December 7, 2016

INVITED:

- Heather Bartlett, Water Quality Program Manager, Washington Department of Ecology

https://www.epa.gov/chesapeake-bay-tmdl/wastewater-pollution-reduction-chesapeake-bay-watershed

http://uscode.house.gov/view.xhtml?req=granuleid:USC-prelim-title33-section1383&num=0&edition=prelim

https://www.epa.gov/chesapeake-bay-tmdl/wastewater-pollution-reduction-chesapeake-bay-watershed

https://www.epa.gov/sites/production/files/2016-06/documents/wastewater_progress_report_06142016.pdf

https://fortress.wa.gov/ecy/publications/SummaryPages/1403007.html

https://fortress.wa.gov/ecy/publications/documents/0610091.pdf   P 19 (i) When a water body's D.O. is lower than the criteria in Table 210 (1)(d) (or within 0.2 mg/L of the criteria) and that condition is due to natural conditions, then human actions considered cumulatively may not cause the D.O. of that water body to decrease more than 0.2 mg/L.

https://www.kingcounty.gov/~/media/services/environment/wastewater/resource-recovery/docs/West_Point_Nitrogen_Removal_Study.ashx?la=en

“EPA Needs to Accelerate Adoption of Numeric Nutrient Water Quality Standards” Report No. 09-P-0223, August 26, 2009 EPA Office of Inspector General

https://www.eopugetsound.org/magazine/is/nutrients