| Review of the King County Water District No. 125 2016 Water System Plan |
| --- |
| Service Area The King County Water District No. 125 (District) is a special purpose district that owns and operates a water system located in the central part of King County. The District is a municipal corporation organized under Title 57 Revised Code of Washington (RCW). The District's service area consists of approximately 6,075 acres of land located north and east of the Sea-Tac International Airport and just south of the City of Seattle, King County, Washington. The service area is generally bounded on the south by South 160th Street, on the north by the Duwamish River, on the east by Beacon Avenue South and on the west by Des Moines Way South. The service area is surrounded by the service areas of neighboring water purveyors and is not expected to change. The District serves within the corporate limits of the cities of SeaTac, Burien, and Tukwila, and the eastern portion of the District is located within unincorporated King County. Recent changes within the service area include the expansion of Sea-Tac International Airport on the west side of the District and a small service area exchange with the City of Tukwila as discussed in the Skyway Coordinated Water System Plan (CWSP). King County Water District No. 125 is comprised of three former water districts: King County Water Districts No. 35, 38, and 43. In 1975, Water Districts No. 35 and 38 merged to form an enlarged Water District 38. Water Districts No. 38 and 43 consolidated two years later to form the existing King County Water District No. 125. System Description The District maintains seven metered connections with the City of Seattle for its primary source of supply and maintains a contract with the City of Seattle, which runs through the year 2062. As of 2015, the District served a population of approximately 11,855 people through an estimated 3,329 water service connections (6,612 Equivalent Residential Units or ERUs). Commercial/governmental/industrial ERU connections account for 1,274 ERUs. The District is part of a consortium of water districts in the vicinity of its service area, which owns a six-million-gallon water storage reservoir. The reservoir is located within King County Water District 20’s service area. Joint ownership is shared among King County Water District Nos. 20, 125, and 45 and the storage is divided by percentage of shares. The District owns a 25 percent share of the reservoir, or 1.5 million gallons of the total storage capacity. The District and Skyway Water & Sewer District have a joint use reservoir in the eastern portion of the District, located on Skyway Hill. The reservoir provides a total of 1.3 million gallons of storage at a hydraulic grade line of approximately 461 feet. The District has a 25 percent share of the reservoir, or approximately 325,000 gallons, although additional storage is available in an emergency. The District’s Capital Improvement Plan recommends improvements totaling approximately $7,800,000 over a six-year period. The improvements will be financed through a low interest rate loan, connection charges and capital project fees. If revenue or funding does not occur as anticipated, then the District may delay its capital improvement schedule. Reclaimed Water The District completed King County’s Water Reclamation Evaluation Checklist. SEPA The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency under SEPA, issued a determination of nonsignificance for the approval of the Plan on February 10, 2017. There were no appeals. |
|  | A. General, water and sewer plan specific King County Code (KCC) 13.24.010 | Comments/findings |
| (1) | RCW 57.16.010 requires that general comprehensive plans by special purpose districts be submitted to, and approved by, the legislative authority within whose boundaries all or a portion of a utility lies. The King County Code is applicable to water utilities that obtain or distribute water in unincorporated areas of King County. | The District is authorized under chapter 57.16 RCW and review and approval of the Plan by Council is required by statute. The District also distributes water in unincorporated areas of King County so review and approval under the King County Code is applicable. |
| (2) | Water system plans should be submitted every six years or sooner if required by the Washington State Department of Health (DOH). | The District’s last water plan was submitted in 2010. Washington State Department of Health approval is pending upon King County’s approval of the plan. |
| (3) | The infrastructure for existing and future service areas based on adopted land use map. | Yes, the infrastructure for existing and future service area is based on the adopted land use map. |
| (4) | The Plan contains sufficient information to demonstrate the ability to provide services consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates that the District has ample water supply to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. |
| (5) | The Plan is consistent with Washington Administrative Code (WAC) 246-290-100 for the water service. | Yes, the Plan is consistent with the applicable rules. |
|  | B. Consistency requirements: 13.24.060 | Comments/findings |
| (6) | King County Code related to the installation of fire hydrants and water mains. | Yes, the Plan proposes to provide adequate fire flow for the service areas. |
| (7) | State and local health requirements. | The Plan has not yet been approved by DOH. The UTRC review process included a representative of Public Health - Seattle and King County. |
| (8) | Elimination or prevention of duplicate facilities. | Four water purveyors border the District. Adjacent purveyors include: The City of Tukwila, located to the north and east; Highline Water District to the south, and King County Water Districts No. 20 and No. 49 to the west. The District intends to provide service within its service area by means of direct connection. Satellite management is not being contemplated by the District. The District maintains emergency interties with the City of Tukwila, King County Water District No. 20, and Highline Water District. |
| (9) | Promotion of most healthful and reliable services to the public. | Yes. |
|  | C. King County Comprehensive Plan (KCCP) – consistency with provisions and specific policies | Comments/findings |
| (10) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Currently, the District charges a rate that is in the affordable range. |
| (11) | Consistency with the King County Comprehensive Plan (KCCP) and applicable County plans and policies including the Flood Hazard Management Plan and Emergency Response Plan. | Yes, the Plan is consistent with the applicable comprehensive plans and policies. |
| (12) | Consistency with the Coordinated Water System Plans adopted in KCC 13.28. | Yes, the Plan is consistent with the Skyway Coordinated Water System Plan (CWSP). The District does not expect to expand its service area. |
| (13) | Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology or the Washington State Department of Health. | The District acknowledges salmon recovery priorities and the relevance of Endangered Species Act listings. |
| (14) | Applicable state water quality, water conservation (e.g., chapter 90.54 RCW and RCW 90.48.495), and waste management standards. | The District’s water use efficiency report for 2017 reports an 8.1 percent loss of total water produced, and the previous three-year average of 8.3 percent. The District’s water use efficiency goal is to reduce water consumption by two percent per year over the six-year period beginning in July 2013. In 2015, the District averaged 180 gallons per day per equivalent residential unit. |
| (15) | Growth Management Act; chapter 36.70A RCW. | Yes, the Plan is consistent with the Growth Management Act. See specific policies below. |
| (16) | Groundwater Management Plans. | The District owns seven separate groundwater wells, but does not currently use the water from them. No Groundwater Management Plan mentioned in Plan. |
| (17) | Federally-approved habitat conservation plans and recovery plans under Endangered Species Act, and other plans, including regional water supply or water resource management plans. | The District states that it complies with all permit requirements associated with construction of its new utility systems to reduce the threat of impacting endangered species. |
| (18) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | The Plan discusses briefly the use of reclaimed water, and recognized the value of reclaimed water as a measure to conserve and extend the useful life of the potable water supply. The District states that the cost of retrofitting the customer’s facility combined with the proposed cost of reclaimed water made the project unfeasible. |
| (19) | State Environmental Policy Act (SEPA) documentation. | The District completed a SEPA checklist and issued a determination of nonsignificance for approval of the plan on February 10, 2017, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES | Comments/findings |
| (20) | DP‐13: All jurisdictions shall plan to accommodate housing and employment targets. This includes: “Coordinating water, sewer, transportation and other infrastructure plans and investments among agencies, including special purpose districts;…”. | Yes, the District does this. |
| (21) | PF‐4: Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | The District purchases its entire water supply from Seattle Public Utilities (SPU), with a purveyor contract that runs through the year 2062. Water supplied is sufficient for projected growth. The Plan does not discuss climate change impacts on water supply. |
| (22) | PF‐5: Support efforts to ensure that all consumers have access to a safe, reliably maintained, and sustainable drinking water source that meets present and future needs. | Yes, the District does this. |
| (23) | PF‐6: Coordinate water supply among local jurisdictions, tribal governments, and water purveyors to provide reliable and cost‐effective sources of water for all users, including residents, businesses, fire districts, and aquatic species. | The District’s supply is regionally coordinated, since it purchases its water from SPU. The eastern portion of the District is in unincorporated King County, and is located within the Skyway Critical Water Supply Service Area, which makes the District’s Plan subject to consistency with the Skyway CWSP. |
| (24) | PF‐7: Plan and locate water systems in the Rural Area that are appropriate for rural uses and densities and do not increase the development potential of the Rural Area. | Not applicable. The District service area is entirely within the Urban Growth Area. |
| (25) | PF‐8: Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | The District maintains interties with several neighboring jurisdictions to supplement flows from the SPU system under high-demand conditions and/or to supply water to neighboring jurisdictions under emergency conditions. |
| (26) | PF‐9: Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | Yes, the District does this to the extent required by law. |
| (27) | PF‐10: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | Not applicable. The District states that the cost of retrofitting the customer’s facility combined with the proposed cost of reclaimed water made the project unfeasible. |
|  | KING COUNTY COMPREHENSIVE PLAN (KCCP) POLICIES | Comments/findings |
| (28) | F-107: Plan for provision of services to rural areas. | Not applicable. The District service area is entirely within the Urban Growth Area. |
| (29) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The District’s Capital Improvement Program (CIP) has sufficient funding based on its current rate structure. |
| (30) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act (ESA) and the Clean Water Act. | Yes, to the extent known, facilities and service are provided consistent with the federal laws. |
| (31) | F-209: Support rural levels of development and not facilitate urbanization. | Not applicable. The District service area is entirely within the Urban Growth Area. |
| (32) | F-210: Capital facility plans and improvement programs for services to unincorporated King County are consistent with the KCCP. | The District’s capital facility plan is consistent with the KCCP. |
| (33) | F-211: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (34) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (35) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies reuse programs. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (36) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs. | Yes, the District supports regional water coordination. |
| (37) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the County for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service areas. | The District is a special purpose district authorized under Title 57 RCW and so review and approval of the Plan by the County is appropriate. The District also distributes water in unincorporated areas of King County so review and approval under the King County Code is applicable. The District did describe service area policies for its retail service area. |
| (38) | F-248 King County shall partner with utilities to publicize water conservation and encourage best management practices that conserve potable water supply through measures that include use of alternative supplies such as reclaimed water. | Yes, the County will do this. |
| (39) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, and response requirements of ESA and Clean Water Act. | The Plan is consistent with the Skyway CWSP. |
| (40) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County’s Water Reclamation Evaluation. | The District completed King County’s Water Reclamation Evaluation and will work closely with King County to consider reclaimed water opportunities. The District states that the cost of retrofitting the customer’s facility combined with the proposed cost of reclaimed water made the project unfeasible. |
| (41) | F-251: In its review of water system plans, the UTRC shall consider the criteria provided in KCC 13.24.010, 13.24.060, and 13.24.070, and determine the plan’s consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The County’s Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by King County, as specified in UTRC Guidance or checklists. | The UTRC did consider these issues and recommends approval of the Plan. |
| (42) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | The District is not planning to change its service area boundaries. |
| (43) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | Not applicable. |
| (44) | F-254: Groundwater-based public water supplies should be protected by preventing land uses that may adversely affect groundwater quality or quantity to the extent that the supply might be jeopardized. The County shall protect the quality and quantity of groundwater used as water supplies through implementation of Policies E-493 through E-497 where applicable. | The District owns seven separate groundwater wells, but does not currently use the water from them. No wellhead protection plan is mentioned for the asserted water sources. |