## STAFF REPORT

| Agenda Item: | 7 | Name: | Mike Reed |
| --- | --- | --- | --- |
| Proposed No.: | 2019-B0087 | Date: | June 5, 2019 |

SUBJECT

The Washington Department of Ecology’s Puget Sound Nutrients Source Reduction Project, and its relationship to King County wastewater treatment facilities.

SUMMARY:

The Washington Department of Ecology has undertaken extensive analysis and review in considering appropriate approaches to its responsibilities for managing discharge of nutrients into Puget Sound, consistent with the requirements of the federal Clean Water Act. King County’s operation of two of the largest wastewater treatment plants discharging into Puget Sound, together with the information about the levels of nutrients in wastewater discharges, raise this as a topic of concern for the Regional Water Quality Committee, which has included the control of nutrients on its annual workplan for the past three years.

BACKGROUND:

The Puget Sound Nutrients Source Reduction Project was undertaken to analyze and respond to the impacts of excessive nutrient discharges on marine biota in Puget Sound.  Monitoring of marine waters by Ecology led the agency to conclude that the water quality of Puget Sound is changing as the result of excessive levels of nutrients from human sources.  Ecology notes that monitoring data has identified many places throughout the Sound where levels of dissolved oxygen—critical for marine biota—are constrained.

The Regional Water Quality Committee was briefed on the Puget Sound Nutrients Source Reduction Project by the Director of the Washington Department of Ecology Water Quality Program, Heather Bartlett, at its May 2, 2018 meeting.  The central strategy of the project is the development of a plan that will define the means by which Ecology will limit nutrient discharges. Since last year’s briefing, the Department has proceeded with further analytical and outreach work, focused on the Puget Sound Nutrient Forum, through which Ecology is structuring its development of objectives and project schedule, as well as its engagement with constituents.  Since that briefing, project managers have mapped a path to the development of a Draft Puget Sound Nutrient Source Reduction Plan.  Through the first year—July 2019 through June 2020, project objectives have included:

- Understand the significance of watersheds separate from marine sources;

- Understand the range of future conditions, impacts, and potential improvements;

- Define what it takes to meet water quality standards under existing conditions.

Objectives for the coming year—July 2020 through June 2021—include:

- Evaluate new combinations of reductions from marine and watershed sources;

- Evaluate remaining questions to inform decisions for facility planning and a nutrient source reduction plan;

- Evaluate a final set of nutrient load reduction targets for both marine and watershed sources that meet water quality standards.

As noted, the end product of this effort is expected to be a plan for nutrient source reduction in Puget Sound.  That plan is likely to have implications for major nutrient generators, including the King County wastewater treatment system.

In providing context for the Nutrients briefing, this staff report will provide context for the following questions:

- What are nutrients, and why are they of concern to the region?

- How have other major water bodies nationally, and their bordering jurisdictions, been impacted by nutrient discharges and control strategies?

- What is known about nutrient impacts in Puget Sound?

- What contribution do King County wastewater treatment facilities make to nutrient accumulation in Puget Sound?

- What work has been done on potential strategies for King County facilities?

What are Nutrients?  How do they contribute to oxygen depletion?

Nutrients are chemicals such as nitrogen and phosphorous that stimulate the growth of plant life—either on land or in the water. In the residential environment, many homeowners will be familiar with the three-number rating system on lawn fertilizers—15-15-15, or 21-7-14, for example.  The first of these numbers is the percentage of nitrogen that the fertilizer is composed of; the second is the percentage of phosphorous (the third is potassium).  The presence of nitrogen in lawn fertilizer leverages its utility as a stimulant for growth in green plants.  This is one example of the numerous sources of nitrogen and phosphorous that are present in human environments; human and animal waste are other major sources of nitrogen, as are agricultural wastes, atmospheric deposition, urban runoff, and wastewater treatment plant effluent.

Nitrogen and phosphorous are considered nutrients, in that they function to stimulate the growth of green plant material.  In the marine environment, nitrogen encourages the growth of algae.  While nitrogen is a critical element in the cycle of marine life, excessive levels can lead to uncontrolled growth, such as large algae blooms covering extensive areas of water surfaces.  When this algae dies, it sinks to the bottom of the water column; there, bacteria work to decompose it, consuming available oxygen in the process, and depriving the water of oxygen needed by marine life.

The federal Clean Water Act requires that states develop a plan to address polluted waters.  Washington’s Ecology Department has been delegated authority by the federal Environmental Protection Agency to implement the federal Clean Water Act in Washington.

Chesapeake Bay Nutrients Management Example:  Total Maximum Daily Load

Management of nutrient impacts has been the subject of federal and state action elsewhere in the nation.  In 2010, the federal Environmental Protection Agency (“EPA”) established the Chesapeake Bay Total Maximum Daily Load (“TMDL”), as tool for defining maximum pollution limits Bay-wide, and allocating pollution discharge amounts within those limits.  This followed extensive restoration efforts during the prior 25 years, which failed to achieve sufficient progress towards improvements in water quality, and triggered a federal Clean Water Act mandate for the TMDL.  It also responded to a Presidential Executive Order to restore and protect Chesapeake Bay.

The TMDL set watershed limits of 185.9 million pounds of nitrogen, 12.5 million pounds of phosphorous, and 6.45 billion pounds of sediment per year, across jurisdictions with discharge into Chesapeake Bay, including Delaware, Maryland, New York, Pennsylvania, Virginia, West Virginia and the District of Columbia.  Watershed Implementation Plans (“WIP”) were established for the various jurisdictions defining how they would achieve the discharge reductions required for the TMDL allocations.

Wastewater facilities have been a particular point of focus in the Chesapeake Bay project.  According to the EPA, upgrades and operational efficiencies at wastewater treatment plants throughout the Chesapeake Bay watershed have resulted in steep reductions in nitrogen and phosphorous pollution.  From 1985 through 2015, the wastewater sector cumulatively prevented over 900 million pounds of nitrogen and phosphorous pollution from entering the Bay’s tributaries, reducing nitrogen in the Bay by 57% and phosphorous by 75%.  In 2015, annual progress in the wastewater sector effectively met its 2025 nutrient pollution limits set in the Chesapeake Bay TMDL. The 472 municipal and industrial wastewater treatment plants in the Chesapeake Bay watershed were designated as significant sources by states and the EPA, and have annual nutrient pollutant limits in their NPDES permits, providing legally enforceable assurances that pollutant reductions will be achieved.  Continuing investments in advanced wastewater treatment have exceeded $7 billion in the Bay watershed. These successes have been helped by state laws setting limits on the amount of phosphorus in consumer cleaning products, including laundry and dishwasher detergents—preventing watershed homes from sending significant amounts of phosphate pollutants to local wastewater plants.

Washington Department of Ecology Study 2014:  Puget Sound and the Straits Dissolved Oxygen Assessment

Attention to the control of nutrients into Puget Sound has been growing in Washington State.  The Washington Department of Ecology, participating with the Pacific Northwest National Laboratory, in 2014 published a report addressing the relationship of nitrogen discharges to levels of oxygen.  The “Puget Sound and the Straits Dissolved Oxygen Assessment: Impacts of Current and Future Nitrogen Sources and Climate Change through 2070”, summarizes current and future impacts of human nutrient loads, Pacific Ocean conditions, and climate change on dissolved oxygen levels in the Salish Sea.  The geographic focus of the study was beyond Puget Sound specifically, and encompassed the larger Salish Sea—including Puget Sound, the Strait of Juan de Fuca, and the Strait of Georgia in British Columbia. The authors note that, while Puget Sound—defined as the waters south of Admiralty Inlet—is the area of primary interest, Puget Sound is connected to the Strait of Juan de Fuca and the Strait of Georgia, and cannot be considered in isolation—so the analysis includes all major U.S. and Canadian influences on circulation and water quality in the Salish Sea. Among the determinations of the Report:

- Human sources of nitrogen discharging into the Salish Sea—distinct from natural sources--have the greatest impacts on dissolved oxygen in South and Central Puget Sound. Between marine point sources—primarily wastewater treatment plants, with limited numbers of industrial outfalls—and watershed inflows, the marine point sources cause greater decreases of dissolved oxygen levels than watershed inflows—both of which will increase with increasing population growth.

- Strong influences on dissolved oxygen result from Pacific Ocean inflows.  North Pacific dissolved oxygen concentrations have been declining for 50 years—and if those trends continue, Salish Sea dissolved oxygen would decline far more from ocean inflows than from human nutrient loads.

- Nitrogen naturally occurs in rivers and streams entering marine waters, but human activities have increased nitrogen loads above naturally occurring levels.   Natural nitrogen concentrations in rivers are governed by nitrogen concentrations in rainfall and processes within forested watersheds.  These baseline conditions are impacted if regional air emissions alter rainfall nitrogen concentration, or if forested areas are converted to other developed land uses.  In a watershed, human contributions include point source discharges, including wastewater treatment plants.  Nonpoint sources from developed lands also increase human contributions above natural levels.

- In the U.S. (excluding plants serving Vancouver, Victoria and other Canadian communities) 78 municipal wastewater treatment plants and 10 industrial facilities discharge treated effluent through outfalls to Puget Sound and the Straits.  Water volumes from wastewater plants are small compared to inflows from watersheds; however, municipal wastewater treatment plant effluent contains higher concentrations of nitrogen compared to inputs from rivers and streams.  Industrial plant discharges generally have lower nitrogen concentrations than municipal wastewater plants.

- The population served by the 78 municipal WWTPs serving the U.S. portion of the Salish Sea will double by 2070, from 4.2 million served currently to 7.8 – 8.8 million served by the year 2070. Compared to current flows from these 78 municipal WWTPs (320 mgd), future flows are projected to grow to 390 to 400 mgd by 2020 and 570 to 660 mgd by 2070.  With this doubling of population, marine point source loads of nitrogen would increase by an additional 47,200 kg/d discharging to Puget Sound and the Straits. Land use changes would increase nitrogen loads by 31,300 kg/d by 2070 compared with current conditions due to the conversion of forested land to developed land such as residential and agricultural uses.

Chart 1:  Distribution of Sources of Dissolved Inorganic Nitrogen into Salish Sea

Nitrogen Load Allocation among Puget Sound Wastewater Plants

King County operates three regional wastewater treatment facilities—the West Point Treatment Plant, the South Treatment Plant, and the Brightwater Treatment Plant.  West Point and South are among the larger facilities serving the Puget Sound population.  Among 69 plants reviewed by Ecology with marine discharge in the greater Puget Sound area, 10 plants serve around 80% of the total population connected to a central sewer collection system.  Most of these are connected to West Point (26% of the population total) and South Plant (21% of the population total).  According to Chart 2 below, West Point and South Plant generate over half (52%) of the total nitrogen load.

Chart 2:  Allocation of Nitrogen Load among Puget Sound Wastewater Plants

Washington Water Quality Standards—Nutrients

The water quality standards established by WDOE include provisions for the minimum concentrations of dissolved oxygen needed to protect aquatic life.  The standards vary by basin. Most U.S. waters of the Salish Sea have the most protective “Extraordinary” water quality requirements to protect aquatic life with a minimum dissolved oxygen concentration of 7.0 mg/L. Several bays and inlets have a lower “Excellent” standard to protect aquatic life where dissolved oxygen must be >6.0 mg/L. Urban bays must maintain minimum concentrations above 5.0 mg/L to protect “Good” aquatic life uses. If a water body is naturally lower in oxygen than these thresholds, then the combined effects of all human activities must not cause the naturally lower oxygen to decrease by more than 0.2 mg/L.

Nitrogen Control at West Point WWTP:  the 2011 Corolla Study

In March, 2011, Carolla Engineers completed the Final Report on a study contracted with the King County Wastewater Treatment Division, entitled “Assessment of Potential Nitrogen Removal Technologies at the West Point Treatment Plant and their Impact on Future Water Reuse Program Development”.  That 2011 study, also referred to as the West Point Nitrogen Removal Study, was a follow-up to a similar Carolla study on nitrogen removal at the County’s South Treatment Plant, completed the previous year.  The studies were prepared in light of increasing attention by the region and the Washington Department of Ecology to the impacts of nitrogen discharges in wastewater effluents in Puget Sound.  The study noted, in particular, constructability, process, footprint and cost challenges associated with development of nitrogen control features at West Point.

“This study demonstrates that the only processes that could potentially fit within the footprint of available land area at the WPTP site are those that require demolition of major portions of the existing secondary treatment plant. Furthermore, even with the important criterion of avoiding stranded assets not considered, the planning level evaluation has been unable to conclusively confirm that construction of new facilities at WPTP for NR (nitrogen removal) of the entire 139 mgd summer flow or the entire 215 mgd annual average flow is feasible. Much more detailed evaluation is required to reach this conclusion. This study demonstrates that it may be possible to fit the necessary process tanks on the WPTP site to achieve a 3 milligrams per liter (mg/L) total inorganic nitrogen (TIN) (year round) limit. Once more detailed studies are completed, it may be concluded that implementation of NR at the WPTP site would be practically limited due to constructability and site access constraints, including most significantly the need to maintain reliable operation during construction. In this case, the WPTP capacity would be significantly reduced, creating the need for new facilities at another site.”

The 2011 study summarizes findings and conclusions, presented below;

Two potential nitrogen removal permit requirements were evaluated to bracket potential permit limits that could be applied by the Department of Ecology in response to South Puget Sound water quality studies: 1) a “least stringent” potential effluent limit of 8 mg/L TIN for the summer months only; and 2) a “most stringent” potential limit of 3 mg/L TIN year round. The principle findings and conclusions of this report are:

1. The modeled maximum month capacity of the current WPTP to meet the “least stringent” summer effluent limit was estimated at 47 mgd. Major modifications would be needed to meet this capacity, including construction of a new treatment plant at a different site to treat the remainder of the summer maximum month flow (approximately 92 mgd). If land designated for future expansion were used, this capacity would increase to approximately 61 mgd and approximately 85,000 ppd of BOD5, reducing the amount of supplemental capacity needed to about 78 mgd.

2. The modeled maximum month capacity of the current WPTP to meet, with modifications, the “most stringent” year round effluent limit was 44 mgd. Major modifications that would be needed to meet this capacity, including construction of a new treatment plant to treat the remainder of the flow (approximately 171 mgd). If land designated for future expansion were used, this capacity would increase to approximately 61 mgd and approximately 64,000 ppd of BOD5, reducing the amount of supplemental capacity needed to about 154 mgd.

3. Three initial alternatives for NR were evaluated for each permit scenario. Based on evaluation of initial alternatives none were judged able to meet requirements for NR within the land area available for future expansion at the WPTP site. Subsequently, alternatives that require demolition of existing process tanks were developed. Two alternatives: Replacement MBR; and Replacement BAF/DNF, were judged to be potentially feasible at the WPTP. Both alternatives present significant constructability challenges that must be identified and resolved through further analysis. Of these two alternatives, replacement MBR was selected to be the representative alternative for achieving NR at the WPTP.

4. The incremental present value cost to implement the representative NR alternative is estimated at approximately $1.5 billion, as compared to continued operation of secondary treatment with the existing HPO process over the next twenty years.

5. It was concluded that meeting a 3 mg/L TIN year round permit level would result in approximately three times more GHG emissions compared to continuing with secondary treatment at the WPTP.

Regulatory Agency Pressure to Act

Both the federal Environmental Protection Agency and the Washington Department of Ecology have encountered pressure to move forward with measures to control discharge of nutrients into national and state waters.  In August, 2009, the U.S. Environmental Protection Agency Office of the Inspector General issued an Evaluation Report entitled “EPA Needs to Accelerate Adoption of Numeric Nutrient Water Quality Standards”  The Inspector General’s Office found that

EPA’s 1998 National Strategy and Plan to promote State adoption of nutrient water quality standards (which better protect aquatic life and human health) has been ineffective. In 1998, EPA stated that a critical need existed for improved water quality standards, given the number of waters that were impaired from nutrients. In the 11 years since EPA issued its strategy, half the States still had nonnumeric nutrient standards. States have not been motivated to create these standards because implementing them is costly and often unpopular with various constituencies. EPA has not held the States accountable to committed milestones. The current approach does not assure that States will develop standards that provide adequate protection for downstream waters. Until recently, EPA has not used its Clean Water Act authority to promulgate water quality standards for States. EPA cannot rely on the States alone to ensure that numeric nutrient standards are established. EPA should prioritize States/waters significantly impacted by excess nutrients and determine if it should set the standards. EPA also needs to establish

effective monitoring and measures so that accurate program progress is reported.

This will assist EPA management in program decision-making.

We recommend that the Assistant Administrator for Water:

- Select significant waters of national value which need numeric nutrient water quality standards to meet the requirements of the Clean Water Act.

- Set numeric nutrient water quality standards for the waters identified in the first recommendation to meet the requirements of the Clean Water Act.

- Establish EPA and State accountability for adopting numeric nutrient standards for the rest of the Nation’s waters.

- Establish metrics to gauge the actual progress made by the States.

The Washington Department of Ecology has also been the subject of pressure to act.  In 2017, Northwest Environmental Advocates petitioned Ecology to launch a “Total Maximum Daily Load” study immediately, and asserted that the agency should limit releases of nitrogen from sewage treatment plants that discharge into Puget Sound.  Ecology denied the petition for a TMDL, indicating that it does not have sufficient information to begin the process.  In the letter, Ecology indicated,

“Although Ecology has decided to deny your petition, we share many of your concerns regarding nutrient impacts in Puget Sound.  Further, Ecology agrees that Puget Sound is impaired by nutrient pollution and that a TMDL may be necessary to address this impairment.”

ANALYSIS:

The Washington Department of Ecology has undertaken extensive analysis of the sources of, and impacts of, nutrient discharge into Puget Sound.  While there are a number of major sources, wastewater treatment plants appear to be among the major human-driven generators, and King County’s plants appear to be among the larger generators within the community of Puget Sound wastewater plants.

Upland sources also generate significant nutrient volumes, and the Pacific Ocean contributes large volumes to the overall load of nitrogen in particular.

Other parts of the country have moved forward with efforts to control nutrient discharges into waters of national significance; jurisdictions surrounding Chesapeake Bay, for example, have made notable progress in reducing discharge of nutrients, with federal financial assistance.

Given the limited footprint of the West Point Treatment Plant, development and operation of nitrogen discharge reduction mechanisms is expected to be particularly challenging.

Today’s briefing by the Washington Department of Ecology will provide context for anticipated state efforts to limit nutrient discharges into the Sound.  Mechanisms and strategies for managing discharges have not yet been specified.  It is anticipated that Ecology will encourage involvement in discussions of strategic direction by generators of nutrient discharges who may be effected by efforts to control nutrient discharges.

INVITED:

- Heather Bartlett, Water Quality Program Manager, Washington Dept. of Ecology

- Dustin Bilhimer, Puget Sound Nutrient Source Reduction Project Manager

ATTACHMENTS:

- Introduction:  Puget Sound and the Straits Dissolved Oxygen Assessment—Impacts of Current and Future Human Nitrogen sources and Climate Change Through 2070   March 2014

- WDOE Memorandum—Relative N and P Loading Among Major Wastewater Treatment Plants Discharging to Puget Sound  December 7, 2016

https://www.epa.gov/chesapeake-bay-tmdl/wastewater-pollution-reduction-chesapeake-bay-watershed

https://www.epa.gov/chesapeake-bay-tmdl/wastewater-pollution-reduction-chesapeake-bay-watershed

https://www.epa.gov/sites/production/files/2016-06/documents/wastewater_progress_report_06142016.pdf

https://fortress.wa.gov/ecy/publications/SummaryPages/1403007.html

https://fortress.wa.gov/ecy/publications/documents/0610091.pdf   P 19 (i) When a water body's D.O. is lower than the criteria in Table 210 (1)(d) (or within 0.2 mg/L of the criteria) and that condition is due to natural conditions, then human actions considered cumulatively may not cause the D.O. of that water body to decrease more than 0.2 mg/L.

https://www.kingcounty.gov/~/media/services/environment/wastewater/resource-recovery/docs/West_Point_Nitrogen_Removal_Study.ashx?la=en

“EPA Needs to Accelerate Adoption of Numeric Nutrient Water Quality Standards” Report No. 09-P-0223, August 26, 2009 EPA Office of Inspector General

https://www.eopugetsound.org/magazine/is/nutrients