## STAFF REPORT

| Agenda Item: | 6 | Name: | Andy Micklow |
| --- | --- | --- | --- |
| Proposed No.: | 2019-0279 | Date: | October 14, 2019 |

SUBJECT

An ordinance approving the Woodinville Water District Comprehensive Water System Plan Final March 2019.

SUMMARY

Proposed Ordinance 2019-0279 would approve the Woodinville Water District Comprehensive Water System Plan Final March 2019 (Plan), meeting the requirement for utilities that are special purpose districts created pursuant to Title 57 RCW.

BACKGROUND

The Woodinville Water District (District) is a Group A water system serving urban and rural area in central King County. The District is bound by the cities of Bothell and Kirkland to the west, the City of Redmond to the south, unincorporated King County to the west, and Snohomish County to the north. The District currently services a population of approximately 49,000 residents and 20,000 employees. The previous water system plan was approved in 2010 by King County Ordinance 16909.

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of all water and sewer comprehensive plans and related matters, and to determine whether the plan:

- is consistent with the King County Comprehensive Plan;

- is consistent with local comprehensive plans;

- reflects current supply and demand;

- forecasts future supply and demand;

- provides a capital plan for obtaining, using, storing and conveying water and sewage; and

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of KCC Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

Additionally, King County has adopted a Comprehensive Plan that includes policies that address water policies for facilities and services, calling for consistency with other adopted plans, pursuit of reclaimed water, water conservation, and protection of water resources.

UTRC ANALYSIS OF THE WOODINVILLE WATER DISTRICT COMPREHENSIVE WATER SYSTEM PLAN FINAL MARCH 2019

The UTRC finalized its review of the Plan in May 2019 (see Attachment 4 to this staff report for a more detailed description of the UTRC review). The UTRC found the Plan meets the requirements of KCC chapter 13.24 and has recommended its approval. Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area: The District's retail service area covers approximately 30 square miles of mostly developed urban land serving the entire City of Woodinville and portions of the cities of Bothell, Kirkland, and Redmond. The District also serves residents of unincorporated King County and a small number of residents of unincorporated Snohomish County. The District's service area has not changed recently and is not expected to change.

Supply: The District purchases all its water from Seattle Public Utilities (SPU) through ten active Tolt Taps. The District maintains nine emergency interties and one groundwater well for emergency use. The District also has a water right on the Snohomish River that will be developed in the future to be used for domestic supply.

Growth: Average day water demand in 2015 was 4.07 million gallons a day (mgd). Average urban residential single-family consumption per account is 162 gallons per day (gpd), average rural residential single-family consumption per account is 221 gpd. Projected average day demand in 2037 is 5.5 mgd. The UTRC determined that the Plan demonstrates that sufficient water supply for growth is available.

System Improvements: The Plan contains a detailed Capital Improvement Plan (CIP) through 2037. The CIP is divided into six categories: distribution system, pressure zone, supply, storage, pump station, and district funded. The CIP projects expenditures of $103.7 million over the next twenty years with $49.2 million budgeted for short term projects (2018-2027) and $69.1 million budged for long term projects (2028-2037). The Plan's Financial Program chapter indicates that the District’s reserves will be adequate to fund the anticipated CIP projects with moderate rate increases.

SEPA: The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of nonsignificance for the issuance of the Plan on June 26, 2018. There were no appeals.

The UTRC determined that the Plan demonstrates the District's ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations.

INVITEES

- Steve Hirschey, Chair, Utilities Technical Review Committee

ATTACHMENTS

- Proposed Ordinance 2019-0279 (attachments available in the Clerk’s office)

- Transmittal Letter

- Fiscal Note

- UTRC Matrix