## MMRF CIP
Attachment F. Major Maintenance Capital Improvement Program, dated November 17, 2005
|  |  | 2006 | [5 empty] | Total
Fund | Project | Description | Council | 2007 | 2008 | 2009 | 2010 | 2011 | 2006 - 2011
3421 |  | Major Maintenance Reserve Fund
| 302214 | General Debt Service | 704663 | 699988 | 692800 | 0 | 0 | 0 | 2097451
| 341299 | General Bldg Emergent Projects | 500000 | 500000 | 500000 | 500000 | 500000 | 500000 | 3000000
| 341602 | Youth - Alder Fire Alarm Systems | 0 | 300760 | 0 | 0 | 0 | 0 | 300760
| 342400 | Admin Bldg Domestic Water Piping Replacement Phase | 220600 | 100000 | 0 | 0 | 0 | 0 | 320600
| 342403 | Admin Bldg Boxes (VAV, Mixing) | 0 | 618251 | 900000 | 750000 | 0 | 0 | 2268251
| 342405 | Admin Bldg Roof Openings | 0 | 0 | 0 | 25000 | 0 | 0 | 25000
| 342406 | Admin Bldg Controls and Instrumentation | 0 | 65000 | 65000 | 101000 | 0 | 0 | 231000
| 342407 | Admin Bldg Testing and Balancing | 0 | 25000 | 25000 | 60000 | 0 | 0 | 110000
| 342410 | Admin Bldg Electrical Service and Dist | 533700 | 0 | 0 | 0 | 0 | 0 | 533700
| 342411 | Admin Bldg Other Electrical Systems (Generator) | 694500 | 0 | 0 | 0 | 0 | 0 | 694500
| 342412 | Admin Bldg Wall Finishes | 0 | 0 | 0 | 54000 | 20000 | 0 | 74000
| 342413 | Admin Bldg Floor Finishes | 300000 | 300000 | 100000 | 100000 | 0 | 0 | 800000
| 342414 | Admin Bldg Roof Coverings | 0 | 242000 | 0 | 0 | 0 | 0 | 242000
| 342415 | Admin Bldg Heat Generating Systems | 0 | 0 | 0 | 0 | 91000 | 0 | 91000
| 342416 | BD Evidence & Lab-Office Exterior Wall Finishes | 0 | 0 | 14900 | 0 | 0 | 0 | 14900
| 342417 | BD Evidence & Lab-Whse Exterior Wall Finishes | 0 | 30000 | 0 | 0 | 0 | 0 | 30000
| 342418 | BD Evidence & Lab-Office Controls and Instrument | 0 | 6000 | 0 | 0 | 0 | 0 | 6000
| 342420 | Courthouse Clocks generator | 287300 | 0 | 0 | 0 | 0 | 0 | 287300
| 342421 | BD Evidence & Lab-Whse Distribution Systems | 0 | 5500 | 0 | 0 | 0 | 0 | 5500
| 342422 | BD Evidence & Lab-Whse Controls and Instrumentatio | 0 | 4500 | 0 | 0 | 0 | 0 | 4500
| 342424 | BD Evidence & Lab-Whse Terminal and Package Units | 0 | 0 | 61000 | 0 | 0 | 0 | 61000
| 342426 | Black River Terminal and Package Units: | 23618 | 0 | 0 | 0 | 0 | 0 | 23618
| 342431 | Black River Wall Finishes | 0 | 0 | 0 | 0 | 0 | 11000 | 11000
| 342434 | Black River Interior Doors | 0 | 0 | 0 | 0 | 0 | 57000 | 57000
| 342437 | PH Renton Plumbing Fixtures | 0 | 0 | 0 | 0 | 30000 | 0 | 30000
| 342440 | Courthouse Window Repair Phase 1 Construction | 1705000 | 1705000 | 1705000 | 0 | 0 | 0 | 5115000
| 342445 | Courthouse Domestic Water Distribution (Repipe) | 0 | 0 | 0 | 100000 | 642000 | 0 | 742000
| 342446 | Courthouse Plumbing Fixtures | 0 | 0 | 0 | 230000 | 0 | 0 | 230000
| 342448 | Courthouse Electrical Service and Dist | 2099694 | 0 | 0 | 0 | 0 | 0 | 2099694
| 342449 | Courthouse Lighting and Branch Wiring | 0 | 300000 | 500000 | 500000 | 500000 | 0 | 1800000
| 342454 | Courthouse Exterior Walls | 0 | 0 | 0 | 45000 | 405000 | 0 | 450000
| 342456 | Courthouse Energy Supply | 0 | 0 | 0 | 60000 | 0 | 0 | 60000
| 342457 | Courthouse Terminal and Package Units | 0 | 50000 | 0 | 0 | 0 | 0 | 50000
| 342458 | Courthouse Controls and Instrumentation | 0 | 0 | 0 | 562000 | 0 | 0 | 562000
| 342459 | Courthouse Testing and Balancing | 0 | 0 | 0 | 262000 | 0 | 0 | 262000
| 342460 | Courthouse Floor Finishes | 0 | 0 | 500000 | 500000 | 500000 | 0 | 1500000
| 342461 | Courthouse Water Supply | 0 | 0 | 0 | 5500 | 0 | 0 | 5500
| 342462 | Courthouse Sanitary Sewer | 0 | 0 | 0 | 9000 | 0 | 0 | 9000
| 342463 | Courthouse Storm Sewer | 0 | 0 | 0 | 18000 | 0 | 0 | 18000
| 342464 | BD Evidence & Lab-Office Site Lighting | 0 | 0 | 0 | 3600 | 0 | 0 | 3600
| 342465 | RJC-Detention Interior Wall Finishes | 0 | 0 | 160000 | 55000 | 0 | 0 | 215000
| 342468 | DC Aukeen Communications and Security | 0 | 0 | 0 | 35000 | 0 | 0 | 35000
| 342470 | DC Aukeen Site Lighting | 0 | 0 | 0 | 0 | 9000 | 0 | 9000
| 342471 | DC Aukeen Parking Lots | 0 | 0 | 0 | 0 | 49000 | 0 | 49000
| 342473 | DC Aukeen Exterior Wall Finishes | 0 | 0 | 0 | 0 | 0 | 23000 | 23000
| 342474 | DC Issaquah Wall Finishes | 0 | 0 | 0 | 27000 | 0 | 0 | 27000
| 342475 | Yesler Building Distribution Systems | 0 | 300000 | 0 | 0 | 0 | 0 | 300000
| 342476 | DC Issaquah Testing and Balancing | 0 | 0 | 5600 | 0 | 0 | 0 | 5600
| 342477 | DC NE Redmond Testing and Balancing | 0 | 36800 | 0 | 0 | 0 | 0 | 36800
| 342479 | DC NE Redmond Wall Finishes | 0 | 0 | 0 | 0 | 0 | 21000 | 21000
| 342481 | DC Shoreline Floor Finishes | 120000 | 0 | 0 | 0 | 0 | 0 | 120000
| 342483 | DC Shoreline Fire Alarm Systems | 0 | 0 | 0 | 0 | 16000 | 0 | 16000
| 342485 | Courthouse Communications and Security | 0 | 0 | 0 | 0 | 0 | 800000 | 800000
| 342486 | DC Shoreline Wall Finishes | 0 | 0 | 0 | 0 | 0 | 21000 | 21000
| 342489 | DC SW Burien Floor Finishes | 111500 | 0 | 0 | 0 | 0 | 0 | 111500
| 342490 | DC SW Burien Wall Finishes | 51000 | 0 | 0 | 0 | 0 | 0 | 51000
| 342491 | Youth - Alder Domestic Water Distribution | 0 | 0 | 100000 | 346764 | 0 | 0 | 446764
| 342492 | Election Warehouse Electrical Service and Dist | 0 | 0 | 0 | 12000 | 0 | 0 | 12000
| 342493 | Election Warehouse Exterior Windows | 0 | 0 | 0 | 32000 | 0 | 0 | 32000
| 342494 | Election Warehouse Exterior Doors | 0 | 0 | 29000 | 0 | 0 | 0 | 29000
| 342495 | Election Warehouse Fittings | 0 | 0 | 10000 | 0 | 0 | 0 | 10000
| 342496 | Election Warehouse Wall Finishes | 0 | 0 | 0 | 0 | 25000 | 0 | 25000
| 342497 | Election Warehouse Floor Finishes | 0 | 0 | 24000 | 0 | 0 | 0 | 24000
| 342498 | Election Warehouse Ceiling Finishes | 0 | 0 | 6000 | 0 | 0 | 0 | 6000
| 342499 | Election Warehouse Lighting and Branch Wiring | 0 | 0 | 0 | 51000 | 0 | 0 | 51000
| 342600 | Records Warehouse Exterior Doors | 38400 | 0 | 0 | 0 | 0 | 0 | 38400
| 342601 | Records Warehouse Pedestrian Paving | 13500 | 0 | 0 | 0 | 0 | 0 | 13500
| 342608 | RJC-Detention Emerg Generator Ph II | 88000 | 0 | 0 | 0 | 0 | 0 | 88000
| 342609 | Courthouse Cooling Generating Systems | 0 | 0 | 0 | 0 | 0 | 15000 | 15000
| 342613 | KCCF Controls and Instrumentation (incl floor leve | 0 | 160000 | 200000 | 0 | 0 | 0 | 360000
| 342615 | KCCF Boxes (VAV, Mixing) | 0 | 200000 | 500000 | 400000 | 0 | 0 | 1100000
| 342616 | KCCF Wall Finishes | 0 | 0 | 0 | 0 | 0 | 260000 | 260000
| 342617 | KCCF Lighting and Branch Wiring | 0 | 400000 | 170000 | 0 | 0 | 0 | 570000
| 342618 | KCCF Domestic Water Distribution Pipe Replacement | 0 | 660000 | 850000 | 0 | 0 | 0 | 1510000
| 342619 | KCCF Floor Finishes | 0 | 0 | 0 | 0 | 0 | 480000 | 480000
| 342620 | KCCF Elevator Cab Interiors | 0 | 0 | 0 | 0 | 0 | 165000 | 165000
| 342621 | KCCF Terminal and Package Units - AHU | 0 | 441642 | 1557018 | 0 | 0 | 0 | 1998660
| 342622 | KCCF Fire Alarm Systems | 0 | 358000 | 0 | 0 | 0 | 0 | 358000
| 342623 | KCCF Other Fire Protection Systems | 0 | 170000 | 0 | 0 | 0 | 0 | 170000
| 342625 | KCCF Other Electrical Systems - generator | 0 | 0 | 0 | 430000 | 0 | 0 | 430000
| 342626 | KCCF Plumbing Fixtures | 0 | 0 | 0 | 0 | 150000 | 2350000 | 2500000
| 342627 | Courthouse Exterior Wall Finishes | 0 | 0 | 0 | 439000 | 0 | 0 | 439000
| 342628 | KCCF Fittings | 0 | 0 | 169000 | 0 | 0 | 0 | 169000
| 342629 | KCCF Distribution Systems | 0 | 0 | 0 | 35000 | 135000 | 0 | 170000
| 342630 | Kent Animal Shelter Roadways | 116400 | 0 | 0 | 0 | 0 | 0 | 116400
| 342632 | Kent Animal Shelter Exterior Wall Finishes | 0 | 0 | 10000 | 0 | 0 | 0 | 10000
| 342633 | Kent Animal Shelter Parking Lots | 0 | 0 | 0 | 0 | 14000 | 0 | 14000
| 342634 | DC NE Redmond Site Lighting | 0 | 0 | 0 | 0 | 0 | 17003 | 17003
| 342635 | Marr Lot Hazardous Remediation | 135000 | 0 | 0 | 0 | 0 | 0 | 135000
| 342639 | PH Auburn Floor Finishes | 0 | 0 | 0 | 0 | 19000 | 0 | 19000
| 342641 | PH Auburn Roadways | 0 | 0 | 0 | 5000 | 0 | 0 | 5000
| 342642 | PH Auburn Wall Finishes | 0 | 0 | 0 | 0 | 10000 | 0 | 10000
| 342643 | PH Auburn Sanitary Waste | 28600 | 0 | 0 | 0 | 0 | 0 | 28600
| 342644 | PH Eastgate Exterior Wall Finishes | 15000 | 0 | 0 | 0 | 0 | 0 | 15000
| 342645 | PH Eastgate Wall Finishes | 0 | 0 | 29000 | 0 | 0 | 0 | 29000
| 342647 | PH Eastgate Boxes (VAV, Mixing) | 0 | 0 | 71000 | 0 | 0 | 0 | 71000
| 342648 | PH Eastgate Communications and Security | 0 | 0 | 0 | 108000 | 0 | 0 | 108000
| 342649 | PH Eastgate Parking Lots | 0 | 95000 | 0 | 0 | 0 | 0 | 95000
| 342650 | PH Eastgate Controls and Instrumentation | 0 | 0 | 15000 | 0 | 0 | 0 | 15000
| 342651 | PH Eastgate Floor Finishes | 0 | 0 | 54000 | 0 | 0 | 0 | 54000
| 342652 | PH Eastgate Roadways | 0 | 48000 | 0 | 0 | 0 | 0 | 48000
| 342655 | PH Federal Way Wall Finishes | 75000 | 0 | 0 | 0 | 0 | 0 | 75000
| 342656 | PH Federal Way Hot Water Heaters | 0 | 0 | 28000 | 0 | 0 | 0 | 28000
| 342657 | PH Federal Way Boxes (VAV, Mixing) | 0 | 70000 | 0 | 0 | 0 | 0 | 70000
| 342658 | DC NE Redmond Electrical Service and Dist | 0 | 0 | 0 | 0 | 0 | 6665 | 6665
| 342659 | DC NE Redmond Fittings | 0 | 0 | 0 | 0 | 0 | 3700 | 3700
| 342663 | PH NDMSC Heat Generation | 185300 | 0 | 0 | 0 | 0 | 0 | 185300
| 342664 | PH NDMSC Fittings | 38000 | 0 | 0 | 0 | 0 | 0 | 38000
| 342665 | PH NDMSC Elevators and Lifts | 0 | 0 | 0 | 90000 | 0 | 0 | 90000
| 342666 | PH NDMSC Electrical Service and Dist | 0 | 0 | 0 | 0 | 30000 | 0 | 30000
| 342668 | PH Northshore Terminal and Package Units | 0 | 128000 | 0 | 0 | 0 | 0 | 128000
| 342669 | PH Northshore Boxes (VAV, Mixing) | 0 | 0 | 49000 | 0 | 0 | 0 | 49000
| 342670 | PH Northshore Communications and Security | 0 | 0 | 75000 | 0 | 0 | 0 | 75000
| 342671 | PH Northshore Controls and Instrumentation | 0 | 0 | 10000 | 0 | 0 | 0 | 10000
| 342672 | PH Northshore Wall Finishes | 0 | 0 | 0 | 20000 | 0 | 0 | 20000
| 342673 | PH Northshore Floor Finishes | 0 | 38000 | 0 | 0 | 0 | 0 | 38000
| 342674 | PH Northshore Roadways | 0 | 22000 | 0 | 0 | 0 | 0 | 22000
| 342675 | PH Northshore Exterior Wall Finishes | 0 | 19000 | 0 | 0 | 0 | 0 | 19000
| 342682 | PH White Center Interior Doors | 0 | 0 | 0 | 42000 | 0 | 0 | 42000
| 342683 | PH White Center Fittings | 0 | 0 | 9500 | 0 | 0 | 0 | 9500
| 342684 | PH White Center Pedestrian Paving | 0 | 0 | 29000 | 0 | 0 | 0 | 29000
| 342685 | PH White Center Wall Finishes | 0 | 0 | 0 | 16000 | 0 | 0 | 16000
| 342686 | PH White Center Fire Alarm Systems | 0 | 0 | 0 | 23000 | 0 | 0 | 23000
| 342687 | PH White Center Communications and Security | 0 | 0 | 0 | 0 | 60000 | 0 | 60000
| 342688 | PH White Center Hot Water Heaters | 0 | 0 | 0 | 0 | 15500 | 0 | 15500
| 342689 | PH White Center Lighting and Branch Wiring | 0 | 25000 | 0 | 0 | 0 | 0 | 25000
| 342690 | PH White Center Other Electrical Systems | 0 | 15000 | 0 | 0 | 0 | 0 | 15000
| 342691 | PH White Center Floor Finishes | 0 | 30000 | 0 | 0 | 0 | 0 | 30000
| 342692 | PH White Center Exterior Wall Finishes | 0 | 0 | 0 | 0 | 0 | 11000 | 11000
| 342693 | PH White Center Electrical Service and Dist | 0 | 0 | 0 | 0 | 15000 | 0 | 15000
| 342695 | DC SW Burien Exterior Wall Finishes | 0 | 4500 | 0 | 0 | 0 | 0 | 4500
| 342696 | Precinct No. 2 Site Lighting | 0 | 0 | 0 | 0 | 8000 | 0 | 8000
| 342697 | Precinct No. 2 Exterior Wall Finishes | 0 | 0 | 0 | 0 | 0 | 25000 | 25000
| 342698 | Precinct No. 2 Other Electrical Systems - GEA | 0 | 0 | 0 | 0 | 6500 | 0 | 6500
| 342699 | Precinct No. 2 Electrical Service and Dist | 0 | 0 | 0 | 15000 | 0 | 0 | 15000
| 342700 | Precinct No. 4 Ceiling Finishes | 95000 | 0 | 0 | 0 | 0 | 0 | 95000
| 342751 | DC Aukeen Roof Openings | 0 | 0 | 0 | 0 | 0 | 1600 | 1600
| 342752 | DC Aukeen Wall Finishes | 0 | 0 | 0 | 0 | 0 | 27000 | 27000
| 342753 | DC Issaquah Exterior Wall Finishes | 0 | 0 | 19000 | 0 | 0 | 0 | 19000
| 342754 | Kent Animal Shelter Communications and Security | 0 | 0 | 10000 | 0 | 0 | 0 | 10000
| 342755 | PH NDMSC Exterior Wall Finishes | 0 | 0 | 14000 | 0 | 0 | 0 | 14000
| 342756 | DC Shoreline Communications and Security | 0 | 0 | 0 | 0 | 12000 | 0 | 12000
| 342757 | DC Shoreline Controls and Instrumentation | 0 | 0 | 0 | 0 | 9396 | 0 | 9396
| 342758 | DC Shoreline Exterior Wall Finishes | 0 | 0 | 0 | 0 | 0 | 15000 | 15000
| 342759 | DC Shoreline Terminal and Package Units | 0 | 0 | 0 | 0 | 193180 | 0 | 193180
| 342760 | DC SW Burien Electrical Service and Dist | 0 | 0 | 0 | 0 | 6665 | 0 | 6665
| 342761 | DC Aukeen Other Electrical Systems | 0 | 0 | 0 | 0 | 2600 | 0 | 2600
| 342762 | DC SW Burien Parking Lots | 0 | 0 | 0 | 0 | 0 | 34700 | 34700
| 342763 | DC SW Burien Plumbing Fixtures | 0 | 0 | 0 | 0 | 0 | 13167 | 13167
| 342764 | Precinct No. 3 Fuel Distribution: | 31000 | 0 | 0 | 0 | 0 | 0 | 31000
| 342765 | Precinct No. 4 Fittings | 66000 | 0 | 0 | 0 | 0 | 10000 | 76000
| 342766 | Black River Communications and Security: | 139320 | 0 | 0 | 0 | 0 | 0 | 139320
| 342767 | BD Evidence & Lab-Office Lighting and Branch Wirin | 0 | 0 | 0 | 0 | 22238 | 0 | 22238
| 342768 | PH Renton Domestic Water Distribution | 0 | 0 | 0 | 0 | 20000 | 0 | 20000
| 342769 | BD Evidence & Lab-Office Testing and Balancing | 0 | 0 | 3000 | 0 | 0 | 0 | 3000
| 342770 | Courthouse Distribution System: | 0 | 30000 | 70000 | 0 | 0 | 0 | 100000
| 342771 | Admin Bldg Interior Doors | 0 | 0 | 0 | 137500 | 0 | 0 | 137500
| 342772 | Admin Bldg Other Conveying Systems | 0 | 0 | 0 | 0 | 23000 | 0 | 23000
| 342773 | Admin Bldg Communications and Security | 0 | 0 | 0 | 0 | 296318 | 0 | 296318
| 342774 | BD Evidence & Lab-Office Other HVAC Sys and Equip | 0 | 0 | 18000 | 0 | 0 | 0 | 18000
| 342775 | DC SW Burien Ceiling Finishes | 101133 | 0 | 0 | 0 | 0 | 0 | 101133
| 342776 | Courthouse Replace sump in basement | 0 | 8000 | 0 | 0 | 0 | 0 | 8000
| 343100 | Kent Animal Shelter-Office Testing and Balancing | 0 | 0 | 0 | 0 | 1500 | 0 | 1500
| 343102 | Kent Animal Shelter-Office exterior door replacem | 0 | 5000 | 0 | 0 | 0 | 0 | 5000
| 343103 | Kent Animal Shelter-Office Communications and Secu | 0 | 0 | 0 | 0 | 0 | 4500 | 4500
| 343200 | Precinct No. 3 Other HVAC Sys and Equipment (heat | 54400 | 0 | 0 | 0 | 0 | 0 | 54400
| 343201 | Precinct No. 3 Exterior Wall Finishes | 65000 | 0 | 0 | 0 | 0 | 0 | 65000
| 343202 | Precinct No. 3 Parking Lots | 0 | 97400 | 0 | 0 | 0 | 0 | 97400
| 343203 | Precinct No. 3 Floor Finishes | 0 | 146000 | 0 | 0 | 0 | 0 | 146000
| 343204 | Precinct No. 3 Communications and Security | 151000 | 0 | 0 | 0 | 0 | 0 | 151000
| 343205 | Precinct No. 3 Roadways | 0 | 0 | 11000 | 0 | 0 | 0 | 11000
| 343206 | Precinct No. 3 Site Lighting | 0 | 0 | 13000 | 0 | 0 | 0 | 13000
| 343207 | Precinct No. 4 Wall Finishes | 57000 | 0 | 0 | 0 | 0 | 0 | 57000
| 343209 | Precinct No. 4 Floor Finishes | 141500 | 0 | 0 | 0 | 0 | 0 | 141500
| 343212 | RJC-Courts Floor Finishes | 0 | 0 | 0 | 45000 | 360000 | 0 | 405000
| 343215 | RJC-Detention Hydronic Air Separator | 33600 | 0 | 0 | 0 | 0 | 0 | 33600
| 343219 | RJC-Detention Exterior Wall Finishes | 0 | 0 | 0 | 442000 | 0 | 0 | 442000
| 343220 | RJC-Detention Terminal and Package Units | 0 | 0 | 0 | 0 | 400000 | 1800000 | 2200000
| 343221 | RJC-Detention Controls and Instrumentation | 0 | 0 | 0 | 0 | 326000 | 0 | 326000
| 343222 | RJC-Detention Communications and Security | 0 | 0 | 0 | 500000 | 1700000 | 0 | 2200000
| 343223 | Yesler Building Roof Coverings | 0 | 115000 | 0 | 0 | 0 | 0 | 115000
| 343224 | Yesler Building Roof Openings | 0 | 12000 | 0 | 0 | 0 | 0 | 12000
| 343225 | Yesler Building Yesler Toilet room upgrades | 0 | 0 | 0 | 125000 | 0 | 0 | 125000
| 343226 | Yesler Building Stair Finishes | 0 | 0 | 0 | 0 | 0 | 20000 | 20000
| 343227 | Yesler Building Boxes (VAV, Mixing) | 677000 | 550000 | 0 | 0 | 0 | 0 | 1227000
| 343229 | Yesler Building Electrical Service and Dist | 333890 | 461110 | 0 | 0 | 0 | 0 | 795000
| 343230 | Yesler Building Floor Finishes (flrs 1 & 2 cited) | 0 | 0 | 285000 | 0 | 0 | 0 | 285000
| 343231 | Yesler Building Wall Finishes | 0 | 0 | 36000 | 0 | 0 | 0 | 36000
| 343233 | Youth - Alder HVAC Upgrade | 0 | 0 | 0 | 1656993 | 2006156 | 1871472 | 5534621
| 343239 | Youth - Alder Fittings | 0 | 0 | 0 | 55000 | 0 | 0 | 55000
| 343241 | Youth - Spruce Wall Finishes | 0 | 0 | 0 | 62000 | 0 | 0 | 62000
| 343243 | Youth - Spruce Terminal and Package Units | 330000 | 983052 | 0 | 0 | 0 | 0 | 1313052
| 343245 | Youth - Spruce Other Equipment | 0 | 0 | 136000 | 0 | 0 | 0 | 136000
| 343246 | Youth - Spruce Communications and Security | 0 | 0 | 0 | 0 | 613000 | 0 | 613000
| 343248 | PH NDMSC Parking Lots | 201000 | 0 | 0 | 0 | 0 | 0 | 201000
| 343250 | RJC-Detention Electrical Service and Distribution | 75000 | 0 | 0 | 0 | 0 | 0 | 75000
| 343251 | RJC-Detention Park'g Garage Floor Construction | 36000 | 0 | 0 | 0 | 0 | 0 | 36000
| 343252 | Youth - Spruce Exterior Wall Finishes | 103500 | 0 | 0 | 0 | 0 | 0 | 103500
| 343253 | Youth - Spruce Exterior windows | 140800 | 0 | 0 | 0 | 0 | 0 | 140800
| 343254 | Election Warehouse Pedestrian Paving | 0 | 0 | 0 | 0 | 0 | 8800 | 8800
| 343255 | Election Warehouse Distribution Systems | 0 | 0 | 11500 | 0 | 0 | 0 | 11500
| 343256 | KCCF Other Equipment | 0 | 0 | 0 | 0 | 0 | 20000 | 20000
| 343257 | KCCF Stair Finishes | 0 | 0 | 338000 | 0 | 0 | 0 | 338000
| 343258 | Kent Animal Shelter-Office Controls and Instrument | 0 | 0 | 0 | 0 | 3100 | 0 | 3100
| 343259 | Kent Animal Shelter-Office Terminal and Package Un | 0 | 0 | 0 | 0 | 64000 | 0 | 64000
| 343260 | Admin Bldg Fittings | 0 | 0 | 0 | 0 | 0 | 128000 | 128000
| 343261 | Admin Bldg Pedestrian Paving | 0 | 30000 | 0 | 0 | 0 | 0 | 30000
| 343262 | Admin Bldg Stair Finishes | 0 | 0 | 0 | 0 | 0 | 205000 | 205000
| 343263 | Kent Animal Shelter-Office exterior paint | 0 | 15000 | 0 | 0 | 0 | 0 | 15000
| 343264 | PH Auburn Exterior Wall Finishes | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
| 343265 | PH Auburn Other Electrical Systems | 0 | 9000 | 0 | 0 | 0 | 0 | 9000
| 343266 | PH Auburn Site Lighting | 0 | 0 | 0 | 0 | 0 | 2200 | 2200
| 343267 | PH Eastgate Fire Alarm Systems | 0 | 0 | 0 | 0 | 46000 | 0 | 46000
| 343268 | PH Eastgate Testing and Balancing | 0 | 0 | 7500 | 0 | 0 | 0 | 7500
| 343269 | PH Federal Way Controls and Instrumentation | 0 | 0 | 0 | 0 | 0 | 16000 | 16000
| 343270 | PH Federal Way Communications and Security | 0 | 0 | 0 | 0 | 0 | 150000 | 150000
| 343271 | PH NDMSC Distribution Systems | 0 | 35000 | 0 | 0 | 0 | 0 | 35000
| 343272 | PH NDMSC Landscaping | 0 | 0 | 0 | 0 | 10000 | 0 | 10000
| 343273 | PH NDMSC Wall Finishes | 0 | 0 | 0 | 24000 | 0 | 0 | 24000
| 343274 | PH Northshore Fire Alarm Systems | 0 | 0 | 0 | 0 | 31500 | 0 | 31500
| 343275 | PH Renton Lighting and Branch Wiring | 0 | 15000 | 0 | 0 | 0 | 0 | 15000
| 343276 | PH Renton Exterior Wall Finishes | 0 | 0 | 0 | 0 | 0 | 6200 | 6200
| 343277 | PH Renton Wall Finishes | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
| 343278 | PH White Center Distribution Systems | 0 | 0 | 0 | 0 | 0 | 12000 | 12000
| 343279 | PH White Center Exterior Doors | 0 | 0 | 0 | 0 | 0 | 5200 | 5200
| 343280 | PH White Center parking lot | 0 | 0 | 0 | 0 | 0 | 50000 | 50000
| 343281 | Precinct No. 2 Domestic Water Distribution | 0 | 0 | 0 | 0 | 0 | 6300 | 6300
| 343282 | Precinct No. 2 Site drainage pl | 0 | 0 | 20000 | 0 | 0 | 0 | 20000
| 343283 | Precinct No. 2 special structures: | 0 | 0 | 0 | 0 | 0 | 10000 | 10000
| 343284 | Precinct No. 3 Other Elec Systems: | 0 | 52500 | 0 | 0 | 0 | 0 | 52500
| 343285 | Precinct No. 3 Electrical Service and Dist | 0 | 0 | 0 | 0 | 12000 | 0 | 12000
| 343286 | Precinct No. 3 Fittings | 0 | 0 | 0 | 6000 | 0 | 0 | 6000
| 343287 | Precinct No. 3 Interior Doors | 0 | 0 | 0 | 0 | 0 | 11000 | 11000
| 343288 | Precinct No. 3 Lighting and Branch Wiring | 0 | 32000 | 0 | 0 | 0 | 0 | 32000
| 343289 | Youth - Spruce Site Lighting | 0 | 20000 | 0 | 0 | 0 | 0 | 20000
| 343290 | Precinct No. 3 Landscaping | 0 | 0 | 0 | 0 | 0 | 10000 | 10000
| 343291 | Precinct No. 3 Wall Finishes | 0 | 66500 | 0 | 0 | 0 | 0 | 66500
| 343292 | Precinct No. 4 Distribution Systems | 0 | 0 | 0 | 4500 | 0 | 0 | 4500
| 343293 | Precinct No. 4 Domestic water/main | 0 | 0 | 70000 | 0 | 0 | 0 | 70000
| 343294 | Precinct No. 4 Domestic Water Distribution | 0 | 0 | 0 | 0 | 6000 | 0 | 6000
| 343295 | Precinct No. 4 Electrical Service and Dist | 0 | 0 | 11500 | 0 | 0 | 0 | 11500
| 343296 | Precinct No. 4 Interior Doors | 0 | 0 | 0 | 11200 | 0 | 0 | 11200
| 343297 | Precinct No. 4 Lighting and Branch Wiring | 0 | 0 | 0 | 0 | 32000 | 0 | 32000
| 343298 | Precinct No. 4 Parking Lots | 0 | 0 | 26000 | 0 | 0 | 0 | 26000
| 343299 | Precinct No. 4 Plumbing Fixtures | 0 | 0 | 0 | 0 | 16000 | 0 | 16000
| 344500 | Precinct No. 4 Testing and Balancing | 0 | 0 | 0 | 4700 | 0 | 0 | 4700
| 344501 | Precinct No. 4 Exterior Wall Finishes | 0 | 0 | 0 | 0 | 0 | 18500 | 18500
| 344502 | Precinct No. 4 Other Site Construction | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
| 344503 | Precinct No. 4 Site Lighting | 0 | 0 | 1500 | 0 | 0 | 0 | 1500
| 344504 | Records Warehouse Communications and Security | 0 | 0 | 0 | 0 | 8000 | 0 | 8000
| 344505 | Records Warehouse Fire Alarm Systems | 0 | 0 | 0 | 0 | 9000 | 0 | 9000
| 344506 | RJC-Courts Boxes (VAV, Mixing) | 0 | 0 | 0 | 0 | 80000 | 687500 | 767500
| 344507 | RJC-Courts Communications and Security | 0 | 0 | 0 | 0 | 25000 | 0 | 25000
| 344508 | RJC-Courts Controls and Instrumentation | 0 | 0 | 0 | 0 | 0 | 100000 | 100000
| 344509 | RJC-Courts Fire Alarm Systems | 0 | 0 | 0 | 0 | 0 | 127746 | 127746
| 344510 | RJC-Courts Hot Water Heaters | 0 | 0 | 0 | 0 | 15000 | 0 | 15000
| 344511 | RJC-Courts Roadways | 0 | 0 | 0 | 0 | 15000 | 0 | 15000
| 344512 | RJC-Courts Communications and Security | 0 | 0 | 0 | 0 | 100000 | 1016904 | 1116904
| 344513 | RJC-Courts Wall Finishes | 0 | 100000 | 100000 | 0 | 0 | 0 | 200000
| 344514 | RJC-Detention Distribution Systems | 0 | 0 | 0 | 0 | 0 | 80000 | 80000
| 344515 | RJC-Detention Heating Gas Meter | 0 | 195500 | 0 | 0 | 0 | 0 | 195500
| 344516 | RJC-Detention Boxes (VAV, Mixing) | 0 | 0 | 0 | 500000 | 548466 | 0 | 1048466
| 344517 | RJC-Detention Floor Finishes | 0 | 0 | 0 | 0 | 0 | 50000 | 50000
| 344518 | RJC-Detention Heat Generating Systems | 0 | 0 | 0 | 0 | 375000 | 0 | 375000
| 344519 | RJC-Detention Pedestrian Paving: | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
| 344520 | RJC-Detention Fire Alarm Systems | 0 | 0 | 0 | 415000 | 0 | 0 | 415000
| 344521 | RJC-Detention Parking Lots | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
| 344522 | Yesler Building Exterior Walls | 0 | 0 | 0 | 520000 | 0 | 0 | 520000
| 344523 | Yesler Building Communications and Security | 0 | 0 | 0 | 0 | 141344 | 0 | 141344
| 344524 | Yesler Building Controls and Instrumentation | 0 | 0 | 0 | 0 | 75000 | 0 | 75000
| 344525 | Yesler Building Hot Water Heaters | 0 | 0 | 0 | 0 | 39000 | 0 | 39000
| 344526 | Yesler Building Ceiling Finishes | 0 | 0 | 0 | 150000 | 0 | 0 | 150000
| 344527 | Youth - Alder Hot Water Heaters | 0 | 0 | 77000 | 0 | 0 | 0 | 77000
| 344528 | Youth - Spruce Electrical Service and Dist | 0 | 0 | 0 | 0 | 63000 | 0 | 63000
|  | Total - Fund 3421 | 10916918 | 11201003 | 10501818 | 10725757 | 10956463 | 11285157 | 65587116