| Review of the North City 2020 Water System Plan |
| --- |
| Service Area North City Water District’s (District) service area extends from the southern border of Mountlake Terrace on the north to State Route 523 on the south, and from approximately Interstate 5 on the west to Lake Washington on the east. The retail service area includes portions of the cities of Shoreline and Lake Forest Park. The service area is nearly fully developed. As of 2019, the District served a population of approximately 25,512 residents providing water for approximately 11,073 equivalent residential units (ERU) through 8,161 service accounts. The District was originally created as King County Water District #42, then became Shoreline Water District, then recently was renamed to North City Water District. The District has remaining annexation areas available and has some boundary inconsistencies with Lake Forest Park Water District affecting some 34 parcels, wherein North City serves about 22 properties within Lake Forest Park’s boundary, while Lake Forest Park serves 2 properties within North City’s boundary; the remaining parcels are in an unannexed area between the two providers. This planning process has clarified the service inconsistencies, but no annexation or boundary review changes have begun. The District does not hold a franchise with the County given there are no unincorporated areas within its service area. Water Use Efficiency The District obtains its water from Seattle Public Utilities (SPU). Additionally, the District maintains two emergency interties with Mountlake Terrace. Average daily demand per ERU averaged 145 gallons per day, but the utility is seeking to lower that to 140 gallons per day through conservation efforts. With conservation, average per capita water use was 67 gallons per day in 2017. The annual distribution system loss rate (how much water they lost in distribution) has averaged 6.7 percent over the last six years. The three-year rolling average distribution system loss is 4.5 percent. Anything less than 10 percent does not require action by the provider, per state law and industry standard. The Plan contains a ten-year capital improvement plan with an estimated cost of approximately $29.2 million. The District identified multiple funding sources for the proposed improvement projects: water sales, connection charges, utility local improvement district (ULID) financing, developer extensions, bonds, and state or federal grants and/or loans. Total water operating revenues for the District in 2018 were estimated to be $7,241,396 and same year operating expenses were estimated to be $6,202,413. Reclaimed Water and Regional Planning SPU completed an Economic Analysis of the North Seattle Reclaimed Water in 2010. The overall conclusion to the study was that it would not be a sound investment for the region due to the high costs, a low level of benefits and the availability of much lower-cost alternatives for achieving comparable benefits. While the District did not do an independent analysis, it is not financially in the District’s best interest to seek out and develop reclaimed water potential opportunities independent of the wholesale or regional systems. SEPA The District completed a State Environmental Policy Act checklist and subsequently issued a Determination of Nonsignificance for the issuance of the plan on March 17, 2020; there were no appeals. |
| A review of the specific statutes, rules, codes and policies to the water system plan is as follows: |
|  | A. General water plan, King County Code (KCC) 13.24.010 and 13.28 | Comments/findings |
| (1) | Review is applicable to water utilities distributing or obtaining water in unincorporated King County, and/or utilities that are special purpose district created pursuant to Title 57 Revised Code of Washington (RCW). Is there a need to meet the consistency requirements of RCW 43.20.260? | Yes, the District's Water System Plan (Plan) is subject to King County Council approval under Title 57 RCW. Yes, The Washington State Department of Health (DOH) also needs to demonstrate consistency for the Plan under RCW 43.20.260. |
| (2) | Consistency with King County Comprehensive Plan (KCCP) and development regulations, and policies including KCC 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | Yes, the District's Plan is consistent. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | Yes, the District used adopted land use maps in the Cities of Shoreline and Lake Forest Park. |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility's approved plan, and ability to meet duty to serve requirement. | The District is currently serving three areas outside of its boundary that it would like to formally annex. (Fig 2-1) |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates an ability to provide service consistent with applicable statutes, codes, rules and regulations. The District obtains its water from Seattle Public Utilities (SPU) regional pipelines. The District’s water supplies appear sufficient to meet projected annual demand of 687 million gallons in 2039. |
| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved Coordinated Water System Plan (CWSP). | The District is within the East King County Coordinated Water System Plan. The District’s water use efficiency plan identifies conservation activities which the District employs as part of its long-range conservation plan. The District’s conservation measures include customer education, metering/auditing program, and rebates. |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | State and local health requirements. | Yes, water purveyed meets State and local health requirements per reporting in the SENTRY system. |
| (8) | Creation and maintenance of logical service areas. | Yes, the service area boundary itself is logical, but actual service has varied from established boundaries. The district is considering changes to reflect actually served properties. |
| (9) | Elimination or prevention of duplicate facilities. | Yes. The District intends to provide service within its service area by means of direct connection. The District provides wholesale service to the Department of Social and Health Services Fircrest School, but proposes taking over direct service. |
| (10) | Promotion of most healthful and reliable services to the public. | Yes. Water purveyed by the District complies with DOH requirements. The water is chlorinated and fluoridated by SPU. No complaints have been reported in the last five years. |
| (11) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Cost of service is comparable to other water districts in the region. |
| (12) | King County Comprehensive Plan and other pertinent county adopted plans and policies. | Yes, there is consistency between the District's Plan and the King County Comprehensive Plan. |
| (13) | Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (Ecology) or Department of Health (DOH). | The District has not been involved in multi-basin water plans. The District neither collects nor treats wastewater. |
| (14) | Applicable state water quality, water conservation, and waste management standards. | Yes, applicable standards are met. The District does coliform monitoring in keeping with State guidelines. The District's three-year rolling average distribution system loss (non-revenue or unaccounted-for water) is 4.5% which is well under the statutory goal. |
| (15) | Water Resources Act (RCW 90.54). | The District will maintain its existing conservation (efficiency) program while complying with DOH’s Water Use Efficiency Rule. |
| (16) | Growth Management Act (GMA) (RCW 36.70A). | The retail service area has 8,161 service connections, and due to reliance on SPU water, receives an “unspecified” allotted maximum number of connections from the State Department of Health. The entire service area is within the Urban Growth Area. |
| (17) | Groundwater management plans. | The District obtains all of its source water from the SPU Tolt and Cedar pipelines. |
| (18) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | The Water District does not have surface water usage or discharge which might affect sensitive species or recovery plans. |
|  | Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | The Water District does not have surface water usage or discharge which might affect sensitive species or recovery plans. |
| (19) | C: Countywide Planning Policies |  |
| (20) | G-4: Adopt comprehensive plans that are consistent with the Countywide Planning Policies as required by the Growth Management Act. | Yes, the District adopted a plan that is consistent with Countywide Planning Policies. |
| (21) | EN-19: Promote energy efficiency, conservation methods and sustainable energy sources to support climate change reduction goals. | Not discussed in Plan. |
| (22) | DP-13: All jurisdictions shall plan to accommodate housing and employment targets. This includes coordinating water, sewer, transportation and other infrastructure plans and investments among agencies, including special purpose districts. | Yes, the District asserts it can accommodate population and employment targets of the cities within its service area. |
| (23) | PF-2: Coordinate among jurisdictions and service providers to provide reliable and cost-effective services to the public. | Yes, the District has coordinated with Mountlake Terrace with interties for emergency supply and obtains its water via interties with SPU. |
| (24) | PF-4: Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | The increased water usage associated with population growth within the District can be met using existing water supply sources and historic production levels. |
| (25) | PF-7: Plan and locate water systems in the Rural Area that are appropriate for rural uses and densities and do not increase the development potential of the Rural Area. | The District’s service area does not include any rural area. |
| (26) | PF-8: Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | Yes, the District has agreements with Mountlake Terrace and SPU for interties and emergency back-up. |
| (27) | PF-9: Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | The water conservation and efficiency efforts of the District meet the statutory minimum required by WAC Ch. 246-290. The distribution system loss in 2017 was three percent with a three-year rolling average of 4.5 percent. The distribution system loss is within or meets State standards of 10% WAC Ch. 246-290. |
|  | PF-10: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | The plan does not consider reclaimed water use, as the utility does not have reclaimed water infrastructure or a source. |
| (28) | D: King County Comprehensive Plan (KCCP) |  |
| (29) | F-107: With special purpose districts or local service providers, plan for provision of services to rural areas. | The District’s service area does not include any rural area. |
| (30) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | Yes, King County will continue do this. |
| (31) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act and the Clean Water Act. | The District’s provision of water service doesn’t rely on impaired waters or habitat; the District meets the Clean Water Act through its compliance with DoH regulations. |
| (32) | F-209: In the Rural Area, services provided by agencies should support a rural level of development and not facilitate urbanization. | The District’s service area does not include any rural area. |
| (33) | F-210: capital facility plans and capital improvement programs for services to unincorporated King County are consistent with the KCCP. | Yes, the District's Capital Improvement Plan is consistent with the KCCP and future land use. |
| (34) | F-211: King County helps coordinate development of utility facilities with other projects that utilize public rights-of-way and easements, where possible. | Not applicable, as the District’s activities occur within city rights-of-way. |
| (35) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable as the District did not identify an inability to meet service needs within its service area. |
| (36) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies. | Not applicable as the District did not identify an inability to meet service needs within its service area. |
| (37) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs. | The District obtains its water from Seattle Public Utilities and sells wholesale to the Fircrest system within its District boundary. Reclaimed water is not available at this time. |
| (38) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the county for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service area. | The District does not provide water to unincorporated areas. The District is a special purpose district formed under Title 57 RCW. The District can meet its duty to serve in the designated retail service area. |
| (39) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, Endangered Species Act response requirements and Clean Water Act requirements. | The District has an intertie with Mountlake Terrace to provide emergency water supply, with SPU for supply, and with Fircrest for wholesale sales. Interties are consistent with applicable plans. |
| (40) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County's Water Reclamation Evaluation Checklist. | Pursuant to a 2010 SPU study, there has been no additional regional provision of reclaimed water in the area. Furthermore, the District is only a purveyor of water and doesn’t have a sewer utility to obtain a reclaimed water source. |
| (41) | F-251: In its review of water system plans, the UTRC shall consider the criteria provided in K.C.C. 13.24.010, 13.24.060, and 13.24.070, and determine the plan's consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The county's Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by King County, as specified in UTRC guidance or checklists. | The UTRC has reviewed the planning data and the District's operations and has found the Plan is consistent with: a. the King County Comprehensive Plan, land use plans and development regulations; b. to the extent applicable, the basin plans, groundwater plans, watershed-based conservation and recovery plans for the service area; and c. other applicable provisions. |
| (42) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | Not applicable as the District is not changing its water service area yet, but will in the future to accurately reflect actual service provided. |
| (43) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | Not applicable as the District does not control any surface water reservoirs or watersheds. |
| (44) | F-254: Groundwater-based public water supplies should be protected by preventing land uses that may adversely affect groundwater quality or quantity to the extent that the supply might be jeopardized. The county shall protect the quality and quantity of groundwater used as water supplies through implementation of Policies E-493 through E-497 where applicable. | Not applicable at this time as the District's source of water is SPU surface water. The District does not have a Well Head Protection Program as it has no groundwater wells. |