UTRC Review of the King County Water District No. 125 Water System Plan, March 2006

King County Water District (District) No. 125 is comprised of three former water districts: King County Water District Nos. 35, 38, and 43. In 1975, Water District Nos. 35 and 38 merged to form an enlarged Water District 38. Water District Nos. 38 and 43 consolidated two years later to form the existing King County Water District No. 125. Service Area The District’s service area extends from State Highway 599 and the Duwamish River on the north and south to State Highway 518, Des Moines Way South on the west; and Beacon Avenue and 53rd Avenue South on the east. While the majority of the District is west of Interstate Highway 5, a small area of the District lies east of the Duwamish River, in an unincorporated area of King County, referred to as Skyway Hill. As of 2008, the District served a population of approximately 14,760, through an estimated 3,350 water service connections. The service area is surrounded by the service areas of neighboring water purveyors and is not expected to change. The District serves within the corporate limits of the cities of SeaTac, Burien, and Tukwila, and the eastern portion of the District is located within unincorporated King County. The District’s franchise is currently being reviewed by King County for renewal. Water Use Efficiency The District obtains its water from Seattle Public Utilities for its primary source of supply. Approximately 34 percent of the District’s supply is purchased from Seattle through the King County Water District No. 20 system. Additionally, the District maintains emergency interties with the City of Tukwila. Water use within the District averaged approximately 1.43 million gallons per day (mgd) from 2006-2008 and by the year 2030 is anticipated to reach over 1.91 mgd. The District’s average water use per equivalent residential unit in 2008 was 184 gallons per day. The District is in compliance with the Washington State Department of Health’s Water Use Efficiency Rule. The Plan contains an ambitious six-year capital improvement plan with the cost estimated to be approximately $5.2 million. The District identified three funding sources for the proposed improvement projects: developer extensions, rates, and general facility charges. Total water revenues for the District in 2008 were $2,578,570. Reclaimed Water and Regional Planning The District recognizes the value of reclaimed water as a means to conserve and extend the useful life of the potable water supply. The District will work with its customers and King County as appropriate to assess the feasibility of using reclaimed water for various non-potable water needs. SEPA The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, re-issued a determination of non-significance for the issuance of the Plan on October 30, 2009.

| A review of the specific statutes, rules, codes, and policies to the water system plan is as follows: |
| --- |
|  | A. General and water and sewer plan: King County Code 13.24.010; 13.28 | Comments/findings |
| (1) | Review is applicable to special purpose districts organized under Title 57 Revised Code of Washington (RCW). Is there a need to meet the consistency requirements of RCW 43.20.260? | Yes, the King County Water District No. 125’s 2006 Water System Plan (Plan) is subject to King County Council approval under Title 57 RCW. The Washington State Department of Health (DOH) also needs to demonstrate consistency for the Plan under RCW 43.20.260. The District self-certified consistency with the City of SeaTac’s comprehensive plan. The cities of Tukwila and Burien affirmed consistency between their comprehensive plans and the plan of the water district. |
| (2) | Consistency with King County Comprehensive Plan and Development regulations, and policies including King County Code (KCC) 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | Yes, the District’s 2006 Plan is consistent. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | Yes. The District used adopted land use maps. The service area is in the cities of SeaTac, Burien, Tukwila, and a portion of unincorporated King County. |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility’s approved plan, and ability to meet duty to serve requirement. | The service area is not expected to change. The District maintains duty to serve policies for its retail service area. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates an ability to provide service consistent with applicable statutes, codes and regulations. The District obtains its water from Seattle Public Utilities (SPU). The average daily demand for 2006-2008 was 1.43 mgd. The projected daily demand in 2030 is approximately 2.05 mgd without conservation and 1.95 mgd with conservation. The District’s water supplies appear sufficient to meet projected maximum daily demand in 2030. |

| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved Coordinated Water System Plan (CWSP). | A portion of the District is within the Skyway CWSP. The District is participating, along with SPU, in the Saving Water Partnership. The District’s water use efficiency plan identifies conservation activities which the District employs as part of its long-range conservation plan. All of the activities have been identified by the Washington State Departments of Health and Ecology in the State’s “Conservation Planning Requirements”. KCC 13.28 relates to the coordinated water system plans (CWSP) and conservation goals. For purveyors within the Skyway CWSP the code called for a 6.5 percent per capita reduction in water use from 1990 – 1995 and a reduction of 8 percent between 1990- 2000. The District achieved a 9 percent reduction in per capita water use from 1990 – 1995 and also met the goal for the 1990-2000 time period. The CWSP does not have conservation goals identified after the year 2000; however the District has continued to incrementally reduce its annual average per capita consumption. |
| --- | --- | --- |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | State and local health requirements. | Yes. |
| (8) | Creation and maintenance of logical service areas. | Yes, the service area is logical. |
| (9) | Elimination or prevention of duplicate facilities. | Yes. The District intends to provide service within its service area by means of direct connection. Satellite management is not being contemplated by the District. The District maintains emergency interties with the City of Tukwila and King County Water District 20. |

| (10) | Promotion of most healthful and reliable services to the public. | Yes. Water purveyed by the District complies with public health standards. The hydraulic analysis of the District’s system identifies the need for improvements to fire flows in residential areas with undersized and dead-end mains. The existing combination of water sources provides sufficient capacity to meet the requirements of the District through 2030. The District will investigate options for future use of water rights. |
| --- | --- | --- |
| (11) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Yes, the District’s rates for water service are comparable to the rates charged by similar utilities. The District has adopted a graduated rate structure to encourage efficiency of water use. |
| (12) | King County Comprehensive Plan and other pertinent county adopted plans and policies. | Yes, there is consistency between the District’s Plan and the King County Comprehensive Plan. |
| (13) | Basin-wide or multibasin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (Ecology) or DOH. | The District has not been involved in multibasin water plans, although it does take part in SPU initiatives. The District neither collects nor treats wastewater. The Plan is consistent with the Skyway CWSP as a portion of the District is located within the CWSP area. |
| (14) | Applicable state water quality, water conservation, and waste management standards. | Yes, applicable standards are met. The District receives treated water from SPU which does all the testing. The District is responsible for lead, copper, and coliform monitoring. The District’s water use per equivalent residential unit (ERU) in 2008 was 184 gallons per day. The average use per ERU has declined steadily over recent years, in part, due to conservation efforts. From 2006-2008, the average system unaccounted for water rate for the District is estimated at 8.3 percent, which is currently below the ten percent requirement established under the Municipal Water Law. The District is committed to staying below the ten percent standard. The District participates in the regional conservation program. |
| (15) | Water Resources Act (RCW 90.54). | The Plan makes no connection with the requirements of RCW 90.54.180 or RCW 90.03.386. The District will maintain its existing conservation (efficiency) program while complying with DOH’s Water Use Efficiency Rule. |
| (16) | Growth Management Act (GMA) (RCW 36.70A). | The District assessed population data from the Puget Sound Regional Council data in forecasting future water demand. Since the District includes a small unincorporated area, it appropriately used land use zoning of King County for that area. The District’s demand projection does not consider Growth Management Planning Council population and employment targets for the respective cities. |
| (17) | Ground water management plans. | The District owns seven separate ground water wells but does not currently use the water from them. There is no wellhead protection plan mentioned for asserted water sources. |
| (18) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | The District states that it complies with all permit requirements associated with construction of its new utility systems to reduce the threat of impacting endangered species. |
| (19) | Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | Not applicable. |
| (20) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW and CO-7. | The Plan discusses briefly the use of reclaimed water, and recognizes the value of reclaimed water as a measure to conserve and extend the useful life of the potable water supply. |
|  | C. King County Comprehensive Plan—consistency with provisions and specific policies (Water System Plan) |  |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (21) | FW-5: management of resources for multiple beneficial uses, including flood and erosion hazard reduction. | Not applicable. |
| (22) | FW-12(c): ensure sufficient water supply for growth and fish habitat needs through long-term planning. | Sufficient water supply for projected growth is available. No apparent linkage and little relevance of the Plan to fish habitat needs. |
| (23) | CA-5, CA-6, and E-434 and policies to protect quantity and quality of ground water. | Not applicable. The District does not use ground water. |
| (24) | CO-5: water supply shall be regionally coordinated. | Yes, the District’s supply is regionally coordinated, since it purchases its water from SPU. The eastern portion of the District is in unincorporated King County, and is located within the Skyway Critical Water Supply Service Area; which makes the District’s Plan subject to consistency with the Skyway CWSP. |
| (25) | CO-6: aggressive conservation efforts shall be implemented. | The District has a conservation program in place which meets all state requirements. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (26) | F-102: King County will provide or manage countywide services, which include wastewater, water resource management, surface water management, flood warning and floodplain management, protection and preservation of natural resource lands. | Yes, for that portion of the service area that is in unincorporated King County. |
| (27) | F-104: plan for provision of services to rural areas. | Not applicable. The District service area is entirely within the Urban Growth Area. |
| (28) | F-105: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The capital improvement program (CIP) is adequate and appropriately focused. |
| (29) | F-201: all facilities and services should be provided in compliance with provisions and requirements of the ESA. | The District states that it complies. |
| (30) | F-202: ensure adequate supply of public facilities to support communities. | Yes, the District has sufficient water supplies and has an arrangement for emergency supply from the City of Tukwila and King County Water District No. 20. |
| (31) | F-203: King County will work with cities, special purpose districts, and other service providers to define regional and local services and determine appropriate providers. | Yes. |

| (32) | F-208: support rural levels of development and not facilitate urbanization. | Not applicable. The District service area is entirely within the Urban Growth Area. |
| --- | --- | --- |
| (33) | F-209 and F-212: capital facility plans and improvement programs for services to unincorporated King County are consistent with the King County Comprehensive Plan. | Yes, the CIP is consistent with the King County Comprehensive Plan. |
| (34) | F-210: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (35) | F-215: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (36) | F-217: where an area-wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | No area-wide water deficiency is identified. |
| (37) | F-225: King County supports coordination of regional water supply planning, sales of excess water among municipalities, water quality programs, and water conservation and reuse programs. | The District has agreements with three of its neighboring utilities for purchases of water for both primary supply (SPU) and on an emergency basis (Water District No. 20 and the City of Tukwila). |
| (38) | F-226: Group A water systems must meet duty to serve requirement within service area as defined under CWSP or by individual water system plans. | Yes, the District is committed to meeting its duty to serve. A portion of the District is located in the Skyway CWSP. Also see comments 4 and 5. |
| (39) | F-227-231: provides a hierarchy of water supply providers in unincorporated King County, depending on whether within UGA or rural areas, with preference for providing water from existing suppliers. | The District recognizes its duty to serve within its service area and is committed to providing water to all its customers within its service area by direct connection. Since it can provide water by direct connection, the District sees no need to consider providing satellite management services. |
| (40) | F-237: King County supports the use of interties consistent with planning, and implementation of approved ESA and Clean Water Act response requirements. | The District is supplied through connection to SPU’s distribution system. The District also has emergency interties with King County Water District No. 20 and the City of Tukwila. |
| (41) | F-239: King County partners with utilities to encourage best management practices and conservation through such means as developing reclaimed water, aggressive water conservation and reuse measures; support planned land uses with reliable service at minimum cost; encourage reclaimed water use, focused on large water users such as golf courses and cemeteries. | King County is willing to work with the District on these issues, particularly the evaluation of reclaimed water opportunities. |
| (42) | F-240: Utilities Technical Review Committee (UTRC) to consider (a) consistency with land use plans and development regulations; (b) approved or adopted plans for ground water, ESA, salmon recovery, water resources, watershed planning, regional water supply plan; and (c) the Regional Wastewater Services Plan. | The UTRC did consider the given issues and recommends approval of the Plan. |
| (43) | F-241: in reviewing proposals for modified and expanded service area boundaries, the UTRC must include an evaluation of the utility’s compliance with its comprehensive water system plan, including water conservation elements, and whether it can meet its duty to provide service; no approval of service area where unable to provide service for reasons in RCW 43.20.260. | The District is not changing its service area and really cannot expand as all surrounding areas are served by other purveyors. |
| (44) | F-243: public drinking water system reservoirs and watersheds should be managed primarily to protect drinking water supplies, but allow multiple uses when not jeopardizing water quality; downstream uses including recreation, fish, and agricultural resources. | The District jointly owns a water storage reservoir with Water Districts 20 and 45, which gives District No. 125 a 25 percent share, or 1.5 million gallons, of the storage capacity. The District also has joint ownership of a reservoir in the eastern portion of the District with the Skyway Water and Sewer District. |
| (45) | F-244: ground water supplies should be protected by preventing land uses that may adversely affect quantity or quality. | Not applicable. The District gets all of its water from SPU. |