March 15, 2010

The Honorable Bob Ferguson

Chair, King County Council

Room 1200

C O U R T H O U S E

Dear Councilmember Ferguson:

Enclosed for King County Council consideration is an ordinance approving the City of Redmond (City) General Sewer Plan (Plan), November 2009.  The Utilities and Technical Review Committee (UTRC) reviewed a draft of the Plan in November 2009.  The Plan has been reviewed and approved by the Washington State Department of Ecology, as required under chapter 90.48 RCW.  The UTRC recommends approval of the Plan as meeting the requirements of Washington state law and the KCC.

Approval of the Plan is required under King County Code (KCC) 13.24 as a prerequisite to granting county right-of-way franchises and construction permits.  Approval of the Plan is also required under KCC 28.84 as the City is a component agency of the regional system.  Approval of the Plan will indicate to Washington state regulatory agencies that the Plan is consistent with the King County Comprehensive Plan.

The principal operational issue in the Plan, aside from extending service to small areas without sewer service, is inflow and infiltration into the City’s facilities during rain events.  The City is cooperating with the county to investigate the origins and magnitude of those flows from different portions of its service area, using a multiyear series of tests and metering of wastewater flows into the City’s system.  The City anticipates working with the county to develop a strategy for reducing those flows as part of the regional program.

On July 31, 2009, the City issued a Determination of Non-significance for the Plan in accordance with the State Environmental Policy Act.

An enclosed matrix provides additional information regarding the City’s compliance with KCC requirements and consistency with the King County Comprehensive Plan.

I appreciate the City’s cooperation in submitting the Plan and working with the UTRC review process.  If you have any questions about the Plan or the proposed ordinance, please feel free to contact Steve Hirschey, Chair of the Utilities Technical Review Committee, at 206-205-0817.

I urge the council to adopt the enclosed ordinance approving the City’s Plan.

Sincerely,

Dow Constantine

King County Executive

Enclosures

cc:	King County Councilmembers

ATTN:  Tom Bristow, Chief of Staff

Anne Noris, Clerk of the Council

Lynn Arakaki, Civil Engineer, City of Redmond

Diane Roberts, Project Manager, R.W. Beck

Dwight Dively, Director, Office of Management and Budget

Bob Burns, Interim Director, Department of Natural Resources and Parks

Steve Hirschey, Chair, Utilities Technical Review Committee