2011 Monthly Sewer Rate and Capacity Charge Issue Paper

Funding Our Clean-Water Utility

April 15, 2010

Table of Contents			              Page

Introduction of the Executive’s 2011 Sewer Rate Proposal			2

1.   2011 Monthly Sewer Rate Options					2

2.   Rate Stabilization Reserve						5

3.   Operating Revenues and Expenses					6

4.   Capital Program Spending						7

5.   Capital Accomplishment Rate						8

6.   Residential Customer Equivalents and New Connections		9

7.   Capacity Charge								10

8.   Bonds and Interest	 Rates							11

9.  Impacts of Adopting Other Rate Scenarios				12

10.   Summary of Rate Components of Change				13

11.   Summary of Rate projections and Assumptions				14

12.   Comparison of King County Rates with Comparable Jurisdictions	15

As the King County Executive, I am proposing a 2011 monthly sewer rate of $35.15 per residential customer equivalent (RCE), which represents an increase of ten and two-tenths percent over the current rate that was adopted by the King County Council in 2008 and 2009.  Additionally, I am proposing a monthly capacity charge of $50.45 for 2011, an increase of two and eight-tenths percent from the current 2010 rate.

This paper presents a discussion of the key factors in developing this 2011 rate and capacity charge proposal.  It also discusses compliance with the financial policies adopted by the council and included in the King County Code, Section 28.86.160.

1. 	2011 Monthly Sewer Rate Options

The last sewer rate increase was approved in June 2008, resulting in a rate of $31.90 effective January 1, 2009.  At that time, the Executive had presented several rate scenarios and proposed a single-year rate of $30.20.  The proposed single-year rate was based on debt service structures for bonds to be issued in 2008 and 2009 as follows: 1) the debt service would be interest only (principal deferred) through 2013, and 2) a portion of the interest from the 2008 and 2009 bonds would be capitalized until the start of Brightwater, estimated to be June 2011.  The final element was the use of the rate stabilization reserve to mitigate the volatility in future rates. The council preferred a “stable-rate” option with a rate that would be maintained in both 2009 and 2010.  The resulting adopted two-year rate of $31.90 required the same debt service structures as the Executive’s single-year proposal while incorporating a different pattern of rate stabilization use.

These same rate management tools were assessed in various combinations before arriving at the current proposal. The basic alternatives analyzed included varying levels of rate management ranging from a minimum rate to managing rate patterns through 2015. Each of these alternatives are characterized by their planned one-year or two-year duration, and the relative use of debt service structures including level principal and interest; interest-only payments; and capitalized interest.  The characteristics of the basic alternatives are summarized in the following table.

The resulting sewer rates associated with these options are presented in the following table.

In the Executive’s proposal (option 5), the bonds issued in 2010-12 will require interest-only payments through 2013.  After 2013, debt service will revert to level principal and interest.  In addition, the first two years of interest from bonds issued in 2010 would be

capitalized.  No further use of capitalized interest is assumed beyond 2010.  This will lead to a 2011 rate that is higher than option 4 by $1.15 but will result in a financial policy that is more fiscally prudent in managing long-term rates.

All of the options presented above include varying patterns of contributions and withdrawals from the rate stabilization reserve.  In all options the reserve is assumed to be fully used by the end of 2014.  The rate stabilization reserve and its role in rate management are discussed in more detail in the following section.

2.	Rate Stabilization Reserve

A rate stabilization reserve allowing for deferral of operating revenues into a future year was used to help manage rate patterns starting with the 2005-2006 sewer rates.  In the Executive’s proposed rate of $35.15, rate stabilization reserve funds accumulated through 2010 will be utilized to manage rate increases in 2011 to 2014.  The proposed rate of $35.15 uses a relatively modest $2.4 million of the rate stabilization reserve in 2011.

In all options it is assumed that the rate stabilization reserve balance will be zero entering 2015.  Projections indicate the further use of rate stabilization past 2014 may not be necessary.  This future period of relatively small projected rate increases reflects three major elements:

- completion of the Brightwater project with a return of the capital program to lower, longer-run levels;

- the growing importance of the capacity charge as a share of total revenues; and

- funding a larger share of the capital program from transfers of cash from the operating fund.

As shown in the table below, the projected rate stabilization reserve balance of nearly $46 million at the end of 2010 will decrease by $2.4 million in 2011.  Thereafter, the reserve will be drawn down by $8.2 million in 2012; $16.8 million in 2013 and $18.4 million in 2014.  This pattern of rate stabilization usage maintains the utility’s required debt service coverage ratio of 1.15.

| Rate Stabilization Reserve Balance | 2010 | 2011 | 2012 | 2013 | 2014 |
| --- | --- | --- | --- | --- | --- |
| 2011 Rate Proposal | $45.8 M | $43.4 M | $35.2 M | $18.4M | $0.0M |

While the rate stabilization fund provides a means of managing the rate increases through this period of extraordinary activity for the Wastewater Treatment Division (WTD) it is only one of the tools of rate management.  Cost containment is another key element.

WTD was directed to scrutinize all planned capital and operating expenditures with the goal of making reductions while continuing to protect the public health and environment. The following sections provide further detail on the progress made in managing costs in the operating and capital programs of the WTD and how they affect the current proposal.

3.	Operating Revenues and Expenses

Operating revenues are projected to increase to $346 million in 2011, an increase over the 2010 budget of fourteen and eight-tenths percent.  In addition to additional revenue from the higher rate ($25.5 million out of a total increase of $42.1 million), various other revenues will show moderate increases.  These include revenues from septage and industrial waste fees.  It should be noted that RCEs (see discussion below) are projected to decrease in 2011 by approximately one-half percent.

Operating expenses in 2010 are planned at $106.8 million, or three and seven-tenths percent higher than 2009 actual results.  For 2011, WTD is projecting operating expenses to be $111.2 million, an increase of four and one-tenth percent over 2010.  Various factors are contributing upward pressure on operating expenditures in this period, including higher labor costs and the onset of operating costs for Brightwater (expected to begin in mid-2011).

WTD has taken numerous steps to control operating costs, including:

- New facilities in Vashon and Carnation as well as Brightwater have or will open with no new full time employee positions (FTEs).  This represents a savings of 28 FTE’s worth $2.9 million.

- $1.7 million in operating reductions in 2010 including the reduction of 2 FTE’s and 3 term limited temporary positions; negotiated extension of the polymer price contract; biosolids contract reductions; suspension of WTD's intern program and summer help; and redesign of the customer audit program.

- Reducing the 2011 operating transfer to the Water and Land Resources Division (WLRD) by $1.2 million; WTD and WLRD will conduct a thorough review of all of their services and programs to ensure the work is aligned with strategic plan priorities.

- Elimination of the Culver Program; historically, one and one-half percent of WTD’s operating budget is transferred to WLRD for the Culver Program.  In 2010, $1.36 million of these funds were not appropriated with the intent of providing rate relief from expenditures associated with the Howard Hansen Dam.  In 2011 and 2012, the transfers associated with the Culver Program would have totaled $1.58 million and $1.68 million, respectively. Eliminating this program reduces the monthly sewer rate by $0.20.

Continuation of WTD's productivity initiative through March 2011, which has resulted in $68 million in operating cost savings over the years 2001 to 2009.

- Changing the insurance program by using the existing $15 million asset management reserve to self-insure selected facilities based on a review of historical claims, asset values and projected future insurance rates resulting in a reduction of $250,000 in insurance premiums

- Additional 2011 reductions and efficiencies include chemical reductions at the treatment plants; efficiencies in digester cleaning and disposal; implementation of a new IT equipment replacement plan; reduced number of vehicles in WTD’s fleet; and decentralizing billing processes for sewer, septage and industrial waste customers.

4.	Capital Program Spending

Capital spending in 2010 is estimated at $366 million before significantly moderating to $210 million in 2011.  In subsequent years, capital expenditures will drop significantly, to $108 million in 2012, $127.5 million in 2013 and $130 million in 2014.  Comparing the current forecast to the financial plan of the 2009 Budget several things are worth noting.  First, actual expenditures in 2009 were nearly $68 million less than predicted ($455.5 million compared to the previous estimate of $523.5 million).  This resulted primarily from delays with the Brightwater conveyance project.  These delays will move the expenditures planned for 2009 into both 2010 and 2011.

Secondly, efforts by the WTD to reduce capital expenditures during the period of peak demand for Brightwater while managing the risk of delay resulted in completion date modifications for the following projects:

- Combined sewer overflow (CSO) projects Magnolia, Murray, North Beach and Barton were started in 2007 with completion dates ranging from 2011 to 2012. Additional analysis and assessment of alternatives has moved the completion dates of these projects into the future.  These projects are now expected to be completed in 2015 to 2016.

- The Southwest Interceptor project, originally scheduled for completion in 2010, was split into two projects, the first of which will be completed in 2014.

- The Ballard Siphon project was started as an emergency in 2008, to be completed in 2009.  Further study and inspection allowed completion to be safely moved out to 2013.

- The Sunset/Heathfield Pump Station Replacement and Forcemain Upgrade were originally scheduled to be completed in 2014.  Completion has been extended to 2017.

- The South Plant Phase III /Odor Control project’s completion date of 2015 has been extended to 2017.

Two projects were reduced in scope or cancelled:  the Regional Wastewater Services Plan Local Systems Inflow and Infiltration project was reduced in scope, resulting in a

savings of $4.9 million and the Black Diamond Storage Facility project has been cancelled resulting in a capital reduction of $13.6 million.

Offsetting some of the reductions and delays noted above, are a number of new projects and updated cost estimates resulting in planned increases in spending during the period.

- Fremont Siphon Repair.  This is a new project to replace this 98 year old pipe.  The estimated cost is $67.9 million, with completion expected in 2016.

- CSO Control and Improvement Projects at Murray and Magnolia.  Previous cost estimates for these projects of $16 million were from 1995 conceptual planning estimates.  As alternatives analysis has progressed new estimates, depending on which design alternatives are selected, range from $44 million to $47 million.

- Influent Screening at West Point.  This new project will design and construct the West Point Treatment Plant’s influent screening facilities to meet new State biosolids management regulations. The estimated cost is $24.9 million,

- Interbay Pump Station upgrade. Additional design work was performed to rephase the construction associated with a new emergency generator.  This reflects changes in construction sequencing, equipment and material price increases.  The estimated cost has been increased by $8.7 million.

The Brightwater spending plan reflects the latest estimates from the 2010 trend estimate. However, uncertainties remain on the project, including the county’s claim for tax exemptions on materials and equipment and the tunnel boring machines’ performance, ground conditions, and resolution of change orders and claims.

Approximately $16 million (a 0.9 percent increase in the total project cost) has been added to the Brightwater project.  Of this, approximately $9 million has been added for construction management, engineering, legal and staffing costs associated with Central Tunnel construction delays (tunnel boring machine breakdowns).  Another $7 million has been added for conveyance-related change orders, treatment plant technical adjustments and change orders, and costs associated with an extended start up process related to the conveyance system delays.

Revisions have also been made to the timing of Brightwater spending. Spending in 2010 is now estimated (with the accomplishment rate) at $297.2 million, compared to the previous estimate of $255.2 million.  For 2011 through 2013, expenditures are estimated at $115.6 million, $20.1million, and $8.2 million, respectively.  The prior estimate showed $90.3 million in 2011, $81.2 million in 2012 and none in 2013. The differences in the timing of expenditures are primarily due to project delays.

5.  Capital Accomplishment Rate

Another important factor affecting the sewer rate, the capacity charge and financing of the capital program relates to the accomplishment rate.  The accomplishment rate is the difference between planned capital spending in the annual budget and the capital spending that actually occurs.  The accomplishment rate is calculated as the percentage of

budget actually spent in a given year.  During the past five years, the average accomplishment rate for the entire capital program has been about eighty-seven percent. During 2009, the actual accomplishment rate for Brightwater was eighty-eight percent, due to delays with the conveyance tunnels.  The accomplishment rate for non-Brightwater projects was eighty-one percent.  Going forward, the accomplishment rate is projected at ninety-five percent for Brightwater and eighty-five percent for

non-Brightwater projects.  This corresponds to an aggregate accomplishment rate of approximately ninety percent for the entire program in 2011.

To illustrate the relationship between the sewer rate and the accomplishment rate, if the program accomplishment rate was lowered to eighty-five percent, planned capital spending would be reduced by $23 million, or the equivalent of approximately $0.16 of the sewer rate.  Conversely, if the program accomplishment rate was raised to one hundred percent, planned capital spending would increase by $26 million, or the equivalent of approximately $0.18 of the sewer rate.  It is believed that ninety percent is a prudent assumption especially in light of the continued strong performance relative to the capital budget in the Brightwater project.

6.	Residential Customer Equivalents (RCE) and New Connections

The preliminary forecast prepared by the King County Office of Economic and Financial Analysis notes that, while King County was late in being affected by the recession, more than 75,000 jobs have been lost since the middle of 2008.  The job outlook here, while serious, is not as dire as in many other parts of the country, thanks to our relatively stable employment in the software and aerospace industries. The forecast notes: “The good news is that 2010 will see the county return to positive employment growth. Hiring for the census will provide an immediate boost.  However, it will be to the end of 2012 or beginning of 2013 before all the lost jobs are made back.”

The employment picture is reflective of the economy; loss of jobs has a negative impact on housing.  New single family permits are showing some modest signs of recovery.  However, many new condominium projects have now been suspended or canceled entirely.  With regard to commercial property, the glut of unoccupied office space in downtown Seattle is a dramatic indication of that market.

RCE projections have followed the evolving outlook for the regional economy.  In 2009 there were 703,800 RCE’s being served by WTD, a decrease of four-tenths percent from 2008 levels.  Declines in the customer bases are expected to continue through 2011 with the largest decline (negative one and three-quarters percent) in 2010.  The decreases will moderate in 2011 (one-half percent) and then return to small positive growth in 2012.  A return to more normal levels of growth is predicted for 2013 with a three-quarters percent increase.  These estimates are in keeping with the slow recovery forecast by local and regional economists.

The current state of the economy, in general, and the construction industry in particular, also creates uncertainty with projections of the number of new connections to the system.

New connections provide the base for new capacity charge revenues and tend to follow the residential and commercial construction cycle. For reference, during the 1997 to 2007

period, the number of new connections to the system averaged 10,900 per year with a peak of 12,400.  During 2008, significantly more new connections were recorded than predicted, with 11,300 compared to a forecast of 9,800.  As the number of new buildings and homes completed decreases, with little or no new activity, we expect a sharp decline in the number of new connections. For 2009, new connections amounted to 8,900 and indications are the levels for 2010 through 2012 will remain below that.  Going forward, new connections are forecast as shown below.

|  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| New Connections | 5,500 | 6,500 | 8,500 | 9,500 | 11,000 | 11,000 | 11,000 |

New connections to the system are levied a capacity charge to help pay for the cost of providing new capacity.

7.	Capacity Charge

The capacity charge is a monthly charge levied on new connections to the wastewater system in accordance with KCC 28.84.050 and KCC 28.86.160.  It is set at a level to ensure that new sewer connections, over the long-term, will pay for the costs of the additional capacity required to serve them.

Financial Policy 15.3-d states that customer growth and projected costs, including inflation, shall be updated every three years.  In accordance with the financial policy, the update includes the historic and forecast data inputs for the 2003-2030 capacity charge rate period including:

- Forecasts of RCEs attributed to new and existing customers and the number of new connections.

- Update projections of capital expenditures through 2030.

- An update of historic cost data and new customer revenues for 2003-2009.

- A review and update of the share of capital costs needed to serve new customers.

- A review and update of existing excess capacity prior to 2003 that will serve new customers.

The proposed 2011 capacity charge of $50.45 is a two and eight-tenths percent increase from the 2010 rate of $49.07, followed by assumed three percent annual increases after 2011.  The net effect of changes since the forecast for the 2008 capacity charge is a small downward adjustment. This new proposal reduces the 2011 capacity charge by $0.09 compared to the previous forecast’s assumed three percent increase to $50.54.

8.	Bonds and Interest Rates

The municipal bond market is much improved from two years ago and stronger than last year, even though we are still experiencing high unemployment and weakness in the economy as a whole.  Revenue bonds to be issued for WTD are estimated at $250 million this year and about $195 million in 2011.  The Executive’s proposal is based on an interest rate of five and one-quarter percent for the 2010 bonds.  After 2010, bond interest rates are assumed to be five and three-quarters percent.  In addition to revenue bond issues, a $100 million variable rate bond issue is planned for the end of 2010.

With Brightwater nearing completion and the capital program returning to pre-Brightwater levels, the need to issue new debt will also moderate.  After the $250 million in 2010 and $195 million in 2011, new debt issuances are projected at $43 million in 2012 and $87 and $90 million in 2013 and 2014, respectively.  This is significantly below the 2008 level of $350 million and the $550 million in 2009.  This will ease the upward pressure on future sewer rates.

The principal and interest payments associated with bond sales have a strong impact on rates. Consequently, the way in which this debt service is structured can provide a means of managing the pattern of rate increases. In this proposal two different debt service structures are used to manage rate patterns. The first is that bonds issued in 2010, 2011 and 2012 will require interest-only payments through 2013. After 2013 full principal and interest payments will be made.

The second structure relates only to bonds issued in 2010.  For the 2010 bond issue, in addition to being interest-only for the first three years, the first two years of these interest payments will be capitalized. This means an amount equal to the interest payments due through July 2012 will be borrowed and placed in a reserve from which these interest payments will be made when due.  Other debt issuance structures were reviewed and this scenario was the most favorable from the standpoint of moderating rate increases, developing more sound financial policies and preserving WTD's bond ratings.

The projections also assume 35-year terms for the 2010 and 2011 bonds and 40-year terms for bonds issued after 2011.  All bond issues will provide for cash bond reserves since the collapse of the surety bond market.

Investment interest rates have reached historic lows in the market.  The rate of return in the County investment pool was one and seventy-six one-hundredths percent in 2009.  For the rate forecast, investment interest rates are projected at one percent in 2010, one and one-quarter percent in 2011, two percent in 2012 and three percent in 2013.  Thereafter, the rate is projected at three and one-half percent.  In light of continuing uncertainties in the economy these projections are conservative and will be monitored closely

9.	Impacts of Adopting Other Rate Scenarios

To achieve a lower single-year rate for 2011 (such as scenario 4), the County would need to capitalize interest on the bonds to be issued in 2011.   Beyond 2011, however, annual rate increases would be smoothed out to roughly seven percent annually until 2015.

Option 6 presents a two-year rate option at $35.70 for 2011 and 2012.  As with the single-year rate in scenario 4, capitalized interest on 2011 bonds is used.  In addition, the rate increase is front-loaded so that rate stabilization dollars accumulate in 2011 to be used in 2012 through 2014.

Another two-year rate option (7) is similar to the Executive’s proposal in that only interest from the 2010 bond issue is capitalized.  This option utilizes the rate stabilization reserve to the same extent as 6.  However, the initial rate increase from 2010 to 2011 of thirteen and six-tenths percent is markedly higher than 6 due to the more conservative debt approach.

10.	Summary of Rate Components of Change

The following table shows and summarizes the impact of various factors that contribute to the increase in the monthly rate from the current $31.90 to the proposed rate of $35.15.

| Wastewater Treatment Division |  |
| --- | --- |
| Monthly Sewer Rate Components of Change |  |
| 2009-10 Adopted Rate and 2011 Executive’s Proposed Rate |  |
|  |  |  |  |  | Change from |
|  |  |  |  |  | 2009-10 to 2011 |
| 2009-10 Sewer Rate |  |  |  |  | $31.90 |  |
| Revenues and Customer Charges |  |  |  |  |  |  |
| Lower RCEs |  |  |  |  | $0.47 |  |
| Capacity Charge Revenue1 |  |  |  |  | ($0.07) |  |
| Rate Stabilization Use |  |  |  |  | ($1.79) |  |
| Operating Expenses |  |  |  |  |  |  |
| Increases in Labor Costs |  |  |  | $0.66 |  |
| Brightwater Operating Costs |  |  |  | $0.53 |  |
| Increase in chemical and energy costs |  |  | $0.35 |  |
| Reduction in transfer to Water & Land Resources Division |  |  |  | ($0.15) |  |
| Elimination of Culver funding |  |  | ($0.20) |  |
| Other operating expenses and expense adjustments2 |  |  | ($0.41) |  |
| Parity Debt Service |  |  |  |  |  |  |
| Increase in debt service from 2008-2009 bond issues |  |  | $1.87 |  |
| Debt service on 2011 bond issue |  |  |  | $1.37 |  |
| Higher interest on existing subordinate debt and |  |  | $0.62 |  |
| on planned 2010 subordinated debt issue |  |  |  |  |  |
| Total Rate Change |  |  |  |  | $3.25 |  |
| 2011 Proposed Rate |  |  |  | $35.15 |  |  |

1Parenthesis indicate a decrease to the rate

2The change in other operating expenses is due, in part, to reductions in central charges.  Additional reductions are due to the operating expense adjustment, which is the difference between total operating expenses estimated during the rate setting process for 2010 and the actual adopted budget.  The adjustment is used to balance changes between the 2011 rate adopted in June of 2010 and the budget, which will be adopted in November 2010.

11.  Summary of 2011 Rate Proposal Projections and Assumptions

The following table presents a summary of the general assumptions used in developing the 2011 rate proposal.  Discussion of the various assumptions is included in the main body of the text in this report.

12.  Comparison of King County Wastewater Rates to Comparable Agencies

It is difficult to compare the King County rates to other jurisdictions because there are so many variables that affect the rate.  In some jurisdictions, for example, significant general taxes are devoted to utility operations or capital programs.  From a geographic standpoint, the terrain of a district can significantly affect costs, both operating and capital.  For instance, hilly terrain like the Seattle area would likely require more pump stations.  And, climate can have a big impact, with low rainfall areas having significantly less volume than King County.  With these caveats in mind, the following two charts present a comparison of 2010 wholesale and retail rates for several agencies that are comparable to King County in size.  The first chart compares the rates of agencies that are extensively engaged in wholesale service. The second chart compares the rates of agencies that are extensively engaged in retail.

To approximate a retail rate for King County the average of our local component agency rates, $16.96 per month, was added to the King County wholesale rate of $31.90 for a total of $48.86.